## Mechanical Estimate
|  | PROJECT: | A/E REPLACE LAUNDRY HVAC
|  | ADDRESS: | TOGUS VA MEDICAL CENTER,
AUGUSTA, MAINE 04330
DATE: 05/21/2024 |  | REV: | 0 | [5 empty] | LABOR RATE |  | 0
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT COST | MATERIAL COST | LABOR RATE | LABOR HOURS | LABOR COST | TOTAL COST
MECHANICAL ESTIMATE
DEMOLITION WORK
SHEET METAL DUCT WITH FITTINGS
1 | Demo Existing Duct With Associating Fittings | 226 | 0% | 226 | LFT |  | 0 | 0 |  | 0 | 0
PIPE WITH FITTINGS
1 | Demo Existing Pipe With Associating Fittings | 84 | 0% | 84 | LFT |  | 0 | 0 |  | 0 | 0
AIR DEVICES
1 | Remove Existing Diffuser | 12 | 0% | 12 | EA |  | 0 | 0 |  | 0 | 0
2 | Remove Existing Grille | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
3 | Remove Existing Transfer Grille | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
4 | Remove Existing Linear Diffuser | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
AIR CONDENSOR
1 | Remove Existing AC Unit | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
FANS
1 | Remove Existing Ceiling Exhaust Fan | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | Remove Existing Exhaust Fan | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
HEATERS
1 | Remove Existing Unit Heater | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
2 | Existing Steam Unit Heater | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
VALVE
1 | Demo Existing Control Valve | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
PANEL
1 | Remove Existing Bas Panel | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
SENSOR
1 | Remove Existing Thermostat | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
NEW WORK
FLEXIBLE DUCT
1 | 8" Dia Flexible Duct | 19 | 10% | 20.9 | LFT |  | 0 | 0 |  | 0 | 0
2 | 10" Dia Flexible Duct | 3.5 | 10% | 3.85 | LFT |  | 0 | 0 |  | 0 | 0
3 | 14" Dia Flexible Duct | 66.67 | 10% | 73.337 | LFT |  | 0 | 0 |  | 0 | 0
AIR DEVICES
1 | SD-1, Three Cone Supply Diffuser, TITUS-TMS-AA, Neck Size 8" Dia, Face Size 24" x 24", CFM 150 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | SD-1, Three Cone Supply Diffuser, TITUS-TMS-AA, Neck Size 8" Dia, Face Size 24" x 24", CFM 165 | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
3 | SD-1, Three Cone Supply Diffuser, TITUS-TMS-AA, Neck Size 8" Dia, Face Size 24" x 24", CFM 225 | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
4 | SD-1, Three Cone Supply Diffuser, TITUS-TMS-AA, Neck Size 8" Dia, Face Size 24"x24", CFM 125 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | SD-2, Three Cone Supply Diffuser, TITUS-TMS-AA, Neck Size 10" Dia, Face Size 24"x24" , CFM 275 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | SD-3, Supply Diffuser, TITUS TMS-AA, Neck Size 14" Dia, Face Size 24"x24", CFM 675, 2 Way | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
7 | SD-3, Three Cone Supply Diffuser, TITUS TMS-AA, Neck Size 14" Dia, Face Size 24"x24", CFM 500 | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
8 | SD-3, Three Cone Supply Diffuser, TITUS TMS-AA, Neck Size 14" Dia, Face Size 24"x24", CFM 675 | 11 | 0% | 11 | EA |  | 0 | 0 |  | 0 | 0
9 | SD-3, Three Cone Supply Diffuser, TITUS TMS-AA, Neck Size 14" Dia, Face Size 24"x24", CFM 680 | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
10 | SD-4: Supply Drum Louver, TITUS DL, Duct Connection Size 18" Dia, Neck Size 18"x4", Face Size 20"x6", CFM 255 | 7 | 0% | 7 | EA |  | 0 | 0 |  | 0 | 0
11 | EG-1: Exhaust Grille, TITUS PAR-AA, Neck Size 10" Dia, Face Size 24"x24", CFM 275 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
12 | EG-2: Exhaust Grille, TITUS-PAR-AA, Neck Size 12" Dia, Face Size 24"x24", CFM 375 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
13 | EG-2: Exhaust Grille, TITUS-PAR-AA, Neck Size 12" Dia, Face Size 24"x24", CFM 380 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
14 | EG-3: Exhaust Grille, TITUS PAR-AA, Neck Size 12"x12", Face Size 24"x24", CFM 450 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
15 | EG-3: Exhaust Grille, TITUS PAR-AA, Neck Size 12"x12", Face Size 24"x24", CFM 500 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
16 | EG-4: Exhaust Grille, TITUS PAR-AA, Neck Size 46"x22", Face Size 48"x24", CFM 1540 | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
17 | EG-4: Exhaust Grille, TITUS PAR-AA, Neck Size 46"x22", Face Size 48"x24", CFM 1545 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
18 | EG-5: Exhaust Grille, TITUS 350FL, Duct Connection Size 20" Dia, Neck Size 14"x14", Face Size 16"x16", CFM 595 | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
19 | EG-5: Return Register, TITUS 350FL, Duct Connection Size 20" Dia, Neck Size 14"x14", Face Size 16"x16", CFM 600 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
AIR HANDLING UNIT
1 | 212-AHU-1: Air Handling Unit, TRANE - CLIMATE CHANGER, Type Commercial, Air Flow VAV, CFM 15500 212-AFMD-1: Airflow Measuring Device, EBTRON AIR-IQ2, Min CFM 8535, Max CFM 15000, WxH 78"x30", Remarks: OA Supply Air 212-RAHX-1: Desiccant Wheel, TRANE-CDQ, Supply Air Summer Data: CFM 15500, Exhaust Air Data: Airflow CFM 10800, Rotor Motor Data: HP 0.75, V 208, Phase 3, Supply Air Winter Data: CFM 15500, Exhaust Air Data: Airflow CFM 10800, Rotor Motor Data: HP 0.75, V 208, Phase 3 212-DXCC-1: Direct Expansion Cooling Coil, HEATCRAFT - 4EN0708C, CFM 15500, FPM 483, Total MBH 839.4, SENS MBH 466.6, REF 410A 212-PF-1: Pre Filter, TRANE , Merv Rating 8, CFM 15500, APD Data: Initial 0.25", Change Over 0.5", Housing type Side, Cartridges Data: Size 24"x24"x2", Arrangement 6 Wide By 3 High 212-AF-1: Air Filter, TRANE , Merv Rating 11, CFM 15500, APD Data: Initial 0.65", Change Over 1.3", Housing type Side, Cartridges Data: Size 24"x24"x4", Arrangement 6 Wide By 3 High 212-WF-1: Water Filter, GPM 100 212-HWHC-1: Heating Hot Water Heating Coil, HEATCRAFT - 5MH1101C, Application Preheat, CFM 15500, FPM 496, MBH 1016, Hot Water Data: GPM 69.4 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
AIR COOLED CONDENSING UNIT
1 | 212-ACCU-1: Air Cooled Condensing Unit, TRANE - RAUC80, Tons 80, Compressor Data: COMP 6, KW 3, Condenser Data: COND Fan 8, KW 7.05, ELEC Data: V 208, Phase 3, MCA A 415, MOCP A 450, RDE A 450 1: Provide Coated Coils Hail Guards | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
EXHAUST FANS
1 | 212-SF-1A: Supply Fan, TRANE - 16UF DDP, CFM 3875, Fan Data: Type Single Width, Single Inlet, Wheel Airflow, Class III, Diameter 16.5", Drive Belt, RPM 2867, Motor Electrical Data: BHP 5.26, HP 7.5, V 208, Phase 3, RPM 1800, Speed Control Variable 1: All Selections Are Based On An ALTITUDE Of 361 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 212-SF-1B: Supply Fan, TRANE - 16UF DDP, CFM 3875, Fan Data: Type Single Width, Single Inlet, Wheel Airflow, Class III, Diameter 16.5", Drive Belt, RPM 2867, Motor Electrical Data: BHP 5.26, HP 7.5, V 208, Phase 3, RPM 1800, Speed Control Variable 1: All Selections Are Based On An ALTITUDE Of 361 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 212-SF-1C: Supply Fan, TRANE - 16UF DDP, CFM 3875, Fan Data: Type Single Width, Single Inlet, Wheel Airflow, Class III, Diameter 16.5", Drive Belt, RPM 2867, Motor Electrical Data: BHP 5.26, HP 7.5, V 208, Phase 3, RPM 1800, Speed Control Variable 1: All Selections Are Based On An ALTITUDE Of 361 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 212-SF-1D: Supply Fan, TRANE - 16UF DDP, CFM 3875, Fan Data: Type Single Width, Single Inlet, Wheel Airflow, Class III, Diameter 16.5", Drive Belt, RPM 2867, Motor Electrical Data: BHP 5.26, HP 7.5, V 208, Phase 3, RPM 1800, Speed Control Variable 1: All Selections Are Based On An ALTITUDE Of 361 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 212-EF-1: Exhaust Fan, GREENHECK - GB-240HP, CFM 5100, Fan Data: Type Centrifugal, Roof, Wheel B/W, Diameter 24.5", Drive Belt, RPM 1176, Motor Electrical Data: BHP 2.8, HP 5, V 208, Phase 3, RPM 1750, Speed Control Constant 1: All Selections Are Based On An ALTITUDE Of 361 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 212-EF-2: Exhaust Fan, GREENHECK - GB-240HP, CFM 4800, Fan Data: Type Centrifugal, Roof, Wheel B/W, Diameter 24, Drive Belt, RPM 1152, Motor Electrical Data: BHP 2.65, HP 3, V 208, Phase 3, RPM 1750, Speed Control Constant 1: All Selections Are Based On An ALTITUDE Of 361 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
SINGLR DUCT AIR TERMINAL BOXES
1 | 212-TU-1-1: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 8", Max CFM 275, Control Type CV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 212-TU-1-2: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 6", Max CFM 330, Control Type CV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 212-TU-1-3: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 6", Max CFM 125, Control Type CV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 212-TU-1-4: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 14", Max CFM 1935, Control Type CV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 212-TU-1-5: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 10", Max CFM 1000, Control Type CV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 212-TU-1-6: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 14", Max CFM 2025, Min CFM 500, Control Type VAV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
7 | 212-TU-1-7: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 24"x16", Max CFM 3375, Min CFM 1140, Control Type VAV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
8 | 212-TU-1-8: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 16", Max CFM 2700, Min CFM 1140, Control Type VAV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
9 | 212-TU-1-9: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 14", Max CFM 2040, Min CFM 1140, Control Type VAV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
10 | 212-TU-1-10: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 12", Max CFM 1360, Min CFM 500, Control Type VAV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
11 | 212-TU-1-11: Single Duct Air Terminal Unit, TITUS DESV, Duct Inlet Size 12", Max CFM 450, Control Type CV 1: Inlet Static Based On ARI 885-98 2: Provide Integral Control Enclosure For Each terminal Unit With 120 V To 24 V Transformer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
HOT WATER UNIT HEATERS
1 | 212-HWUH-1: Hot Water Unit Heater Schedule, MODINE - HSB/HC 47, Type Unit Horizontal, CFM 730, BTUH 30900, GPM 3.2, Motor Data: HP 1/12, V 120, Phase 1, RPM 1550 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 212-HWUH-2: Hot Water Unit Heater Schedule, MODINE - HSB/HC 47, Type Unit Horizontal, CFM 730, BTUH 30900, GPM 3.2, Motor Data: HP 1/12, V 120, Phase 1, RPM 1551 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 212-HWUH-3: Hot Water Unit Heater Schedule, MODINE - HSB/HC 47, Type Unit Horizontal, CFM 730, BTUH 30900, GPM 3.2, Motor Data: HP 1/12, V 120, Phase 1, RPM 1552 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 212-HWUH-4: Hot Water Unit Heater Schedule, MODINE - HSB/HC 47, Type Unit Horizontal, CFM 730, BTUH 30900, GPM 3.2, Motor Data: HP 1/12, V 120, Phase 1, RPM 1553 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 212-HWUH-5: Hot Water Unit Heater Schedule, MODINE - HSB/HC 47, Type Unit Horizontal, CFM 730, BTUH 30900, GPM 3.2, Motor Data: HP 1/12, V 120, Phase 1, RPM 1554 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
STEAM UNIT HEATER
1 | 212-SUH-1: Steam Unit Heater, MODINE - HSB/HC 165, Type Unit Horizontal, CFM 3240, BTUH 165000, Steam LBS / HR 171, Motor Data: HP 0.33, V 120, Phase 1, RPM 1075 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
PUMPS
1 | 212-HWP-1A: Heating Water Pump, BELL & GOSSETT - E-80 2x2x7B, Type Inline, Flow GPM 135, SP GR 1, ELEC Motor Data: HP 7.5, V 208, Phase 3, RPM 3600, Speed Control Variable | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 212-HWP-1B: Heating Water Pump, BELL & GOSSETT - E-80 2x2x7B, Type Inline, Flow GPM 135, SP GR 1, ELEC Motor Data: HP 7.5, V 208, Phase 3, RPM 3600, Speed Control Variable, Remarks: Stand By | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 212-HWP-2: Heating Water Pump, BELL & GOSSETT - E-90 2AB, Type Inline, Flow GPM 70, SP GR 1, ELEC Motor Data: HP 1, V 208, Phase 3, RPM 1750, Speed Control Constant | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
WATER FILTER (SIDE STREAM)
1 | 212-WF-1: Water Filter, GPM 100 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
EXPANTION TANK
1 | 212-ET-1: Expansion Tank, BELL & GOSSETT D120, Type Vert Diaphragm, Approx. System Volume Gal 70, Min Volume Tank Gal 56, Min Bladder Volume Gal 23 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
AIR SEPRATOR
1 | 212-AS-1: Air Separator, BELL & GOSSETT, Type Full Low Tangential, GPM 135, Size 3", WPD 3.2', Built In Strainer REQ'D Yes | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
STEAM HUMIDIFER
1 | 212-H-1 / 212-SH-1: Steam Humidifier, DRI STEEM, Type Unit Mounted Dispersion Tube, CFM 15500, No Of Manifolds 1, Source Clean Steam, LBS / HR 450, Control Type C-1, Trap LBS / HR 900 / Steam Jacketed Dispersion Humidifier, 536 LBS/HR, PSIG 10 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
STEAM TO HEATING HOT WATER HEAT EXCHANGERS
1 | 212-SWHX-1A: Steam To Heating Hot Water Heat Exchanger, BELL & GOSSETT - QSUS-830-2, Type Shell & Tube, GPM 135, LBS / HR 2105, Trap Capacity LBS / HR 4210 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 212-SWHX-1B: Steam To Heating Hot Water Heat Exchanger, BELL & GOSSETT - QSUS-830-2, Type Shell & Tube, GPM 135, LBS / HR 2105, Trap Capacity LBS / HR 4210 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
CLEAN STEAM GENRATOR
1 | 212-SSHX-1: Clean Steam Generator, DRI-STEEM - STS 400C, Type Steam - Steam, Source Of Makeup RO, Water Conditions GPM 10, Produced Steam Flow LBS / HR 450, Control Valve LBS / HR 450, Traps 1, Trap LBS / HRV 900 | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
STEAM PRESSURE REDUCING VALVE
1 | 1-1/2" Dia 212-SPRV-1: Steam Pressure Reducing Valve, SPENCE E, REQ Capacity LBS/HR 1200 (Size assumed) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 1-1/2" Dia 212-SPRV-2: Steam Pressure Reducing Valve, SPENCE E, REQ Capacity LBS/HR 2400 (Size assumed) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
FLEXIBLE CONNECTORS
1 | 78"x30" Flexible Connector | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
PLENUM BOX
1 | 78"x30" Plenum Box | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
ACCESS PANEL
1 | 12"x12" Access Panel (Size Assumed) | 38 | 0% | 38 | EA |  | 0 | 0 |  | 0 | 0
BAS PANEL
1 | Bas Panel | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
DUCT END CAPS
1 | 12" Dia Duct End Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 20" Dia Duct End Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 10"x12" Duct End Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 14"x16" SA Duct Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 22"x18" Duct End Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 24"x16" Duct End Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
7 | 24"x18" Duct End Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
VOLUME DAMPERS
1 | 8" Dia VD, Volume Damper | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
2 | 8" Dia Volume Damper (Tag not given) | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
3 | 10" Dia VD, Volume Damper | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 10" Dia Volume Damper (Assumed) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 12" Dia VD, Volume Damper | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
6 | 12" Dia Volume Damper (Tag not given) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
7 | 14" Dia VD, Volume Damper | 18 | 0% | 18 | EA |  | 0 | 0 |  | 0 | 0
8 | 12"x12" Dia VD, Volume Damper | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
9 | 14"x8" VD, Volume Damper | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
10 | 14"x14" Volume Damper (Assumed) | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
11 | 18"x4" Volume Damper (Assumed) | 7 | 0% | 7 | EA |  | 0 | 0 |  | 0 | 0
12 | 22"x12" VD, Volume Damper | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
BLAST PROOF DAMPERS
1 | 212-BPD-1: Blast Proof Damper, GREENHECK - HBS-331, Type Exhaust Damper, WxH 24"x24", CFM 4365 1: install per Manufacturer Instruction | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 212-BPD-2: Blast Proof Damper, GREENHECK - HBS-331, Type Exhaust Damper, WxH 24"x24", CFM 4625 1: install per Manufacturer Instruction | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 212-BPD-3: Blast Proof Damper, GREENHECK - HBS-330, Type Intake Damper, WxH 26"x26", CFM 5455 1: install per Manufacturer Instruction | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 212-BPD-4: Blast Proof Damper, GREENHECK - HBS-330, Type Intake Damper, WxH 24"x24", CFM 3975 1: install per Manufacturer Instruction | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 212-BPD-5: Blast Proof Damper, GREENHECK - HBS-330, Type Intake Damper, WxH 30"x30", CFM 3975 1: install per Manufacturer Instruction | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
SENSOR
1 | T: Thermostat | 15 | 0% | 15 | EA |  | 0 | 0 |  | 0 | 0
HEATING HOT WATER PIPE ACCESSORIES
1 | 3/4" Dia Ball Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 1/2" Dia Ball Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 1" Dia Ball Valve | 7 | 0% | 7 | EA |  | 0 | 0 |  | 0 | 0
4 | 3" Dia Ball Valve (Size assumed) | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
5 | 3" Dia Ball Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 4" Dia Ball Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
7 | 3/4" Dia Shutoff Valve | 11 | 0% | 11 | EA |  | 0 | 0 |  | 0 | 0
8 | 1/2" Dia Shutoff Valve (Size assumed) | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
9 | 1" Dia Shutoff Valve | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
10 | 2-1/2" Dia Shutoff Valve | 8 | 0% | 8 | EA |  | 0 | 0 |  | 0 | 0
11 | 3" Dia Shutoff Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
12 | 3" Dia Shutoff Valve (Size assumed) | 13 | 0% | 13 | EA |  | 0 | 0 |  | 0 | 0
13 | 4" Dia Shutoff Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
14 | 3" Dia Check Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
15 | 3" Dia Butterfly Valve | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
16 | 2-1/2" Dia Balancing Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
17 | 3" Dia Balancing Valve | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
18 | 1" Dia Pressure Regulating Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
19 | 3/4" Dia Automatic Flow Control Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
20 | 3/4" Dia Modulation Control Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
21 | 2-1/2" Dia Manual Bypass Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
22 | 2-1/2" Dia Modulating Control Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
23 | 2-1/2" Dia Valve (Legend not given) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
24 | 3/4" Wye Strainer With Valve Drain And Quick Couple Hose Connector | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
25 | 1" Dia Wye Strainer With Valve Drain And Quick Couple Hose Connector | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
26 | 2-1/2" Wye Strainer With Valve Drain And Quick Couple Hose Connector | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
27 | 3" Dia Wye Strainer With Valve Drain And Quick Couple Hose Connector(Size Assumed) | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
28 | 3" Dia SRV: Safety Relief Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
29 | 4" Dia Wye Strainer With Valve Drain And Quick Couple Hose Connector | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
30 | 3/4" Dia Union | 10 | 0% | 10 | EA |  | 0 | 0 |  | 0 | 0
31 | 1" Dia Union | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
32 | 2-1/2" Dia Union | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
33 | 3" Dia Union | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
34 | 3" Dia Union (Size assumed) | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
35 | 4" Dia Union | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
36 | 1" Dia Automatic Air Vent | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
37 | 3/4" Dia Test Plug | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
38 | 2-1/2" Dia Test Plug | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
39 | Water Coil | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
40 | 4" Dia Inverted Bucket Trap Set | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
41 | 1" Dia BFP | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
42 | 1" Dia Hose Bibb In Mer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
43 | 2-1/2" Dia Auto Air Vent To Drain | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
44 | 2-1/2" Dia Drain With Hose Connection | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
45 | 2-1/2" Dia P/T (Legend not given) | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
46 | 24" Anti Thermo Siphon Loop | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
47 | 3" Dia Flexible Connection | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
48 | 3" Dia P/T (legend not Given) | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
49 | 3" Dia Pipe Sleeve | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
50 | 3" Dia Thread-O-Lets/ Weld-O-Lets | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
51 | 3/4" Dia Automatic Air Vent | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
52 | 3/4" Dia Drain With Hose Connection | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
53 | 3/4" Dia Manual Air Vent | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
54 | 4" Dia Flexible Connection | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
55 | 3/4" Dia Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
56 | 1" Dia Cap | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
57 | 3" Dia Cap | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
58 | 4" Dia Cap | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
59 | Pressure Gauge | 13 | 0% | 13 | EA |  | 0 | 0 |  | 0 | 0
60 | Thermometer | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
61 | 5 Gallon Shot Feeder | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
62 | Preheat Coil | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
STEAM & CONDENSATE PIPE ACCESSORIES
1 | 4" Dia 212-SV-1: Steam Pressure Relief Valve, SPIRAX SARCO SV73L | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 3/4" Dia Gate Valve (Size Assumed) | 11 | 0% | 11 | EA |  | 0 | 0 |  | 0 | 0
3 | 1-1/2" Dia Gate Valve With 3/4" Dia Hose Adapter | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 2" Dia Gate Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 2-1/2" Dia Gate Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
6 | 3/4" Dia Check Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
7 | 1" Dia Check Valve | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
8 | 1-1/2" Dia Check Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
9 | 1-1/2" Dia Gate Valve | 8 | 0% | 8 | EA |  | 0 | 0 |  | 0 | 0
10 | 4" Dia Check Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
11 | 1-1/2" Dia Globe Valve (Assumed) | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
12 | 2-1/2" Dia Globe Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
13 | 1" Dia Butterfly Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
14 | 2" Dia Butterfly Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
15 | 1-1/2" Dia Modulating Control Valve (Provided By Automation System Bas Contractor) | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
16 | 2" Dia Modulating Control Valve (Provided By Automation System Bas Contractor) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
17 | 1-1/2" Dia Two Position Control Valve (Provided By Automation System Bas Contractor) | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
18 | 2" Dia Two Position Control Valve (Provided By Automation System Bas Contractor) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
19 | 2-1/2" Dia Two Position Control Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
20 | 1-1/2" Dia Wye Strainer With Valve Drain And Quick Couple Hose Connector | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
21 | 2" Dia Wye Strainer With Valve Drain And Quick Couple Hose Connector | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
22 | 2-1/2" Dia Wye Strainer With Valve Drain And Quick Couple Hose Connector | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
23 | 1" Dia Union | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
24 | 1-1/2" Dia Union | 10 | 0% | 10 | EA |  | 0 | 0 |  | 0 | 0
25 | 2" Dia Union | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
26 | 2-1/2" Dia Union | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
27 | 4" Dia Thermostatic Automatic Air Vent | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
28 | 1" Dia Pipe Sleeve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
29 | 2" Dia Pipe Sleeve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
30 | 2-1/2" Dia Pipe Sleeve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
31 | 4" Dia Pipe Sleeve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
32 | 3/4" Dia Steam Trap, SPIRAX SARCO | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
33 | 1" Dia Steam Trap, SPIRAX SARCO | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
34 | 4" Dia Steam Trap, SPIRAX SARCO | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
35 | 1" Dia Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
36 | 1-1/2" Dia Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
37 | 3" Dia Cap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
38 | 4" Dia Cap | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
39 | Pressure Gauge | 8 | 0% | 8 | EA |  | 0 | 0 |  | 0 | 0
40 | 4" Dia Air Vent (Assumed) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
41 | 4" Dia Safety Relief Vent Add | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
EXPANTION TANK ACCESSORIES
1 | 3/4" Dia Ball Valve | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
2 | 3/4" Dia Butterfly Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
3 | 3/4" Dia Mixing Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 3/4" Dia Air Charging Shredder Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
5 | 3/4" Dia Angle Globe Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 3/4" Dia Modulating Control Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
7 | 3/4" Dia Wye Strainer W/Valve Drain And Quick Couple Hose Connector | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
8 | 3/4" Dia Reduced Pressure Backflow Preventer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
9 | 3/4" Dia PI, (Legend not given) | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
HEAT EXCHANGER ACCESSORIES (SIZE ASSUMED)
1 | 2-1/2" Dia Relief Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 2-1/2" Dia Angle Globe Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 2-1/2" Dia Bypass Valve | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
4 | 2-1/2" Dia Check Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
5 | 2-1/2" Dia Gate Valve | 8 | 0% | 8 | EA |  | 0 | 0 |  | 0 | 0
6 | 2-1/2" Dia Motorized Isolation Valve | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
7 | 2-1/2" Dia Text Plug | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
8 | 2-1/2" Dia Union | 9 | 0% | 9 | EA |  | 0 | 0 |  | 0 | 0
9 | PI, DDC Pressure Sensor | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
10 | Thermometer | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
11 | Thermostatic Air Vent | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
12 | TT, DDC Temperature Sensor | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
TERMINAL UNIT WATER COIL ACCESSORIES (SIZE ASSUMED)
1 | 3/4" Dia Shutoff Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
2 | 3/4" Dia Modulation Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 3/4" Dia Strainer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 3/4" Dia Union | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
5 | Text Plug | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
IN LINE PUMP ACCESSORIES (SIZE ASSUMED)
1 | 3" Dia Ball Valve | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
2 | 3" Dia Check Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 3" Dia Flexible Connection | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
4 | 3" Dia Balancing Device | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | Pressure Gauge | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
THERMOSTATIC TRAP ACCESSORIES (SIZE ASSUMED)
1 | 3/4" Dia Gate Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
2 | 3/4" Dia Check Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 3/4" Dia Union | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 3/4" Dia Wye Strainer W/Valve Drain And Quick Couple Hose Connector | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
AIR HANDLING UNIT ACCESSORIES
1 | 2-1/2" Dia Auto Matic Control Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 2-1/2" Dia Blocking Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 2-1/2" Dia Gate Valve (Assumed) | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
4 | 2-1/2" Dia Inverted Bucket Trap | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 2-1/2" Dia Strainer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 2-1/2" Dia Union | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
7 | 2-1/2" Dia Dirt Leg | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
CLEAN STEAM GENRATOR ACCESSORIES (SIZE ASSUMED)
1 | 3/4" Dia Pressure Safety Valve | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 3/4" Dia Shut Off Valve | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
3 | 3/4" Dia Ball Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
4 | 3/4" Dia Modulating Control Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
5 | 3/4" Dia F&T Trap Assembly | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 3/4" Dia Thermometer | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
WATER FILTER ACCESSORIES
1 | 3/4" Dia Low Point Drain | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
2 | 3/4" Dia Pressure Gauge | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 3/4" Dia Union | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
WATER TREATMENT ACCESSORIES (SIZE ASSUMED)
1 | 3/4" Dia Ball Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
2 | 3/4" Dia Shut Off Valve | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
3 | 3/4" Dia Funnel | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 3/4" Dia Automatic Flow Control And Balancing Device | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
HEATING HOT WATER SUPPLY PIPE
Schedule 40, Steel Seamless Pipe With Fittings, ASTM A53/A53M
1 | 3/4" Dia Heating Hot Water Supply Pipe | 107 | 10% | 117.7 | LFT |  | 0 | 0 |  | 0 | 0
2 | 1" Dia Heating Hot Water Supply Pipe | 108 | 10% | 118.8 | LFT |  | 0 | 0 |  | 0 | 0
3 | 1-1/4" Dia Heating Hot Water Supply Pipe | 111 | 10% | 122.1 | LFT |  | 0 | 0 |  | 0 | 0
4 | 1-1/2" Dia Heating Hot Water Supply Pipe | 18.86 | 10% | 20.746 | LFT |  | 0 | 0 |  | 0 | 0
5 | 2-1/2" Dia Heating Hot Water Supply Pipe | 21 | 10% | 23.1 | LFT |  | 0 | 0 |  | 0 | 0
6 | 3" Dia Heating Hot Water Supply Pipe | 190 | 10% | 209 | LFT |  | 0 | 0 |  | 0 | 0
HEATING HOT WATER SUPPLY PIPE INSULATION
1-1/2" Thick, Rigid Cellular Phenolic Foam Pipe Insulation, Pipe And Tubing, Covering Nominal Thickness In Millimeters And Inches As Specified In The Schedule At The End Of This Section
1 | 3/4" Dia Heating Hot Water Supply Pipe | 107 | 10% | 117.7 | LFT |  | 0 | 0 |  | 0 | 0
2 | 1" Dia Heating Hot Water Supply Pipe | 108 | 10% | 118.8 | LFT |  | 0 | 0 |  | 0 | 0
3 | 1-1/4" Dia Heating Hot Water Supply Pipe | 111 | 10% | 122.1 | LFT |  | 0 | 0 |  | 0 | 0
2" Thick, Rigid Cellular Phenolic Foam Pipe Insulation, Pipe And Tubing, Covering Nominal Thickness In Millimeters And Inches As Specified In The Schedule At The End Of This Section
4 | 1-1/2" Dia Heating Hot Water Supply Pipe | 18.86 | 10% | 20.746 | LFT |  | 0 | 0 |  | 0 | 0
5 | 2-1/2" Dia Heating Hot Water Supply Pipe | 21 | 10% | 23.1 | LFT |  | 0 | 0 |  | 0 | 0
6 | 3" Dia Heating Hot Water Supply Pipe | 190 | 10% | 209 | LFT |  | 0 | 0 |  | 0 | 0
HEATING HOT WATER SUPPLY PIPE FITTINGS
ELBOW
1 | 3/4" Dia Heating Hot Water Supply Pipe 90 Deg Elbow | 12 | 0% | 12 | EA |  | 0 | 0 |  | 0 | 0
2 | 1" Dia Heating Hot Water Supply Pipe 90 Deg Elbow | 9 | 0% | 9 | EA |  | 0 | 0 |  | 0 | 0
3 | 1-1/4" Dia Heating Hot Water Supply Pipe 90 Deg Elbow | 11 | 0% | 11 | EA |  | 0 | 0 |  | 0 | 0
4 | 2-1/2" Dia Heating Hot Water Supply Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
5 | 3" Dia Heating Hot Water Supply Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
TEE
1 | 3" Dia Heating Hot Water Supply Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 1" / 3/4" Dia Heating Hot Water Supply Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 1-1/4" / 3/4" Dia Heating Hot Water Supply Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 1-1/4" / 1" Dia Heating Hot Water Supply Pipe Tee | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
5 | 2-1/2" / 3/4" Dia Heating Hot Water Supply Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 3" / 3/4" Dia Heating Hot Water Supply Pipe Tee | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
7 | 3" / 1" Dia Heating Hot Water Supply Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
8 | 3" / 1-1/4" Dia Heating Hot Water Supply Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
9 | 3" / 1-1/2" Dia Heating Hot Water Supply Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
REDUCER
1 | 1" / 3/4" Dia Heating Hot Water Supply Pipe Reducer | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
2 | 1" / 1-1/4" Dia Heating Hot Water Supply Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 1-1/4" / 3/4" Dia Heating Hot Water Supply Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 1-1/4" / 1" Dia Heating Hot Water Supply Pipe Reducer | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
5 | 1-1/2" / 1-1/4" Dia Heating Hot Water Supply Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 3" / 1-1/4" Dia Heating Hot Water Supply Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
7 | 3" / 2-1/2 Dia Heating Hot Water Supply Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
HEATING HOT WATER RETURN PIPE
Schedule 40, Steel Seamless Pipe With Fittings, ASTM A53/A53M
1 | 3/4" Dia Heating Hot Water Return Pipe | 104.16 | 10% | 114.576 | LFT |  | 0 | 0 |  | 0 | 0
2 | 1" Dia Heating Hot Water Return Pipe | 101 | 10% | 111.1 | LFT |  | 0 | 0 |  | 0 | 0
3 | 1-1/4 Dia Heating Hot Water Return Pipe | 112 | 10% | 123.2 | LFT |  | 0 | 0 |  | 0 | 0
4 | 1-1/2" Dia Heating Hot Water Return Pipe | 16.74 | 10% | 18.414 | LFT |  | 0 | 0 |  | 0 | 0
5 | 2-1/2" Dia Heating Hot Water Return Pipe | 21.62 | 10% | 23.782 | LFT |  | 0 | 0 |  | 0 | 0
6 | 3" Dia Heating Hot Water Return Pipe | 183 | 10% | 201.3 | LFT |  | 0 | 0 |  | 0 | 0
HEATING HOT WATER RETURN PIPE INSULATION
1-1/2" Thick, Rigid Cellular Phenolic Foam Pipe Insulation, Pipe And Tubing, Covering Nominal Thickness In Millimeters And Inches As Specified In The Schedule At The End Of This Section
1 | 3/4" Dia Heating Hot Water Return Pipe | 104.16 | 10% | 114.576 | LFT |  | 0 | 0 |  | 0 | 0
2 | 1" Dia Heating Hot Water Return Pipe | 101 | 10% | 111.1 | LFT |  | 0 | 0 |  | 0 | 0
3 | 1-1/4 Dia Heating Hot Water Return Pipe | 112 | 10% | 123.2 | LFT |  | 0 | 0 |  | 0 | 0
4 | 1-1/2" Dia Heating Hot Water Return Pipe | 16.74 | 10% | 18.414 | LFT |  | 0 | 0 |  | 0 | 0
2" Thick, Rigid Cellular Phenolic Foam Pipe Insulation, Pipe And Tubing, Covering Nominal Thickness In Millimeters And Inches As Specified In The Schedule At The End Of This Section
5 | 2-1/2" Dia Heating Hot Water Return Pipe | 21.62 | 10% | 23.782 | LFT |  | 0 | 0 |  | 0 | 0
6 | 3" Dia Heating Hot Water Return Pipe | 183 | 10% | 201.3 | LFT |  | 0 | 0 |  | 0 | 0
HEATING HOT WATER RETURN PIPE FITTINGS
ELBOW
1 | 3" Dia Heating Hot Water Return Pipe 45 Deg Elbow | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
2 | 3/4" Dia Heating Hot Water Return Pipe 90 Deg Elbow | 12 | 0% | 12 | EA |  | 0 | 0 |  | 0 | 0
3 | 1" Dia Heating Hot Water Return Pipe 90 Deg Elbow | 9 | 0% | 9 | EA |  | 0 | 0 |  | 0 | 0
4 | 1-1/4" Dia Heating Hot Water Return Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  | 0 | 0 |  | 0 | 0
5 | 2-1/2" Dia Heating Hot Water Return Pipe 90 Deg Elbow | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
6 | 3" Dia Heating Hot Water Return Pipe 90 Deg Elbow | 12 | 0% | 12 | EA |  | 0 | 0 |  | 0 | 0
TEE
1 | 3" Dia Heating Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
2 | 1" / 3/4" Dia Heating Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 1" / 1 /1/4" Dia Heating Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
4 | 1-1/4" / 3/4" Dia Heating Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 1-1/4" / 1" Dia Heating Hot Water Return Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
6 | 1-1/2" / 1" Dia Heating Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
7 | 2-1/2" / 3/4" Dia Heating Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
8 | 3" / 3/4" Dia Heating Hot Water Return Pipe Tee | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
9 | 3" / 1" Dia Heating Hot Water Return Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
10 | 3" / 1-1/4" Dia Heating Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
11 | 3" / 1-1/2" Dia Heating Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
REDUCER
1 | 1" / 3/4" Dia Heating Hot Water Return Pipe Reducer | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
2 | 1-1/4 / 3/4" Dia Heating Hot Water Return Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
3 | 1-1/4" / 1" Dia Heating Hot Water Return Pipe Reducer | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
4 | 1-1/2" / 1-1/4" Dia Heating Hot Water Return Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
5 | 3" / 1-1/4" Dia Heating Hot Water Return Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
6 | 3" / 2-1/2" Dia Heating Hot Water Return Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
LOW PRESSURE STEAM PIPE
Schedule 40, Steel Seamless Pipe With Fittings, ASTM A53/A53M (Assumed)
1 | 2-1/2" Dia Low Pressure Steam Pipe | 172.94 | 10% | 190.234 | LFT |  | 0 | 0 |  | 0 | 0
LOW PRESSURE STEAM PIPE INSULATION
3" Thick, Mineral Fiber Pipe Insulation, Fit Insulation To Pipe, Aligning Longitudinal Joints. Seal Longitudinal Joint Laps And Circumferential Butt Strips By Rubbing Hard With A Nylon Sealing Tool To Assure A Positive Seal. Staples May Be Used To Assist In Securing Insulation. Seal All Vapor Retarder Penetrations On Cold Piping With A Generous Application Of Vapor Barrier Mastic. Provide Inserts And Install With Metal Insulation Shields At Outside Pipe Supports. Install Freeze Protection Insulation Over Heating Cable.
1 | 2-1/2" Dia Low Pressure Steam Pipe | 172.94 | 10% | 190.234 | LFT |  | 0 | 0 |  | 0 | 0
LOW PRESSURE STEAM PIPE FITTINGS
ELBOW
1 | 2- 1/2" Dia Low Pressure Steam Pipe 45 Deg Elbow | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
2 | 2- 1/2" Dia Low Pressure Steam Pipe 90 Deg Elbow | 11 | 0% | 11 | EA |  | 0 | 0 |  | 0 | 0
SAFETY RELIEF VENT PIPE
Schedule 40, Steel Seamless Pipe With Fittings, ASTM A53/A53M
1 | 4" Dia Safety Relief Vent Pipe | 18.06 | 10% | 19.866 | LFT |  | 0 | 0 |  | 0 | 0
SAFETY RELIEF VENT PIPE FITTINGS
ELBOW
1 | 4" Dia Safety Relief Vent Pipe 90 Deg Elbow | 1 | 0% | 1 | EA |  | 0 | 0 |  | 0 | 0
REFRIGERANT PIPE
Type "ACR", Copper Tubing With Fittings, ASTM B280, Cleaned, Dehydrated And Sealed, On Hard Temper Straight Lengths.
1 | 3/8" Dia Refrigerant Liquid Pipe (Size assumed) | 25 | 10% | 27.5 | LFT |  | 0 | 0 |  | 0 | 0
2 | 5/8" Dia Refrigerant Suction Pipe (Size assumed) | 25 | 10% | 27.5 | LFT |  | 0 | 0 |  | 0 | 0
REFRIGERANT PIPE INSULATION
1-1/2" Thick, Mineral Fiber Pipe Insulation, Fit Insulation To Pipe, Aligning Longitudinal Joints. Seal Longitudinal Joint Laps And Circumferential Butt Strips By Rubbing Hard With A Nylon Sealing Tool To Assure A Positive Seal. Staples May Be Used To Assist In Securing Insulation. Seal All Vapor Retarder Penetrations On Cold Piping With A Generous Application Of Vapor Barrier Mastic. Provide Inserts And Install With Metal Insulation Shields At Outside Pipe Supports. Install Freeze Protection Insulation Over Heating Cable. (Assumed)
1 | 3/8" Dia Refrigerant Liquid Pipe (Size assumed) | 25 | 10% | 27.5 | LFT |  | 0 | 0 |  | 0 | 0
2 | 5/8" Dia Refrigerant Suction Pipe (Size assumed) | 25 | 10% | 27.5 | LFT |  | 0 | 0 |  | 0 | 0
REFRIGERANT PIPE FITTINGS
ELBOW
1 | 3/8" Dia Refrigerant Liquid Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
2 | 5/8" Dia Refrigerant Suction Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  | 0 | 0 |  | 0 | 0
CONDENSATE DRAIN PIPE
Schedule 40, PVC Plastic Pipe With Fittings, ASTM B88
1 | 3/4" Dia Condensate Drain Pipe | 52.46 | 10% | 57.706 | LFT |  | 0 | 0 |  | 0 | 0
2 | 2" Dia Condensate Drain Pipe | 64 | 10% | 70.4 | LFT |  | 0 | 0 |  | 0 | 0
CONDENSATE DRAIN PIPE INSULATION
1-1/2" Thick, Mineral Fiber Pipe Insulation, Fit Insulation To Pipe, Aligning Longitudinal Joints. Seal Longitudinal Joint Laps And Circumferential Butt Strips By Rubbing Hard With A Nylon Sealing Tool To Assure A Positive Seal. Staples May Be Used To Assist In Securing Insulation. Seal All Vapor Retarder Penetrations On Cold Piping With A Generous Application Of Vapor Barrier Mastic. Provide Inserts And Install With Metal Insulation Shields At Outside Pipe Supports. Install Freeze Protection Insulation Over Heating Cable. (Assumed)
1 | 3/4" Dia Condensate Drain Pipe | 52.46 | 10% | 57.706 | LFT |  | 0 | 0 |  | 0 | 0
2 | 2" Dia Condensate Drain Pipe | 64 | 10% | 70.4 | LFT |  | 0 | 0 |  | 0 | 0
CONDENSATE DRAIN PIPE FITTINGS
ELBOW
1 | 3/4" Dia Condensate Drain Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
2 | 2" Dia Condensate Drain Pipe 90 Deg Elbow | 5 | 0% | 5 | EA |  | 0 | 0 |  | 0 | 0
TEE
1 | 3/4" Dia Condensate Drain Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
DUCT INSULATION
1 | 1-1/2" Thick, Rigid Cellular Phenolic Foam Duct Insulation, ASTM C 1126, Type II, Grade 1, K = 0.021 (0.15) At 10 Degrees C (50 Degrees F), For Use At Temperatures Up To 121 Degrees C (250 Degrees F) With Rigid Cellular Phenolic Insulation And Covering, And All Service Vapor Retarder Jacket. (Thickness assumed) | 3554 | 0% | 3554 | SF |  | 0 | 0 |  | 0 | 0
DUCT WEIGHT
1 | Galvanized Steel Duct Weight | 6451 | 0% | 6451 | LB |  | 0 | 0 |  | 0 | 0
PIPE SUPPORTS
1 | 3/8" Dia Adjustable Clevis Hanger | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
2 | 5/8" Dia Adjustable Clevis Hanger | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
3 | 3/4" Dia Adjustable Clevis Hanger | 44 | 0% | 44 | EA |  | 0 | 0 |  | 0 | 0
4 | 1" Dia Adjustable Clevis Hanger | 35 | 0% | 35 | EA |  | 0 | 0 |  | 0 | 0
5 | 1-1/4" Dia Adjustable Clevis Hanger | 37 | 0% | 37 | EA |  | 0 | 0 |  | 0 | 0
6 | 1-1/2" Dia Adjustable Clevis Hanger | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
7 | 2" Dia Adjustable Clevis Hanger | 6 | 0% | 6 | EA |  | 0 | 0 |  | 0 | 0
8 | 2-1/2" Dia Adjustable Clevis Hanger | 22 | 0% | 22 | EA |  | 0 | 0 |  | 0 | 0
9 | 3" Dia Adjustable Clevis Hanger | 37 | 0% | 37 | EA |  | 0 | 0 |  | 0 | 0
10 | 4" Dia Adjustable Clevis Hanger | 2 | 0% | 2 | EA |  | 0 | 0 |  | 0 | 0
11 | 3/8" Dia Full Threaded Rod W/ Double Locknut (1 foot length) | 122 | 0% | 122 | LFT |  | 0 | 0 |  | 0 | 0
12 | 5/8" Dia Full Threaded Rod W/ Double Locknut (1 foot length) | 67 | 0% | 67 | LFT |  | 0 | 0 |  | 0 | 0
DUCT SUPPORTS
1 | 3/8" Threaded Rod | 204 | 0% | 204 | EA |  | 0 | 0 |  | 0 | 0
2 | 1" x 22 Ga. Strap | 102 | 0% | 102 | EA |  | 0 | 0 |  | 0 | 0
ALLOWANCES (PLEASE ADD YOUR NUMBERS)
1 | Allowance for Air Balancing & Testing of HVAC Systems | 1 | 0% | 1 | LS |  | 0 | 0 |  | 0 | 0
2 | Allowance for Rigging Services | 1 | 0% | 1 | LS |  | 0 | 0 |  | 0 | 0
3 | Core Drill & Fire Stopping | 1 | 0% | 1 | LS |  | 0 | 0 |  | 0 | 0
TOTAL MATERIAL COST | [9 empty] | 0
TOTAL LABOR COST | [9 empty] | 0
TOTAL COST | [9 empty] | 0
OVERHEADS & PROFIT | [8 empty] | 25% | 0
MATERIAL TAX | [8 empty] | 7% | 0
TOTAL BID | [9 empty] | 0
SCOPE OF ESTIMATE:
I | SUPPLY & INSTALLATION
1 | Demolition Work
2 | Flexible Duct
3 | Air Devices
4 | Air Handling Unit
5 | Air Cooled Condensing Unit
6 | Exhaust Fans
7 | Terminal Boxes
8 | Hot Water Unit Heaters
9 | Steam Unit Heaters
10 | Pumps
11 | Water Filter
12 | Expansion Tank
13 | Air Separator
14 | Steam Humidifier
15 | Steam To Heating Hot Water Heat Exchangers
16 | Clean Steam Generator
17 | Steam Pressure Reducing Valve
18 | Flexible Connector
19 | Plenum Box
20 | Access Panel
21 | Bas Panel
22 | Duct End Caps
23 | Volume Dampers
24 | Blast Proof Dampers
25 | Sensor
26 | Heating Hot Water Pipe Accessories
27 | Steam & Condensate Pipe Accessories
28 | Expansion Tank Accessories
29 | Heat Exchanger Accessories
30 | Terminal Unit Water Coil Accessories
31 | In-Line Pump Accessories
32 | Thermostatic Trap Accessories
33 | Air Handling Unit Accessories
34 | Clean Steam Generator Accessories
35 | Water Filter Accessories
36 | Water Treatment Accessories
37 | Heating Hot Water Supply Pipe With Fittings
38 | Heating Hot Water Return Pipe With Fittings
39 | Low Pressure Steam Pipe With Fittings
40 | Safety Relief Vent Pipe With Fittings
41 | Refrigerant Pipe With Fittings
42 | Condensate Drain Pipe With Fittings
43 | Duct Insulation
44 | Duct Weight
45 | Pipe Supports
46 | Duct Supports
47 | Allowances

## Duct Takeoff
|  | PROJECT: | A/E REPLACE LAUNDRY HVAC
|  | ADDRESS: | TOGUS VA MEDICAL CENTER
AUGUSTA, MAINE 04330
DATE: 05/21/2024 |  | REV: | 0
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT
HVAC ESTIMATE
NEW WORK
SHEET METAL DUCT
Galvanized Steel Duct
1 | 6" Dia Supply Air Duct | 8.25 | 10% | 9.075 | LFT
2 | 8" Dia Supply Air Duct | 38.79 | 10% | 42.669 | LFT
3 | 10" Dia Supply Air Duct | 15.8 | 10% | 17.38 | LFT
4 | 12" Dia Supply Air Duct | 22 | 10% | 24.2 | LFT
5 | 14" Dia Supply Air Duct | 128 | 10% | 140.8 | LFT
6 | 16" Dia Supply Air Duct | 18.13 | 10% | 19.943 | LFT
7 | 18" Dia Supply Air Duct | 39.69 | 10% | 43.659 | LFT
8 | 8"x8" Supply Air Duct | 6.35 | 10% | 6.985 | LFT
9 | 10"x12" Supply Air Duct | 9.41 | 10% | 10.351 | LFT
10 | 12"x10" Supply Air Duct | 21.12 | 10% | 23.232 | LFT
11 | 12"x12" Supply Air Duct | 54.76 | 10% | 60.236 | LFT
12 | 14"x14" Supply Air Duct | 5.91 | 10% | 6.501 | LFT
13 | 16"x14" Supply Air Duct | 25.48 | 10% | 28.028 | LFT
14 | 16"x16" Supply Air Duct | 32.27 | 10% | 35.497 | LFT
15 | 18"x18" Supply Air Duct | 71.72 | 10% | 78.892 | LFT
16 | 18"x4" Supply Air Duct | 12.6 | 10% | 13.86 | LFT
17 | 20"x16" Supply Air Duct | 29.47 | 10% | 32.417 | LFT
18 | 20"x20" Supply Air Duct | 30.69 | 10% | 33.759 | LFT
19 | 22"x18" Supply Air Duct | 6.41 | 10% | 7.051 | LFT
20 | 24"x10" Supply Air Duct | 4.85 | 10% | 5.335 | LFT
21 | 24"x18" Supply Air Duct | 9.57 | 10% | 10.527 | LFT
22 | 24"x24" Supply Air Duct | 6 | 10% | 6.6 | LFT
23 | 26"x26" Supply Air Duct | 6 | 10% | 6.6 | LFT
24 | 30"x30" Supply Air Duct | 6 | 10% | 6.6 | LFT
25 | 78"x30" Supply Air Duct | 17.3 | 10% | 19.03 | LFT
26 | 78"x30" Return Air Duct | 13 | 10% | 14.3 | LFT
27 | 10" Dia Exhaust Air Duct | 5 | 10% | 5.5 | LFT
28 | 12" Dia Exhaust Air Duct | 20 | 10% | 22 | LFT
29 | 16" Dia Exhaust Air Duct | 70.83 | 10% | 77.913 | LFT
30 | 20" Dia Exhaust Air Duct | 53.57 | 10% | 58.927 | LFT
31 | 12"x12" Exhaust Air Duct | 4.73 | 10% | 5.203 | LFT
32 | 14"x8" Exhaust Air Duct | 70.19 | 10% | 77.209 | LFT
33 | 14"x14" Exhaust Air Duct | 13.79 | 10% | 15.169 | LFT
34 | 18"x10" Exhaust Air Duct | 54.55 | 10% | 60.005 | LFT
35 | 18"x18" Exhaust Air Duct | 11.47 | 10% | 12.617 | LFT
36 | 22"x12" Exhaust Air Duct | 20.25 | 10% | 22.275 | LFT
37 | 24"x24" Exhaust Air Duct | 34 | 10% | 37.4 | LFT
38 | 46"x22" Exhaust Air Duct | 5.37 | 10% | 5.907 | LFT
DUCT FITTINGS
ELBOW
1 | 14" Dia Supply Air Duct 45 Deg Elbow | 2 | 0% | 2 | EA
2 | 20"x20" Supply Air Duct 45 Deg Elbow | 2 | 0% | 2 | EA
3 | 8" Dia Supply Air Duct 90 Deg Elbow | 3 | 0% | 3 | EA
4 | 14" Dia Supply Air Duct 90 Deg Elbow | 11 | 0% | 11 | EA
5 | 18" Dai Supply Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
6 | 8"x8" Supply Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
7 | 10"x12" Supply Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
8 | 12"x10" Supply Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
9 | 12"x12" Supply Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
10 | 14"x14" Supply Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
11 | 18"x18" Supply Air Duct 90 Deg Elbow | 4 | 0% | 4 | EA
12 | 20"x16" Supply Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
13 | 10" Dia Exhaust Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
14 | 12" Dia Exhaust Air Duct 90 Deg Elbow | 2 | 0% | 2 | EA
15 | 16" Dia Exhaust Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
16 | 14"x8" Exhaust Air Duct 90 Deg Elbow | 4 | 0% | 4 | EA
17 | 14"x14" Exhaust Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
18 | 22"x12" Exhaust Air Duct 90 Deg Elbow | 3 | 0% | 3 | EA
19 | 24"x24" Exhaust Air Duct 90 Deg Elbow | 1 | 0% | 1 | EA
TAKE-OFF
1 | 12" / 8" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
2 | 18" / 8" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
3 | 18" / 14" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
4 | 10"x12" / 8" Dia Supply Air Duct Takeoff | 2 | 0% | 2 | EA
5 | 12"x12" / 6" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
6 | 12"x12" / 8" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
7 | 16"x14" / 8" Dia Supply Air Duct Takeoff | 2 | 0% | 2 | EA
8 | 16"x14" / 14" Dia Supply Air Duct Takeoff | 2 | 0% | 2 | EA
9 | 18"x18" / 14" Dia Supply Air Duct Takeoff | 4 | 0% | 4 | EA
10 | 18"x4" / 12" Dia Supply Air Duct Takeoff | 2 | 0% | 2 | EA
11 | 18"x4" / 16" Dia Supply Air Duct Takeoff | 2 | 0% | 2 | EA
12 | 18"x4" / 18" Dia Supply Air Duct Takeoff | 3 | 0% | 3 | EA
13 | 20"x16" / 14" Dia Supply Air Duct Takeoff | 3 | 0% | 3 | EA
14 | 20"x20" / 14" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
15 | 16"x16" / 12"x10" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
16 | 22"x18" / 12"x12" Supply Air Duct Takeoof | 1 | 0% | 1 | EA
17 | 22"x18" / 18"x18" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
18 | 24"x18" / 16"x14" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
19 | 24"x18" / 20"x16" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
20 | 24"x24" / 18"x18" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
21 | 24"x24" / 20"x16" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
22 | 26"x26" / 16" Dia Supply Air Duct Takeoff | 1 | 0% | 1 | EA
23 | 26"x26" / 20"x20" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
24 | 30"x30" / 14"x14" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
25 | 30"x30" / 16"x16" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
26 | 30"x30" / 24"x10" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
27 | 78"x30" / 24"X24" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
28 | 78"x30" / 26"x26" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
29 | 78"x30" / 30"X30" Supply Air Duct Takeoff | 1 | 0% | 1 | EA
30 | 14"x14" / 10" Dia Exhaust Air Duct Takeoff | 1 | 0% | 1 | EA
31 | 14"x14" / 12" Dia Exhaust Air Duct Takeoff | 1 | 0% | 1 | EA
32 | 14"x14" / 20" Dia Exhaust Air Duct Takeoff | 4 | 0% | 4 | EA
33 | 24"x24" / 20" Dia Exhaust Air Duct Takeoff | 1 | 0% | 1 | EA
34 | 24"x24" / 24"x24" Exhaust Air Duct Takeoff | 1 | 0% | 1 | EA
35 | 24"x24" / 14"x14" Exhaust Air Duct Takeoff | 1 | 0% | 1 | EA
36 | 18"x10" / 14"x8" Exhaust Air Duct Takeoff | 1 | 0% | 1 | EA
37 | 24"x24" / 18"x18" Exhaust Air Duct Takeoff | 2 | 0% | 2 | EA
38 | 24"x24" / 22"x12" Exhaust Air Duct Takeoff | 1 | 0% | 1 | EA
REDUCER
1 | 8" / 6" Supply Air Duct Reducer | 1 | 0% | 1 | EA
2 | 12" / 8" Supply Air Duct Reducer | 1 | 0% | 1 | EA
3 | 16" / 12" Supply Air Duct Reducer | 1 | 0% | 1 | EA
4 | 18" / 14" Supply Air Duct Reducer | 1 | 0% | 1 | EA
5 | 18" / 16" Supply Air Duct Reducer | 1 | 0% | 1 | EA
6 | 20"x16" / 16"x14" Supply Air Duct Reducer | 1 | 0% | 1 | EA
7 | 20"x20" / 12"x12" Supply Air Duct Reducer | 1 | 0% | 1 | EA
8 | 14"x8" / 12"x12" Exhaust Air Duct Reducer | 2 | 0% | 2 | EA
9 | 18"x10" / 14"x8" Exhaust Air Duct Reducer | 1 | 0% | 1 | EA
10 | 22"x12" / 18"x18" Exhaust Air Duct Reducer | 2 | 0% | 2 | EA
11 | 46"x12" / 22"x12" Exhaust Air Duct Reducer | 3 | 0% | 3 | EA
TRANSITION
1 | 12"x10" / 8" Dia Supply Air Duct Transition | 1 | 0% | 1 | EA
2 | 12"x12" / 14" Dia Supply Air Duct Transition | 1 | 0% | 1 | EA
3 | 14"x14" / 10" Dia Supply Air Duct Transition | 1 | 0% | 1 | EA
4 | 16"x14" / 14" Dia Supply Air Duct Transition | 2 | 0% | 2 | EA
5 | 16"x16" / 12" Dia Supply Air Duct Transition | 1 | 0% | 1 | EA
6 | 18"x18" / 6" Dia Supply Air Duct Transition | 1 | 0% | 1 | EA
7 | 18"x18" / 14" Dia Supply Air Duct Transition | 3 | 0% | 3 | EA
8 | 20"x16" / 14" Dia Supply Air Duct Transition | 2 | 0% | 2 | EA
9 | 14"x14" / 10" Dia Exhaust Air Duct Transition | 1 | 0% | 1 | EA
10 | 18"x10" / 16" Dia Exhaust Air Duct Transition | 1 | 0% | 1 | EA
11 | 24"x24" / 16" Dia Exhaust Air Duct Transition | 1 | 0% | 1 | EA