## Below Grade
Client
[9 empty] | Date |  |  | 2024-06-15
[9 empty] | Sub Total |  |  | 0
PROJECT: Camas Center Medical & Dental Addition, ADDRESS: 1821 LECLERC RD. N #1, KALISPEL TRIBE, CUSICK, WASHINGTON | [8 empty] | Profit/Overhead @ 25% |  |  | 0
[9 empty] | Total |  |  | 0
[9 empty] | LABOR RATE |  |  | 102.3
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | UNIT MATERIAL COST | UNIT LABOR COST | TOTAL LABOR HOURS | TOTAL MATERIAL COST | TOTAL LABOR COST | UNIT ITEM COST | TOTAL COST
DEMOLITION WORK
PIPING W/ FITTINGS
1 | Remove Existing Plumbing Piping With Fittings | 837.69 | 0% | 837.69 | LFT | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
NEW WORK
TRAP PRIMER PIPE (BELOW GRADE)
Type "K", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Trap Primer Pipe | 60 | 10% | 66 | LFT | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
TRAP PRIMER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Trap Primer Pipe 90 Deg Elbow | 6 | 0% | 6 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
WASTE PIPE (BELOW GRADE)
Schedule 40, PVC Pipe With Fittings (Assumed)
1 | 2" Dia Waste Pipe | 592.78 | 10% | 652.058 | LFT | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Waste Pipe | 132.81 | 10% | 146.091 | LFT | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Waste Pipe | 245.68 | 10% | 270.248 | LFT | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
4 | 10" Dia Waste Pipe | 30.09 | 10% | 33.099 | LFT | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
WASTE PIPE FITTINGS
ELBOW
1 | 2" Dia Waste Pipe 45 Deg Elbow | 21 | 0% | 21 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Waste Pipe 45 Deg Elbow | 1 | 0% | 1 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Waste Pipe 45 Deg Elbow | 3 | 0% | 3 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
4 | 2" Dia Waste Pipe 90 Deg Elbow | 46 | 0% | 46 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
5 | 3" Dia Waste Pipe 90 Deg Elbow | 12 | 0% | 12 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
6 | 4" Dia Waste Pipe 90 Deg Elbow | 5 | 0% | 5 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
WYE
1 | 2" Dia Waste Pipe Wye | 22 | 0% | 22 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Waste Pipe Wye | 3 | 0% | 3 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Waste Pipe Wye | 6 | 0% | 6 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
4 | 2" / 1-1/2" Dia Waste Pipe Wye | 32 | 0% | 32 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
5 | 3" / 2" Dia Waste Pipe WYe | 17 | 0% | 17 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
6 | 4" / 2" Dia Waste Pipe Wye | 23 | 0% | 23 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
7 | 4" / 3" Dia Waste Pipe Wye | 11 | 0% | 11 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
8 | 10" / 4" Dia Waste Pipe Wye | 1 | 0% | 1 | EA | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2" / 1-1/2" Dia Waste Pipe Reducer | 25 | 0% | 25 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" / 2" Dia Waste Pipe Reducer | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" / 2" Dia Waste Pipe Reducer | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 10" / 4" Dia Waste Pipe Reducer | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE (BELOW GRADE)
Schedule 40, PVC Pipe With Fittings (Assumed)
1 | 2" Dia Vent Pipe | 77.9 | 10% | 85.69 | LFT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE FITTINGS
ELBOW
1 | 2" Dia Vent Pipe 45 Deg Elbow | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Vent Pipe 90 Deg Elbow | 18 | 0% | 18 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OXYGEN PIPE (BELOW GRADE)
Type "K", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Oxygen Pipe | 90.73 | 10% | 99.803 | LFT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OXYGEN PIPE FITTINGS
ELBOW
1 | 1/2" Dia Oxygen Pipe 90 Deg Elbow | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Oxygen Pipe Tee | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NITROUS OXIDE PIPE (BELOW GRADE)
Type "K", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Nitrous Oxide Pipe | 94.1 | 10% | 103.51 | LFT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NITROUS OXIDE PIPE FITTINGS
ELBOW
1 | 1/2" Dia Nitrous Oxide Pipe 90 Deg Elbow | 9 | 0% | 9 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Nitrous Oxide Pipe Tee | 5 | 0% | 5 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FLOOR SINK
1 | 3" Dia FS-1, Floor Sink, JAY R. SMITH 3110Y-12, Body Cast Iron, Nickel Bronzed Material. 1: Provide With ½” Dia Trap Primer. | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAINS
1 | 2" Dia FD-1, Floor Drain, JAY R. SMITH 2005-A-P-U-Y, Body Cast Iron, Strainer/Grate; Vandal-Proof Round Style, Nickel Bronzed Material. 1: Provide With ½” Dia Trap Primer. | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia DSN-1, Downspout Nozzle, JAY R. SMITH 1770, Cast Brass Body Material. | 2 | 0% | 2 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
P-TRAP
1 | 2" Dia P-Trap | 8 | 0% | 8 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CLEANOUTS
1 | 1-1/2" Dia COTF, Floor Cleanout | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia COTF, Floor Cleanout | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" Dia Plug Cleanout | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 4" Dia COTF, Floor Cleanout | 4 | 0% | 4 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 4" Dia COTG, Grade Cleanout | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MAINHOLE
1 | Mainhole | 1 | 0% | 1 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PVC PIPE COUPLINGS
1 | 2" Dia | 67 | 0% | 67 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia | 13 | 0% | 13 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia | 24 | 0% | 24 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 10" Dia | 3 | 0% | 3 | EA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE [PLEASE ADD YOUR NUMBER]
1 | Mobilization & demobilization costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Payment and performance bond costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Permits and fees | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Storage container rental costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Utility costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Tool costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Callback costs during warranty period | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Miscellaneous costs | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL MATERIAL COST | [11 empty] | 0 |  | .
TOTAL LABOR COST | [11 empty] | 0
[11 empty] | TOTAL LABOR HOURS | 0
TOTAL COST | [11 empty] | 0
OVERHEADS & PROFIT | [10 empty] | 25% | 0
TOTAL BID | [11 empty] | 0
SCOPE OF TAKEOFF:
I | SUPPLY & INSTALLATION
1 | Demolition Work
2 | Trap Primer Pipe W/ Fittings
3 | Waste Pipe W/ Fittings
4 | Vent Pipe W/ Fittings
5 | Oxygen Pipe W/ Fittings
6 | Nitrous Oxide Pipe W/ Fittings
7 | Floor Sink
8 | Drains
9 | P-Trap
10 | Cleanouts
11 | Manhole
12 | PVC Pipe Coupling
13 | Allowances

## Above Grade
Client
[9 empty] | Date |  |  | 2024-06-15
[9 empty] | Sub Total |  |  | 0
PROJECT: Camas Center Medical & Dental Addition, ADDRESS: 1821 LECLERC RD. N #1, KALISPEL TRIBE, CUSICK, WASHINGTON | [8 empty] | Profit/Overhead @ 25% |  |  | 0
[9 empty] | Total |  |  | 0
[9 empty] | LABOR RATE |  |  | 102.3
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | UNIT MATERIAL COST | UNIT LABOR COST | TOTAL LABOR HOURS | TOTAL MATERIAL COST | TOTAL LABOR COST | UNIT ITEM COST | TOTAL COST
NEW WORK
COLD WATER PIPE (ABOVE GRADE)
Type "L", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Cold Water Pipe | 629 | 10% | 691.9 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe | 250.95 | 10% | 276.045 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe | 270.59 | 10% | 297.649 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia Cold Water Pipe | 59.48 | 10% | 65.428 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" Dia Cold Water Pipe | 155.18 | 10% | 170.698 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2-1/2" Dia Cold Water Pipe | 225.92 | 10% | 248.512 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE INSULATION
3/4" Thick, Fiberglass Pipe Insulation (Assumed)
1 | 1/2" Dia Cold Water Pipe | 629 | 10% | 691.9 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe | 250.95 | 10% | 276.045 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe | 270.59 | 10% | 297.649 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia Cold Water Pipe | 59.48 | 10% | 65.428 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" Dia Cold Water Pipe | 155.18 | 10% | 170.698 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2-1/2" Dia Cold Water Pipe | 225.92 | 10% | 248.512 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Cold Water Pipe 90 Deg Elbow | 127 | 0% | 127 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe 90 Deg Elbow | 30 | 0% | 30 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe 90 Deg Elbow | 29 | 0% | 29 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia Cold Water Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" Dia Cold Water Pipe 90 Deg Elbow | 8 | 0% | 8 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2-1/2" Dia Cold Water Pipe 90 Deg Elbow | 10 | 0% | 10 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Cold Water Pipe Tee | 10 | 0% | 10 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe Tee | 7 | 0% | 7 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe Tee | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 3/4" / 1/2" Dia Cold Water Pipe Tee | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 1" / 1/2" Dia Cold Water Pipe Tee | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 1" / 3/4" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 1-1/2" / 1/2" Dia Cold Water Pipe Tee | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 1-1/2" / 3/4" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 1-1/2" / 1" Dia Cold Water Pipe Tee | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 2" / 1/2" Dia Cold Water Pipe Tee | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 2" / 3/4" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 2" / 1" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 2" / 1-1/2" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 2-1/2" / 1" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 2-1/2" / 2" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 3/4" / 1/2" Dia Cold Water Pipe Reducer | 12 | 0% | 12 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" / 3/4" Dia Cold Water Pipe Reducer | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/2" / 1/2" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" / 1" Dia Cold Water Pipe Reducer | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" / 3/4" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2" / 1" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2" / 1-1/2" Dia Cold Water Pipe Reducer | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 2-1/2" / 2" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE (ABOVE GRADE)
Type "L", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Hot Water Pipe | 533.47 | 10% | 586.817 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Pipe | 180.04 | 10% | 198.044 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Hot Water Pipe | 246.93 | 10% | 271.623 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Hot Water Pipe | 93.08 | 10% | 102.388 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Hot Water Pipe | 84.97 | 10% | 93.467 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE INSULATION
3/4" Thick, Fiberglass Pipe Insulation (Assumed)
1 | 1/2" Dia Hot Water Pipe | 533.47 | 10% | 586.817 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Pipe | 180.04 | 10% | 198.044 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Hot Water Pipe | 246.93 | 10% | 271.623 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Hot Water Pipe | 93.08 | 10% | 102.388 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Hot Water Pipe | 84.97 | 10% | 93.467 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Hot Water Pipe 45 Deg Elbow | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Hot Water Pipe 45 Deg Elbow | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/2" Dia Hot Water Pipe 45 Deg Elbow | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1/2" Dia Hot Water Pipe 90 Deg Elbow | 110 | 0% | 110 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 3/4" Dia Hot Water Pipe 90 Deg Elbow | 14 | 0% | 14 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1" Dia Hot Water Pipe 90 Deg Elbow | 9 | 0% | 9 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 1-1/4" Dia Hot Water Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 1-1/2" Dia Hot Water Pipe 90 Deg Elbow | 9 | 0% | 9 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Hot Water Pipe Tee | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Pipe Tee | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Hot Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia Hot Water Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 3/4" / 1/2" Dia Hot Water Pipe Tee | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1" / 1/2" Dia Hot Water Pipe Tee | 10 | 0% | 10 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 1" / 3/4" Dia Hot Water Pipe Tee | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 1-1/4" / 1/2" Dia Hot Water Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 1-1/4" / 3/4" Dia Hot Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 1-1/4" / 1" Dia Hot Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 1-1/2" / 1" Dia Hot Water Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 1-1/2" / 1-1/4" Dia Hot Water Pipe Tee | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 3/4" / 1/2" Dia Hot Water Pipe Reducer | 13 | 0% | 13 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" / 1/2" Dia Hot Water Pipe Reducer | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" / 3/4" Dia Hot Water Pipe Reducer | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" / 1" Dia Hot Water Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" / 1/2" Dia Hot Water Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1-1/2" / 1" Dia Hot Water Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE (ABOVE GRADE)
Type "L", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Hot Water Return Pipe | 155.31 | 10% | 170.841 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Return Pipe | 36.12 | 10% | 39.732 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE INSULATION
3/4" Thick, Fiberglass Pipe Insulation (Assumed)
1 | 1/2" Dia Hot Water Return Pipe | 155.31 | 10% | 170.841 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Return Pipe | 36.12 | 10% | 39.732 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE FITTINGS
ELBOW
1 | 1/2" Dia Hot Water Return Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Return Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Hot Water Return Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" / 1/2" Dia Hot Water Return Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 3/4" / 1/2" Dia Hot Water Return Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE (ABOVE GRADE)
No Hub Cast Iron Pipe With Fittings (Assumed)
1 | 1-1/2" Dia Vent Pipe | 547.85 | 10% | 602.635 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Vent Pipe | 455.07 | 10% | 500.577 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" Dia Vent Pipe | 14.65 | 10% | 16.115 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE FITTINGS
ELBOW
1 | 1-1/2" Dia Vent Pipe 90 Deg Elbow | 43 | 0% | 43 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Vent Pipe 90 Deg Elbow | 32 | 0% | 32 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" Dia Vent Pipe 90 Deg Elbow | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
TEE
1 | 1-1/2" Dia Vent Pipe Tee | 7 | 0% | 7 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Vent Pipe Tee | 27 | 0% | 27 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" Dia Vent Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" / 1-1/2" Dia Vent Pipe Tee | 9 | 0% | 9 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" / 1-1/2" Dia Vent Pipe Tee | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 3" / 2" Dia Vent Pipe Tee | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2" / 1-1/2" Dia Vent Pipe Reducer | 7 | 0% | 7 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" / 1-1/2" Dia Vent Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROOF DRAIN PIPE (ABOVE GRADE)
No Hub Cast Iron Pipe With Fittings (Assumed)
1 | 3" Dia Roof Drain Pipe | 158.2 | 10% | 174.02 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia Roof Drain Pipe | 27.3 | 10% | 30.03 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROOF DRAIN PIPE INSULATION
1" Thick, Fiberglass Pipe Insulation (Assumed)
1 | 3" Dia Roof Drain Pipe | 158.2 | 10% | 174.02 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia Roof Drain Pipe | 27.3 | 10% | 30.03 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROOF DRAIN PIPE FITTINGS
ELBOW
1 | 3" Dia Roof Drain Pipe 45 Deg Elbow | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Roof Drain Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Roof Drain Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 3" Dia Roof Drain Pipe Wye | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" / 3" Dia Roof Drain Pipe Wye | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 4" / 3" Dia Roof Drain Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
OVERFLOW ROOF DRAIN PIPE (ABOVE GRADE)
No Hub Cast Iron Pipe With Fittings (Assumed)
1 | 3" Dia Overflow Roof Drain Pipe | 156.76 | 10% | 172.436 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia Overflow Roof Drain Pipe | 21.77 | 10% | 23.947 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
OVERFLOW ROOF DRAIN PIPE INSULATION
1" Thick, Fiberglass Pipe Insulation (Assumed)
1 | 3" Dia Overflow Roof Drain Pipe | 156.76 | 10% | 172.436 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia Overflow Roof Drain Pipe | 21.77 | 10% | 23.947 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
OVERFLOW ROOF DRAIN PIPE FITTINGS
ELBOW
1 | 3" Dia Overflow Roof Drain Pipe 45 Deg Elbow | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Overflow Roof Drain Pipe 90 Deg Elbow | 5 | 0% | 5 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Overflow Roof Drain Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 3" Dia Overflow Roof Drain Pipe Wye | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" / 3" Dia Overflow Roof Drain Pipe Wye | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 4" / 3" Dia Overflow Roof Drain Pipe Reducer | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
OXYGEN PIPE (ABOVE GRADE)
Type "L", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Oxygen Pipe | 81 | 10% | 89.1 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
OXYGEN PIPE FITTINGS
ELBOW
1 | 1/2" Dia Oxygen Pipe 90 Deg Elbow | 8 | 0% | 8 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
NITROUS OXIDE PIPE (ABOVE GRADE)
Type "L", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Nitrous Oxide Pipe | 82 | 10% | 90.2 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
NITROUS OXIDE PIPE FITTINGS
ELBOW
1 | 1/2" Dia Nitrous Oxide Pipe 90 Deg Elbow | 8 | 0% | 8 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
VACUUM AIR PIPE (ABOVE GRADE)
Type "L", Copper Tubing With Fittings (Assumed)
1 | 3/4" Dia Vacuum Pipe | 40.75 | 10% | 44.825 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Vacuum Pipe | 40.41 | 10% | 44.451 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/2" Dia Vacuum Pipe | 6.26 | 10% | 6.886 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" Dia Vacuum Pipe | 93.61 | 10% | 102.971 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
VACUUM AIR PIPE FITTINGS
ELBOW
1 | 3/4" Dia Vacuum Pipe 45 Deg Elbow | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Vacuum Pipe 45 Deg Elbow | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" Dia Vacuum Pipe 45 Deg Elbow | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 3/4" Dia Vacuum Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1" Dia Vacuum Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1-1/2" Dia Vacuum Pipe 90 Deg Elbow | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2" Dia Vacuum Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
WYE
1 | 2" Dia Vacuum Pipe Wye | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" / 3/4" Dia Vacuum Pipe Wye | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" / 1" Dia Vacuum Pipe Wye | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
COMPRESSED AIR PIPE (ABOVE GRADE)
Type "L", Copper Tubing With Fittings (Assumed)
1 | 1/2" Dia Compressed Air Pipe | 224.56 | 10% | 247.016 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
COMPRESSED AIR PIPE FITTINGS
ELBOW
1 | 1/2" Dia Compressed Air Pipe 45 Deg Elbow | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1/2" Dia Compressed Air Pipe 90 Deg Elbow | 30 | 0% | 30 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Compressed Air Pipe Tee | 12 | 0% | 12 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEMPERATURE & PRESSURE RELIEF PIPE (FOR WATER HEATER)
Schedule 40, PVC Pipe With Fittings
1 | 3/4" Dia Temperature & Pressure Relief Pipe | 15 | 10% | 16.5 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TEMPERATURE & PRESSURE RELIEF PIPE FITTINGS
ELBOW
1 | 3/4" Dia Temperature & Pressure Relief Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAIN PAN PIPE (FOR WATER HEATER)
Schedule 40, PVC Pipe With Fittings
1 | 3/4" Dia Drain Pan Pipe | 15 | 10% | 16.5 | LFT |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAIN PAN PIPE FITTINGS
ELBOW
1 | 3/4" Dia Drain Pan Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
HOSE BIBB
1 | 3/4" Dia HB-1, Hose Bibb, WOODFORD MODEL 24 | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
WALL HYDRANT
1 | 1/2" Dia FPWH-1, Wall Hydrant, JAY R. SMITH MODEL 5519, With Vacuum Breaker Loose - Tee Key. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia FPWH-1, Wall Hydrant, JAY R. SMITH MODEL 5519, With Vacuum Breaker Loose - Tee Key. | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
VALVES
1 | 1/2" Dia Shutoff Valve | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Shutoff Valve | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Shutoff Valve | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Shutoff Valve | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Shutoff Valve | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2" Dia Shutoff Valve | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2-1/2" Dia Shutoff Valve | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Dental Suite HW & CW Supply Filter & Shutoff Solenoid Valve Assemblies, 1" Dia Connection Size | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 1/2" Dia RHW, Return Hot Water Flow Balance Station | 5 | 0% | 5 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | TMV-1, Thermostatic Mixing Valve, BRADLEY S59-3045 (HL45), 1.5 GPM Flow Rate. 1: Hi-Low Range Valve. 2: Provide With Mounting Cabinet And Thermostat. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | O2 & N20 Emergency Shut-Off Valve Box, 1/2" Dia Pipe Connection | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
GOOSENECK
1 | 2" Dia Compressed Air Intake Gooseneck | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia VAC Exhaust Gooseneck | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
PIPE CAPS
1 | 1/2" Dia Pipe Cap | 33 | 0% | 33 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Pipe Cap | 14 | 0% | 14 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" Dia Pipe Cap | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER HAMMER ARRESTOR
1 | 1/2" Dia Water Hammer Arrestor | 89 | 0% | 89 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Water Hammer Arrestor | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Water Hammer Arrestor | 8 | 0% | 8 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
VENT THROUGH ROOF
1 | 3" Dia VTR, Vent Through Roof | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
NO HUB PIPE COUPLINGS
3 | 1-1/2" Dia | 126 | 0% | 126 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" Dia | 174 | 0% | 174 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 3" Dia | 67 | 0% | 67 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 4" Dia | 20 | 0% | 20 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
PVC PIPE COUPLINGS
1 | 3/4" Dia | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
PIPE SUPPORTS
1 | 1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 284 | 0% | 284 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Adjustable Clevis Hanger W/ Threaded Rod | 84 | 0% | 84 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Adjustable Clevis Hanger W/ Threaded Rod | 93 | 0% | 93 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Adjustable Clevis Hanger W/ Threaded Rod | 15 | 0% | 15 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 116 | 0% | 116 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 70 | 0% | 70 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 2-1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 22 | 0% | 22 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 3" Dia Adjustable Clevis Hanger W/ Threaded Rod | 55 | 0% | 55 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 4" Dia Adjustable Clevis Hanger W/ Threaded Rod | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE [PLEASE ADD YOUR NUMBER]
1 | Mobilization & demobilization costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Payment and performance bond costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Permits and fees | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Storage container rental costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Utility costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Tool costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Callback costs during warranty period | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Miscellaneous costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL MATERIAL COST | [11 empty] | 0 |  | .
TOTAL LABOR COST | [11 empty] | 0
[11 empty] | TOTAL LABOR HOURS | 0
TOTAL COST | [11 empty] | 0
OVERHEADS & PROFIT | [10 empty] | 25% | 0
TOTAL BID | [11 empty] | 0
SCOPE OF TAKEOFF:
I | SUPPLY & INSTALLATION
1 | Cold Water Pipe W/ Fittings
2 | Hot Water Pipe W/ Fittings
3 | Hot Water Return Pipe W/ Fittings
4 | Vent Pipe W/ Fittings
5 | Roof Drain & Overflow Roof Drain Pipe W/ Fittings
6 | Oxygen Pipe W/ Fittings
7 | Nitrous Oxide Pipe W/ Fittings
8 | Vacuum Air Pipe W/ Fittings
9 | Compressed Air Pipe W/ Fittings
10 | Temperature & Pressure Relief Pipe W/ Fittings
11 | Drain Pan Pipe W/ Fittings
12 | Hose Bibb
13 | Wall Hydrant
14 | Valves
15 | Gooseneck
16 | Pipe Caps
17 | Water Hammer Arrestor
18 | Vent Through Roof
19 | PVC & No Hub Pipe Coupling
20 | Pipe Supports
21 | Allowances

## Plumbing Fixtures
Client
[9 empty] | Date |  |  | 2024-06-15
[9 empty] | Sub Total |  |  | 0
PROJECT: Camas Center Medical & Dental Addition, ADDRESS: 1821 LECLERC RD. N #1, KALISPEL TRIBE, CUSICK, WASHINGTON | [8 empty] | Profit/Overhead @ 25% |  |  | 0
[9 empty] | Total |  |  | 0
[9 empty] | LABOR RATE |  |  | 102.3
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | UNIT MATERIAL COST | UNIT LABOR COST | TOTAL LABOR HOURS | TOTAL MATERIAL COST | TOTAL LABOR COST | UNIT ITEM COST | TOTAL COST
DEMOLITION WORK
FIXTRUES
1 | Remove Existing Lavatory | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Remove Existing Sink | 7 | 0% | 7 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Remove Existing Two Compartment Sink | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Remove Existing Water Closet | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
NEW WORK
PLUMBING FIXTURES
1 | P1, ADA Water Closet, AMERICAN STANDARD MADERA 16.5" HEIGHT 3043.001, Floor Mounting, Vitreous China Material, Faucet / Valve; Auto Flush Valve Type SLOAN ROYAL 113 ESS-1.28-TMO-HW, 1.28 GPM, Integral Trap, Carrier JAY R. SMITH 200/400 SERIES, Accessories; Seat BEMIS Open Front White. 1: Mount Per Ada Requirements. 2: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 8 | 0% | 8 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | P1A, Water Closet, AMERICAN STANDARD MADERA 15" HEIGHT 2234.01, Floor Mounting, Vitreous China Material, Faucet / Valve; Auto Flush Valve Type SLOAN ROYAL 113 ESS-1.28-TMO-HW, 1.28 GPM, Integral Trap, Carrier JAY R. SMITH 200/400 SERIES, Accessories; Seat BEMIS Open Front White. 1: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 0 | 0% | 0 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | P2, Urinal, AMERICAN STANDARD WASHBROOK 6590.001, Wall Mounting, Vitreous China Material, Faucet / Valve; Auto Flush Valve Type SLOAN ROYAL 186 ESS-0.125-DBP-TMO-HW, 0.125 GPM, Integral Drain, Integral Trap, Carrier JAY R. SMITH 0600 SERIES. 1: Mount Per Ada Requirements. 2: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | P3, Lavatory, AMERICAN STANDARD LUCERNE 0356.421 (SINGLE HOLE), Wall Mounting, Vitreous China Material, Size 20"x18", Faucet / Valve; Auto Sensor Faucet Type SLOAN OPTIMA-EAF-100-HLT-ISM-CP-0.35-MLM-IR-IQ-FCT, 0.35 GPM, Integral Drain ELKAY (OFFSET), Carrier JAY R. SMITH 0700 SERIES. 1: Mount Per Ada Requirements. 2: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. 3: Provide With Plumber Ex Trap & Supplies Wrap Kit. | 7 | 0% | 7 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | P4, Single Comp. Sink, ELKAY LR1918, Counter Mounting, Stainless Steel Material, Size 19"x18"x7-5/8" 2-Hole, Faucet / Valve; Auto Sensor Faucet Type CHICAGO FAUCET 116.103.AB.1 , 0.50 GPM, Integral Drain S.S. Grid Drain. 1: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 16 | 0% | 16 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | P5, Single Comp. Sink, ELKAY LR1918, Counter Mounting, Stainless Steel Material, Size 19"x18"x7-5/8" 1-Hole, Faucet / Valve; Single Lever CHICAGO FAUCET 2302-E72ABCP, 0.50 GPM, Integral Drain S.S. With Basket Strainer. 1: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | P6, Double Comp. Sink, ELKAY DLR332210, Counter Mounting, Stainless Steel Material, Size 33"x22"x10" 2-Hole, Faucet / Valve; Single Lever CHICAGO FAUCET 2302-E72ABCP, 2.2 GPM, Integral Drain S.S. With Basket Strainer. 1: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. 2: Install Plaster Trap On Dental Lab Sink, Furnished By Dental Equip. Vendor. 3: Install Drain Hose From Dental Trimmer Unit To Sink Tailpiece Drain Fitting. 4: Provide 1/2" Cold Water Line And 3/8" Angle Valve Stop At Countertop For Trimmer Unit. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | P7, Single Comp. Sink, ELKAY LR1918, Counter Mounting, Stainless Steel Material, Size 19"x18"x7-5/8" 3-Hole, Faucet / Valve; Single Lever With Side Spray Rinse CHICAGO FAUCET 2304-ABCP, 0.50 GPM, Integral Drain S.S. With Basket Strainer. 1: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | P8, Single Comp. Sink, "BY DENTAL EQUIP. VENDOR" 1: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 5 | 0% | 5 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | P9, Double Comp. Sink, ELKAY DLR332210, Counter Mounting, Stainless Steel Material, Size 13"x22"x10 1-Hole, Faucet / Valve; Single Side Lever With Pull Down Spout CHICAGO FAUCET 434-ABCP, 2.2 GPM, Integral Drain S.S. With Basket Strainer. 1: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | P10, Elec. Water Cooler With Bottle Filler, ELKAY LZSTL8WSLK, Wall Mounting, Stainless Steel Material, Size Double Unit Ada Bi-Level, Electrical Data; 120V, 60HZ, 370W. 1: Mount Per Ada Requirements. 2: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | P10A, Elec. Water Cooler With Bottle Filler, ELKAY LZS8WSSP, Wall Mounting, Stainless Steel Material, Size Single Unit Ada Bi-Level, Electrical Data; 120V, 60HZ, 370W. 1: Mount Per Ada Requirements. 2: Caulk Fixture At Floor, Countertop And / Or Wall Surface With Caulking. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | P11, Mop Sink, ACORN TRC-28, Floor Mounting, Terrazzo Material, Size 28"x28" Rounded Corner, Faucet / Valve; Mop Sin Faucet CHICAGO FAUCET 897-CP, Integral Grid Drain. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | P12, Emergency Eye Wash, GUARDIAN G1895, Deck Mounting, Stainless Steel Material, Faucet / Valve; Thermostatic Mixing Valve GUARDIAN. | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | P13, Ice Maker Box, GUY GRAY 88133, Wall Mounting, 20 Ga. Steel White Powder Coated. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | P14, Ada Shower Enclosure & Faucet, AQUATIC 1363BFDS, Surround Mounting, Applied Acrylic Material, Size 36"Wx36"D Interior, Faucet / Valve; Thermostatic Mixing Valve With Spray Hose LEONARD 76-3A, Integral Brass Grid Drain, Accessories; Ada Bars And Fold Up Seat - RH. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
DENTAL EQUIPMENT (BY DENTAL EQIPMENT VENDOR)
1 | Dental Vacuum Pump | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Dental Air Compressor | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Dental Utility Console | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Oeygen & Nitrous Oxide Gas Manifold & Cylenders | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
OXYGEN & NITROUS GAS MANIFOLD & CYLINDERS DETAIL
1 | O2 Cylinder | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | N2O Cylinder | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1/2" Dia Supply Check Valve By Dental Equipment Vendor | 12 | 0% | 12 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Dual Gas Manifold By Dental Equipment Vendor | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Unistrut & Clamp | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
VACUUM PUMP DETAIL
1 | 1/2" Drain Valve | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Amalgum Seperator | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
AIR COMPRESSOR DETAIL
1 | 1/2" Dia Drain Valve | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1/2" Dia Union | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ELECTRIC WATER HEATER
1 | WH-1, Water Heater, A.O. SMITH VOLTEX HYBRID HPTU-80N, 80 Gallons, Electrical Data; 208/240V, 1Ph, 30Amps. 1: High Efficiency Hybrid Heat Pump / Electric Resistance Water Heater. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ELECTRIC WATER HEATER DETAIL
1 | 3/4" Dia Ball Valve | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Blanceing Valve | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Check Valve | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia Check Valve | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 1" Dia Shutoff Valve | 6 | 0% | 6 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1-1/2" Dia Shutoff Valve | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | 1/2" Dia Union | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | 1" Dia Union | 4 | 0% | 4 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | 1-1/2" Dia Union | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 3/4" Dia Check Valve | 2 | 0% | 2 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 3/4" Dia Hose Bibb | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | Pressure Gauge And Clock | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Thermometer | 3 | 0% | 3 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | DET-1, Expansion Tank, AMTROL ST-20V-C | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
PUMP
1 | RCP-1, Domestic Hot Water Recirculation Pump, TACO 0034eP-SF2, 4 GPM, 14' Head, 3250 RPM, Electrical Data; 170 Watts, 115 Voltage, 1 Phase, 60 Hertz. 1: Variable Speed Circulator With ECM Motor, Stainless Steel Pump For Open Potable Water Systems. 2: Provide With Taco "00" 7-Day Digital Programmable Timer. 3: 1.48 Max Amps. | 1 | 0% | 1 | EA |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE [PLEASE ADD YOUR NUMBER]
1 | Mobilization & demobilization costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Payment and performance bond costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Permits and fees | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Storage container rental costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | Utility costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | Tool costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | Callback costs during warranty period | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 | Miscellaneous costs | 1 | 0% | 1 | LS |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL MATERIAL COST | [11 empty] | 0 |  | .
TOTAL LABOR COST | [11 empty] | 0
[11 empty] | TOTAL LABOR HOURS | 0
TOTAL COST | [11 empty] | 0
OVERHEADS & PROFIT | [10 empty] | 25% | 0
TOTAL BID | [11 empty] | 0
SCOPE OF TAKEOFF:
I | SUPPLY & INSTALLATION
1 | Demolition Work
2 | Plumbing Fixtures
3 | Dental Equipments W Detail
4 | Water Heater W/ Detail
5 | Pump
6 | Allowances