## Bid Recap & Summary
PROJECT NAME: CITY OF VINELAND ENGINEERING/PUBLIC WORKS DATE: 06/10/2024
BID RECAP
| SR. NO. | DESCRIPTION | MATERIAL COST | LABOR COST | MATERIAL TAX | LABOR TAX | TOTAL COST | OVERHEADS | PROFITS | TOTAL PRICE
| 1 | DISTRIBUTION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | BRANCH WIRING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | WIRING DEVICES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | LIGHTING FIXTURES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | LIGHTING CONTROLS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 6 | ROUGH-IN FOR LOW VOLTAGE SYSTEM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | FIRE ALARM SYSTEM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | DEMOLITION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | TOTALS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BID SUMMARY |  |  |  |  | MAN-LOADING AND SUPERVISION ANALYSIS
| 1 | TOTAL MATERIAL COST |  | 0 |  | 1 | TOTAL MANHOURS WITH SUPERVISION |  |  | 0.45
|  | MATERIAL SALES TAX | 6.625% | 0 |  | 2 | NUMBER OF MAN-DAYS |  |  | 0.05625
|  | JOB EXPENSE |  | 0 |  | 3 | MAN LOAD |  |  | 5
| 2 | TOTAL LABOR COST |  | 0 |  | 4 | ELECTRICIAN RATE |  | 3 | 135
|  | LABOR TAX |  | 0 |  | 5 | SUPERVISOR RATE |  | 1 | 142
| 3 | TOTAL COST |  | 0 |  | 6 | UNSKILLED LABOR RATE |  | 1 | 61
|  | OVERHEADS @ | 10% | 0 |  | 7 | COMPOSITE LABOR RATE |  |  | 121.6
|  | PROFIT @ | 10% | 0 |  | 8 | PREVAILING WAGE RATE |  |  | N/A
| 4 | TOTAL COST WITH OVERHEADS + PROFIT |  | 0
|  | BID SECURITY |  | 0 |  |  | INSERT VALUES IN YELLOW HIGHLIGHTED CELLS WHERE APPLICABLE
|  | ALLOWANCES |  | 0
|  | MOBILIZATION / DEMOBILIZATION |  | 0
|  | SUB-CONTRACTS |  | 0
|  | BOND PREMIUM |  | 0
| 5 | BASE BID PRICE |  | 0
Terms and Conditions/Disclaimer: The quantities, numbers, scope, or any other information contained in this document has been complied to the best of our knowledge. By utilizing or deriving any of the information contained in this document, you accept the information, quantities and costs as accurate and waive to any claims for errors in information. Bidding Enterprise LLC does not warranty any of the information contained in this document. The information contained in this document are for informational purpose only and to be used as a guideline for quantities and pricing. It is the responsibility of the contractor performing the work to review quantities and bid documents and finalize pricing and materials based on current prices.

## Estimate
PROJECT NAME: CITY OF VINELAND ENGINEERING/PUBLIC WORKS DATE: 06/10/2024 | [10 empty] | TOTAL BID PRICE |  | 0
ADD QUOTATION FOR LIGHTING FIXTURES, CONTROLS, WIRING DEVICES, FIRE ALARM SYSTEM AND SWITCHGEAR
SR. NO. | DWG. NO. | DETAIL NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT MATERIAL COST | MATERIAL COST | MANHOUR RATE | UNIT MANHOURS | TOTAL MANHOURS | MANHOURS COST | TOTAL COST
DISTRIBUTION | [9 empty] | 121.6
CONDUITS
1 | E3.0 |  | 3" CONDUIT - RMC - GALV | 146 | 10% | 160.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" COUPLING - RMC - GALV | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" ELBOW 90 DEG - RMC - GALV | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" LOCKNUT - STEEL | 24 | 0% | 24 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" BUSHING - PLASTIC | 12 | 0% | 12 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" MEASURE CUT & THREAD LABOR - RMC - GALV | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" SPRING STL CONDUIT CLAMP W/ BOLT | 19 | 0% | 19 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3/8-16x 1 1/2 HEX HEAD BOLT - PLTD STL | 19 | 0% | 19 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3/8" FLAT WASHER - PLTD STL | 19 | 0% | 19 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | MALL BEAM CLAMP TO 1" FLNG W/ 3/8-16 THRD HOLE BTM+BACK | 19 | 0% | 19 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | 3" CONDUIT - PVC40 | 66 | 10% | 72.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" ELBOW 90 DEG - RMC - GALV | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" LOCKNUT - STEEL | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" COUPLING - PVC | 8 | 0% | 8 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3" ADAPTER FEM - PVC | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E3.0 |  | 1 1/2" CONDUIT - EMT | 27 | 10% | 29.7 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1 1/2" ELBOW 90 DEG - EMT | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1 1/2" CONN COMP STL - EMT | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1 1/2" COUPLING COMP STL - EMT | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1 1/2" BUSHING - PLASTIC | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1 1/2" EMT OR 1 1/4" RMC CLAMP - BTM MNT TO 5/8" FLNG BEAM CLAMP | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
CONDUCTORS
1 | E3.0 |  | #350 XHHW | 264 | 10% | 290.4 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | #350 THHN | 584 | 10% | 642.4 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E3.0 |  | #1 THHN | 240 | 10% | 264 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 | E3.0 |  | #6 THHN | 27 | 10% | 29.7 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
GROUNDING
1 | E2.0 |  | 3/4" CONDUIT - PVC40 | 40 | 10% | 44 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" ELBOW 90 DEG - RMC - GALV | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" LOCKNUT - STEEL | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" COUPLING - PVC | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" ADAPTER FEM - PVC | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E2.0 |  | # 4 BARE COPPER - 7-STRAND | 40 | 10% | 44 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E2.0 |  | # 6 BARE COPPER - 7-STRAND | 40 | 10% | 44 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 | E2.0 |  | #4/0 BARE COPPER - 19-STRAND | 80 | 10% | 88 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 | E2.0 |  | #1/0 BARE COPPER - 19-STRAND | 60 | 10% | 66 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
6 | E2.0 |  | #4/0 BONDING JUMPER 5' | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
7 | E2.0 |  | #1/0 BONDING JUMPER 5' | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
8 | E2.0 |  | 5/8" X 10' GROUND ROD | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
9 | E2.0 |  | EXOTHERMIC WELD CONNECTION | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
10 | E2.0 |  | CAD WELD CONNECTION | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
11 | E2.0 |  | TEST WELL | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
12 | E2.0 |  | TMGB | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
DISCONNECT SWITCHES
1 | E3.0 |  | 30A/1P COMBINATION STARTER DISCONNECT SWITCH | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | 30A/2P/15AF FUSED DISCONNECT SWITCH NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 | E3.0 |  | 30AS/3P/25AF FUSED DISCONNECT SWITCH | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 | E3.0 |  | 60A/3P/40AF FUSED DISCONNECT SWITCH NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 | E3.0 |  | 60A/3P/50AF FUSED DISCONNECT SWITCH NEMA 3R | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 | E3.0 |  | 600A/3P MAIN DISCONNECT SWITCH NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
BREAKERS
1 | E6.0 |  | 20A/1P CIRCUIT BREAKER | 169 | 0% | 169 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E6.0 |  | 20A/2P CIRCUIT BREAKER | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 | E6.0 |  | 30A/3P CIRCUIT BREAKER | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 | E6.0 |  | 40A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 | E6.0 |  | 50A/3P CIRCUIT BREAKER | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 | E6.0 |  | 60A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 | E6.0 |  | 150A/3P CIRCUIT BREAKER | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 | E6.0 |  | 600A/3P ENCLOSED CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 | E6.0 |  | 600A MAIN CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
PANELS
1 | E6.0 |  | PANEL L1, 600A MCB, 120/208V, 3PH, 4W, 25KAIC, SURFACE MOUNTED | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E6.0 |  | PANEL L2, 150A MLO, 120/208V, 3PH, 4W, 25KAIC, SURFACE MOUNTED | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 | E6.0 |  | PANEL L3, 150A MLO, 120/208V, 3PH, 4W, 25KAIC, SURFACE MOUNTED | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
EQUIPMENT
1 | E3.0 |  | GENERATOR 150KW, 08PF, 208/120V, 3PH, 4W BATTERY CHARGER BLOCK HEATER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | AUTOTRANS.SW. ATS1 600A, 3P, 208/120, 50KAIC OPEN TRANSITION | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
EQUIPMENT CONNECTIONS
1 | E3.0 |  | EQUIPMENT CONNECTION FOR CH | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | EQUIPMENT CONNECTION FOR CP | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E3.0 |  | EQUIPMENT CONNECTION FOR DWH2 | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 | E3.0 |  | EQUIPMENT CONNECTION FOR EF | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 | E3.0 |  | EQUIPMENT CONNECTION FOR HP | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
6 | E3.0 |  | EQUIPMENT CONNECTION FOR RTU | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
7 | E3.0 |  | EQUIPMENT CONNECTION FOR SS | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
MISCELLANEOUS
1 |  |  | SPLICE PULLBOX | 0.85 | 0% | 0.85 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | SCOTCHLOCK CONNECTOR | 3.45 | 0% | 3.45 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | COMPRESSION CONNECTOR | 24 | 0% | 24 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | TRENCHING AND BACKFILLING | 40 | 0% | 40 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | RECEPTACLE BRACKET SL18 W/(8) SCREWS EACH | 178 | 0% | 178 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | CABLE SUPPORT CU6 W/(2) SCREWS EACH | 356 | 0% | 356 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | ELECTRICAL WEATHERHEAD | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | CONCRETE PAD FOR GENERATOR | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | BOLLARD FOR GENERATOR | 9 | 0% | 9 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | QUOTATION FOR SWITCHGEAR | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
BRANCH WIRING
CONDUITS - LIGHTING
1 | E2.0 |  | 3/4" CONDUIT - PVC40 | 20 | 10% | 22 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" ELBOW 90 DEG - RMC - GALV | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" LOCKNUT - STEEL | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" COUPLING - PVC | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" ADAPTER FEM - PVC | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E2.0 |  | 3/4" CONDUIT - RMC - GALV | 10 | 10% | 11 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 3/4" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 1/2 OR 3/4" SNAP CLOSE CLIP - BTM MNT ON 1/4" FLNG HNGR | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 1/2 OR 3/4" CONDUIT+BOX SUPPORT - BTM MNT ON 1/4" FLNG HNGR | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4 9/16x 1 15/16" DEEP CAST BOX W/ 4x 3/4" HUBS - CI | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | COVER ROUND BLANK - CI | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
CONDUCTORS - LIGHTING
1 | E2.0 |  | #12 THHN | 90 | 10% | 99 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E2.0 |  | #8/2C, #12/1C | 940 | 10% | 1034 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E2.0 |  | #10/2C SOLID MC | 1307 | 10% | 1437.7 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 | E2.0 |  | #12/2C SOLID MC | 1666 | 10% | 1832.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 | E2.0 |  | CAT 5e | 1060 | 10% | 1166 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
CONDUITS - POWER
1 | E3.0 |  | 3/4" CONDUIT - PVC40 | 37 | 10% | 40.7 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3/4" ELBOW 90 DEG - RMC - GALV | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3/4" LOCKNUT - STEEL | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3/4" COUPLING - PVC | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3/4" ADAPTER FEM - PVC | 3 | 0% | 3 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | 3/4" CONDUIT - RMC - GALV | 18 | 10% | 19.8 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 3/4" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1/2 OR 3/4" SNAP CLOSE CLIP - BTM MNT ON 1/4" FLNG HNGR | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1/2 OR 3/4" CONDUIT+BOX SUPPORT - BTM MNT ON 1/4" FLNG HNGR | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4 9/16x 1 15/16" DEEP CAST BOX W/ 4x 3/4" HUBS - CI | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | COVER ROUND BLANK - CI | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E3.0 |  | 3/4"C LFMC | 25 | 10% | 27.5 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
CONDUCTORS - POWER
1 | E3.0 |  | #8 THHN | 50 | 10% | 55 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | #10 THHN | 190 | 10% | 209 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E3.0 |  | #8/2C, #10/1C MC | 8082 | 10% | 8890.2 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 | E3.0 |  | #10/2C SOLID MC | 3603 | 10% | 3963.3 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 | E3.0 |  | #12/2C SOLID MC | 1270 | 10% | 1397 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
CONDUITS - EQUIPMENT
1 | E3.0 |  | 1"C LFMC | 5 | 10% | 5.5 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | 3/4"C LFMC | 36 | 10% | 39.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
CONDUCTORS - EQUIPMENT
1 | E3.0 |  | #4 THHN | 15 | 10% | 16.5 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | #6 THHN | 45 | 10% | 49.5 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E3.0 |  | #8 THHN | 20 | 10% | 22 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 | E3.0 |  | #10 THHN | 25 | 10% | 27.5 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 | E3.0 |  | #4/3C, #10/1C MC | 164 | 10% | 180.4 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
6 | E3.0 |  | #6/3C, #10/1C MC | 576 | 10% | 633.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
7 | E3.0 |  | #8/3C, #8/1C MC | 94 | 10% | 103.4 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
8 | E3.0 |  | #8/2C, #10/1C MC | 503 | 10% | 553.3 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
9 | E3.0 |  | #10/2C SOLID MC | 680 | 10% | 748 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
WIRING DEVICES
DEVICES |  |  | DEVICES
1 | E3.0 |  | 20A SPECIAL RECEPTACLE NEMA 6R | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1G SINGLE REC PLATE - SS | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E3.0 |  | DUPLEX RECEPTACLE CEILING CANOPY COOPER #5362 HUBBELL #5362 LEVITON #5362 | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E3.0 |  | DUPLEX RECEPTACLE COOPER #5362 HUBBELL #5362 LEVITON #5362 | 108 | 0% | 108 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 108 | 0% | 108 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 108 | 0% | 108 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 108 | 0% | 108 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 216 | 0% | 216 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1G DUPLEX REC PLATE - SS | 108 | 0% | 108 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 | E3.0 |  | DUPLEX RECEPTACLE GFI COOPER #XGF20 HUBBELL #GF5362 LEVITON #7599 | 28 | 0% | 28 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 28 | 0% | 28 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 28 | 0% | 28 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 28 | 0% | 28 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 56 | 0% | 56 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1G DUPLEX REC PLATE - SS | 28 | 0% | 28 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 | E3.0 |  | DUPLEX RECEPTACLE WP/GFI | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 10 | 0% | 10 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 1G DUPLEX REC PLATE - SS | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
6 | E3.0 |  | QUAD RECEPTACLE | 33 | 0% | 33 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 33 | 0% | 33 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4" SQ 2G PLSTR RING 5/8" RISE | 33 | 0% | 33 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 33 | 0% | 33 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 66 | 0% | 66 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 2G DUPLEX REC PLATE - SS | 33 | 0% | 33 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
7 | E3.0 |  | QUAD RECEPTACLE CABLE TRAY MOUNTED | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0.45 | 54.72 | 54.72
| E3.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 4" SQ 2G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E3.0 |  | 2G DUPLEX REC PLATE - SS | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
8 | E3.0 |  | TWO CHANNEL TELE-POWER POLE WITH ALUMINUM HOUSING, IVORY FINISH, VERFITY COLOR WITH ARCHITECT, WIREMOLD AMDTP-4 SERIES •(2) DUPLEX RECEPTACLE •(1) 4 PORT DATA OUTLET | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 | E3.0 |  | MANUAL MOTOR CONTROLLER WITH PILOT LIGHT TO SUIT MOTOR. | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 54.72
LIGHTING FIXTURES
LIGHTING FIXTURES |  |  | DEVICES
1 | E2.0 |  | A1 2X4 LED EDGE LIT FLAT PANEL WITH NARROW WITH ALUMINUM TRIM/FRAME, SEAMLESS CORNERS, AND WHITE FROSTED SMOOTH ACRYLIC SCRATCH & IMPACT RESISTANT LENS. LITHONIA #EPANL-2X4-4000LM-80CRI-35K-MIN1-ZT-MVOLT | 97 | 0% | 97 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E2.0 |  | A1X 2X4 LED EDGE LIT FLAT PANEL WITH NARROW WITH ALUMINUM TRIM/FRAME, SEAMLESS CORNERS, AND WHITE FROSTED SMOOTH ACRYLIC SCRATCH & IMPACT RESISTANT LENS WITH EMERGENCY BATTERY BACKUP. LITHONIA #EPANL-2X4-4000LM-80CRI-35K-MIN1-ZT-MVOLT | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 | E2.0 |  | A2 2X4 LED EDGE LIT FLAT PANEL WITH NARROW WITH ALUMINUM TRIM/FRAME, SEAMLESS CORNERS, AND WHITE FROSTED SMOOTH ACRYLIC SCRATCH & IMPACT RESISTANT LENS. LITHONIA #EPANL-2X4-4800LM-80CRI-35K-MIN1-ZT-MVOLT | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 | E2.0 |  | A2X 2X4 LED EDGE LIT FLAT PANEL WITH NARROW WITH ALUMINUM TRIM/FRAME, SEAMLESS CORNERS, AND WHITE FROSTED SMOOTH ACRYLIC SCRATCH & IMPACT RESISTANT LENS WITH EMERGENCY BATTERY BACKUP. LITHONIA #EPANL-2X4-4800LM-80CRI-35K-MIN1-ZT-MVOLT | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 | E2.0 |  | A3 2X4 LED EDGE LIT FLAT PANEL WITH NARROW WITH ALUMINUM TRIM/FRAME, SEAMLESS CORNERS, AND WHITE FROSTED SMOOTH ACRYLIC SCRATCH & IMPACT RESISTANT LENS. LITHONIA #EPANL-2X4-5400LM-80CRI-35K-MIN1-ZT-MVOLT | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 | E2.0 |  | B1 2X2 LED EDGE LIT FLAT PANEL WITH NARROW WITH ALUMINUM TRIM/FRAME, SEAMLESS CORNERS, AND WHITE FROSTED SMOOTH ACRYLIC SCRATCH & IMPACT RESISTANT LENS. LITHONIA #EPANL-2X2-4800LM-80CRI-35K-MIN1-ZT-MVOLT | 15 | 0% | 15 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 | E2.0 |  | BX 2X2 LED EDGE LIT FLAT PANEL WITH NARROW WITH ALUMINUM TRIM/FRAME, SEAMLESS CORNERS, AND WHITE FROSTED SMOOTH ACRYLIC SCRATCH & IMPACT RESISTANT LENS WITH EMERGENCY BATTERY BACKUP. LITHONIA #EPANL-2X2-4800LM-80CRI-35K-MIN1-ZT-MVOLT | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 | E2.0 |  | C 8" SLENDER LED STRIP LIGHT WITH A FROSTED POLYCARBONATE LENS. PENDANT MOUNTED WITH A CHAIN-MOUNT SUSPENSION BRACKET LITHONIA #CLX-L48-5000LM-SEF-FDL-MVOLT-35K80CRI-E-10WLCP | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 | E2.0 |  | CX 8" SLENDER LED STRIP LIGHT WITH A FROSTED POLYCARBONATE LENS. PENDANT MOUNTED WITH A CHAIN-MOUNT SUSPENSION BRACKET WITH EMERGENCY BATTERY BACKUP. LITHONIA #CLX-L48-5000LM-SEF-FDL-MVOLT-35K80CRI-E-10WLCP | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 | E2.0 |  | DX 1'X4' LED RECESSED LIGHTING FIXTURE WITH PAINTED WHITE STEEL CONSTRUCTION. RIBBED FROSTED LENS WITH LOW GLARE. DIFFUSED LIGHTING DISTRIBUTION. WITH EMERGENCY BATTERY BACKUP LITHONIA #EPANEL-1X4-3000LM-80CRI-35K-MIN1-EZT-MVOLT-1X4SMKSH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
11 | E2.0 |  | E (IN EXISTING BOX) ARCHITECTURAL LED WALL SCONE WITH ALUMINUM HOUSING, FORWARD THROW LIGHT DISTRIBUTION, WET LOCATION IP66 RATING, AND PROVIDE WITH BLACK COLOR LITHONIA # WDGE1-P2-40K-80CRI-VF-MVOLT-STRM-DBLXD | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
12 | E2.0 |  | G (IN EXISTING BOX) 36" DIAMETER LED LIGHTING FIXTURE WITH 0-10V DIMMING. COLD-ROLLED STEEL HOUSING WITH A SILVER FINISH CORONET #PRD-3-35-MED-UNV-DB-SLV-SM-SD-EMPCK | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
13 | E2.0 |  | GX (IN EXISTING BOX) 36" DIAMETER LED LIGHTING FIXTURE WITH 0-10V DIMMING. COLD-ROLLED STEEL HOUSING WITH A SILVER FINISH WITH EMERGENCY BATTERY PACK CORONET #PRD-3-35-MED-UNV-DB-SLV-SM-SD-EMPCK | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
14 | E2.0 |  | H 18" LED LIGHTING FIXTURE ALUMINUM HARDWARE WITH CO-EXTRUDED ACRYLIC DIFFUSER AND BRUSHED ALUMINUM FINISH WAC LIGHTING #WS-63718-AL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
15 | E2.0 |  | J (IN EXISTING BOX) 15" WALL SCONE WITH A WHITE METERED CERAMIC GLAZED GLASS AND A STAIN NICKEL FINISH. WAC LIGHTING #WS-42618-SN | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
16 | E2.0 |  | K 6" DIA X 8.5 RECESSED DOWNLIGHT WITH CLEAR POLYCARBONATE LENS AND ANTI-MICROBIAL WHITE PAINTED FINISH WITH 1% DIMMING. 1% SUITABLE FOR WET LOCATION. GOTHAM #EV0-35/20-6AR-MD-LSS-EZ1 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
17 | E2.0 |  | X1 LED SINGLE FACED CEILING MOUNTED EXIT LIGHT WITH WHITE THERMOPLASTIC HOUSING FACE AND RED LETTER WITH BATTERY BACK-UP THAT SHALL POWER EMERGENCY LIGHT FIXTURE LITHONIA #LHQM-S-W-3-R-HORO | 20 | 0% | 20 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
18 | E2.0 |  | X2 LED DOUBLE FACED CEILING MOUNTED EXIT LIGHT WITH WHITE THERMOPLASTIC HOUSING FACE AND RED LETTER WITH BATTERY BACK-UP THAT SHALL POWER EMERGENCY LIGHT FIXTURE LITHONIA #LHQM-S-W-3-R-120/277 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
19 | E2.0 |  | X3 LED TWIN HEAD REMOTE EMERGENCY LAMP WITH BLACK THERMOPLASTIC AND HIGH PERFORMANCE LEDS WITH ACRYLIC LENS LITHONIA #ELM2L-B | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
LIGHTING SUPPORTS |  |  | DEVICES
1 | E2.0 |  | JUNCTION BOX FOR TROFFER LIGHT | 136 | 0% | 136 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E2.0 |  | HANGER SUPPORT CABLE | 1632 | 0% | 1632 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E2.0 |  | EARTHQUAKE CLIPS | 544 | 0% | 544 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
|  |  | QUOTATION FOR LIGHTING FIXTURES | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
LIGHTING CONTROLS
1 | E2.0 |  | DIMMER SWITCH WITH LOW VOLTAGE SENSOR | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E2.0 |  | MS CEILING OUTLET AND DUAL TECHNOLOGY MOTION SENSOR FOR LIGHTING CONTROL, ACUITY nCM PDT 9 OR APPROVED SIMILAR | 28 | 0% | 28 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 | E2.0 |  | MSnHW CEILING OUTLET AND DUAL TECHNOLOGY MOTION SENSOR FOR LIGHTING CONTROL, IN HALLWAYS. ACUITY nHW 13 OR APPROVED SIMILAR | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 | E2.0 |  | OUTLET BOX IN WALL AND LOW VOLTAGE DIMMER SWITCH WITH DUAL TECHNOLOGY VACANCY SENSOR SWITCH, ACUITY NWSX PDT LV | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 12 | 0% | 12 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 | E2.0 |  | OUTLET BOX IN WALL AND LOW VOLTAGE DIMMER SWITCH WITH DUAL TECHNOLOGY VACANCY SENSOR SWITCH, ACUITY NWSX PDT LV | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
6 | E2.0 |  | OUTLET BOX IN WALL DIMMER SWITCH WITH DUAL TECHNOLOGY VACANCY SENSOR SWITCH, ACUITY WSX DPDT OR APPROVED SIMILAR | 13 | 0% | 13 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 13 | 0% | 13 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 13 | 0% | 13 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 13 | 0% | 13 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 26 | 0% | 26 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
7 | E2.0 |  | PC LIGHTING CONTROL DAYLIGHT SENSOR ACUITY nCM ADCX OR APPROVED SIMILAR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 | E2.0 |  | PP OUTLET BOX MOUNTED MOTION LOW VOLTAGE SENSOR POWER PACK WITH DIMMING OUTPUT, ACUITY nPP16 EPF OR APPROVED SIMILAR | 17 | 0% | 17 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 17 | 0% | 17 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 17 | 0% | 17 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 17 | 0% | 17 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 34 | 0% | 34 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
9 | E2.0 |  | SLV LOW VOLTAGE SWITCH ACUITY nPODM OR APPROVED EQUAL | 7 | 0% | 7 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 7 | 0% | 7 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 7 | 0% | 7 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 7 | 0% | 7 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 14 | 0% | 14 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 1G TGL SWITCH PLATE - SS | 7 | 0% | 7 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
10 | E2.0 |  | SMS VACANCY SENSOR SWITCH | 14 | 0% | 14 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 14 | 0% | 14 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 14 | 0% | 14 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 14 | 0% | 14 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 28 | 0% | 28 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
11 | E2.0 |  | S SINGLE POLE SWITCH HUBBELL #HBL1221 COOPER #2221 LEVITON #1221-2 | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E2.0 |  | 1G TGL SWITCH PLATE - SS | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
|  |  | QUOTATION FOR LIGHTING CONTROLS | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
ROUGH-IN FOR LOW VOLTAGE SYSTEM
CONDUITS
1 | E4.0 |  | 4" CONDUIT - EMT | 56 | 10% | 61.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" ELBOW 90 DEG - EMT | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" CONN COMP STL - EMT | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" COUPLING COMP STL - EMT | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" BUSHING - PLASTIC | 5 | 0% | 5 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" SPRING STL CONDUIT CLAMP W/ BOLT | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1/4-20x 1/2 HEX HEAD BOLT - PLTD STL | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1/4-20 HEX NUT - PLTD STL | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | BEAM CLAMP TO 5/8" FLNG W/ 1/4-2O THRD HOLE | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
2 | E4.0 |  | 4" CONDUIT - PVC40 | 286 | 10% | 314.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" ELBOW 90 DEG - RMC - GALV | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" LOCKNUT - STEEL | 23 | 0% | 23 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" COUPLING - PVC | 35 | 0% | 35 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" ADAPTER FEM - PVC | 23 | 0% | 23 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
3 | E4.0 |  | 4" CONDUIT - RMC - GALV | 194 | 10% | 213.4 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" COUPLING - RMC - GALV | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" ELBOW 90 DEG - RMC - GALV | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" LOCKNUT - STEEL | 32 | 0% | 32 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" BUSHING - PLASTIC | 16 | 0% | 16 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" MEASURE CUT & THREAD LABOR - RMC - GALV | 8 | 0% | 8 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 4" SPRING STL CONDUIT CLAMP W/ BOLT | 25 | 0% | 25 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 3/8-16x 1 1/2 HEX HEAD BOLT - PLTD STL | 25 | 0% | 25 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 3/8" FLAT WASHER - PLTD STL | 25 | 0% | 25 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | MALL BEAM CLAMP TO 1" FLNG W/ 3/8-16 THRD HOLE BTM+BACK | 25 | 0% | 25 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
4 | E4.0 |  | 1" CONDUIT - EMT | 1324 | 10% | 1456.4 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1" CONN COMP STL - EMT | 106 | 0% | 106 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1" COUPLING COMP STL - EMT | 133 | 0% | 133 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1" SNAP CLOSE CLIP - BTM MNT ON 1/4" FLNG HNGR | 144 | 0% | 144 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
5 | E4.0 |  | 1" CONDUIT - PVC40 | 46 | 10% | 50.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1" LOCKNUT - STEEL | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1" COUPLING - PVC | 6 | 0% | 6 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1" ADAPTER FEM - PVC | 4 | 0% | 4 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
6 | E4.0 |  | 3/4" CONDUIT - EMT | 1050 | 10% | 1155 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 3/4" CONN COMP STL - EMT | 84 | 0% | 84 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 3/4" COUPLING COMP STL - EMT | 105 | 0% | 105 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
| E4.0 |  | 1/2 OR 3/4" SNAP CLOSE CLIP - BTM MNT ON 1/4" FLNG HNGR | 115 | 0% | 115 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
7 | E4.0 |  | PULL STRING | 2956 | 10% | 3251.6 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
8 | E4.0 |  | (4 EA) 12" W X 4"D CABLE TRAY | 27 | 0% | 27 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
9 | E4.0 |  | 4"C EMT SLEAVE 2' | 14 | 0% | 14 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
10 | E4.0 |  | 4"C EMT SLEAVE 12' | 2 | 0% | 2 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
DEVICES |  |  | DEVICES
1 | E4.0 |  | ACCESS CONTROL DOOR | 18 | 0% | 18 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E4.0 |  | ACCESS CONTROL DOOR RELEASE BUTTON | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 | E4.0 |  | CARD READER | 19 | 0% | 19 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 | E4.0 |  | CCTV SECURITY CAMERA | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 | E4.0 |  | INTERCOM STATION WITH VIDEO CAMERA | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 | E4.0 |  | ISCE PANEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 | E4.0 |  | JUNCTION BOX FOR SECURITY PANEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 | E4.0 |  | OUTLET BOX IN WALL WITH DATA JACK AND DEVICE PLATE | 58 | 0% | 58 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 | E4.0 |  | OUTLET BOX WITH (1) DATA JACK AND DEVICE PLATE FOR WIRELESS ACCESS POINT | 9 | 0% | 9 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 | E4.0 |  | WALL OUTLET AND TELEVISION SIGNAL JACK | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
11 | E4.0 |  | J-HOOKS •TREE BRACKET (317 FT) •SECURING CLIP FOR EACH J-HOOK | 70 | 0% | 70 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
12 | E4.0 |  | 24" X 36" FLUSH HAND HOLE HUBBELL QUAZITE OR APPROVED EQUAL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
13 | E4.0 |  | BACK BOX | 123 | 0% | 123 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
14 | E4.0 |  | 4" X 4" SQUARE JUNCTION BOX | 19 | 0% | 19 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
FIRE ALARM SYSTEM
CONDUCTORS
1 | E4.0 |  | #14/2C FPLP | 1142 | 10% | 1256.2 | FT | 0 | 0 | 121.6 |  | 0 | 0 | 0
DEVICES |  |  | DEVICES
1 | E4.0 |  | ADDRESSABLE SMOKE DETECTOR, DUCT TYPE . WITH REMOTE TEST SWITCH IN READILY ACCESSIBLE LOCATION. ACTIVATION OF DETECTOR SHALL BE CAUSE FAN TO SHUT-DOWN. | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E4.0 |  | DIGITAL COMMUNICATOR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 | E4.0 |  | DUCT SMOKE DETECTOR REMOTE STATUS LAMP INDICATOR FLUSH MOUNTED IN CEILING | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 | E4.0 |  | FAAP FIRE ALARM ANNUNCIATOR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 | E4.0 |  | FACP FIRE ALARM CONTROL PANEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 | E4.0 |  | FIRE ALARM AUDIO/VIDEO UNIT | 9 | 0% | 9 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 | E4.0 |  | FIRE ALARM SYSTEM VISUAL UNIT | 24 | 0% | 24 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 | E4.0 |  | MANUAL FIRE ALARM ADDRESSABLE PULL STATION | 9 | 0% | 9 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 | E4.0 |  | SD C, COMBINATION SMOKE DETECTOR WITH CARBON MONOXIDE DETECTOR AND TEMPORAL SOUNDER BASE | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 | E4.0 |  | BACK BOXSES | 52 | 0% | 52 | EA | 0 | 0 | 121.6 |  | 0 | 0 | 0
|  |  | QUOTATION FOR FIRE ALARM SYSTEM | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
DEMOLITION
REMOVAL |  |  | DEVICES
1 | E1.0 |  | REMOVE EXISTING ALL CONDUIT AND CONDUCTOR FOR POWER, LIGHTING, AND EQUIPMENT | 11159.87 | 0% | 11159.87 | SQFT |  | 0 | 121.6 |  | 0 | 0 | 0
2 | E1.0 |  | REMOVAL OF EXISTING CONDUIT CONDUCTOR FOR PANEL | 89 | 0% | 89 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
3 | E1.0 |  | REMOVAL OF COMMUNICATION SYSTEM EQUIPMENT | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 | E1.0 |  | REMOVAL OF EXISTING 1X4 LIGHTING FIXTURE | 7 | 0% | 7 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 | E1.0 |  | REMOVAL OF EXISTING 2X2 LIGHTING FIXTURE | 11 | 0% | 11 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 | E1.0 |  | REMOVAL OF EXISTING 2X4 LIGHTING FIXTURE | 153 | 0% | 153 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 | E1.0 |  | REMOVAL OF EXISTING DATA OUTLET | 78 | 0% | 78 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 | E1.0 |  | REMOVAL OF EXISTING DOWNLIGHT LIGHTING FIXTURE | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 | E1.0 |  | REMOVAL OF EXISTING DUPLEX RECEPTACLE | 205 | 0% | 205 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 | E1.0 |  | REMOVAL OF EXISTING DUPLEX RECEPTACLE GFI | 12 | 0% | 12 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
11 | E1.0 |  | REMOVAL OF EXISTING EMERGENCY LIGHTING FIXTURE | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
12 | E1.0 |  | REMOVAL OF EXISTING EQUIPMENT CONNECTION EXHAUST FAN | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
13 | E1.0 |  | REMOVAL OF EXISTING EXIT LIGHT | 14 | 0% | 14 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
14 | E1.0 |  | REMOVAL OF EXISTING JUNCTION BOX | 38 | 0% | 38 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
15 | E1.0 |  | REMOVAL OF EXISTING MOTION SENSOR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
16 | E1.0 |  | REMOVAL OF EXISTING QUAD RECEPTACLE | 14 | 0% | 14 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
17 | E1.0 |  | REMOVAL OF EXISTING QUAD RECEPTACLE GFI | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
18 | E1.0 |  | REMOVAL OF EXISTING RTU | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
19 | E1.0 |  | REMOVAL OF EXISTING SINGLE POLE SWITCH | 82 | 0% | 82 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
20 | E1.0 |  | REMOVAL OF EXISTING WALL SCONE LIGHTING FIXTURE | 11 | 0% | 11 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
21 | E1.0 |  | REMOVAL OF EXISTING WIRE TROUGH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
22 | E1.0 |  | REMOVAL OF EXISTING PANEL XL1 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
23 | E1.0 |  | REMOVAL OF EXISTING PANEL XL2 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
24 | E1.0 |  | REMOVAL OF EXISTING PANEL XL3 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
25 | E1.0 |  | REMOVAL OF EXISTING PANEL XL4 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
26 | E1.0 |  | REMOVAL OF EXISTING WEATHERHEAD | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 |  |  |  | 0
TOTAL MATERIAL COST | [12 empty] | 0
TOTAL LABOR COST | [12 empty] | 54.72
TOTAL LABOR HOURS | [12 empty] | 0.45
| SCOPE OF ESTIMATE: | [7 empty] | COST & INSTALLATION OF LOW VOLTAGE SYSTEM DEVICES IS NOT INCLUDED
| SR. NO. | SUPPLY & INSTALLATION
| 1 | DISTRIBUTION
| 2 | WIRING DEVICES
| 3 | LIGHTING FIXTURES
| 4 | BRANCH WIRING
| 5 | POWER FEEDERS
| 6 | ROUGH-IN FOR LOW VOLTAGE SYSTEM
| 7 | ROUGH-IN FOR FIRE ALARM SYSTEM
| 8 | DEMOLITION
| SR. NO. | INCLUSIONS
| 1 | THE ESTIMATE INCLUDES THE INFORMATION SHOWN ONLY ON THE DRAWINGS
| 2 | THE ESTIMATE INCLUDES MATERIAL PRICES (EXCEPT FOR QUOTED ITEMS - LIGHTING FIXTURES, CONTROLS, WIRING DEVICES, FIRE ALARM SYSTEM AND SWITCHGEAR)
| 3 | INCLUDES LABOR HOURS FOR INSTALLATION FOR ALL ITEMS
| SR. NO. | EXCLUSIONS
| 1 | FIRESTOPPING IS NOT INCLUDED FOR WALL PENETRATION.
| 2 | PERMITS AND FEES
| 3 | TEMPORARY POWER IS NOT INCLUDED.
| 4 | EXCLUDES ANY SAW CUTTING OF CONCRETE
| 5 | VOICE/DATA OUTLETS ARE EXCLUDED
| SR. NO. | NOTES
| 1 | MC CABLE IS FIGURED FOR BRANCH AND HOME CIRCUITS FOR LIGHTING, POWER, AND EQUIPMENT
| 2 | #14/2C FPLP CABLE FOR ALL FIRE ALARM DEVICES
| 3 | ON THE ROOF PLAN I HAVE USED MC CABLE AND LFMC CONDUIT AS PER OUR DISCUSSION IN THE MEETING
| 4 | THIS ESTIMATE IS UPDATED ACCORDINGLY ADDENDUM #1
Terms and Conditions/Disclaimer: The quantities, numbers, scope, or any other information contained in this document has been complied to the best of our knowledge. By utilizing or deriving any of the information contained in this document, you accept the information, quantities and costs as accurate and waive to any claims for errors in information. Bidding Enterprise LLC does not warranty any of the information contained in this document. The information contained in this document are for informational purpose only and to be used as a guideline for quantities and pricing. It is the responsibility of the contractor performing the work to review quantities and bid documents and finalize pricing and materials based on current prices.