## BID FORM
CLICK HERE TO GO BACK TO COST SUMMARY
BID FORM
BASE BID
ITEM NO. | DESCRIPTION | QTY. | UNIT | UNIT PRICE | TOTAL PRICE
1 | Electrical | 1 | LS | 0 | 750
|  |  |  | Subtotal | 750
|  |  |  | GRAND TOTAL | 750

## COST SUMMARY
COST SUMMARY
|  | Date: | 2024-05-20 |  |  |  |  | Project Type: | Public
|  | Project: | Fine Arts Electrical Upgrade |  |  |  |  | Scope of Work: | Electrical
|  | Project Location: | 28000 Marguerite Pkwy Mission Viejo, CA 92692 |  |  |  |  | Total Base Bid: | 0
| BASE BID /ALTERNATES/ALLOWANCES |  | TOTAL COSTS
| Base Bid |  | 0
| Allowances |  | 750
Bid Form
Note: Click on any of the above text to go to the relevant Tab
For Client's Use Only
| CSI Summary for Base Bid | [6 empty] | Comparison with Sub-Quotes
| Div. No. | CSI Division | Labor Cost | Material Cost | Total Cost | % of sub-total cost |  | Enter Sub-Quotes here | Difference | Comments
| DIV-01 | General Requirements | 0 | 0 | 0 | #DIV/0! |  |  | 0
| DIV-02 | Existing Conditions | 0 | 0 | 0 | #DIV/0! |  |  | 0
| DIV-26 | Electrical | 0 | 0 | 0 | #DIV/0! |  |  | 0
|  | SUB TOTAL | 0 | 0 | 0 |  |  |  | 0
|  | MATERIAL TAX |  | 0 | 0 |  | 8.25% |  | 0
|  | OVERHEAD & PROFIT / INFLATION (Material) |  | 0 | 0 |  | 25% |  | 0
|  | OVERHEAD & PROFIT (Labor) | 0 | 0 | 0 |  | 25% |  | 0
|  | Bond Fee |  |  | 0 |  | 1.5% |  | 0
|  | TOTAL BASE BID |  |  | 0 |  |  |  | 0

## BASE BID
ITEM # | REF. SHEET | DETAIL | CSI SECT | DESCRIPTION | UNIT | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST | BID ITEM NO.
Estimate of Materials and Cost of Construction | [16 empty] | Hide the column X after putting the correct bid item numbers against each line item.
CLICK HERE TO GO BACK TO COST SUMMARY
|  | Sub-Total | 0 | [5 empty] | Date: | 2024-05-20
| Material Tax | 8.25% | 0 | (Adjust the percentage for Material tax as required) |  |  |  |  | Project: | Fine Arts Electrical Upgrade
| O&P / Inflation (Material) | 25% | 0 | (Adjust the percentage for Overhead & Profit as required) |  |  |  |  | Project Location: | 28000 Marguerite Pkwy Mission Viejo, CA 92692
| O&P (Labor) | 25% | 0 | (Adjust the percentage for Overhead & Profit as required) |  |  |  |  | Project Type: | Public
| Bond Fee | 1.5% | 0 | (Adjust the percentage for Bond Fee as required)
|  | Total Bid | 0 | [5 empty] | Gross Internal Area of Structure (SF) | 0
[9 empty] | Covered Area of Structure (SF) | 0
[9 empty] | No. of Units | 0
No. of Floors
[9 empty] | Hardscaping Area (SF) | 0
[9 empty] | Soft scaping Area (SF) | 518
ITEM # | REF. SHEET | DETAIL | CSI SECT | DESCRIPTION | UNIT | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
|  |  | DIV-01 | General Requirements | [11 empty] | 0 | BID ITEM NO.
General Requirements
1 |  |  |  | Mobilization and Demobilization Requirements | LS | 1 | 0% | 1 | 23.5 | 0 | 62 | 0 |  | 0 | 0
2 |  |  |  | Project Management Job Site Supervision | LS | 1 | 0% | 1 | 47.1 | 0 | 62 | 0 |  | 0 | 0
3 |  |  |  | Travel | LS | 1 | 0% | 1 |  | 0 | 62 | 0 |  | 0 | 0
4 |  |  |  | Temporary facilities: (Include Office, Toilet, Phone, Water, Electricity Shed etc.) | LS | 1 | 0% | 1 | 34.5 | 0 | 62 | 0 |  | 0 | 0
5 |  |  |  | Equipment and Tools Renting | LS | 1 | 0% | 1 | 12.5 | 0 | 62 | 0 |  | 0 | 0
6 |  |  |  | Temporary Barricade (Temporary fence and screens) | LS | 1 | 0% | 1 | 26.5 | 0 | 62 | 0 |  | 0 | 0
7 |  |  |  | Daily Project Work & Clean-Up | LS | 1 | 0% | 1 | 14.1 | 0 | 62 | 0 |  | 0 | 0
8 |  |  |  | Permit Fee | LS | 1 | 0% | 1 | 5.6 | 0 | 62 | 0 |  | 0 | 0
9 |  |  |  | Blueprints | LS | 1 | 0% | 1 | 3.2 | 0 | 62 | 0 |  | 0 | 0
10 |  |  |  | Utilities (Incl. Utilities during Construction, Port-o-Potty, Temporary Power) | LS | 1 | 0% | 1 | 19.6 | 0 | 62 | 0 |  | 0 | 0
11 |  |  |  | Final Job Site Cleaning | LS | 1 | 0% | 1 | 12 | 0 | 62 | 0 |  | 0 | 0
|  |  | DIV-02 | Existing Conditions | [11 empty] | 0 | BID ITEM NO.
Irrigation Demolition
12 |  |  |  | EXISTING PANEL 2B: 400A, TO BE REMOVED | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
13 |  |  |  | EXISTING PANEL 2B-A: 225A, TO BE REMOVED | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
14 |  |  |  | EXISTING PANEL 3P: 400A, TO BE REMOVED | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
15 |  |  |  | EXISTING PANEL 2C: TO BE REMOVED | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
16 |  |  |  | 200AS/50A/3P CIRCUIT BREAKER TO BE REMOVED | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
17 |  |  |  | T4: 75KVA XFMR TO BE REMOVED | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
18 |  |  |  | T5: 75KVA XFMR TO BE REMOVED | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
19 |  |  |  | ALL LIGHTING, POWER, EQUIPMENT AND ALL ASSOCIATED WIRING AND CONDUIT BACK TO SOURCE TO BE REMOVED | SF | 7146.2 | 5% | 7503.51 | 0 | 0 | 74 | 0 |  | 0 | 0
|  |  | DIV-26 | Electrical | [11 empty] | 0
DISTRIBUTION
Conduits
20 |  |  |  | 3-1/2"C EMT | LF | 90.55 | 5% | 95.0775 | 0 | 0 | 74 | 0 |  | 0 | 0
21 |  |  |  | 3"C EMT | LF | 368.12 | 5% | 386.526 | 0 | 0 | 74 | 0 |  | 0 | 0
Conductors
22 |  |  |  | #350KCM THHN | LF | 334.21 | 5% | 350.9205 | 0 | 0 | 74 | 0 |  | 0 | 0
23 |  |  |  | #3/0 THHN | LF | 1472.48 | 5% | 1546.104 | 0 | 0 | 74 | 0 |  | 0 | 0
24 |  |  |  | #1 THHN | LF | 62.56 | 5% | 65.688 | 0 | 0 | 74 | 0 |  | 0 | 0
25 |  |  |  | #2 THHN | LF | 396.11 | 5% | 415.9155 | 0 | 0 | 74 | 0 |  | 0 | 0
Circuit Breakers
26 |  |  |  | 15A/3P CIRCUIT BREAKER | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
27 |  |  |  | 20A/1P CIRCUIT BREAKER | EA | 75 | 0% | 75 | 0 | 0 | 74 | 0 |  | 0 | 0
28 |  |  |  | 20A/2P CIRCUIT BREAKER | EA | 3 | 0% | 3 | 0 | 0 | 74 | 0 |  | 0 | 0
29 |  |  |  | 20A/3P CIRCUIT BREAKER | EA | 5 | 0% | 5 | 0 | 0 | 74 | 0 |  | 0 | 0
30 |  |  |  | 25A/1P CIRCUIT BREAKER | EA | 6 | 0% | 6 | 0 | 0 | 74 | 0 |  | 0 | 0
31 |  |  |  | 25A/2P CIRCUIT BREAKER | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
32 |  |  |  | 30A/2P CIRCUIT BREAKER | EA | 7 | 0% | 7 | 0 | 0 | 74 | 0 |  | 0 | 0
33 |  |  |  | 30A/3P CIRCUIT BREAKER | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
34 |  |  |  | 35A/2P CIRCUIT BREAKER | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
35 |  |  |  | 50A/2P CIRCUIT BREAKER | EA | 3 | 0% | 3 | 0 | 0 | 74 | 0 |  | 0 | 0
36 |  |  |  | 50A/3P CIRCUIT BREAKER | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
37 |  |  |  | 100A/3P CIRCUIT BREAKER | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
38 |  |  |  | 300A/3P CIRCUIT BREAKER | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
Panels
39 |  |  |  | PANEL 2 PAI: 600A, 208/120V, 3PH, 4W, MAIN: MLO, 10K AIC, 72 POLES, SURFACE MOUNTING | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
40 |  |  |  | PANEL 2 PA2: 600A, 208/120V, 3PH, 4W, MAIN: MLO, 10K AIC, 42 POLES, SURFACE MOUNTING | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
41 |  |  |  | PANEL 4 PAI: 400A, 480/277V, 3PH, 4W, MAIN: MLO, 22K AIC, 42 POLES, SURFACE MOUNTING | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
0
|  |  |  | Lugs |  |  |  |  | 0
42 |  |  |  | Compression Lugs CU With 1-Hole. #2 CU Wire | EA | 6 | 0% | 6 | 0 | 0 | 74 | 0 |  | 0 | 0
43 |  |  |  | Heat Shrink Tubing For #2 CU Wire | EA | 6 | 0% | 6 | 0 | 0 | 74 | 0 |  | 0 | 0
44 |  |  |  | Compression Lug CU With 1-Hole , #1 CU Wire | EA | 8 | 0% | 8 | 0 | 0 | 74 | 0 |  | 0 | 0
45 |  |  |  | Heat Shrink Tubing for #1 CU Wire | EA | 8 | 0% | 8 | 0 | 0 | 74 | 0 |  | 0 | 0
46 |  |  |  | Compression Lugs CU With 1-Hole. #3/0 CU Wire | EA | 16 | 0% | 16 | 0 | 0 | 74 | 0 |  | 0 | 0
47 |  |  |  | Heat Shrink Tubing For #3/0 CU Wire | EA | 16 | 0% | 16 | 0 | 0 | 74 | 0 |  | 0 | 0
48 |  |  |  | Compression Lug CU With 1-Hole , #350 KCM CU Wire | EA | 38 | 0% | 38 | 0 | 0 | 74 | 0 |  | 0 | 0
49 |  |  |  | Heat Shrink Tubing for #350 KCM CU Wire | EA | 38 | 0% | 38 | 0 | 0 | 74 | 0 |  | 0 | 0
Disconnect Switch
50 |  |  |  | 30A/3P DISCONNECT SWITCH | EA | 3 | 0% | 3 | 0 | 0 | 74 | 0 |  | 0 | 0
51 |  |  |  | 60A/2P DISCONNECT SWITCH | EA | 3 | 0% | 3 | 0 | 0 | 74 | 0 |  | 0 | 0
52 |  |  |  | 100/3P DISCONNECT SWITCH NEMA 3R | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
Grounding
53 |  |  |  | GROUND ROD | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
54 |  |  |  | #2/0 BONDING JUMPER | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
55 |  |  |  | #2/0, GROUNDING WIRE | LF | 20 | 5% | 21 | 0 | 0 | 74 | 0 |  | 0 | 0
56 |  |  |  | 1/2"C PVC | LF | 20 | 5% | 21 | 0 | 0 | 74 | 0 |  | 0 | 0
Equipment
57 |  |  |  | T-PA: 225KVA, 480-120/208, 3P, 4W, NEMA 3R | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
58 |  |  |  | 3/8" DIA KB-TZ ANCHOR BOLTS WITH 3 5/8" MIN EMBED. 6" CLEARANCE FROM EDGE OF CONCRETE PAD | EA | 4 | 0% | 4 | 0 | 0 | 74 | 0 |  | 0 | 0
59 |  |  |  | 24"X24"X12" NEMA 3R PULL BOX, SURFACE MOUNTED | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
60 |  |  |  | P1000 UNISTRUT | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
61 |  |  |  | BUCK BOOST TRANSFORMER 208-240C, 1 PHASE EATON #S10N06P16P, NEMA 3R | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
BRANCH WIRING
Conduits - Lighting
62 |  |  |  | 3/4"C EMT | LF | 584.35 | 5% | 613.5675 | 0 | 0 | 74 | 0 |  | 0 | 0
0
|  |  |  | Conductors - Lighting | [5 empty] | 0
63 |  |  |  | #12 THHN SOLID | LF | 1753.05 | 5% | 1840.7025 | 0 | 0 | 74 | 0 |  | 0 | 0
Conduits - Power
64 |  |  |  | 1-1/2"C EMT | LF | 228.04 | 5% | 239.442 | 0 | 0 | 74 | 0 |  | 0 | 0
65 |  |  |  | 1-1/2"C LFMC | LF | 8 | 5% | 8.4 | 0 | 0 | 74 | 0 |  | 0 | 0
66 |  |  |  | 1-1/2"C RGS | LF | 8 | 5% | 8.4 | 0 | 0 | 74 | 0 |  | 0 | 0
67 |  |  |  | 1"C EMT | LF | 317.81 | 5% | 333.7005 | 0 | 0 | 74 | 0 |  | 0 | 0
67 |  |  |  | 1"C FLEX S | LF | 12 | 5% | 12.6 | 0 | 0 | 74 | 0 |  | 0 | 0
68 |  |  |  | 3/4"C EMT | LF | 4777.49 | 5% | 5016.3645 | 0 | 0 | 74 | 0 |  | 0 | 0
70 |  |  |  | 3/4"C FLEX S | LF | 12 | 5% | 12.6 | 0 | 0 | 74 | 0 |  | 0 | 0
71 |  |  |  | 3/4"C RGS | LF | 49.85 | 5% | 52.3425 | 0 | 0 | 74 | 0 |  | 0 | 0
Conductors - Power
72 |  |  |  | #2 THHN | LF | 684.12 | 5% | 718.326 | 0 | 0 | 74 | 0 |  | 0 | 0
73 |  |  |  | #2 THWN | LF | 48 | 5% | 50.4 | 0 | 0 | 74 | 0 |  | 0 | 0
74 |  |  |  | #6 THHN | LF | 236.56 | 5% | 248.388 | 0 | 0 | 74 | 0 |  | 0 | 0
75 |  |  |  | #8 THHN | LF | 651.1 | 5% | 683.655 | 0 | 0 | 74 | 0 |  | 0 | 0
76 |  |  |  | #8 THWN | LF | 16 | 5% | 16.8 | 0 | 0 | 74 | 0 |  | 0 | 0
77 |  |  |  | #10 THHN SOLID | LF | 4430.99 | 5% | 4652.5395 | 0 | 0 | 74 | 0 |  | 0 | 0
78 |  |  |  | #12 THHN SOLID | LF | 10549.29 | 5% | 11076.7545 | 0 | 0 | 74 | 0 |  | 0 | 0
79 |  |  |  | #12 THWN SOLID | LF | 149.55 | 5% | 157.0275 | 0 | 0 | 74 | 0 |  | 0 | 0
WIRING DEVICES
Devices
80 |  |  |  | 20A, 125V DUPLEX RECEPTACLE | EA | 5 | 0% | 5 | 0 | 0 | 74 | 0 |  | 0 | 0
81 |  |  |  | 20A, 125V SURFACE DUPLEX RECEPTACLE, NEMA 5-20R | EA | 45 | 0% | 45 | 0 | 0 | 74 | 0 |  | 0 | 0
82 |  |  |  | 20A, 125V SURFACE QUAD RECEPTACLE | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
83 |  |  |  | 20A, 125V SURFACE QUAD RECEPTACLE, NEMA 5-20R | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
84 |  |  |  | 15A SPECIAL RECEPTACLE, NEMA 5-15R | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
85 |  |  |  | 20A SPECIAL RECEPTACLE, NEMA 5-20R | EA | 4 | 0% | 4 | 0 | 0 | 74 | 0 |  | 0 | 0
86 |  |  |  | 20A SPECIAL RECEPTACLE, NEMA 6-20R | EA | 3 | 0% | 3 | 0 | 0 | 74 | 0 |  | 0 | 0
87 |  |  |  | 20A, 125V DUPLEX RECEPTACLE, NEMA 5-20R WITH •CORD STRAIN RELIEF CONNECTOR •CAST IRON BOX •HEAVY DUTY POWER CORD REEL REELCRAFT •SJO CORD •2" THIMBLE AT ACOUSTICAL CEILING | EA | 3 | 0% | 3 | 0 | 0 | 74 | 0 |  | 0 | 0
88 |  |  |  | 30A SPECIAL RECEPTACLE, L15-30 | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
89 |  |  |  | 30A SPECIAL RECEPTACLE, NEMA 6-30R | EA | 8 | 0% | 8 | 0 | 0 | 74 | 0 |  | 0 | 0
90 |  |  |  | 50A SPECIAL RECEPTACLE, NEMA 6-50R | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
Devices - Lighting
91 |  |  |  | L: 4' LINEAR SURFACE LED, COOPER LIGHTING, METALUX #4VT2-LD5-8-DR-UNV-L840-CD1-WL-U | EA | 52 | 0% | 52 | 0 | 0 | 74 | 0 |  | 0 | 0
92 |  |  |  | LE: 4' LINEAR SURFACE LED WITH EMERGENCY BATTERY BACKUP, COOPER LIGHTING, METALUX #4VT2-LD5-8-DR-UNV-EL10W-L840-CD1-WL-U | EA | 7 | 0% | 7 | 0 | 0 | 74 | 0 |  | 0 | 0
93 |  |  |  | LP: 4' LINEAR SURFACE LED, COOPER LIGHTING, METALUX #4VT2-LD5-8-DR-UNV-L840-CD1-WL-U | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
94 |  |  |  | W1A: WALL PACK, RAYON LIGHTING #T629LEDB-45-UNI12-40-XX | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
95 |  |  |  | W1: WALL PACK, RAYON LIGHTING #T629LEDB-30-UNI12-40-XX | EA | 1 | 0% | 1 | 0 | 0 | 74 | 0 |  | 0 | 0
SUPPORTS
96 |  |  |  | 4" SQ. JUNCTION BOX | EA | 7 | 0% | 7 | 0 | 0 | 74 | 0 |  | 0 | 0
LIGHTING CONTROLS
97 |  |  |  | SINGLE POLE SWITCH, WP | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
98 |  |  |  | 3-WAY SWITCH | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
99 |  |  |  | 3-WAY SWITCH, WP | EA | 2 | 0% | 2 | 0 | 0 | 74 | 0 |  | 0 | 0
SUB TOTAL | [8 empty] | Total Lab. Hours = | 0 | Total Lab. Cost = | 0 | Total Mat. Cost = | 0 | 0 | 0
MATERIAL TAX | [10 empty] | 8.25% |  |  | 0 | 0 | 0
OVERHEAD & PROFIT / INFLATION (Material) | [10 empty] | 25% |  |  | 0 | 0 | 0
OVERHEAD & PROFIT (Labor) | [10 empty] | 25% | 0 |  |  | 0 | 0
BID BOND | [10 empty] | 1.5% | 0 |  | 0 | 0 | 0
TOTAL BASE BID | [11 empty] | 0 |  | 0 | 0 | 0
NOTE: 1. ALL RECEPTACLES SHALL BE PROVIDED WITH WP, DUST TIGHT COVERS 2. EXISTING PANEL BREAKER IS CONSIDERED EXISTING BREAKER BUT THERE ARE SHOWN BOLT WE IGNORED

## ALLOWANCES
ITEM # | REF. SHEET | DETAIL | CSI SECT | DESCRIPTION | UNIT | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST | BID ITEM NO.
Estimate of Materials and Cost of Construction | [16 empty] | Hide the column X after putting the correct bid item numbers against each line item.
CLICK HERE TO GO BACK TO COST SUMMARY
|  | Sub-Total | 750 | [5 empty] | Date: | 2022-05-21
| Material Tax | 0% | 0 | (Adjust the percentage for Material tax as required) |  |  |  |  | Project: | Fine Arts Electrical Upgrade
| O&P / Inflation (Material) | 0% | 0 | (Adjust the percentage for Overhead & Profit as required) |  |  |  |  | Project Location: | 28000 Marguerite Pkwy Mission Viejo, CA 92692
| O&P (Labor) | 0% | 0 | (Adjust the percentage for Overhead & Profit as required) |  |  |  |  | Project Type: | Public
| Bond Fee | 0% | 0 | (Adjust the percentage for Bond Fee as required)
|  | Total Bid | 750 | [5 empty] | Gross Internal Area of Structure (SF) | 0
[9 empty] | Covered Area of Structure (SF) | 0
[9 empty] | No. of Units | 0
No. of Floors
[9 empty] | Hardscaping Area (SF) | 0
[9 empty] | Soft scaping Area (SF) | 0
ITEM # | REF. SHEET | DETAIL | CSI SECT | DESCRIPTION | UNIT | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT LABOR HOURS | TOTAL LABOR HOURS | PER HOUR LABOR RATE | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
|  |  | DIV-01 | General Requirements | [11 empty] | 750 | BID ITEM NO.
1 |  |  |  | City Building Permit Inspection Coordination | LS | 1 | 0% | 1 |  | 0 |  | 0 |  | 0 | 750
SUB TOTAL | [8 empty] | Total Lab. Hours = | 0 | Total Lab. Cost = | 0 | Total Mat. Cost = | 0 | 750 | 750
MATERIAL TAX | [10 empty] | 0% |  |  | 0 | 0 | 0
OVERHEAD & PROFIT / INFLATION (Material) | [10 empty] | 0% |  |  | 0 | 0 | 0
OVERHEAD & PROFIT (Labor) | [10 empty] | 0% | 0 |  |  | 0 | 0
BID BOND | [10 empty] | 0% | 0 |  | 0 | 0 | 0
TOTAL BASE BID | [11 empty] | 0 |  | 0 | 750 | 750