## Estimate
|  | PROJECT: | HOUNDS TOWN
|  | ADDRESS: | 9875 HUFF N PUFF RD.
LAKELAND, TN 38002
DATE: 05/08/2024 |  | REV: | 0 | [8 empty] | LABOR RATE |  | 75
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT COST | UNIT | MATERIAL COST | LABOR RATE | LABOR | UNIT | TOTAL LABOR | LABOR COST | TOTAL COST
DEMOLITION
DEMOLITION
1 | Existing Electrical Devices To Be Removed With Associated Wiring To Make New Work (Assumed) | 5313 | 0% | 5313 | SFT |  |  | 0 | 75 |  |  | 0 | 0 | 0
NEW WORK
DISTRIBUTION
CIRCUIT BREAKERS
1 | 1P/20A Breaker | 25 | 0% | 25 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | 1P/20A GFCI Breaker | 3 | 0% | 3 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | 2P/30A Breaker | 4 | 0% | 4 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
4 | 2P/60A Breaker | 2 | 0% | 2 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
EQUIPMENT
1 | Thermal Overload Switch | 5 | 0% | 5 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
DISCONNECT SWITCH
1 | 2P/30A Non Fused Disconnect Switch | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | 2P/30AT/30AF Fused Disconnect Switch NEMA 3R | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | 2P/60AT/60AF Fused Disconnect Switch NEMA 3R | 2 | 0% | 2 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
TEMPORARY SERVICE
1 | Allowance for Temporary Power & Lighting (8 Outlet And Two Circuit) | 5313 | 0% | 5313 | SFT |  |  | 0 | 75 |  |  | 0 | 0 | 0
RECEPTACLES & SWITCHES (ALL RECEPTACLE HUBBEL)
CONDUITS
1 | 1" EMT Conduit | 98 | 10% | 107.8 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | 1" LFMC Conduit | 6 | 10% | 6.6 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | 1" RGS Conduit | 10 | 10% | 11 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
4 | 3/4" EMT Conduit | 1329 | 10% | 1461.9 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
5 | 3/4" LFMC Conduit | 6 | 10% | 6.6 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
6 | 3/4" RGS Conduit | 5 | 10% | 5.5 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
CONDUCTORS
1 | #4 CU THHN | 228 | 10% | 250.8 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | #10 CU THHN SOLID | 3213 | 10% | 3534.3 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | #12 CU THHN SOLID | 924 | 10% | 1016.4 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
4 | #12/2C SOLID MC | 272 | 10% | 299.2 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
5 | #10/2C SOLID MC | 158 | 10% | 173.8 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
DEVICES
1 | 30A Special Receptacle | 2 | 0% | 2 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | Duplex Receptacle Above Counter | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | Duplex Receptacle Ceiling Mounted | 7 | 0% | 7 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
4 | GFI Duplex Receptacle | 4 | 0% | 4 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
5 | GFI Duplex Receptacle Above Counter | 9 | 0% | 9 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
6 | WP GFCI Duplex Receptacle | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
7 | Duplex Receptacle | 29 | 0% | 29 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
LIGHTING
CONDUITS
1 | 3/4" EMT Conduit | 179 | 10% | 196.9 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
CONDUCTORS
1 | #10 CU THHN SOLID | 411 | 10% | 452.1 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | #12 CU THHN SOLID | 126 | 10% | 138.6 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | #12/2C SOLID MC | 613 | 10% | 674.3 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
4 | CAT5E Cable (For Control Wire) | 158 | 10% | 173.8 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
LIGHTING FIXTURES (AS PER SCOPE SHEET GC PROVIDED)
1 | A: 2X2 Meta lux EDGE LED Panel MTG: Lay-In Watts: 40W | 49 | 0% | 49 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | B: Pendant Mounted High Bay LED Fixture, LITHONIA LIGHTING CPHP-9000LM-SEF-GCL-MD-MVOLT-GZ10-3500K-70CRI Owner Provided MTG: Recessed Watts: 61W NOTE: OWNER PROVIDED | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | C: Center On Wall Between Suite Doors, Suite Sconce Owner Provided MTG: Wall Watts: 26W NOTE: OWNER PROVIDED | 9 | 0% | 9 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
4 | E: Dual Head LED Emergency Pack With Battery Back-Up, Dual-Lite EV2 Series Emergency Light MTG: Wall | 12 | 0% | 12 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
5 | F: Dual Head Exit Light And Emergency Light With Battery Backup, DUAL LITE EVC SERIES MTG: Ceiling | 5 | 0% | 5 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
LIGHTING CONTROLS (ALL SWITCHES HUBBELL)
1 | 120V, 20A Dual Technology Ceiling Mounted Occupancy Sensor | 5 | 0% | 5 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | 3 Way Switch, #1223 | 4 | 0% | 4 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | 9 Poles/Contact, 120V, NEMA 1 Type Lighting Contactor | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
4 | In Wall Dual Technology Occupancy Sensor | 4 | 0% | 4 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
5 | In Wall, Dual Technology Occupancy Sensor With 0-10V Dimming Capability | 2 | 0% | 2 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
6 | Switch Bank With 3 Single Pole Switch And (1) 2HR Override Switch | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
7 | Time Switch Bypass: (Override) Wall Box Timer Switch, For After Hours Control, 120V, 20A, 2 Hours Dial, INTERMATIC #FF2H | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
8 | Time Switch, 120V, 20A, 24 Hour Dial, INTERMATIC #ET8015C | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
9 | Motion Sensor | 6 | 0% | 6 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
FIRE ALARM
CONDUITS
1 | 3/4" EMT Conduit | 110 | 10% | 121 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
CONDUCTORS
1 | #16/2C FPLP | 110 | 10% | 121 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
DEVICES
1 | Smoke Detector | 3 | 0% | 3 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
TELECOMMUNICATION (ONLY ROUGH-INS)
CONDUITS
1 | 3/4" EMT Conduit With Pull String | 45 | 10% | 49.5 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
DEVICES
1 | Tele/Data Outlet | 3 | 0% | 3 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
MISCELLANEOUS
1 | Junction Box For Motorized Damper | 3 | 0% | 3 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
FIRESTOPPING
1 | Caulking Sealant | 1 | 0% | 1 | LS |  |  | 0 | 75 |  |  | 0 | 0 | 0
ALLOWANCES (PLEASE ADD YOUR NUMBER)
1 | Mobilization and Demobilization | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
2 | Arc Flash Study | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
3 | Protection Devices Coordination Study | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
4 | Permit and Utility Fees | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
5 | Testing and Commissioning | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
6 | Tags & Directory | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
7 | As Built Documents | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
8 | Core Drill | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
TOTAL MATERIAL COST | [12 empty] | 0
TOTAL LABOR COST | [12 empty] | 0
TOTAL LABOR HOURS | [12 empty] | 0
TOTAL COST | [12 empty] | 0
OVERHEADS & PROFIT | [11 empty] | 25% | 0
MATERIAL TAX | [11 empty] | 9.75% | 0
TOTAL BID | [12 empty] | 0
SCOPE OF ESTIMATE:
I | SUPPLY & INSTALLATION
1 | Demolition
2 | Distribution
3 | Disconnect Switches
4 | Receptacles & Switches
5 | Lighting & Lighting Controls
6 | Fire Alarm
7 | Telecommunication
8 | Miscellaneous
9 | Fire Stopping
10 | Allowances
II | NOTES
1 | MC cable is used in only branching for all lighting and power
2 | As per scope sheet the lighting fixture provided by gc and some light are provided by owner mentioned in schedule. Please note it
3 | As per sheet number #A-1.2 demolition plan remove tha wall so, we have asummed the all electrical decices to be removed. Kindly onfirm