## Estimate
|  | PROJECT: | PARKWAY FOREST PARK
|  | ADDRESS: | 80 PARK WAY FOREST DRIVE, TORONTO
DATE: 04/23/2024 |  | REV: | 0 | [8 empty] | LABOR RATE |  | 75
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT COST | UNIT | MATERIAL COST | LABOR RATE | LABOR | UNIT | TOTAL LABOR | LABOR COST | TOTAL COST
DEMOLITION
DEMOLITION
1 | EXISTING UNDERGROUND WIRING TO BE REMOVE | 49 | 0% | 49 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | EXISTING ELECTRICAL METER TO BE REMOVED | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | REMOVE EXISTING PHOTOCELL | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
4 | REMOVE EXISTING POLE LIGHT (ASSUMED) | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
NEW WORK
DISTRIBUTION
CONDUITS
1 | 1 1/4"C RIGID PVC SCH40 | 749 | 10% | 823.9 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | 1"C RIGID PVC SCH40 | 186 | 10% | 204.6 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | NYLON PULL STRING | 186 | 10% | 204.6 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
CONDUCTORS
1 | #2 XHHW | 2247 | 10% | 2471.7 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
TERMINATIONS
5 | Compression Lugs CU With 1-Hole. #2 CU Wire | 6 | 0% | 6 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
| Heat Shrink Tubing For #2 CU Wire | 6 | 0% | 6 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
CIRCUIT BREAKERS
1 | 15A/1P CIRCUIT BREAKER | 4 | 0% | 4 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | 15A/2P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | 30A/2P MAIN CIRCUIT BREAKER | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
PANELS
1 | PANEL LP-A, 100A, 120/240V, 8 CIRCUIT COMBINATION PANEL | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
DEVICES
1 | EEMAC 3R LOCKABLE CABINET SIZED TO SUIT EQUIPMENT SUPPLIED (APPROX. 750 X 750 X 300) | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | SPACE FOR IRRIGATION CONTROLLER (BY OTHER) | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | UTILITY METER AND METER POST | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
GROUNDING
1 | 3/4" X 10' GROUND ROD | 2 | 0% | 2 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | 1"C RIGID PVC CONDUIT | 10 | 10% | 11 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
3 | #2 BARE COPPER | 30 | 10% | 33 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
RECEPTACLES & SWITCHES
CONDUITS
1 | 3/4"C RGS | 20 | 10% | 22 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
CONDUCTORS
1 | #12 THHN | 60 | 10% | 66 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
DEVICES
1 | DUPLEX RECEPTACLE GFI | 2 | 0% | 2 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
SITE LIGHTING
CONDUITS
1 | 1 1/4"C RIGID PVC SCH 40 | 65 | 10% | 71.5 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
CONDUCTORS
1 | #6 XHHW | 195 | 10% | 214.5 | FT |  |  | 0 | 75 |  |  | 0 | 0 | 0
LIGHTING CONTROLS
1 | INTERMATIC #EK4036S 240VOLT BUTTON-TYPE PHOTOCELL | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
MISCELLANEOUS
1 | LOCKING BAR ON LEADING EDGE OF DOOR FOR RACK | 1 | 0% | 1 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
2 | 150 X 150 SQUARE HOT DIPPED GALVANIZED STEEL TUBE SUPPORT LEGS WITH SOLID TOPS | 2 | 0% | 2 | EA |  |  | 0 | 75 |  |  | 0 | 0 | 0
TRENCHING & BACKFILLING
1 | Excavation & Backfilling (2' Deep x 1' Wide Trench) Including All Labor and Material/Equipment | 1930 | 0% | 1930 | CFT |  |  | 0 | 75 |  |  | 0 | 0 | 0
ALLOWANCES (PLEASE ADD YOUR NUMBER)
1 | Mobilization and Demobilization | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
2 | Arc Flash Study | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
3 | Protection Devices Coordination Study | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
4 | Permit and Utility Fees | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
5 | Testing and Commissioning | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
6 | Tags & Directory | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
7 | As Built Documents | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
8 | Core Drill | 1 | 0% | 1 | LS |  | E | 0 | 75 |  | E | 0 | 0 | 0
TOTAL MATERIAL COST | [12 empty] | 0
TOTAL LABOR COST | [12 empty] | 0
TOTAL LABOR HOURS | [12 empty] | 0
TOTAL COST | [12 empty] | 0
OVERHEADS & PROFIT | [11 empty] | 25% | 0
MATERIAL TAX | [11 empty] | 7% | 0
TOTAL BID | [12 empty] | 0
SCOPE OF ESTIMATE:
I | SUPPLY & INSTALLATION
1 | Demolition
2 | Distribution
3 | Receptacles & Switches
4 | Site Lighting
5 | Miscellaneous
6 | Trenching & Backfilling
7 | Allowances