## Bid Recap & Summary
PROJECT NAME: SHORE FRONT HDFC
BID RECAP
| DIVISION | DESCRIPTION | MATERIAL COST | LABOR COST | MATERIAL TAX | LABOR TAX | TOTAL COST | OVERHEADS | PROFITS | ADDITIONAL COST (If Any) | TOTAL PRICE
| 01 00 00 | GENERAL REQUIREMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 26 00 00 | ELECTRICAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | TOTALS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BID SUMMARY |  |  |  |  | MAN-LOADING AND SUPERVISION ANALYSIS
| 1 | TOTAL MATERIAL COST |  | 0 |  | 1 | TOTAL MANHOURS WITH SUPERVISION |  |  |  | #REF!
|  | MATERIAL SALES TAX |  | 0 |  | 2 | NUMBER OF MAN-DAYS |  |  |  | #REF!
|  | JOB EXPENSE |  | 0 |  | 3 | MAN LOAD |  |  |  | 5
| 2 | TOTAL LABOR COST |  | 0 |  | 4 | JOURNEYMAN RATE |  | 3
|  | LABOR TAX |  | 0 |  | 5 | SUPERVISOR RATE |  | 1
| 3 | TOTAL COST |  | 0 |  | 6 | UNSKILLED LABOR RATE |  | 1
|  | OVERHEADS @ | 10% | 0 |  | 7 | COMPOSITE LABOR RATE |  |  |  | 0
|  | PROFIT @ | 10% | 0 |  | 8 | PREVAILING WAGE RATE |  |  |  | 0
| 4 | TOTAL COST WITH OVERHEADS + PROFIT |  | 0
INSERT VALUES IN YELLOW HIGHLIGHTED CELLS WHERE APPLICABLE
| 5 | BASE BID PRICE |  | 0

## Estimate
|  |  |  | PROJECT NAME: SHORE FRONT HDFC | [7 empty] | PROJECT COST |  | 0
|  |  |  | PROJECT LOCATION: 3915 NEPTUNE AVENUE BROOKLYN, NY 11224 | [7 empty] | OVERHEAD COST |  | 0
|  |  |  | Project Scope: Electriacl | [7 empty] | PROFIT COST |  | 0
|  |  |  | Addendum: N/A | [7 empty] | ADDITIONAL COST (If Any) |  | 0
|  |  |  | Date: | 2024-10-04 | [6 empty] | TOTAL BID COST |  | 0
SR. NO. | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QUANTITY | UNIT | WASTAGE % | QTY W/ WASTAGE | UNIT MATERIAL COST | MATERIAL COST | MAN HOUR RATE | UNIT MANHOURS | TOTAL MANHOURS | MANHOURS COST | TOTAL COST
0
|  |  | 01 00 00 | DIVISION 01 - GENERAL REQUIREMENTS
1 |  |  |  | MOBILIZATION AND DEMOBILIZATION | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  |  | BOND & INSURANCE | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  |  | PROJECT SUPERVISION & PROJECT MANAGEMENT | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  |  | SAFETY REQUIREMENTS | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  |  | OFFICE OVERHEADS | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  |  | SUBMITTALS, SAMPLES, SHOP DRAWINGS, SITE SAFETY PLAN, ETC. | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  |  | TEMPORARY FACILITIES & CONTROLS INCL. - CONTRACTOR'S FIELD OFFICE - TEMPORARY UTILITIES - AUTHORITY'S FIELD OFFICE ( SF) - FURNISHINGS | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 |  |  |  | PROJECT SCHEDULE (Primavera P3 or P6) | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  |  | CLOSEOUT PROCEDURES | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  |  | PERMITS (DOT, DOB & After hour permits ETC.) | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  |  | Scaffolding/ Means and Method |  | SF
12 |  |  |  | Sidewalk shed |  | LF
[7 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 260000 | DIVISION 26 - ELECTRICAL
DISTRIBUTION
Conduits
13 |  |  |  | 4"C EMT | 43.8 | FT | 10% | 48.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  |  | 1"C EMT | 206.54 | FT | 10% | 227.194 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  |  | 1-1/4"C EMT | 700.56 | FT | 10% | 770.616 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  |  | 3/4"C EMT | 492.46 | FT | 10% | 541.706 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  |  | 3/4"C RGS | 50.24 | FT | 10% | 55.264 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conductors / Cable
18 |  |  |  | #600MCM THHN | 175.2 | FT | 10% | 192.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  |  | #1/0 THHN | 43.8 | FT | 10% | 48.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  |  | #1 THHN | 1940.68 | FT | 10% | 2134.748 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  |  | #3 THHN | 861.56 | FT | 10% | 947.716 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  |  | #8 THHN | 700.56 | FT | 10% | 770.616 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  |  | #10 THHN SOLID | 273.68 | FT | 10% | 301.048 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  |  | #10 THWN SOLID | 60.96 | FT | 10% | 67.056 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  |  | #12 THHN SOLID | 413.08 | FT | 10% | 454.388 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  |  | #12 THWN SOLID | 70 | FT | 10% | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  |  | #16 THHN SOLID | 413.08 | FT | 10% | 454.388 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  |  | #18 THHN SOLID | 413.08 | FT | 10% | 454.388 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  |  | CAT5E CABLE | 211.81 | FT | 10% | 232.991 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grounding
30 |  |  |  | 3/4" X 10' GROUND ROD | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 |  |  |  | BONDING JUMPER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  |  | EXOTHERMIC WELD | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  |  | GROUND BUS | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  |  | NEUTRAL BUS | 3 | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  |  | #1/0 CU GROUNDING WIRE | 20 | FT | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  |  | #2/0 CU GROUNDING WIRE | 40 | FT | 0% | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  |  | #6 CU GROUNDING WIRE | 40 | FT | 0% | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  |  | #8 CU GROUNDING WIRE | 20 | FT | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Disconnect Switch
39 |  |  |  | 20A/1P DISCONNECT SWITCH, NEMA 1 | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  |  | 20A/1P DISCONNECT SWITCH, NEMA 3R | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  |  | 20A/1P TOGGLE TYPE HORSEPOWER RATED DISCONNECT SWITCH WITH THERMAL OVERLOAD | 5 | EA | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  |  | 20A/2P DISCONNECT SWITCH, NEMA 1 | 10 | EA | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  |  | 20A/2P DISCONNECT SWITCH, NEMA 3R | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  |  | 30A/2P DISCONNECT SWITCH, NEMA 1 | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  |  | 40A/3P DISCONNECT SWITCH, NEMA 3R | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  |  | SS-FA: 30AS/30AF/3P DISCONNECT SWITCH, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  |  | SS-EMFA: 30AS/30AF/3P DISCONNECT SWITCH, NEMA 3R | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  |  | SS-A: 1200AS/800AF/3PDISCONNECT SWITCH | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Breakers
49 |  |  |  | 15A/1P CIRCUIT BREAKER | 10 | EA | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  |  | 20A/1P CIRCUIT BREAKER | 69 | EA | 0% | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  |  | 20A/2P CIRCUIT BREAKER | 8 | EA | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  |  | 30A/1P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  |  | 30A/2P CIRCUIT BREAKER | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  |  | 40A/2P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  |  | 40A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 |  |  |  | 70A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  |  | 100A/3P MAIN CIRCUIT BREAKER | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  |  | 100AT/100AF/3P CIRCUIT BREAKER | 16 | EA | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  |  | 125AT/125AF/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  |  | 225A/3P MAIN CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Panels
61 |  |  |  | PANEL LP-KP: 225A, 120/208V, 3PH, 4W, MAIN: 225A MCB, 10K AIC, 42 POLES, SURFACE MOUNTING | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  |  | PANEL PP-AC: 100A, 120/208V, 3PH, 4W, MAIN: 100A MCB, 10K AIC, 42 POLES, SURFACE MOUNTING | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  |  | PANEL PP-B: 100A, 120/208V, 3PH, 4W, MAIN: 100A MCB, 10K AIC, 42 POLES, SURFACE MOUNTING | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  |  | PANEL PP-EM: 100A, 120/208V, 3PH, 4W, MAIN: 100A MCB, 10K AIC, 42 POLES, SURFACE MOUNTING | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  |  | PANEL PPSTBY: 100A, 120/208V, 3PH, 4W, MAIN: 100A MCB, 10K AIC, 42 POLES, SURFACE MOUNTING | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
66 |  |  |  | PANEL MDP: 1200A, 120/208V, 3PH, 4W, MAIN: MLO, 10K AIC, 52 POLES | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Devices
67 |  |  |  | 1200A CT CABINET METER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  |  | ATS ANNUNICIATOR PANEL, ASCO, POWERQUEST 5350 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  |  | ATS-BOILER: 100A, 208/120V, 4 POLES | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70 |  |  |  | ATS-EM: 100A, 208/120V, 4 POLES | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  |  | ATS-FA: 30A, 208/120V, 3 POLES | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  |  | ATS-STBY: 100A, 208/120V, 4 POLES | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  |  | ENDLINE BOX | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 |  |  |  | GEN: 100KVA, 80KW, GENERATOR WITH WEATHERPROOF SOUND ATTENUATING ENCLOSURE 36dBA | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  |  | GENERATOR ANNUNCIATOR PANEL, GENERAC, G0098510 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BRANCH WIRING
Conduit- Lighting
76 |  |  |  | 3/4"C EMT | 192.37 | FT | 10% | 211.607 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conductor / Cable- Lighting
77 |  |  |  | #12 THHN SOLID | 577.11 | FT | 10% | 634.821 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  |  | #12/3C MC CABLE | 131.04 | FT | 10% | 144.144 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conduit- Power
79 |  |  |  | 3/4"C EMT | 1339.88 | FT | 10% | 1473.868 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  |  | 3/4"C LFMC | 8 | FT | 10% | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 |  |  |  | 3/4"C RGS | 8 | FT | 10% | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conductor / Cable- Power
82 |  |  |  | #10 THHN SOLID | 64.24 | FT | 10% | 70.664 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  |  | #10 THWN SOLID | 8 | FT | 10% | 8.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  |  | #12 THHN SOLID | 4650.74 | FT | 10% | 5115.814 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  |  | #12 THWN SOLID | 64 | FT | 10% | 70.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  |  | #12/3C MC CABLE | 47.19 | FT | 10% | 51.909 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WIRING DEVICES
Devices - Power
87 |  |  |  | 20A, GFCI DUPLEX RECEPTACLE, PASS & SEYMOUR NOS 2097W | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  |  | 20A, DUPLEX RECEPTACLE, PASS & SEYMOUR NO. 5361W | 6 | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  |  | MOTORIZED DAMPER | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  |  | THERMAL SWITCH WITH JUNCTION BOX | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lightings
91 |  |  |  | 48" LED STRIP LIGHT, LITHONIA LIGHTING, ZL1F-L48-SMR-3000LM-120-35K-90CRI WATTS: 30W | 14 | EA | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 |  |  |  | NEMA-3R RATED EMERGENCY LIGHT WITH INTEGRAL BATTERY BACKUP, LIGHTALARMS, CAMSD-B-CW WATTS: 12W | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CONTROLS
93 |  |  |  | SINGLE POLE SWITCH | 5 | EA | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  |  | 3-WAY SWITCH | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  |  | CEILING MOUNTED MOTION SENSOR | 5 | EA | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  |  | POWER PACK, NON-DIMMING VACANCY-TYPE MODEL (nPP16 SA) | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIRE ALARM SYSTEM
Conduits
97 |  |  |  | 3/4"C EMT | 514.3 | FT | 10% | 565.73 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conductors
98 |  |  |  | #8 THHN | 161.89 | FT | 10% | 178.079 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  |  | #10 THHN SOLID | 485.67 | FT | 10% | 534.237 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  |  | #16 THHN SOLID | 704.82 | FT | 10% | 775.302 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Devices
101 |  |  |  | SMOKE DETECTOR | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  |  | HEAT DETECTOR | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  |  | CARBON MONOXIDE DETECTOR WITH SOUNDER BASE | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  |  | CONTROL MODULE | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  |  | MONITORING MODULE | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  |  | BACKBOX | 13 | EA | 0% | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEMOLITION
107 |  |  |  | 1200A CT CABINET TO BE REMOVED | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  |  | 1200A SERVICE SWITCH TO BE REMOVED | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  |  | DISCONNECT EXISTING EQUIPMENT AND REMOVE ASSOCIATED WIRING AND CONDUIT BACK TO SOURCE OF POWER | 8 | EA | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  |  | ENDLINE BOX TO BE REMOVED | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  |  | HEAT DETECTOR TO BE REMOVED | 3 | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  |  | PANEL MDP1 TO BE REMOVED | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  |  | PANEL MDP2 TO BE REMOVED | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  |  | REMOVE EXISTING PANEL LP-KP. CUT BACK BRANCH CIRCUITS TO CEILING MOUNTED SPLICE BOX | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
115 |  |  |  | REMOVE EXISTING RECEPTACLES AND CUT BACK CIRCUITING TO SOURCE OF POWER | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  |  | REMOVE SWITCHBOARD | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  |  | SMOKE DETECTOR TO BE REMOVED | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  |  | REMOVE SWITCHBOARD CONDUIT AND CONDUCTOR | 38.61 | FT | 0% | 38.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0
119 |  |  |  | ALL ELECTRICAL EQUIPMENT, LIGHTING, POWER DEVICE AND ALL ASSOCIATED WIRING AND CONDUIT BACK TO SOURCE TO BE REMOVED | 10168.3 | SQT | 0% | 10168.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
TOTAL MATERIAL COST | [15 empty] | 0
TOTAL LABOR COST | [15 empty] | 0
TOTAL LABOR HOURS | [15 empty] | 0
Notes:
1 | Online sources are used for pricing purpose. Please verify, as per your own convenience.
2 | Prices can vary depending upon field conditions.
3 | All other prices are excluded that are not included in the estimate above.
4 | Cells highlighted with green, please price the items as per your own facility.