## Bid Recap & Summary
PROJECT NAME:
BID RECAP
| SR. NO. | DESCRIPTION | MATERIAL COST | LABOR COST | MATERIAL TAX | LABOR TAX | TOTAL COST | OVERHEADS | PROFITS | TOTAL PRICE
| 1 | DISTRIBUTION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 2 | BRANCH WIRING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3 | WIRING DEVICES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 4 | LIGHTING FIXTURES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 5 | LIGHTING CONTROLS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 6 | ROUGH-IN FOR LOW VOLTAGE SYSTEM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | FIRE ALARM SYSTEM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | DEMOLITION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | TOTALS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BID SUMMARY |  |  |  |  | MAN-LOADING AND SUPERVISION ANALYSIS
| 1 | TOTAL MATERIAL COST |  | 0 |  | 1 | TOTAL MANHOURS WITH SUPERVISION |  |  | 0
|  | MATERIAL SALES TAX | 6.625% | 0 |  | 2 | NUMBER OF MAN-DAYS |  |  | 0
|  | JOB EXPENSE |  | 0 |  | 3 | MAN LOAD |  |  | 5
| 2 | TOTAL LABOR COST |  | 0 |  | 4 | ELECTRICIAN RATE |  | 3 | 135
|  | LABOR TAX |  | 0 |  | 5 | SUPERVISOR RATE |  | 1 | 142
| 3 | TOTAL COST |  | 0 |  | 6 | UNSKILLED LABOR RATE |  | 1 | 61
|  | OVERHEADS @ | 10% | 0 |  | 7 | COMPOSITE LABOR RATE |  |  | 121.6
|  | PROFIT @ | 10% | 0 |  | 8 | PREVAILING WAGE RATE |  |  | N/A
| 4 | TOTAL COST WITH OVERHEADS + PROFIT |  | 0
|  | BID SECURITY |  | 0 |  |  | INSERT VALUES IN YELLOW HIGHLIGHTED CELLS WHERE APPLICABLE
|  | ALLOWANCES |  | 0
|  | MOBILIZATION / DEMOBILIZATION |  | 0
|  | SUB-CONTRACTS |  | 0
|  | BOND PREMIUM |  | 0
| 5 | BASE BID PRICE |  | 0
Terms and Conditions/Disclaimer: The quantities, numbers, scope, or any other information contained in this document has been complied to the best of our knowledge. By utilizing or deriving any of the information contained in this document, you accept the information, quantities and costs as accurate and waive to any claims for errors in information. Bidding Enterprise LLC does not warranty any of the information contained in this document. The information contained in this document are for informational purpose only and to be used as a guideline for quantities and pricing. It is the responsibility of the contractor performing the work to review quantities and bid documents and finalize pricing and materials based on current prices.

## Estimate
PROJECT NAME: | [10 empty] | TOTAL BID PRICE |  | 0
ADD QUOTATION FOR LIGHTING FIXTURES, CONTROLS, FA SYSTEM & SWITCHGEAR
FURNISHED BY OTHER INSTALL BY EC
SR. NO. | DWG. NO. | DETAIL NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT MATERIAL COST | MATERIAL COST | MANHOUR RATE | UNIT MANHOURS | TOTAL MANHOURS | MANHOURS COST | TOTAL COST
DISTRIBUTION | [9 empty] | 121.6
CONDUITS
1 |  |  | 5" CONDUIT - PVC40 | 66 | 10% | 72.6 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 5" ELBOW 90 DEG - RMC - GALV | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 5" LOCKNUT - STEEL | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 5" COUPLING - PVC | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 5" ADAPTER FEM - PVC | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | 4" CONDUIT - EMT | 309 | 10% | 339.9 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" ELBOW 90 DEG - EMT | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" CONN SS STL - EMT | 25 | 0% | 25 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" COUPLING SS STL - EMT | 31 | 0% | 31 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" BUSHING - PLASTIC | 25 | 0% | 25 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" 1-H STRAP - RMC / EMT- STEEL | 31 | 0% | 31 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/8-16x 2 1/4 WEDGE ANCHOR - 1 1/2" MIN DEPTH | 31 | 0% | 31 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | 4" CONDUIT - PVC40 | 72 | 10% | 79.2 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" ELBOW 90 DEG - RMC - GALV | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" LOCKNUT - STEEL | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" COUPLING - PVC | 9 | 0% | 9 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" ADAPTER FEM - PVC | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | 2 1/2" CONDUIT - EMT | 25 | 10% | 27.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2 1/2" ELBOW 90 DEG - EMT | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2 1/2" CONN SS STL - EMT | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2 1/2" COUPLING SS STL - EMT | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2 1/2" BUSHING - PLASTIC | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2 1/2" 1-H STRAP - RMC / EMT- STEEL | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/8-16x 2 1/4 WEDGE ANCHOR - 1 1/2" MIN DEPTH | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | 2" CONDUIT - EMT | 297 | 10% | 326.7 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" ELBOW 90 DEG - EMT | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" CONN SS STL - EMT | 24 | 0% | 24 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" COUPLING SS STL - EMT | 30 | 0% | 30 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" BUSHING - PLASTIC | 24 | 0% | 24 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" 1-H STRAP - EMT - STEEL | 30 | 0% | 30 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 30 | 0% | 30 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | 2"C FLEX S | 5 | 10% | 5.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | 2" CONDUIT - PVC40 | 185 | 10% | 203.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" ELBOW 90 DEG - RMC - GALV | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" LOCKNUT - STEEL | 15 | 0% | 15 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" COUPLING - PVC | 23 | 0% | 23 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" ADAPTER FEM - PVC | 15 | 0% | 15 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | 2" CONDUIT - RMC - GALV | 6 | 10% | 6.6 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" COUPLING - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" LOCKNUT - STEEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" BUSHING - PLASTIC | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" SPRING STL CONDUIT CLAMP W/ BOLT | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | 1 1/4" CONDUIT - EMT | 53 | 10% | 58.3 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" CONN SS STL - EMT | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" COUPLING SS STL - EMT | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" BUSHING - PLASTIC | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" 1-H STRAP - EMT - STEEL | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 |  |  | 1 1/4"C FLEX S | 4 | 10% | 4.4 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
11 |  |  | 1 1/4" CONDUIT - RMC - GALV | 6 | 10% | 6.6 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" COUPLING - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" LOCKNUT - STEEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" BUSHING - PLASTIC | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/4" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1 1/2" EMT & 1 1/4" RMC / IMC SPRING STL CLAMP W/ BOLT | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
12 |  |  | PULL STRING | 127 | 10% | 139.7 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
CONDUCTORS
1 |  |  | #350 THW | 1016 | 10% | 1117.6 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | #1/0 THHN | 171 | 10% | 188.1 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | #4/0 THHN | 100 | 10% | 110 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | #4 THHN | 214 | 10% | 235.4 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | #6 THHN | 1365 | 10% | 1501.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | #8 THHN | 499 | 10% | 548.9 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
GROUNDING
1 |  |  | #2/0 BARE COPPER - 19-STRAND | 25 | 10% | 27.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | # 6 BARE COPPER - 7-STRAND | 40 | 10% | 44 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | 3/4" X 10' GROUND ROD | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | GROUNDING LUGD | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | CAD WELD CONNECTION | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | GROUND BUS | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | NEUTRAL BAR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
DISCONNECT SWITCHES
1 |  |  | 15A/1P DISCONNECT SWITCH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | 20A/1P DISCONNECT SWITCH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | 20A/1P DISCONNECT SWITCH WEATHERPROOF NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | 20A/2P DISCONNECT SWITCH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | 20A/2P DISCONNECT SWITCH WEATHERPROOF NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | 30A/2P DISCONNECT SWITCH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | 100A/3P DISCONNECT SWITCH WEATHERPROOF NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
BREAKERS
1 |  |  | 15A/1P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | 15A/2P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | 20A/1P CIRCUIT BREAKER | 60 | 0% | 60 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | 20A/2P CIRCUIT BREAKER | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | 30A/2P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | 50AT/3P/125AF CIRCUIT BREAKER | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | 70AT/3P/125AF CIRCUIT BREAKER TYPR HACR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | 125AT/3P/125AF CIRCUIT BREAKER TYPE HACR | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | 225AT/3P/225AF CIRCUIT BREAKER | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 |  |  | 600A MAIN CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
PANELS
1 |  |  | PANEL A1A, 225A MLO, (2 SECTIONS), 208/120V, 3PH, 4W, 42 KAIC, NEMA 1 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | PANEL MDP, 600A MCB, 208/120V, 3PH, 4W, 42 KAIC NEMA 1 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | CONTROL PANEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
EQUIPMENT
1 |  |  | UTILITY COMPANY APPROVED CT CABINET AND METER (INSTALL ONLY) | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | UTILITY COMPANY TRANSFORMER (INSTALL ONLY) | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
EQUIPMENT CONNECTIONS
1 |  |  | CONNECTION FOR AHU | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | CONNECTION FOR DOOR MOTOR | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | CONNECTION FOR DWH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | CONNECTION FOR EXHAUST FAN | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | CONNECTION FOR GUH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | CONNECTION FOR HAND DRYER | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | CONNECTION FOR UH | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | CONNECTION FOR RTU | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
MISCELLANEOUS
1 |  |  | SPLICE PULLBOX | 2.78 | 0% | 2.78 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | SCOTCHLOCK CONNECTOR | 8.34 | 0% | 8.34 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | COMPRESSION CONNECTOR | 36 | 0% | 36 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | SAWCUTTING AND PATCHING | 12 | 0% | 12 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | ELECTRICAL HAND HOLE | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | 36"DEEP X 42"WIDTH TRENCHING & BACKFILLING | 28 | 0% | 28 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | 46" DEEP X 24"WIDTH TRENCHING & BACKFILLING | 50 | 0% | 50 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | 46" DEEP 36"WIDTH TRENCHING & BACKFILLING | 162 | 0% | 162 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | 46" DEEP 42"WIDTH TRENCHING & BACKFILLING | 23 | 0% | 23 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
10 |  |  | 48"DEEPX48'WIDTH TRENCHING & BACKFILLING | 16 | 0% | 16 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
11 |  |  | PRECAST VAULT AS DIRECTED BY PSE&G | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
12 |  |  | RECEPTACLE BRACKET SL18 W/(8) SCREWS EACH | 87 | 0% | 87 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
13 |  |  | CABLE SUPPORT CU6 W/(2) SCREWS EACH | 174 | 0% | 174 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | QUOTATION FOR SWITCHGEAR | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
BRANCH WIRING
CONDUCTORS - LIGHTING
1 |  |  | #10/2C SOLID MC | 930 | 10% | 1023 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | #12/2C SOLID MC | 6081 | 10% | 6689.1 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | CAT5E | 1513 | 10% | 1664.3 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
CONDUITS - POWER
1 |  |  | 3/4" CONDUIT - EMT | 13 | 10% | 14.3 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" CONN SS STL - EMT | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" COUPLING SS STL - EMT | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" 1-H STRAP - EMT - STEEL | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | 3/4" CONDUIT - PVC40 | 12 | 10% | 13.2 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" LOCKNUT - STEEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" COUPLING - PVC | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" ADAPTER FEM - PVC | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | 3/4" CONDUIT - RMC - GALV | 24 | 10% | 26.4 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" 1-H STRAP - RMC - MALL | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4 9/16x 1 15/16" DEEP CAST BOX W/ 4x 3/4" HUBS - CI | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | COVER ROUND BLANK - CI | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #8 TO #10x 7/8 PLAS ANCHOR (3/16) | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 1 P/H SELF-TAP SCREW | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
CONDUCTORS - POWER
1 |  |  | #10 THHN | 39 | 10% | 42.9 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | #12 THHN | 108 | 10% | 118.8 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | #10/2C SOLID MC | 289 | 10% | 317.9 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | #12/2C SOLID MC | 2953 | 10% | 3248.3 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
CONDUITS - EQUIPMENT
1 |  |  | 3/4" CONDUIT - EMT | 182 | 10% | 200.2 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" CONN SS STL - EMT | 15 | 0% | 15 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" COUPLING SS STL - EMT | 19 | 0% | 19 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" 1-H STRAP - EMT - STEEL | 28 | 0% | 28 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | 3/4" CONDUIT - PVC40 | 36 | 10% | 39.6 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" ELBOW 90 DEG - RMC - GALV | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" LOCKNUT - STEEL | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" COUPLING - PVC | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" ADAPTER FEM - PVC | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | 3/4" CONDUIT - RMC - GALV | 11 | 10% | 12.1 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" 1-H STRAP - RMC - MALL | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4 9/16x 1 15/16" DEEP CAST BOX W/ 4x 3/4" HUBS - CI | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | COVER ROUND BLANK - CI | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #8 TO #10x 7/8 PLAS ANCHOR (3/16) | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
CONDUCTORS - EQUIPMENT
1 |  |  | #10 THHN | 354 | 10% | 389.4 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | #12 THHN | 315 | 10% | 346.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | #14 THHN | 18 | 10% | 19.8 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | #10/2C SOLID MC | 131 | 10% | 144.1 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | #12/2C SOLID MC | 476 | 10% | 523.6 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | #14/2C SOLID MC | 165 | 10% | 181.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
[6 empty] | SUBTOTAL MATERIAL |  |  | SUBTOTAL LABOR | [5 empty] | 0
WIRING DEVICES
DEVICES |  |  | DEVICES
1 |  |  | DUPLEX RECEPTACLE | 67 | 0% | 67 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 67 | 0% | 67 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 67 | 0% | 67 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 67 | 0% | 67 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 134 | 0% | 134 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G DUPLEX REC PLATE - PLASTIC IVY | 67 | 0% | 67 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | DUPLEX RECEPTACLE GFI | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 20 | 0% | 20 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G DUPLEX REC PLATE - PLASTIC IVY | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | DUPLEX RECEPTACLE GFCI WP | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G DECOR WP PLATE - DEVICE MNT VERT - ALUM | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | JUNCTION BOX WEATHERPROOF FOR FUTURE EV CHARGER | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | JUNCTION BOX WEATHERPROOF FOR SITE SIGNAGE | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | MOTOR RATED SWITCH | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G TGL SWITCH PLATE - PLASTIC IVY | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | MOTOR RATED SWITCH WEATHERPROOF | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 1 1/2" SQ BOX COMB KO | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G VERT MNT STD DEPTH WP TOGGLE SW CVR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | QUAD RECEPTACLE | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 2G PLSTR RING 5/8" RISE | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 16 | 0% | 16 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2G DUPLEX REC PLATE - PLASTIC IVY | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | DUPLEX RECEPTACLE GFI/WEATHERPROOF •CAST METAL, 2-GANG, NEMA 3R JUNCTION BOX WITH THREADED HUBS. •WEATHERPROOF COVER •(2) 18" RGS CONDUIT FOR SUPPORT | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 |  |  | FLOOR BOX, •(1) DUPLEX RECEPTACLE •(1) TELE/DATA OUTLET | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
LIGHTING FIXTURES
LIGHTING FIXTURES |  |  | DEVICES
1 |  |  | A1, 2'X2' FIXTURE ELITE LIGHTING #22-FPL-BL-LED-3000-DIM10-MVOLT-35K-85 | 18 | 0% | 18 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | A2, 2'X4' FIXTURE ELITE LIGHTING #24-OAT1-LED-3000L/4000L/5000-DIM10-MVOLT-35K/40K/50K-85 | 47 | 0% | 47 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | A3, 8' LINEAR STRIP PENDANT LIGHT FIXTURE ELITE LIGHTING #OLS-D-LED-4-S-8-500L-XX-DIM10-MVOLT-35K-85-XX | 98 | 0% | 98 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | A4, 4' LED STRIP LIGHT ELITE LIGHTING #OLS-R-LED-4-S-4-500L-XX-DIM10-MVOLT-35K-85-XX | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | A5, 4' LINEAR STRIP LIGHT FIXTURE ILP LIGHTING #VS4-4L-U-35-FRL | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | A6, 4" DOWNLIGHT ELITE LIGHTING #HH4-LED-900L-DIM10-MVOLT-35K-HH4-4501 | 13 | 0% | 13 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | E1, INDOOR BATTERY PACK W/DUAL 9.6V/3W LIGHTING HEADS, NICKEL-CADMIUM BATTERY EVENLITE #TCL-2-W | 29 | 0% | 29 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | E2, INDOOR BATTERY PACK W/DUAL 9.6V/3W LIGHTING HEADS, NICKEL-CADMIUM BATTERY. WHITE HOUSING, PROVIDE REMOTE CAPABILITY TO INTERCONNECTION TO FIXTURE TYPE E3 EVENLITE #TCL-4-W | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | E3, OUTDOOR DUAL REMOTE HEAD 9.6V/3W LED LIGHTING HEAD EVENLITE #PRWLED2-MV | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 |  |  | N1, EXTERIOR WALL SCONE LOCATED AT MAIN ENTRANCE FOR EXTERIOR LIGHTING Alva LIGHTING #TESSIE-SLOTTED-30-XX-3500 | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
11 |  |  | N2, WALL PACK LOCATED AT ABOVE BUILDING EXIT FOR EXTERIOR LIGHTING ELITE LIGHTING #OWP-FC-116-LED-1500L/2800L/4000L -DIM10-120-347V-30K/40K/50K-XX-XX | 9 | 0% | 9 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
12 |  |  | X1, CEILING MOUNTED LED EXIT SIGN WITH INTEGRAL BATTERY 90 MINUTES EVENLITE #TEXZ-EM-R-1C | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
13 |  |  | X1, WALL MOUNTED LED EXIT SIGN WITH INTEGRAL BATTERY 90 MINUTES EVENLITE #TEXZ-EM-R-1C | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
14 |  |  | N3 LINEAR STRIP LOCATED ON ROOF OF ADA RAMP METALUMEN #RM4DOD1L35K-4PC-SA-L2-1-S-1-VH | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
LIGHTING SUPPORTS |  |  | DEVICES
1 |  |  | JUNCTION BOX FOR LIGHT | 65 | 0% | 65 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | 6' HANGING WIRE | 260 | 0% | 260 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | EARTH QUAKE CLIPS | 260 | 0% | 260 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | QUOTATION FOR LIGHTING FIXTURES | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
LIGHTING CONTROLS
1 |  |  | D, DAYLIGHT SENSOR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | DIMMING ROOM CONTROLLER #LMRC-212 | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | DIMMING ROOM CONTROLLER #LMRC-213 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | LMZC-301 ZONE CONTROLLER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | TC, INTERMATIC TIME CLOCK | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | MULTIPOLE CONTACTOR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | PC, PHOTOCELL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | PHOTOSENSOR LMS-500 | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | M, CEILING MOUNTED OCCUPANCY SENSOR #LMDC-100 | 30 | 0% | 30 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 |  |  | M, WALL MOUNTED OCCUPANCY SENSOR | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 10 | 0% | 10 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
11 |  |  | SL, LIGHT SWITCH | 5 | 0% | 5 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G TGL SWITCH PLATE - PLASTIC IVY | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
12 |  |  | SL5, SWITCH SCENE SELECTOR #LMSW-241 | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G TGL SWITCH PLATE - PLASTIC IVY | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
13 |  |  | M D, WALL MOUNTED DIMMING OCCUPANCY SENSOR | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 12 | 0% | 12 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
14 |  |  | SLD, DIMMER SWITCH | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 12 | 0% | 12 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G TGL SWITCH PLATE - PLASTIC IVY | 6 | 0% | 6 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
15 |  |  | S, SINGLE POLE TOGGLE SWITCH | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1G TGL SWITCH PLATE - PLASTIC IVY | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | QUOTATION FOR LIGHTING CONTROLS | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 |  |  |  | 0
ROUGH-IN FOR LOW VOLTAGE SYSTEM
CONDUITS
1 |  |  | 4" CONDUIT - EMT | 298 | 10% | 327.8 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" ELBOW 90 DEG - EMT | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" CONN SS STL - EMT | 24 | 0% | 24 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" COUPLING SS STL - EMT | 30 | 0% | 30 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" BUSHING - PLASTIC | 24 | 0% | 24 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" 1-H STRAP - RMC / EMT- STEEL | 30 | 0% | 30 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/8-16x 2 1/4 WEDGE ANCHOR - 1 1/2" MIN DEPTH | 30 | 0% | 30 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | 4" CONDUIT - PVC40 | 131 | 10% | 144.1 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" ELBOW 90 DEG - RMC - GALV | 3 | 0% | 3 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" LOCKNUT - STEEL | 11 | 0% | 11 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" COUPLING - PVC | 16 | 0% | 16 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 4" ADAPTER FEM - PVC | 11 | 0% | 11 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | 2" CONDUIT - EMT | 252 | 10% | 277.2 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" ELBOW 90 DEG - EMT | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" CONN SS STL - EMT | 21 | 0% | 21 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" COUPLING SS STL - EMT | 26 | 0% | 26 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" BUSHING - PLASTIC | 21 | 0% | 21 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" 1-H STRAP - EMT - STEEL | 26 | 0% | 26 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 26 | 0% | 26 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | 2" CONDUIT - PVC40 | 187 | 10% | 205.7 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" ELBOW 90 DEG - RMC - GALV | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" LOCKNUT - STEEL | 15 | 0% | 15 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" COUPLING - PVC | 23 | 0% | 23 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 2" ADAPTER FEM - PVC | 15 | 0% | 15 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | 3/4" CONDUIT - EMT | 855 | 10% | 940.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" CONN SS STL - EMT | 69 | 0% | 69 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" COUPLING SS STL - EMT | 86 | 0% | 86 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" 1-H STRAP - EMT - STEEL | 128 | 0% | 128 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | 3/4" CONDUIT - PVC40 | 13 | 10% | 14.3 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" LOCKNUT - STEEL | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" COUPLING - PVC | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | 3/4" ADAPTER FEM - PVC | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | PULL STRING | 1736 | 10% | 1909.6 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
DEVICES |  |  | DEVICES
1 |  |  | COMMUNICATION HANDHOLE | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | COMMUNICATION SYSTEM OUTLET | 37 | 0% | 37 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | TELEVISION OUTLET | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | ACCESS CONTROL PANEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | CR, CARD READER | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | ES, ELECTRIC DOOR STRIKE | 8 | 0% | 8 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | PUSH BUTTONS | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | 3/4"X8'X4' FIRE RATED PLYWOOD BACK BOARD | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | BACK BOX | 59 | 0% | 59 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
[6 empty] | SUBTOTAL MATERIAL |  |  | SUBTOTAL LABOR | [5 empty] | 0
FIRE ALARM SYSTEM
CONDUCTORS
1 |  |  | #14/2C FPLP CABLE | 1405 | 10% | 1545.5 | FT |  | 0 | 121.6 |  | 0 | 0 | 0
DEVICES |  |  | DEVICES
1 |  |  | D PE, SMOKE PHOTOELECTRIC AUTOMATIC DETECTOR | 30 | 0% | 30 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
2 |  |  | F, FIRE ALARM MANUAL PULL STATION | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
3 |  |  | FF, FIRE ALARM HORN/FLASHING LIGHT CEILING MOUNTED | 4 | 0% | 4 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
4 |  |  | FF, FIRE ALARM HORN/FLASHING LIGHT WALL MOUNTED | 18 | 0% | 18 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
5 |  |  | FIRE ALARM ANNUNCIATOR | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
6 |  |  | FIRE ALARM CONTROL PANEL | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
7 |  |  | FIRE ALARM FLASHING LIGHT | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
8 |  |  | FIRE ALARM FLASHING LIGHT | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
9 |  |  | MOTORIZED DAMPER | 1 | 0% | 1 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
10 |  |  | FLOW SWITCH MONITORING MODULE | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
11 |  |  | TAMPER SWITCH MONITORING MODULE | 2 | 0% | 2 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
12 |  |  | BACK BOX | 65 | 0% | 65 | EA |  | 0 | 121.6 |  | 0 | 0 | 0
|  |  | QUOTATION FOR FIRE ALARM SYSTEM | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR | [5 empty] | 0
DEMOLITION
REMOVAL |  |  | DEVICES
1 |  |  | REMOVAL OF ALL ELECTRICAL DEVICES IN THIS AREA | 11398 | 0% | 11398 | SQ FT |  | 0 | 121.6 |  | 0 | 0 | 0
[6 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 |  |  |  | 0
TOTAL MATERIAL COST | [12 empty] | 0
TOTAL LABOR COST | [12 empty] | 0
TOTAL LABOR HOURS | [12 empty] | 0
| SCOPE OF ESTIMATE: | [7 empty] | COST & INSTALLATION OF LOW VOLTAGE AND SECURITY SYSTEM DEVICES IS NOT INCLUDED
| SR. NO. | SUPPLY & INSTALLATION
| 1 | DISTRIBUTION
| 2 | WIRING DEVICES
| 3 | LIGHTING FIXTURES
| 4 | BRANCH WIRING
| 5 | POWER FEEDERS
| 6 | ROUGH-IN FOR LOW VOLTAGE SYSTEM
| 7 | FIRE ALARM SYSTEM
| 8 | DEMOLITION
| SR. NO. | INCLUSIONS
| 1 | THE ESTIMATE INCLUDES THE INFORMATION SHOWN ONLY ON THE DRAWINGS
| 2 | THE ESTIMATE INCLUDES MATERIAL PRICES (EXCEPT FOR QUOTED ITEMS - LIGHTING FIXTURES, CONTROLS, FA SYSTEM AND SWITCHGEAR)
| 3 | INCLUDES LABOR HOURS FOR INSTALLATION FOR ALL ITEMS
| SR. NO. | EXCLUSIONS
| 1 | FIRESTOPPING IS NOT INCLUDED FOR WALL PENETRATION.
| 2 | PERMITS AND FEES
| 3 | TEMPORARY POWER IS NOT INCLUDED.
| 4 | COAX & CAT5 CABLING FOR THE DATA SYSTEM IS EXCLUDED
| 5 | VOICE/DATA OUTLETS ARE EXCLUDED
| SR. NO. | NOTES
| 1 | SITE LIGHTING SHALL BE DESIGNED BY OTHER, SO WE HAVE NOT INCLUDED IN OUR ESTIMATE.
| 2 | MC CABLE IS USED OVER ALL BRANCH AND HOMERUN IN SMALLER THAN #8 GAUGE WHICH IS MECHANICAL EQUIPMENT, LIGHTING, AND POWER RECEPTACLE
Terms and Conditions/Disclaimer: The quantities, numbers, scope, or any other information contained in this document has been complied to the best of our knowledge. By utilizing or deriving any of the information contained in this document, you accept the information, quantities and costs as accurate and waive to any claims for errors in information. Bidding Enterprise LLC does not warranty any of the information contained in this document. The information contained in this document are for informational purpose only and to be used as a guideline for quantities and pricing. It is the responsibility of the contractor performing the work to review quantities and bid documents and finalize pricing and materials based on current prices.