## Bid Recap & Summary
PROJECT NAME: WEST DEPTFORD WATER & SEWER OFFICE BUILDING DATE: 04/08/2024
BID RECAP
| SR. NO. | DESCRIPTION | MATERIAL COST | LABOR COST | MATERIAL TAX | LABOR TAX | TOTAL COST | OVERHEADS | PROFITS | TOTAL PRICE
| 1 | DISTRIBUTION | 22206.2899 | 51178.256 | 1471.1667 | 0 | 74855.7126 | 7485.5713 | 7485.5713 | 89826.8552
| 2 | BRANCH WIRING | 2044.4107 | 12274.8419 | 135.4422 | 0 | 14454.6948 | 1445.4695 | 1445.4695 | 17345.6337
| 3 | WIRING DEVICES | 3344.8284 | 4751.553 | 221.5949 | 0 | 8317.9762 | 831.7976 | 831.7976 | 9981.5715
| 4 | LIGHTING FIXTURES | 314.82 | 7328.7984 | 20.8568 | 0 | 7664.4752 | 766.4475 | 766.4475 | 9197.3703
| 5 | LIGHTING CONTROLS | 270.7442 | 2157.3238 | 17.9368 | 0 | 2446.0048 | 244.6005 | 244.6005 | 2935.2057
| 6 | TELECOMMUNICATION | 820.6585 | 5084.3271 | 54.3686 | 0 | 5959.3543 | 595.9354 | 595.9354 | 7151.2251
| 7 | SECURITY SYSTEM | 1200.2111 | 4403.1577 | 79.514 | 0 | 5682.8827 | 568.2883 | 568.2883 | 6819.4592
| 8 | FIRE ALARM SYSTEM | 193.854 | 2464.9703 | 12.8428 | 0 | 2671.6672 | 267.1667 | 267.1667 | 3206.0006
|  | TOTALS | 30395.8168 | 89643.2281 | 2013.7229 | 0 | 122052.7678 | 12205.2768 | 12205.2768 | 146463.3213
| BID SUMMARY |  |  |  |  | MAN-LOADING AND SUPERVISION ANALYSIS
| 1 | TOTAL MATERIAL COST |  | 30395.8168 |  | 1 | TOTAL MANHOURS WITH SUPERVISION |  |  | 736.834
|  | MATERIAL SALES TAX | 6.625% | 2013.7229 |  | 2 | NUMBER OF MAN-DAYS |  |  | 92.1043
|  | JOB EXPENSE |  | 0 |  | 3 | MAN LOAD |  |  | 5
| 2 | TOTAL LABOR COST |  | 89643.2281 |  | 4 | ELECTRICIAN RATE |  | 3 | 85
|  | LABOR TAX |  | 0 |  | 5 | SUPERVISOR RATE |  | 1 | 105
| 3 | TOTAL COST |  | 122052.7678 |  | 6 | UNSKILLED LABOR RATE |  | 1 | 55
|  | OVERHEADS @ | 10% | 12205.2768 |  | 7 | COMPOSITE LABOR RATE |  |  | 121.66
|  | PROFIT @ | 10% | 12205.2768 |  | 8 | PREVAILING WAGE RATE |  |  | N/A
| 4 | TOTAL COST WITH OVERHEADS + PROFIT |  | 146463.3213
|  | BID SECURITY |  | 0 |  |  | INSERT VALUES IN YELLOW HIGHLIGHTED CELLS WHERE APPLICABLE
|  | ALLOWANCES |  | 0
|  | MOBILIZATION / DEMOBILIZATION |  | 0
|  | SUB-CONTRACTS |  | 0
|  | BOND PREMIUM |  | 0
| 5 | BASE BID PRICE |  | 146463.3213
Terms and Conditions/Disclaimer: The quantities, numbers, scope, or any other information contained in this document has been complied to the best of our knowledge. By utilizing or deriving any of the information contained in this document, you accept the information, quantities and costs as accurate and waive to any claims for errors in information. Bidding Enterprise LLC does not warranty any of the information contained in this document. The information contained in this document are for informational purpose only and to be used as a guideline for quantities and pricing. It is the responsibility of the contractor performing the work to review quantities and bid documents and finalize pricing and materials based on current prices.

## Estimate
PROJECT NAME: WEST DEPTFORD WATER & SEWER OFFICE BUILDING DATE: 04/08/2024 | [10 empty] | TOTAL BID PRICE |  | 146463.3213
ADD QUOTATION FOR LIGHTING FIXTURES, CONTROLS & SWITCHGEAR
FURNISHED BY OTHER INSTALL BY EC
SR. NO. | DWG. NO. | DETAIL NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT MATERIAL COST | MATERIAL COST | MANHOUR RATE | UNIT MANHOURS | TOTAL MANHOURS | MANHOURS COST | TOTAL COST
DISTRIBUTION | [9 empty] | 121.66
CONDUITS
1 |  |  | 4" CONDUIT - EMT | 28 | 10% | 30.8 | FT | 10.6443 | 327.8444 | 121.66 | 0.16 | 4.928 | 599.5405 | 927.3849
|  |  | 4" ELBOW 90 DEG - EMT | 4 | 0% | 4 | EA | 61.8994 | 247.5976 | 121.66 | 0.64 | 2.56 | 311.4496 | 559.0472
|  |  | 4" CONN SS STL - EMT | 3 | 0% | 3 | EA | 12.94 | 38.82 | 121.66 | 0.288 | 0.864 | 105.1142 | 143.9342
|  |  | 4" COUPLING SS STL - EMT | 3 | 0% | 3 | EA | 8.99 | 26.97 | 121.66 | 0.136 | 0.408 | 49.6373 | 76.6073
|  |  | 4" BUSHING - PLASTIC | 3 | 0% | 3 | EA | 2.4535 | 7.3605 | 121.66 | 0.0864 | 0.2592 | 31.5343 | 38.8948
|  |  | 4" 1-H STRAP - RMC / EMT- STEEL | 3 | 0% | 3 | EA | 1.7142 | 5.1426 | 121.66 | 0.144 | 0.432 | 52.5571 | 57.6997
|  |  | 3/8-16x 2 1/4 WEDGE ANCHOR - 1 1/2" MIN DEPTH | 3 | 0% | 3 | EA | 0.717 | 2.151 | 121.66 | 0.096 | 0.288 | 35.0381 | 37.1891
2 |  |  | 4" CONDUIT - PVC40 | 536 | 10% | 589.6 | FT | 4.7068 | 2775.1293 | 121.66 | 0.14 | 82.544 | 10042.303 | 12817.4323
|  |  | 4" ELBOW 90 DEG - RMC - GALV | 4 | 0% | 4 | EA | 139.4617 | 557.8468 | 121.66 | 3 | 12 | 1459.92 | 2017.7668
|  |  | 4" LOCKNUT - STEEL | 43 | 0% | 43 | EA | 5.8255 | 250.4965 | 121.66 | 0.53 | 22.79 | 2772.6314 | 3023.1279
|  |  | 4" COUPLING - PVC | 65 | 0% | 65 | EA | 4.2006 | 273.039 | 121.66 | 0.08 | 5.2 | 632.632 | 905.671
|  |  | 4" ADAPTER FEM - PVC | 43 | 0% | 43 | EA | 4.8197 | 207.2471 | 121.66 | 0.8 | 34.4 | 4185.104 | 4392.3511
3 |  |  | 4" CONDUIT - RMC - GALV | 12 | 10% | 13.2 | FT | 33.1926 | 438.1423 | 121.66 | 0.3 | 3.96 | 481.7736 | 919.9159
|  |  | 4" COUPLING - RMC - GALV | 1 | 0% | 1 | EA | 36.2921 | 36.2921 | 121.66 | 0.02 | 0.02 | 2.4332 | 38.7253
|  |  | 4" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA | 139.4617 | 139.4617 | 121.66 | 3 | 3 | 364.98 | 504.4417
|  |  | 4" LOCKNUT - STEEL | 2 | 0% | 2 | EA | 5.8255 | 11.651 | 121.66 | 0.53 | 1.06 | 128.9596 | 140.6106
|  |  | 4" BUSHING - PLASTIC | 1 | 0% | 1 | EA | 2.7066 | 2.7066 | 121.66 | 0.53 | 0.53 | 64.4798 | 67.1864
|  |  | 4" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA | 0 | 0 | 121.66 | 0.66 | 0.66 | 80.2956 | 80.2956
|  |  | 4" SPRING STL CONDUIT CLAMP W/ BOLT | 2 | 0% | 2 | EA | 2.5468 | 5.0936 | 121.66 | 0.175 | 0.35 | 42.581 | 47.6746
|  |  | 3/8-16x 2 1/4 WEDGE ANCHOR - 1 1/2" MIN DEPTH | 2 | 0% | 2 | EA | 0.717 | 1.434 | 121.66 | 0.1 | 0.2 | 24.332 | 25.766
4 |  |  | 1 1/4" CONDUIT - EMT | 19 | 10% | 20.9 | FT | 2.8576 | 59.7238 | 121.66 | 0.062 | 1.2958 | 157.647 | 217.3709
|  |  | 1 1/4" CONN COMP STL - EMT | 2 | 0% | 2 | EA | 1.97 | 3.94 | 121.66 | 0.4 | 0.8 | 97.328 | 101.268
|  |  | 1 1/4" COUPLING COMP STL - EMT | 2 | 0% | 2 | EA | 2.36 | 4.72 | 121.66 | 0.2 | 0.4 | 48.664 | 53.384
|  |  | 1 1/4" BUSHING - PLASTIC | 2 | 0% | 2 | EA | 0.3868 | 0.7736 | 121.66 | 0.17 | 0.34 | 41.3644 | 42.138
|  |  | 1 1/4" 1-H STRAP - EMT - STEEL | 2 | 0% | 2 | EA | 1.4134 | 2.8268 | 121.66 | 0.0425 | 0.085 | 10.3411 | 13.1679
|  |  | 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 2 | 0% | 2 | EA | 0.4255 | 0.851 | 121.66 | 0.06 | 0.12 | 14.5992 | 15.4502
5 |  |  | 1 1/4"C LFMC | 5 | 10% | 5.5 | FT | 4.6978 | 25.8379 | 121.66 | 0.1 | 0.55 | 66.913 | 92.7509
6 |  |  | 1 1/4" CONDUIT - PVC40 | 13 | 10% | 14.3 | FT | 1.233 | 17.6319 | 121.66 | 0.06 | 0.858 | 104.3843 | 122.0162
|  |  | 1 1/4" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA | 16.9372 | 16.9372 | 121.66 | 0.6 | 0.6 | 72.996 | 89.9332
|  |  | 1 1/4" LOCKNUT - STEEL | 2 | 0% | 2 | EA | 0.5676 | 1.1352 | 121.66 | 0.17 | 0.34 | 41.3644 | 42.4996
|  |  | 1 1/4" COUPLING - PVC | 2 | 0% | 2 | EA | 0.524 | 1.048 | 121.66 | 0.04 | 0.08 | 9.7328 | 10.7808
|  |  | 1 1/4" ADAPTER FEM - PVC | 2 | 0% | 2 | EA | 0.8967 | 1.7934 | 121.66 | 0.2 | 0.4 | 48.664 | 50.4574
7 |  |  | 1 1/4" CONDUIT - RMC - GALV | 5 | 10% | 5.5 | FT | 8.1274 | 44.7007 | 121.66 | 0.08 | 0.44 | 53.5304 | 98.2311
|  |  | 1 1/4" COUPLING - RMC - GALV | 1 | 0% | 1 | EA | 5.0615 | 5.0615 | 121.66 | 0.02 | 0.02 | 2.4332 | 7.4947
|  |  | 1 1/4" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA | 16.9372 | 16.9372 | 121.66 | 0.6 | 0.6 | 72.996 | 89.9332
|  |  | 1 1/4" LOCKNUT - STEEL | 1 | 0% | 1 | EA | 0.5676 | 0.5676 | 121.66 | 0.17 | 0.17 | 20.6822 | 21.2498
|  |  | 1 1/4" BUSHING - PLASTIC | 1 | 0% | 1 | EA | 0.3868 | 0.3868 | 121.66 | 0.17 | 0.17 | 20.6822 | 21.069
|  |  | 1 1/4" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA | 0 | 0 | 121.66 | 0.24 | 0.24 | 29.1984 | 29.1984
|  |  | 1 1/2" EMT & 1 1/4" RMC / IMC SPRING STL CLAMP W/ BOLT | 1 | 0% | 1 | EA | 0.6181 | 0.6181 | 121.66 | 0.1375 | 0.1375 | 16.7282 | 17.3463
|  |  | 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 1 | 0% | 1 | EA | 0.4255 | 0.4255 | 121.66 | 0.06 | 0.06 | 7.2996 | 7.7251
8 |  |  | 1" CONDUIT - PVC40 | 20 | 10% | 22 | FT | 0.8562 | 18.8364 | 121.66 | 0.0525 | 1.155 | 140.5173 | 159.3537
|  |  | 1" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA | 12.1174 | 12.1174 | 121.66 | 0.5 | 0.5 | 60.83 | 72.9474
|  |  | 1" LOCKNUT - STEEL | 2 | 0% | 2 | EA | 0.3749 | 0.7498 | 121.66 | 0.13 | 0.26 | 31.6316 | 32.3814
|  |  | 1" COUPLING - PVC | 3 | 0% | 3 | EA | 0.3868 | 1.1604 | 121.66 | 0.03 | 0.09 | 10.9494 | 12.1098
|  |  | 1" ADAPTER FEM - PVC | 2 | 0% | 2 | EA | 0.6688 | 1.3376 | 121.66 | 0.18 | 0.36 | 43.7976 | 45.1352
CONDUCTORS
1 |  |  | #250 THHN | 160 | 10% | 176 | FT | 4.7733 | 840.1008 | 121.66 | 0.032 | 5.632 | 685.1891 | 1525.2899
2 |  |  | #250 XHHW | 2144 | 10% | 2358.4 | FT | 5.1089 | 12048.8298 | 121.66 | 0.036 | 84.9024 | 10329.226 | 22378.0557
3 |  |  | #2 THHN | 40 | 10% | 44 | FT | 1.556 | 68.464 | 121.66 | 0.017 | 0.748 | 91.0017 | 159.4657
4 |  |  | #2 XHHW | 536 | 10% | 589.6 | FT | 1.6744 | 987.2262 | 121.66 | 0.019 | 11.2024 | 1362.884 | 2350.1102
5 |  |  | #4 THHN | 116 | 10% | 127.6 | FT | 0.9856 | 125.7626 | 121.66 | 0.013 | 1.6588 | 201.8096 | 327.5722
6 |  |  | #4 XHHW | 52 | 10% | 57.2 | FT | 1.085 | 62.062 | 121.66 | 0.015 | 0.858 | 104.3843 | 166.4463
7 |  |  | #8 THHN | 29 | 10% | 31.9 | FT | 0.4186 | 13.3533 | 121.66 | 0.009 | 0.2871 | 34.9286 | 48.2819
8 |  |  | #8 XHHW | 13 | 10% | 14.3 | FT | 0.4854 | 6.9412 | 121.66 | 0.011 | 0.1573 | 19.1371 | 26.0783
9 |  |  | #10 XHHW | 60 | 10% | 66 | FT | 0.29078 | 19.1915 | 121.66 | 0.0085 | 0.561 | 68.2513 | 87.4427
GROUNDING
1 |  |  | # 2 BARE COPPER - 7-STRAND | 120 | 10% | 132 | FT | 1.6725 | 220.7646 | 121.66 | 0.02 | 2.64 | 321.1824 | 541.947
2 |  |  | 3/4" X 10' GROUND ROD | 1 | 0% | 1 | EA | 44 | 44 | 121.66 | 0.4 | 0.4 | 48.664 | 92.664
3 |  |  | CAD WELD CONNECTION | 4 | 0% | 4 | EA | 25 | 100 | 121.66 | 0.15 | 0.6 | 72.996 | 172.996
4 |  |  | GROUND LUG | 4 | 0% | 4 | EA | 9.79 | 39.16 | 121.66 | 0.1 | 0.4 | 48.664 | 87.824
DISCONNECT SWITCHES
1 |  |  | 60A/3P FUSED DISCONNECT SWITCH NEMA 1 | 1 | 0% | 1 | EA |  | 0 | 121.66 | 2.7 | 2.7 | 328.482 | 328.482
2 |  |  | 100A/3P FUSED DISCONNECT SWITCH/70A TIME DELAY FUSE NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.66 | 4 | 4 | 486.64 | 486.64
3 |  |  | 400A/3P DISCONNECT SWITCH 208V COLD SEQUENCE SERVICE ENTRANCE | 1 | 0% | 1 | EA |  | 0 | 121.66 | 8.8 | 8.8 | 1070.608 | 1070.608
BREAKERS
1 |  |  | 20A/1P CIRCUIT BREAKER | 37 | 0% | 37 | EA |  | 0 | 121.66 | 0.15 | 5.55 | 675.213 | 675.213
2 |  |  | 15A/2P CIRCUIT BREAKER | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.25 | 0.5 | 60.83 | 60.83
3 |  |  | 20A/2P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.66 | 0.25 | 0.25 | 30.415 | 30.415
4 |  |  | 30A/2P CIRCUIT BREAKER | 3 | 0% | 3 | EA |  | 0 | 121.66 | 0.25 | 0.75 | 91.245 | 91.245
5 |  |  | 60A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.66 | 0.4 | 0.4 | 48.664 | 48.664
6 |  |  | 70A/3P CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.66 | 0.4 | 0.4 | 48.664 | 48.664
7 |  |  | 400A MAIN CIRCUIT BREAKER | 1 | 0% | 1 | EA |  | 0 | 121.66 | 5 | 5 | 608.3 | 608.3
PANELS
1 |  |  | DUPLEX ALTERNATING PANEL T-260 NEMA 4X ENCLOSURE •(2) CONTACTOR •OPTIONAL HOUR METER •ALARM LIGHT | 1 | 0% | 1 | EA |  | 0 | 121.66 | 10 | 10 | 1216.6 | 1216.6
2 |  |  | PANEL MP, 600A MCB, 208/120V, 3PH, 4W, 42000AIC RATING, SURFACE MOUNTED | 1 | 0% | 1 | EA |  | 0 | 121.66 | 11 | 11 | 1338.26 | 1338.26
EQUIPMENT
1 |  |  | 28" X 30" ELECTRICAL PSEG UTILITY BOX | 1 | 0% | 1 | EA |  | 0 | 121.66 | 4 | 4 | 486.64 | 486.64
2 |  |  | 36" X 36" PG STYLE POLYMER CONCRETE BOX WITH DESIGNATION "ELECTRICAL" SERVICE ENTRANCE QUAZITE BOX W/TIER 15 COVER | 1 | 0% | 1 | EA |  | 0 | 121.66 | 4 | 4 | 486.64 | 486.64
3 |  |  | 208 PRI. 240 SEC. BUCK/BOOST TRANSFORMER (PROVIDED BY MANUFACTURER) | 1 | 0% | 1 | EA |  | 0 | 121.66 | 1 | 1 | 121.66 | 121.66
4 |  |  | 400A CT CABINET NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.66 | 6 | 6 | 729.96 | 729.96
5 |  |  | 400A UTILITY METER NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.66 | 4 | 4 | 486.64 | 486.64
6 |  |  | DUPLEX GRINDER PUMP STATION | 1 | 0% | 1 | EA |  | 0 | 121.66 | 10 | 10 | 1216.6 | 1216.6
7 |  |  | NEW POLE MOUNTED UTILITY TRANSFORMER NEMA 3R | 1 | 0% | 1 | EA |  | 0 | 121.66 | 20 | 20 | 2433.2 | 2433.2
EQUIPMENT CONNECTIONS
1 |  |  | EQUIPMENT CONNECTION FOR AHU | 1 | 0% | 1 | EA | 30 | 30 | 121.66 | 0.2 | 0.2 | 24.332 | 54.332
2 |  |  | EQUIPMENT CONNECTION FOR EDH | 1 | 0% | 1 | EA | 30 | 30 | 121.66 | 0.2 | 0.2 | 24.332 | 54.332
3 |  |  | EQUIPMENT CONNECTION FOR EF | 1 | 0% | 1 | EA | 30 | 30 | 121.66 | 0.2 | 0.2 | 24.332 | 54.332
4 |  |  | EQUIPMENT CONNECTION FOR EUH | 1 | 0% | 1 | EA | 30 | 30 | 121.66 | 0.2 | 0.2 | 24.332 | 54.332
5 |  |  | EQUIPMENT CONNECTION FOR HWH | 1 | 0% | 1 | EA | 30 | 30 | 121.66 | 0.2 | 0.2 | 24.332 | 54.332
6 |  |  | EQUIPMENT CONNECTION FOR PTHP | 3 | 0% | 3 | EA | 30 | 90 | 121.66 | 0.2 | 0.6 | 72.996 | 162.996
7 |  |  | EQUIPMENT CONNECTION FOR RAD | 2 | 0% | 2 | EA | 30 | 60 | 121.66 | 0.2 | 0.4 | 48.664 | 108.664
MISCELLANEOUS
1 |  |  | SPLICE PULLBOX | 4 | 0% | 4 | EA | 4 | 16 | 121.66 | 0.2 | 0.8 | 97.328 | 113.328
2 |  |  | SCOTCHLOCK CONNECTOR | 13.65 | 0% | 13.65 | EA | 0.6 | 8.19 | 121.66 | 0.015 | 0.20475 | 24.9099 | 33.0999
3 |  |  | COMPRESSION CONNECTOR | 12 | 0% | 12 | EA | 3.6 | 43.2 | 121.66 | 0.1 | 1.2 | 145.992 | 189.192
4 |  |  | 1" RGS LB-STYLE CONDUIT BODY NEMA 3R | 1 | 0% | 1 | EA | 45 | 45 | 121.66 | 0.5 | 0.5 | 60.83 | 105.83
5 |  |  | 36" X 20" TRENCHING AND BACKFILLING | 268 | 0% | 268 | FT | 4 | 1072 | 121.66 | 0.055 | 14.74 | 1793.2684 | 2865.2684
6 |  |  | 28" X 12" TRENCHING AND BACKFILLING | 31 | 0% | 31 | FT | 4 | 124 | 121.66 | 0.05 | 1.55 | 188.573 | 312.573
7 |  |  | 30" X 19" TRENCHING AND BACKFILLING | 95 | 0% | 95 | FT | 4.5 | 427.5 | 121.66 | 0.05 | 4.75 | 577.885 | 1005.385
|  |  | QUOTATION FOR SWITCHGEAR | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 22206.2899 | SUBTOTAL LABOR |  | 51178.256 |  |  |  | 73384.5459
BRANCH WIRING
CONDUCTORS - LIGHTING
1 |  |  | #12/2C SOLID MC | 820 | 10% | 902 | FT | 0.5864 | 528.9328 | 121.66 | 0.026 | 23.452 | 2853.1703 | 3382.1031
2 |  |  | CAT 5 | 182 | 10% | 200.2 | FT | 0.145 | 29.029 | 121.66 | 0.0032 | 0.64064 | 77.9403 | 106.9693
CONDUITS - POWER
1 |  |  | 3/4" CONDUIT - PVC40 | 12 | 10% | 13.2 | FT | 0.5867 | 7.7444 | 121.66 | 0.045 | 0.594 | 72.266 | 80.0105
|  |  | 3/4" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA | 7.755 | 7.755 | 121.66 | 0.4 | 0.4 | 48.664 | 56.419
|  |  | 3/4" LOCKNUT - STEEL | 1 | 0% | 1 | EA | 0.179 | 0.179 | 121.66 | 0.12 | 0.12 | 14.5992 | 14.7782
|  |  | 3/4" COUPLING - PVC | 2 | 0% | 2 | EA | 0.2548 | 0.5096 | 121.66 | 0.03 | 0.06 | 7.2996 | 7.8092
|  |  | 3/4" ADAPTER FEM - PVC | 1 | 0% | 1 | EA | 0.4918 | 0.4918 | 121.66 | 0.16 | 0.16 | 19.4656 | 19.9574
CONDUCTORS - POWER
1 |  |  | #12 THHN | 36 | 10% | 39.6 | FT | 0.1475 | 5.841 | 121.66 | 0.006 | 0.2376 | 28.9064 | 34.7474
2 |  |  | #12/2C SOLID MC | 844 | 10% | 928.4 | FT | 0.5864 | 544.4138 | 121.66 | 0.026 | 24.1384 | 2936.6777 | 3481.0915
CONDUITS - EQUIPMENT
1 |  |  | 1 1/4" CONDUIT - EMT | 20 | 10% | 22 | FT | 2.8576 | 62.8672 | 121.66 | 0.062 | 1.364 | 165.9442 | 228.8114
|  |  | 1 1/4" CONN COMP STL - EMT | 2 | 0% | 2 | EA | 1.97 | 3.94 | 121.66 | 0.4 | 0.8 | 97.328 | 101.268
|  |  | 1 1/4" COUPLING COMP STL - EMT | 2 | 0% | 2 | EA | 2.36 | 4.72 | 121.66 | 0.2 | 0.4 | 48.664 | 53.384
|  |  | 1 1/4" BUSHING - PLASTIC | 2 | 0% | 2 | EA | 0.3868 | 0.7736 | 121.66 | 0.17 | 0.34 | 41.3644 | 42.138
|  |  | 1 1/4" 1-H STRAP - EMT - STEEL | 2 | 0% | 2 | EA | 1.4134 | 2.8268 | 121.66 | 0.0425 | 0.085 | 10.3411 | 13.1679
|  |  | 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 2 | 0% | 2 | EA | 0.4255 | 0.851 | 121.66 | 0.06 | 0.12 | 14.5992 | 15.4502
2 |  |  | 1 1/4"C LFMC | 4 | 10% | 4.4 | FT | 4.6978 | 20.6703 | 121.66 | 0.1 | 0.44 | 53.5304 | 74.2007
3 |  |  | 1 1/4" CONDUIT - PVC40 | 22 | 10% | 24.2 | FT | 1.233 | 29.8386 | 121.66 | 0.06 | 1.452 | 176.6503 | 206.4889
|  |  | 1 1/4" ELBOW 90 DEG - RMC - GALV | 1 | 0% | 1 | EA | 16.9372 | 16.9372 | 121.66 | 0.6 | 0.6 | 72.996 | 89.9332
|  |  | 1 1/4" LOCKNUT - STEEL | 2 | 0% | 2 | EA | 0.5676 | 1.1352 | 121.66 | 0.17 | 0.34 | 41.3644 | 42.4996
|  |  | 1 1/4" COUPLING - PVC | 3 | 0% | 3 | EA | 0.524 | 1.572 | 121.66 | 0.04 | 0.12 | 14.5992 | 16.1712
|  |  | 1 1/4" ADAPTER FEM - PVC | 2 | 0% | 2 | EA | 0.8967 | 1.7934 | 121.66 | 0.2 | 0.4 | 48.664 | 50.4574
4 |  |  | 3/4" CONDUIT - EMT | 283 | 10% | 311.3 | FT | 1.0192 | 317.277 | 121.66 | 0.05 | 15.565 | 1893.6379 | 2210.9149
|  |  | 3/4" CONN COMP STL - EMT | 23 | 0% | 23 | EA | 0.69 | 15.87 | 121.66 | 0.3 | 6.9 | 839.454 | 855.324
|  |  | 3/4" COUPLING COMP STL - EMT | 29 | 0% | 29 | EA | 0.69 | 20.01 | 121.66 | 0.14 | 4.06 | 493.9396 | 513.9496
|  |  | 3/4" 1-H STRAP - EMT - STEEL | 43 | 0% | 43 | EA | 1.0548 | 45.3564 | 121.66 | 0.04 | 1.72 | 209.2552 | 254.6116
|  |  | #8 TO #10x 7/8 PLAS ANCHOR (3/16) | 65 | 0% | 65 | EA | 0.0293 | 1.9045 | 121.66 | 0.05 | 3.25 | 395.395 | 397.2995
|  |  | #10x 1 P/H SELF-TAP SCREW | 65 | 0% | 65 | EA | 0.0577 | 3.7505 | 121.66 | 0.02 | 1.3 | 158.158 | 161.9085
5 |  |  | 3/4"C FLEX S | 39 | 10% | 42.9 | FT | 1.2382 | 53.1188 | 121.66 | 0.05 | 2.145 | 260.9607 | 314.0795
CONDUCTORS - EQUIPMENT
1 |  |  | #4 THHN | 72 | 10% | 79.2 | FT | 0.9856 | 78.0595 | 121.66 | 0.013 | 1.0296 | 125.2611 | 203.3207
2 |  |  | #8 THHN | 24 | 10% | 26.4 | FT | 0.4186 | 11.051 | 121.66 | 0.009 | 0.2376 | 28.9064 | 39.9575
3 |  |  | #10 THHN | 304 | 10% | 334.4 | FT | 0.2255 | 75.4072 | 121.66 | 0.007 | 2.3408 | 284.7817 | 360.1889
4 |  |  | #12 THHN | 885 | 10% | 973.5 | FT | 0.1475 | 143.5913 | 121.66 | 0.006 | 5.841 | 710.6161 | 854.2073
5 |  |  | #14 THW | 44 | 10% | 48.4 | FT | 0.12795 | 6.1928 | 121.66 | 0.005 | 0.242 | 29.4417 | 35.6345
[6 empty] | SUBTOTAL MATERIAL |  | 2044.4107 | SUBTOTAL LABOR |  | 12274.8419 |  |  |  | 14319.2526
WIRING DEVICES
DEVICES - TAMPER RESISTANT |  |  | DEVICES
1 |  |  | 15A/2P SPECIAL RECEPTACLE NEMA 6-15P | 2 | 0% | 2 | EA | 11.99 | 23.98 | 121.66 | 0.16 | 0.32 | 38.9312 | 62.9112
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 2 | 0% | 2 | EA | 3.77 | 7.54 | 121.66 | 0.4 | 0.8 | 97.328 | 104.868
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA | 2.31 | 4.62 | 121.66 | 0.02 | 0.04 | 4.8664 | 9.4864
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA | 0.87 | 1.74 | 121.66 | 0.024 | 0.048 | 5.8397 | 7.5797
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA | 0.0577 | 0.2308 | 121.66 | 0.0224 | 0.0896 | 10.9007 | 11.1315
|  |  | 1G SINGLE REC PLATE - SS | 2 | 0% | 2 | EA | 9.84 | 19.68 | 121.66 | 0.04 | 0.08 | 9.7328 | 29.4128
2 |  |  | 30A/2P SPECIAL RECEPTACLE NEMA 6-30P | 1 | 0% | 1 | EA | 32 | 32 | 121.66 | 0.16 | 0.16 | 19.4656 | 51.4656
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 1 | 0% | 1 | EA | 3.77 | 3.77 | 121.66 | 0.4 | 0.4 | 48.664 | 52.434
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA | 2.31 | 2.31 | 121.66 | 0.02 | 0.02 | 2.4332 | 4.7432
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA | 0.87 | 0.87 | 121.66 | 0.024 | 0.024 | 2.9198 | 3.7898
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA | 0.0577 | 0.1154 | 121.66 | 0.0224 | 0.0448 | 5.4504 | 5.5658
|  |  | 1G SINGLE REC PLATE - SS | 1 | 0% | 1 | EA | 9.84 | 9.84 | 121.66 | 0.04 | 0.04 | 4.8664 | 14.7064
3 |  |  | 30A/2P SPECIAL RECEPTACLE NEMA 14-30P | 1 | 0% | 1 | EA | 32 | 32 | 121.66 | 0.16 | 0.16 | 19.4656 | 51.4656
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 1 | 0% | 1 | EA | 3.77 | 3.77 | 121.66 | 0.4 | 0.4 | 48.664 | 52.434
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA | 2.31 | 2.31 | 121.66 | 0.02 | 0.02 | 2.4332 | 4.7432
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA | 0.87 | 0.87 | 121.66 | 0.024 | 0.024 | 2.9198 | 3.7898
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA | 0.0577 | 0.1154 | 121.66 | 0.0224 | 0.0448 | 5.4504 | 5.5658
|  |  | 1G SINGLE REC PLATE - SS | 1 | 0% | 1 | EA | 9.84 | 9.84 | 121.66 | 0.04 | 0.04 | 4.8664 | 14.7064
4 |  |  | DISCONNECT RECEPTACLE IN NEMA 1 BOX | 1 | 0% | 1 | EA | 185 | 185 | 121.66 | 0.6 | 0.6 | 72.996 | 257.996
5 |  |  | DUPLEX RECEPTACLE | 29 | 0% | 29 | EA | 19.99 | 579.71 | 121.66 | 0.22 | 6.38 | 776.1908 | 1355.9008
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 29 | 0% | 29 | EA | 3.77 | 109.33 | 121.66 | 0.4 | 11.6 | 1411.256 | 1520.586
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 29 | 0% | 29 | EA | 2.31 | 66.99 | 121.66 | 0.02 | 0.58 | 70.5628 | 137.5528
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 29 | 0% | 29 | EA | 0.87 | 25.23 | 121.66 | 0.024 | 0.696 | 84.6754 | 109.9054
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 58 | 0% | 58 | EA | 0.0577 | 3.3466 | 121.66 | 0.0224 | 1.2992 | 158.0607 | 161.4073
|  |  | 1G DUPLEX REC PLATE - SS | 29 | 0% | 29 | EA | 9.84 | 285.36 | 121.66 | 0.04 | 1.16 | 141.1256 | 426.4856
6 |  |  | DUPLEX RECEPTACLE GFI | 6 | 0% | 6 | EA | 29 | 174 | 121.66 | 0.27 | 1.62 | 197.0892 | 371.0892
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 6 | 0% | 6 | EA | 3.77 | 22.62 | 121.66 | 0.4 | 2.4 | 291.984 | 314.604
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 6 | 0% | 6 | EA | 2.31 | 13.86 | 121.66 | 0.02 | 0.12 | 14.5992 | 28.4592
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 6 | 0% | 6 | EA | 0.87 | 5.22 | 121.66 | 0.024 | 0.144 | 17.519 | 22.739
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 12 | 0% | 12 | EA | 0.0577 | 0.6924 | 121.66 | 0.0224 | 0.2688 | 32.7022 | 33.3946
|  |  | 1G DUPLEX REC PLATE - SS | 6 | 0% | 6 | EA | 9.84 | 59.04 | 121.66 | 0.04 | 0.24 | 29.1984 | 88.2384
7 |  |  | DUPLEX RECEPTACLE GFI WEATHERPROOF | 3 | 0% | 3 | EA | 49 | 147 | 121.66 | 0.37 | 1.11 | 135.0426 | 282.0426
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 3 | 0% | 3 | EA | 3.77 | 11.31 | 121.66 | 0.4 | 1.2 | 145.992 | 157.302
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 3 | 0% | 3 | EA | 2.31 | 6.93 | 121.66 | 0.02 | 0.06 | 7.2996 | 14.2296
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 3 | 0% | 3 | EA | 0.87 | 2.61 | 121.66 | 0.024 | 0.072 | 8.7595 | 11.3695
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 6 | 0% | 6 | EA | 0.0577 | 0.3462 | 121.66 | 0.0224 | 0.1344 | 16.3511 | 16.6973
|  |  | 1G DUPLEX REC PLATE - SS | 3 | 0% | 3 | EA | 9.84 | 29.52 | 121.66 | 0.04 | 0.12 | 14.5992 | 44.1192
8 |  |  | FLOOR BOX, (1) DUPLEX AND COMBINATION TELE/DATA OUTLET LEGRAND #EFB45S 4/5 GANG | 2 | 0% | 2 | EA | 420 | 840 | 121.66 | 1.2 | 2.4 | 291.984 | 1131.984
9 |  |  | FRACTIONAL HP STARTER | 3 | 0% | 3 | EA | 102.48 | 307.44 | 121.66 | 0.2 | 0.6 | 72.996 | 380.436
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 3 | 0% | 3 | EA | 3.77 | 11.31 | 121.66 | 0.4 | 1.2 | 145.992 | 157.302
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 3 | 0% | 3 | EA | 2.31 | 6.93 | 121.66 | 0.02 | 0.06 | 7.2996 | 14.2296
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 3 | 0% | 3 | EA | 0.87 | 2.61 | 121.66 | 0.024 | 0.072 | 8.7595 | 11.3695
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 6 | 0% | 6 | EA | 0.0577 | 0.3462 | 121.66 | 0.0224 | 0.1344 | 16.3511 | 16.6973
|  |  | 1G TGL SWITCH PLATE - SS | 3 | 0% | 3 | EA | 9.84 | 29.52 | 121.66 | 0.04 | 0.12 | 14.5992 | 44.1192
10 |  |  | POWER CORD ' PWR00286' | 2 | 0% | 2 | EA | 55 | 110 | 121.66 | 0.3 | 0.6 | 72.996 | 182.996
11 |  |  | POWER CORD 'PWR00290' | 1 | 0% | 1 | EA | 75 | 75 | 121.66 | 0.3 | 0.3 | 36.498 | 111.498
12 |  |  | QUAD RECEPTACLE | 1 | 0% | 1 | EA | 48 | 48 | 121.66 | 0.4 | 0.4 | 48.664 | 96.664
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 1 | 0% | 1 | EA | 4.98 | 4.98 | 121.66 | 0.4 | 0.4 | 48.664 | 53.644
|  |  | 4" SQ 2G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA | 4.31 | 4.31 | 121.66 | 0.04 | 0.04 | 4.8664 | 9.1764
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA | 0.87 | 0.87 | 121.66 | 0.03 | 0.03 | 3.6498 | 4.5198
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA | 0.0577 | 0.1154 | 121.66 | 0.03 | 0.06 | 7.2996 | 7.415
|  |  | 2G DUPLEX REC PLATE - SS | 1 | 0% | 1 | EA | 19.68 | 19.68 | 121.66 | 0.08 | 0.08 | 9.7328 | 29.4128
[6 empty] | SUBTOTAL MATERIAL |  | 3344.8284 | SUBTOTAL LABOR |  | 4751.553 |  |  |  | 8096.3814
LIGHTING FIXTURES
LIGHTING FIXTURES |  |  | DEVICES
1 |  |  | A1, 2X2 ARCHITECTURAL TROFFER FINELITE, INC #HPR-LED-A-2X2-S835-DC0-96LG FC-10%-XX-96LG | 3 | 0% | 3 | EA |  | 0 | 121.66 | 1.1 | 3.3 | 401.478 | 401.478
2 |  |  | A1E, 2X2 ARCHITECTURAL TROFFER W/EMERGENCY MINUTES BATTERY BACKUP FINELITE, INC #HPR-LED-A-2X2-S835-DC0-96LG FC-10%-XX-96LG-LGD10W | 3 | 0% | 3 | EA |  | 0 | 121.66 | 1.1 | 3.3 | 401.478 | 401.478
3 |  |  | A2, 2X4 ARCHITECTURAL TROFFER FINELITE, INC #HPR-LED-A-2X2-S835-DC0-96LG FC-10%-XX-96LG | 5 | 0% | 5 | EA |  | 0 | 121.66 | 1.3 | 6.5 | 790.79 | 790.79
4 |  |  | A2E, 2X4 ARCHITECTURAL TROFFER W/EMERGENCY MINUTES BATTERY BACKUP FINELITE, INC #HPR-LED-A-2X2-S835-DC0-96LG FC-10%-XX-96LG-LGD10W | 5 | 0% | 5 | EA |  | 0 | 121.66 | 1.3 | 6.5 | 790.79 | 790.79
5 |  |  | B, 2X2 EDGE-LIT FLAT PANEL COLUMBIA LIGHTING #CFP22-4035 | 2 | 0% | 2 | EA |  | 0 | 121.66 | 1.1 | 2.2 | 267.652 | 267.652
6 |  |  | B1E, 2X2 EDGE-LIT FLAT PANEL WITH EMERGENCY BATTERY BACKUP AND ADDITIONAL 2X2 CFP SURFACE MOUNT KIT COLUMBIA LIGHTING #CFP22-4035-ELL14-SRPSMK-22 | 3 | 0% | 3 | EA |  | 0 | 121.66 | 1.1 | 3.3 | 401.478 | 401.478
7 |  |  | BE, 2X2 EDGE-LIT FLAT PANEL WITH EMERGENCY BATTERY BACKUP COLUMBIA LIGHTING #CFP22-4035-ELL14 | 3 | 0% | 3 | EA |  | 0 | 121.66 | 1.1 | 3.3 | 401.478 | 401.478
8 |  |  | C, 4' LED NARROW WRAP COLUMBIA LIGHTING #CNW4-LSCS-3500K | 3 | 0% | 3 | EA |  | 0 | 121.66 | 1.3 | 3.9 | 474.474 | 474.474
9 |  |  | W1, EXTERIOR WALL PACK WITH IN BOLT PHOTOCELL EXO #LNC-5L-U-4K-4-BLT-PCU | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.8 | 1.6 | 194.656 | 194.656
10 |  |  | W2, EXTERIOR WALL PACK WITH IN BOLT PHOTOCELL EXO #LNC-7L-U-4K-4-BLT-PCU | 8 | 0% | 8 | EA |  | 0 | 121.66 | 0.8 | 6.4 | 778.624 | 778.624
11 |  |  | XED, ELXN400 LED SERIES EMERGI-LITE #ELXN400R-2LEDR-AD | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.8 | 1.6 | 194.656 | 194.656
12 |  |  | XR, CLUSTER REMOTE HEAD EF44D EMERGI-LITE #EF44-D-LED-WP | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.8 | 1.6 | 194.656 | 194.656
LIGHTING SUPPORTS |  |  | DEVICES
1 |  |  | 4X4 JUNCTION BOX | 3 | 0% | 3 | EA | 15.5 | 46.5 | 121.66 | 0.3 | 0.9 | 109.494 | 155.994
2 |  |  | JUNCTION BOX FOR TROFFER LIGHT | 24 | 0% | 24 | EA | 4.5 | 108 | 121.66 | 0.2 | 4.8 | 583.968 | 691.968
3 |  |  | HANGER SUPPORT LIGHT | 144 | 0% | 144 | EA | 0.2 | 28.8 | 121.66 | 0.01 | 1.44 | 175.1904 | 203.9904
4 |  |  | EARTH QUAKE CLIPS | 96 | 0% | 96 | EA | 1.37 | 131.52 | 121.66 | 0.1 | 9.6 | 1167.936 | 1299.456
|  |  | QUOTATION FOR LIGHTING FIXTURES | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 314.82 | SUBTOTAL LABOR |  | 7328.7984 |  |  |  | 7643.6184
LIGHTING CONTROLS
1 |  |  | NXRC-1R | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.2 | 0.4 | 48.664 | 48.664
2 |  |  | NXRCFX2-1RD | 1 | 0% | 1 | EA |  | 0 | 121.66 | 0.2 | 0.2 | 24.332 | 24.332
3 |  |  | OS, LOW VOLTAGE OCCUPANCY SENSOR HUBBELL #NXSMP2-OMNI | 12 | 0% | 12 | EA |  | 0 | 121.66 | 0.3 | 3.6 | 437.976 | 437.976
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 12 | 0% | 12 | EA | 3.77 | 45.24 | 121.66 | 0.4 | 4.8 | 583.968 | 629.208
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 12 | 0% | 12 | EA | 2.31 | 27.72 | 121.66 | 0.02 | 0.24 | 29.1984 | 56.9184
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 12 | 0% | 12 | EA | 0.87 | 10.44 | 121.66 | 0.024 | 0.288 | 35.0381 | 45.4781
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 24 | 0% | 24 | EA | 0.0577 | 1.3848 | 121.66 | 0.0224 | 0.5376 | 65.4044 | 66.7892
4 |  |  | S, SINGLE POLE TOGGLE SWITCH HUBBELL #NXSW-1 | 8 | 0% | 8 | EA |  | 0 | 121.66 | 0.15 | 1.2 | 145.992 | 145.992
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 8 | 0% | 8 | EA | 3.77 | 30.16 | 121.66 | 0.4 | 3.2 | 389.312 | 419.472
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 8 | 0% | 8 | EA | 2.31 | 18.48 | 121.66 | 0.02 | 0.16 | 19.4656 | 37.9456
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 8 | 0% | 8 | EA | 0.87 | 6.96 | 121.66 | 0.024 | 0.192 | 23.3587 | 30.3187
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 16 | 0% | 16 | EA | 0.0577 | 0.9232 | 121.66 | 0.0224 | 0.3584 | 43.6029 | 44.5261
|  |  | 1G TGL SWITCH PLATE - SS | 8 | 0% | 8 | EA | 9.84 | 78.72 | 121.66 | 0.04 | 0.32 | 38.9312 | 117.6512
5 |  |  | S3, 3-WAY TOGGLE SWITCH HUBBELL #NXSW-1 | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.2 | 0.4 | 48.664 | 48.664
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 2 | 0% | 2 | EA | 3.77 | 7.54 | 121.66 | 0.4 | 0.8 | 97.328 | 104.868
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA | 2.31 | 4.62 | 121.66 | 0.02 | 0.04 | 4.8664 | 9.4864
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA | 0.87 | 1.74 | 121.66 | 0.024 | 0.048 | 5.8397 | 7.5797
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA | 0.0577 | 0.2308 | 121.66 | 0.0224 | 0.0896 | 10.9007 | 11.1315
|  |  | 1G TGL SWITCH PLATE - SS | 2 | 0% | 2 | EA | 9.84 | 19.68 | 121.66 | 0.04 | 0.08 | 9.7328 | 29.4128
6 |  |  | S4, 4-WAY TOGGLE SWITCH HUBBELL #NXSW-1 | 1 | 0% | 1 | EA |  | 0 | 121.66 | 0.25 | 0.25 | 30.415 | 30.415
|  |  | 4x 2 1/8" SQ BOX COMB KO W/ nVGR1ent CADDY Model #TSB | 1 | 0% | 1 | EA | 3.77 | 3.77 | 121.66 | 0.4 | 0.4 | 48.664 | 52.434
|  |  | 4" SQ 1G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA | 2.31 | 2.31 | 121.66 | 0.02 | 0.02 | 2.4332 | 4.7432
|  |  | GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA | 0.87 | 0.87 | 121.66 | 0.024 | 0.024 | 2.9198 | 3.7898
|  |  | #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA | 0.0577 | 0.1154 | 121.66 | 0.0224 | 0.0448 | 5.4504 | 5.5658
|  |  | 1G TGL SWITCH PLATE - SS | 1 | 0% | 1 | EA | 9.84 | 9.84 | 121.66 | 0.04 | 0.04 | 4.8664 | 14.7064
|  |  | QUOTATION FOR LIGHTING CONTROL | [10 empty] | 0
[6 empty] | SUBTOTAL MATERIAL |  | 270.7442 | SUBTOTAL LABOR |  | 2157.3238 |  |  |  | 2428.068
TELECOMMUNICATION
CONDUITS
1 |  |  | 1" CONDUIT - PVC40 | 282 | 10% | 310.2 | FT | 0.8562 | 265.5932 | 121.66 | 0.0525 | 16.2855 | 1981.2939 | 2246.8872
|  |  | 1" ELBOW 90 DEG - RMC - GALV | 6 | 0% | 6 | EA | 12.1174 | 72.7044 | 121.66 | 0.5 | 3 | 364.98 | 437.6844
|  |  | 1" LOCKNUT - STEEL | 23 | 0% | 23 | EA | 0.3749 | 8.6227 | 121.66 | 0.13 | 2.99 | 363.7634 | 372.3861
|  |  | 1" COUPLING - PVC | 34 | 0% | 34 | EA | 0.3868 | 13.1512 | 121.66 | 0.03 | 1.02 | 124.0932 | 137.2444
|  |  | 1" ADAPTER FEM - PVC | 23 | 0% | 23 | EA | 0.6688 | 15.3824 | 121.66 | 0.18 | 4.14 | 503.6724 | 519.0548
2 |  |  | 1" CONDUIT - RMC - GALV | 5 | 10% | 5.5 | FT | 5.5238 | 30.3809 | 121.66 | 0.07 | 0.385 | 46.8391 | 77.22
|  |  | 1" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA | 0 | 0 | 121.66 | 0.22 | 0.22 | 26.7652 | 26.7652
|  |  | 1" SNAP CLOSE CLIP - BTM MNT ON 1/4" FLNG HNGR | 1 | 0% | 1 | EA | 1.938 | 1.938 | 121.66 | 0.06 | 0.06 | 7.2996 | 9.2376
|  |  | 1" CONDUIT+BOX SUPPORT - BTM MNT ON 1/4" FLNG HNGR | 1 | 0% | 1 | EA | 5.0373 | 5.0373 | 121.66 | 0.06 | 0.06 | 7.2996 | 12.3369
|  |  | 4 9/16x 1 15/16" DEEP CAST BOX W/ 4x 1" HUBS - CI | 1 | 0% | 1 | EA | 55.47 | 55.47 | 121.66 | 0.38 | 0.38 | 46.2308 | 101.7008
|  |  | COVER ROUND BLANK - CI | 1 | 0% | 1 | EA | 13.82 | 13.82 | 121.66 | 0.05 | 0.05 | 6.083 | 19.903
3 |  |  | 3/4" CONDUIT - PVC40 | 57 | 10% | 62.7 | FT | 0.5867 | 36.7861 | 121.66 | 0.045 | 2.8215 | 343.2637 | 380.0498
|  |  | 3/4" ELBOW 90 DEG - RMC - GALV | 4 | 0% | 4 | EA | 7.755 | 31.02 | 121.66 | 0.4 | 1.6 | 194.656 | 225.676
|  |  | 3/4" LOCKNUT - STEEL | 5 | 0% | 5 | EA | 0.179 | 0.895 | 121.66 | 0.12 | 0.6 | 72.996 | 73.891
|  |  | 3/4" COUPLING - PVC | 7 | 0% | 7 | EA | 0.2548 | 1.7836 | 121.66 | 0.03 | 0.21 | 25.5486 | 27.3322
|  |  | 3/4" ADAPTER FEM - PVC | 5 | 0% | 5 | EA | 0.4918 | 2.459 | 121.66 | 0.16 | 0.8 | 97.328 | 99.787
CONDUCTORS
1 |  |  | CAT 6 | 639 | 10% | 702.9 | FT | 0.143 | 100.5147 | 121.66 | 0.0032 | 2.2493 | 273.6474 | 374.1621
DEVICES |  |  | DEVICES
1 |  |  | 2 PORT DATA OUTLET | 1 | 0% | 1 | EA |  | 0 | 121.66 | 0.16 | 0.16 | 19.4656 | 19.4656
2 |  |  | 24" X 24" PG STYLE POLYMER CONCRETE BOX WITH DESIGNATION "TELECOMMUNICATION" QUAZITE BOX W/TIER 22 COVER | 1 | 0% | 1 | EA |  | 0 | 121.66 | 2 | 2 | 243.32 | 243.32
3 |  |  | COMBINATION VOIP DATA OUTLET | 7 | 0% | 7 | EA |  | 0 | 121.66 | 0.16 | 1.12 | 136.2592 | 136.2592
4 |  |  | DATA OUTLET | 4 | 0% | 4 | EA |  | 0 | 121.66 | 0.16 | 0.64 | 77.8624 | 77.8624
5 |  |  | 16X16X8" JUNCTION BOX NEMA 3R | 1 | 0% | 1 | EA | 165.1 | 165.1 | 121.66 | 1 | 1 | 121.66 | 286.76
[6 empty] | SUBTOTAL MATERIAL |  | 820.6585 | SUBTOTAL LABOR |  | 5084.3271 |  |  |  | 5904.9857
SECURITY
CONDUITS
1 |  |  | 1" CONDUIT - EMT | 68 | 10% | 74.8 | FT | 1.7567 | 131.4012 | 121.66 | 0.055 | 4.114 | 500.5092 | 631.9104
|  |  | 1" CONN COMP STL - EMT | 6 | 0% | 6 | EA | 1.07 | 6.42 | 121.66 | 0.35 | 2.1 | 255.486 | 261.906
|  |  | 1" COUPLING COMP STL - EMT | 7 | 0% | 7 | EA | 1.23 | 8.61 | 121.66 | 0.16 | 1.12 | 136.2592 | 144.8692
|  |  | 1" 1-H STRAP - EMT - STEEL | 11 | 0% | 11 | EA | 1.1935 | 13.1285 | 121.66 | 0.04 | 0.44 | 53.5304 | 66.6589
|  |  | #8 TO #10x 7/8 PLAS ANCHOR (3/16) | 17 | 0% | 17 | EA | 0.0293 | 0.4981 | 121.66 | 0.05 | 0.85 | 103.411 | 103.9091
|  |  | #10x 1 P/H SELF-TAP SCREW | 17 | 0% | 17 | EA | 0.0577 | 0.9809 | 121.66 | 0.02 | 0.34 | 41.3644 | 42.3453
2 |  |  | 3/4" CONDUIT - RMC - GALV | 148 | 0% | 148 | FT | 3.4641 | 512.6868 | 121.66 | 0.06 | 8.88 | 1080.3408 | 1593.0276
|  |  | 3/4" MEASURE CUT & THREAD LABOR - RMC - GALV | 6 | 0% | 6 | EA | 0 | 0 | 121.66 | 0.2 | 1.2 | 145.992 | 145.992
|  |  | 3/4" 1-H STRAP - RMC - MALL | 23 | 0% | 23 | EA | 1.7706 | 40.7238 | 121.66 | 0.04 | 0.92 | 111.9272 | 152.651
|  |  | 4 9/16x 1 15/16" DEEP CAST BOX W/ 4x 3/4" HUBS - CI | 6 | 0% | 6 | EA | 52.38 | 314.28 | 121.66 | 0.36 | 2.16 | 262.7856 | 577.0656
|  |  | COVER ROUND BLANK - CI | 6 | 0% | 6 | EA | 13.82 | 82.92 | 121.66 | 0.048 | 0.288 | 35.0381 | 117.9581
|  |  | #8 TO #10x 7/8 PLAS ANCHOR (3/16) | 35 | 0% | 35 | EA | 0.0293 | 1.0255 | 121.66 | 0.048 | 1.68 | 204.3888 | 205.4143
|  |  | #10x 1 P/H SELF-TAP SCREW | 35 | 0% | 35 | EA | 0.0577 | 2.0195 | 121.66 | 0.024 | 0.84 | 102.1944 | 104.2139
CONDUCTORS
1 |  |  | CAT 6 | 216 | 10% | 237.6 | FT | 0.143 | 33.9768 | 121.66 | 0.0032 | 0.76032 | 92.5005 | 126.4773
DEVICES |  |  | DEVICES
1 |  |  | ACCESS CONTROL KEY FOB | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.5 | 1 | 121.66 | 121.66
2 |  |  | ACCESS CONTROL PANEL | 1 | 0% | 1 | EA |  | 0 | 121.66 | 2 | 2 | 243.32 | 243.32
3 |  |  | DIALER | 1 | 0% | 1 | EA |  | 0 | 121.66 | 0.5 | 0.5 | 60.83 | 60.83
4 |  |  | ELECTRIC DOOR STRIKE | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.5 | 1 | 121.66 | 121.66
5 |  |  | INFRARED SENSOR | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.5 | 1 | 121.66 | 121.66
6 |  |  | MULTISENSORY SECURITY CAMERA | 3 | 0% | 3 | EA |  | 0 | 121.66 | 1 | 3 | 364.98 | 364.98
7 |  |  | WALL MOUNTED IT ENCLOSURE | 1 | 0% | 1 | EA |  | 0 | 121.66 | 1 | 1 | 121.66 | 121.66
8 |  |  | 8" X 8" X 4" BOX | 2 | 0% | 2 | EA | 25.77 | 51.54 | 121.66 | 0.5 | 1 | 121.66 | 173.2
[6 empty] | SUBTOTAL MATERIAL |  | 1200.2111 | SUBTOTAL LABOR |  | 4403.1577 |  |  |  | 5603.3687
FIRE ALARM SYSTEM
CONDUITS
1 |  |  | 3/4" CONDUIT - EMT | 9 | 10% | 9.9 | FT | 1.0192 | 10.0901 | 121.66 | 0.05 | 0.495 | 60.2217 | 70.3118
|  |  | 3/4" CONN COMP STL - EMT | 1 | 0% | 1 | EA | 0.69 | 0.69 | 121.66 | 0.3 | 0.3 | 36.498 | 37.188
|  |  | 3/4" COUPLING COMP STL - EMT | 1 | 0% | 1 | EA | 0.69 | 0.69 | 121.66 | 0.14 | 0.14 | 17.0324 | 17.7224
|  |  | 3/4" 1-H STRAP - EMT - STEEL | 2 | 0% | 2 | EA | 1.0548 | 2.1096 | 121.66 | 0.04 | 0.08 | 9.7328 | 11.8424
|  |  | #8 TO #10x 7/8 PLAS ANCHOR (3/16) | 3 | 0% | 3 | EA | 0.0293 | 0.0879 | 121.66 | 0.05 | 0.15 | 18.249 | 18.3369
|  |  | #10x 1 P/H SELF-TAP SCREW | 3 | 0% | 3 | EA | 0.0577 | 0.1731 | 121.66 | 0.02 | 0.06 | 7.2996 | 7.4727
CONDUCTORS
1 |  |  | #12 THHN | 27 | 10% | 29.7 | FT | 0.1475 | 4.3807 | 121.66 | 0.006 | 0.1782 | 21.6798 | 26.0606
2 |  |  | #14/2C FPLP | 267 | 10% | 293.7 | FT | 0.598 | 175.6326 | 121.66 | 0.0162 | 4.7579 | 578.851 | 754.4836
DEVICES |  |  | DEVICES
1 |  |  | AUXILIARY NOTIFICATION BOOSTER PANEL W/BATTERY BACKUP CONTROLS & MONITORED VY FACP | 1 | 0% | 1 | EA |  | 0 | 121.66 | 2 | 2 | 243.32 | 243.32
2 |  |  | COMBINATION FIRE ALARM SPEAKER/STROBE | 3 | 0% | 3 | EA |  | 0 | 121.66 | 0.35 | 1.05 | 127.743 | 127.743
3 |  |  | FIRE ALARM CONTROL PANEL | 1 | 0% | 1 | EA |  | 0 | 121.66 | 2 | 2 | 243.32 | 243.32
4 |  |  | FIRE ALARM MANUAL PULL STATION | 2 | 0% | 2 | EA |  | 0 | 121.66 | 0.4 | 0.8 | 97.328 | 97.328
5 |  |  | FIRE ALARM STROBE LIGHT | 8 | 0% | 8 | EA |  | 0 | 121.66 | 0.3 | 2.4 | 291.984 | 291.984
6 |  |  | HEAT DETECTOR (COMBINATION FT/RR) | 3 | 0% | 3 | EA |  | 0 | 121.66 | 0.35 | 1.05 | 127.743 | 127.743
7 |  |  | PHOTO-ELECTRIC TYPE SMOKE DETECTOR | 7 | 0% | 7 | EA |  | 0 | 121.66 | 0.4 | 2.8 | 340.648 | 340.648
8 |  |  | REMOTE ANNUNCIATOR WITH DISPLAY & CONTROL FUNCTION | 1 | 0% | 1 | EA |  | 0 | 121.66 | 2 | 2 | 243.32 | 243.32
[6 empty] | SUBTOTAL MATERIAL |  | 193.854 | SUBTOTAL LABOR |  | 2464.9703 |  |  |  | 2658.8243
TOTAL MATERIAL COST | [12 empty] | 30395.8168
TOTAL LABOR COST | [12 empty] | 89643.2281
TOTAL LABOR HOURS | [12 empty] | 736.834
SCOPE OF ESTIMATE:
| SR. NO. | SUPPLY & INSTALLATION
| 1 | DISTRIBUTION
| 2 | WIRING DEVICES
| 3 | LIGHTING FIXTURES
| 4 | BRANCH WIRING
| 5 | POWER FEEDERS
| 6 | TELECOMMUNICATION
| 7 | SECURITY
| 8 | FIRE ALARM SYSTEM
| SR. NO. | INCLUSIONS
| 1 | THE ESTIMATE INCLUDES THE INFORMATION SHOWN ONLY ON THE DRAWINGS
| 2 | THE ESTIMATE INCLUDES MATERIAL PRICES (EXCEPT FOR QUOTED ITEMS - LIGHTING FIXTURES, CONTROLS AND SWITCHGEAR)
| 3 | INCLUDES LABOR HOURS FOR INSTALLATION FOR ALL ITEMS
| SR. NO. | EXCLUSIONS
| 1 | FIRESTOPPING IS NOT INCLUDED FOR WALL PENETRATION.
| 2 | PERMITS AND FEES
| 3 | TEMPORARY POWER IS NOT INCLUDED.
| 4 | EXCLUDES ANY SAW CUTTING OF CONCRETE
| 5 | EXCLUDES ANY PATCHING OF CONCRETE
| 6 | CONTROL CABLES, COAX & CAT5 CABLING FOR THE DATA SYSTEM IS EXCLUDED
| 7 | VOICE/DATA OUTLETS ARE EXCLUDED
| SR. NO. | NOTES
| 1 | MC CABLE IS USED FOR ALL HOME RUNS AND BRANCH CIRCUITS IN LIGHTING AND POWER
| 2 | CONDUIT AND CONDUCTOR IS USED IN HOMERUNS AND BRANCH CIRCUIT FOR ALL MECHNICALE EQUIPMENT DEVICES. PLEASE NOTE IT
| 3 | PRICING IS COMPLY WITH NECA 1
Terms and Conditions/Disclaimer: The quantities, numbers, scope, or any other information contained in this document has been complied to the best of our knowledge. By utilizing or deriving any of the information contained in this document, you accept the information, quantities and costs as accurate and waive to any claims for errors in information. Bidding Enterprise LLC does not warranty any of the information contained in this document. The information contained in this document are for informational purpose only and to be used as a guideline for quantities and pricing. It is the responsibility of the contractor performing the work to review quantities and bid documents and finalize pricing and materials based on current prices.