## Convenience store
PROJECT:
ADDRESS:
| REV: |  | 0 | [8 empty] | LABOR RATE |  | 70
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT COST | UNIT | MATERIAL COST | LABOR RATE | LABOR | UNIT | TOTAL LABOR | LABOR COST | TOTAL COST
NEW WORK
DISTRIBUTION
CONDUITS
1 | 4" RGS Conduit | 10 | 10% | 11 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" COUPLING - RMC - GALV | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" LOCKNUT - STEEL | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" BUSHING - PLASTIC | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" MEASURE CUT & THREAD LABOR - RMC - GALV | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SPRING STL CONDUIT CLAMP W/ BOLT | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/8-16 x 2 1/4 WEDGE ANCHOR - 1 1/2" MIN DEPTH | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
2 | 4" PVC SCH. 40 Conduit | 100 | 10% | 110 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" PVC Elbow | 4 | 10% | 4.4 | EA |  | C | 0 | 70 |  | E | 0 | 0 | 0
| 4" PVC Coupling | 10 | 10% | 11 | EA |  | C | 0 | 70 |  | E | 0 | 0 | 0
| 4" PVC Male Adaptor | 4 | 10% | 4.4 | EA |  | C | 0 | 70 |  | E | 0 | 0 | 0
| 4" 1-Hole Strap | 8 | 10% | 8.8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
CONDUCTOR
1 | #1 CU THHN/THWN | 10 | 10% | 11 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
2 | #350 MCM CU THHN/THWN | 330 | 10% | 363 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
DEVICES
1 | CT Cabinet With CT'S 600A (By GC) | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
2 | Trans-Socket (By GC) | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
DISCONNECT SWITCH
1 | 2P 100A NF 1 Phase 240V NEMA 3R Disconnect Switch | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
2 | 2P 60A NF 1 Phase 240V NEMA 3R Disconnect Switch | 5 | 0% | 5 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
3 | 600A Service Rated Fused Disconnect Rated For 100KAIC NEMA 3R (Provided By Owner) | 1 | 0% | 1 | EA |  |  | 0 | 70 |  | E | 0 | 0 | 0
GROUNDING
1 | #2/0 Bare Copper | 240 | 10% | 264 | FT |  | M | 0 | 70 |  | M | 0 | 0 | 0
2 | 3/4" X 8' Ground Rod | 3 | 0% | 3 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
3 | Steel Reinforcing Bar Or Rod 20 Ft Long Encase In Concrete | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
POWER
CONDUITS
1 | 3/4" EMT Conduit | 1485 | 10% | 1633.5 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" CONN SS STL - EMT | 23 | 0% | 23 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" COUPLING SS STL - EMT | 75 | 0% | 75 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" 1-H STRAP - EMT - STEEL | 99 | 0% | 99 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4x 1 1/2" SQ BOX COMB KO | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ BLANK COVER | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8 TO #10 x 7/8 PLAS ANCHOR (3/16) | 75 | 0% | 75 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10 x 1 P/H SELF-TAP SCREW | 75 | 0% | 75 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
2 | 1" EMT Conduit | 249.29 | 10% | 274.219 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1" CONN SS STL - EMT | 5 | 0% | 5 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1" COUPLING SS STL - EMT | 13 | 0% | 13 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1" 1-H STRAP - EMT - STEEL | 17 | 0% | 17 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 11/16x 2 1/8" SQ BOX 1" KO | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 11/16" SQ BLANK COVER | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8 TO #10 x 7/8 PLAS ANCHOR (3/16) | 13 | 0% | 13 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10 x 1 P/H SELF-TAP SCREW | 13 | 0% | 13 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
3 | 1-1/4" EMT Conduit | 16.25 | 10% | 17.875 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1 1/4" ELBOW 90 DEG - EMT | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1 1/4" CONN SS STL - EMT | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1 1/4" COUPLING SS STL - EMT | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1 1/4" BUSHING - PLASTIC | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1 1/4" 1-H STRAP - EMT - STEEL | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1/4-20x 1 3/4 WEDGE ANCHOR - 1 1/8" MIN DEPTH | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
4 | 3/4" LFMC Conduit | 40 | 10% | 44 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
5 | 1" LFMC Conduit | 25 | 10% | 27.5 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
CONDUCTOR
1 | #12 CU THHN/THWN | 7480 | 10% | 8228 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
2 | #10 CU THHN/THWN | 1624 | 10% | 1786.4 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
3 | #8 CU THHN/THWN | 181 | 10% | 199.1 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
4 | #4 CU THHN/THWN | 547 | 10% | 601.7 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
DEVICES
1 | Connection For Hand Dryer | 2 | 0% | 2 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
2 | Equipment Connection And Junction Box | 13 | 0% | 13 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
3 | Exhaust Fan Connection | 2 | 0% | 2 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
4 | Temperature Sensor (Only Rough-Ins) | 5 | 0% | 5 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 5 | 0% | 5 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8 TO #10 x 7/8 PLAS ANCHOR (3/16) | 10 | 0% | 10 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 1 P/H SELF-TAP SCREW | 10 | 0% | 10 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
5 | $ MS-Motor Rated Switch | 3 | 0% | 3 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8x 3/4 P/H SELF-TAP SCREW | 6 | 0% | 6 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G TGL SWITCH PLATE - PLASTIC IVY | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
6 | Duplex Receptacle | 26 | 0% | 26 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 26 | 0% | 26 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 26 | 0% | 26 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 26 | 0% | 26 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 52 | 0% | 52 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G DUPLEX REC PLATE - PLASTIC IVY | 26 | 0% | 26 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
7 | Isolated Ground Duplex Receptacle | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G DUPLEX REC PLATE - PLASTIC IVY | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
8 | GFCI Duplex receptacle | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 16 | 0% | 16 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G DUPLEX REC PLATE - PLASTIC IVY | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
9 | NEMA 5-15R Duplex Receptacle | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G DUPLEX REC PLATE - PLASTIC IVY | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
10 | Floor Mounted Duplex Receptacle With All Accessories | 2 | 0% | 2 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
11 | WP GFCI Duplex Receptacle | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G DECOR WP PLATE - DEVICE MNT VERT - ALUM | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
12 | GFCI WP In-Use Duplex Receptacle | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 14 | 0% | 14 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G DECOR WP PLATE - DEVICE MNT VERT - ALUM | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
13 | GFCI Isolated Ground Quad Receptacle | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 20A 125V DUP REC - IVY (SG) | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 2G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 2G DUPLEX REC PLATE - PLASTIC IVY | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
14 | Quad Receptacle | 7 | 0% | 7 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 20A 125V DUP REC - IVY (SG) | 14 | 0% | 14 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 2G PLSTR RING 5/8" RISE | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 14 | 0% | 14 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 2G DUPLEX REC PLATE - PLASTIC IVY | 7 | 0% | 7 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
15 | GFCI Quad Receptacle | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 20A 125V DUP REC - IVY (SG) | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 2G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 2G DUPLEX REC PLATE - PLASTIC IVY | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
16 | Isolated Ground Quad Receptacle | 3 | 0% | 3 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 20A 125V DUP REC - IVY (SG) | 6 | 0% | 6 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 2G PLSTR RING 5/8" RISE | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 6 | 0% | 6 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 2G DUPLEX REC PLATE - PLASTIC IVY | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
17 | WP GFCI In Use Quad Receptacle | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 20A 125V DUP REC - IVY (SG) | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 2G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 2G DECOR WP PLATE - DEVICE MNT VERT - ALUM | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
18 | NEMA L6-30R Receptacle | 4 | 0% | 4 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| REC PLATE | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
19 | Shutter Switch | 4 | 0% | 4 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G PLATE | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
20 | Emergency Start And Stop Push Button | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 3/4 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
21 | Horn | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
LIGHTING
CONDUITS
1 | 3/4" EMT Conduit | 490 | 10% | 539 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" CONN SS STL - EMT | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" COUPLING SS STL - EMT | 25 | 0% | 25 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" 1-H STRAP - EMT - STEEL | 33 | 0% | 33 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4x 1 1/2" SQ BOX COMB KO | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ BLANK COVER | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8 TO #10 x 7/8 PLAS ANCHOR (3/16) | 25 | 0% | 25 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10 x 1 P/H SELF-TAP SCREW | 25 | 0% | 25 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
2 | 3/4" FMC Conduit | 114 | 10% | 125.4 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
CONDUCTOR
1 | #12 CU THHN/THWN | 1470 | 10% | 1617 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
LIGHT FIXTURES
1 | B: LED WALL PACK, LED CONTEMPORARY SURFACE LIGHT - 120V, 5000K - WITH BATTERY BACKUP, MAKE/MODEL: LSI LIGHTING, CSL-ACEM-DB | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
2 | D: 2' X 2' LED TROFFER, FIELD SELECTABLE LED LENSED TROFFER - 120V, 4000K - FLANGE KIT AS REQUIRED - BATTERY BACKUP FOR EM FIXTURES, MAKE/MODEL: LSI LIGHTING, OPT22-LED-FS1-UNV-DIM-(FK22) (EM) | 17 | 0% | 17 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
3 | D EM: 2' X 2' LED TROFFER, FIELD SELECTABLE LED LENSED TROFFER - 120V, 4000K - FLANGE KIT AS REQUIRED - BATTERY BACKUP FOR EM FIXTURES, MAKE/MODEL: LSI LIGHTING, OPT22-LED-FS1-UNV-DIM-(FK22) (EM) | 6 | 0% | 6 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
4 | E: 2' X 4' LED TROFFER, FIELD SELECTABLE LED LENSED TROFFER - 120V, 4000K - BATTERY BACKUP FOR EM FIXTURES, MAKE/MODEL: LSI LIGHTING, OPT24-LED-FS1-UNV-DIM | 3 | 0% | 3 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
5 | E EM: 2' X 4' LED TROFFER, FIELD SELECTABLE LED LENSED TROFFER - 120V, 4000K - BATTERY BACKUP FOR EM FIXTURES, MAKE/MODEL: LSI LIGHTING, OPT24-LED-FS1-UNV-DIM | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
6 | F: LED WALL PACK, MIRADA WALL SCONCE (XWM) - 120V, 5000K, MAKE/MODEL: LSI LIGHTING, XWM-3-LED-4L-50-UE-BRZ | 3 | 0% | 3 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
7 | G: EXIT COMBO UNIT, EMERGENCY EXIT COMBO UNIT WITH BATTERY BACK UP, MAKE/MODEL: LSI LIGHTING, LPRX-R-U-WH-LD11 | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
8 | H: 4" WET LED LINEAR, 4" LED WET LOCATION LINEAR LUMINAIRE 120V, 5000K - BATTERY BACKUP FOR EM FIXTURES, MAKE/MODEL: LSI LIGHTING, EG3-4-LED-6L-DA-S-UNV-DIM-50-80 (EM) | 4 | 0% | 4 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
9 | M: 6" LED DOWNLIGHT, 6" LED COMMERCIAL DOWNLIGHT - 120V, 3500K, WITH BATTERY BACKUP, MAKE/MODEL: LSI LIGHTING, LCD6-LED-25L-UNV-DIM1-35WFTR6R-H AZ-EM | 2 | 0% | 2 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
LIGHTING CONTROLS
1 | $ VS-Vacancy Sensor Switch | 3 | 0% | 3 | EA |  |  | 0 | 70 |  | E | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8x 3/4 P/H SELF-TAP SCREW | 6 | 0% | 6 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G TGL SWITCH PLATE - PLASTIC IVY | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
2 | OS-Occupancy Sensor | 3 | 0% | 3 | EA |  |  | 0 | 70 |  | E | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 3 | 0% | 3 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8x 3/4 P/H SELF-TAP SCREW | 6 | 0% | 6 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
3 | Switch With Timer | 4 | 0% | 4 | EA |  |  | 0 | 70 |  | E | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ 1G PLSTR RING 5/8" RISE | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| GROUND SCREW W/ INSUL #12 LEAD | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8x 3/4 P/H SELF-TAP SCREW | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 1G TGL SWITCH PLATE - PLASTIC IVY | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
4 | Photocell | 1 | 0% | 1 | EA |  |  | 0 | 70 |  | E | 0 | 0 | 0
TELECOM
CONDUITS
1 | 3/4" EMT Conduit With Pill String | 30 | 10% | 33 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" CONN SS STL - EMT | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" COUPLING SS STL - EMT | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" 1-H STRAP - EMT - STEEL | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4x 1 1/2" SQ BOX COMB KO | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ BLANK COVER | 1 | 0% | 1 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8 TO #10 x 7/8 PLAS ANCHOR (3/16) | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10 x 1 P/H SELF-TAP SCREW | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
DEVICES
1 | Tele/Data Outlet | 2 | 0% | 2 | EA |  |  | 0 | 70 |  |  | 0 | 0 | 0
| 4 x 1 1/2" SQ BOX COMB KO | 2 | 0% | 2 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8 TO #10 x 7/8 PLAS ANCHOR (3/16) | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 1 P/H SELF-TAP SCREW | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
MISCELLANEOUS
1 | Junction Box | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ BLANK COVER | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8 TO #10 x 7/8 PLAS ANCHOR (3/16) | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10x 1 P/H SELF-TAP SCREW | 8 | 0% | 8 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
TRENCHING & BACKFILLING
1 | Excavation & Backfilling (2' Deep x 1' Wide Trench) Including All Labor and Material/Equipment | 100 | 0% | 100 | CFT |  | E | 0 | 70 |  | E | 0 | 0 | 0
FIRESTOPPING
1 | Caulking Sealant | 1 | 0% | 1 | LS |  |  | 0 | 70 |  | E | 0 | 0 | 0
GENERAL CONDITIONS (AMOUNT TO BE ADDED BY CONTRACTOR IN BLUE HIGHLIGHT)
1 | Mobilization & Demobilization | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
2 | Temporary Power & Lighting | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
3 | Taxes | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
4 | Permits | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
5 | Testing & Commissioning | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
TOTAL MATERIAL COST | [12 empty] | 0
TOTAL LABOR COST | [12 empty] | 0
TOTAL LABOR HOURS | [12 empty] | 0
TOTAL COST | [12 empty] | 0
OVERHEADS & PROFIT | [11 empty] | 25% | 0
TOTAL BID | [12 empty] | 0
SCOPE OF ESTIMATE:
I | SUPPLY & INSTALL
1 | Distribution
2 | Power
3 | Lighting
4 | Telecom
5 | Miscellaneous
II | NOTES
1 | Material prices and labor hours are figured from the accubid database.
2 | $ 70 per hour labor rate is applied in estimate. This can be changed in top right yellow highlighted cell.
3 | EMT is considered for branch circuits in lighting and power, as per notes. FMC Conduit is considered for final connection
4 | Location of utility pole/transformer is not given on plans. 50 ft length of 2 set - 3#350 MCM, 4" PVC Conduit is assumed in estimate. Please confirm
5 | As per note on single line diagram, all exterior building items are furnished and installed by FME except where noted. According to this note: panels, breakers, wireway and feeders are not included in estimate. Please confirm
6 | In panel "B" schedule, branch circuits for fuel dispensers are shown. But fuel dispensers are not shown on plans, We have not included this wiring in estimate. Please confirm
7 | Only back boxes and conduit are included for telecom outlets.
8 | Work done by FMS is not included in estimate.
9 | Liquid Tight Flexible conduit is used for final connection of equipment.

## Canopy Lighting
| PROJECT: |  | MURPHY USA STORE #6608 FUEL CANOPY
| ADDRESS: |  | 115 N. PERKINS ROAD, STILLWATER, OKLAHOMA, 74075
| REV: |  | 0 | [8 empty] | LABOR RATE |  | 70
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT COST | UNIT | MATERIAL COST | LABOR RATE | LABOR | UNIT | TOTAL LABOR | LABOR COST | TOTAL COST
NEW WORK
LIGHTING
CONDUITS
1 | 3/4" EMT Conduit | 761 | 10% | 837.1 | LF |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" CONN SS STL - EMT | 12 | 0% | 12 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" COUPLING SS STL - EMT | 39 | 0% | 39 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 3/4" 1-H STRAP - EMT - STEEL | 51 | 0% | 51 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4x 1 1/2" SQ BOX COMB KO | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| 4" SQ BLANK COVER | 4 | 0% | 4 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #8 TO #10 x 7/8 PLAS ANCHOR (3/16) | 39 | 0% | 39 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
| #10 x 1 P/H SELF-TAP SCREW | 39 | 0% | 39 | EA |  | C | 0 | 70 |  | C | 0 | 0 | 0
CONDUCTOR
1 | #12 CU THHN/THWN | 2179.76 | 10% | 2397.736 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
2 | #10 CU THHN/THWN | 1344 | 10% | 1478.4 | LF |  | M | 0 | 70 |  | M | 0 | 0 | 0
LIGHT FIXTURES
1 | Connection For Canopy Lighting (Furnished By Customer And Installed By FMC) | 20 | 0% | 20 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
2 | Connection For Canopy Price Sign | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
3 | Connection For Murphy Logo | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
4 | Connection For Price Sign Controller | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
5 | Connection For Pylon/Monument Sign | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
6 | Connection For Pylon/Monument Sign (Controller) | 1 | 0% | 1 | EA |  | E | 0 | 70 |  | E | 0 | 0 | 0
GENERAL CONDITIONS (AMOUNT TO BE ADDED BY CONTRACTOR IN BLUE HIGHLIGHT)
1 | Mobilization & Demobilization | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
2 | Taxes | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
3 | Permits | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
4 | Testing & Commissioning | 1 | 0% | 1 | LS |  |  | 0 | 70 |  |  | 0 | 0 | 0
TOTAL MATERIAL COST | [12 empty] | 0
TOTAL LABOR COST | [12 empty] | 0
TOTAL LABOR HOURS | [12 empty] | 0
TOTAL COST | [12 empty] | 0
OVERHEADS & PROFIT | [11 empty] | 25% | 0
TOTAL BID | [12 empty] | 0
SCOPE OF ESTIMATE:
I | SUPPLY & INSTALL
1 | Lighting
2 | Miscellaneous
II | NOTES
1 | Material prices and labor hours are figured from the accubid database.
2 | $ 70 per hour labor rate is applied in estimate. This can be changed in top right yellow highlighted cell.