## Detailed Plumbing Estimate
PROJECT: 159 FELL ST SANFRANCISCO, CA 9402
ADDRESS: SANFRANCISCO, CA 9402
DATE: September 16, 2023 | [10 empty] | LABOR RATE |  | 42
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | UNIT MATERIAL COST | UNIT LABOR COST | TOTAL LABOR HOURS | TOTAL MATERIAL COST | TOTAL LABOR COST | UNIT ITEM COST | TOTAL COST
NEW WORK
COLD WATER PIPE (ABOVE GRADE) - INSIDE UNITS
Uponor Aqua PEX Tubing With Propex Fittings
1 | 1/2" Dia Cold Water Pipe | 756 | 10% | 831.6 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe | 1906 | 10% | 2096.6 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe | 521 | 10% | 573.1 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE INSULATION
1" Thick, Fiberglass Pipe Insulation (Material assumed)
1 | 1/2" Dia Cold Water Pipe | 756 | 10% | 831.6 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe | 1906 | 10% | 2096.6 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
1-1/2" Thick, Fiberglass Pipe Insulation (Material assumed)
3 | 1" Dia Cold Water Pipe | 521 | 10% | 573.1 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Cold Water Pipe 90 Deg Elbow | 96 | 0% | 96 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe 90 Deg Elbow | 162 | 0% | 162 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe 90 Deg Elbow | 54 | 0% | 54 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 3/4" Dia Cold Water Pipe Tee | 58 | 0% | 58 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Cold Water Pipe Tee | 12 | 0% | 12 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3/4" / 1/2" Dia Cold Water Pipe Tee | 32 | 0% | 32 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1" / 1/2" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1" / 3/4" Dia Cold Water Pipe Tee | 24 | 0% | 24 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 1" / 1/2" Dia Cold Water Pipe Reducer | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" / 3/4" Dia Cold Water Pipe Reducer | 32 | 0% | 32 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3/4" / 1/2" Dia Cold Water Pipe Reducer | 12 | 0% | 12 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE (ABOVE GRADE) - COMMON AREA
SDR 11, Flowgaurd Gold CPVC Pipe With Fittings
1 | 3/4" Dia Cold Water Pipe | 69.95 | 10% | 76.945 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Cold Water Pipe | 68.43 | 10% | 75.273 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/4" Dia Cold Water Pipe | 12.82 | 10% | 14.102 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia Cold Water Pipe | 26.04 | 10% | 28.644 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" Dia Cold Water Pipe | 174 | 10% | 191.4 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
Schedule 80, CPVC Carzon Pipe With Fittings
6 | 2-1/2" Dia Cold Water Pipe | 151.3 | 10% | 166.43 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 3" Dia Cold Water Pipe | 141.42 | 10% | 155.562 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 4" Dia Cold Water Pipe | 41.23 | 10% | 45.353 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE INSULATION
1" Thick, Fiberglass Pipe Insulation (Material assumed)
1 | 3/4" Dia Cold Water Pipe | 69.95 | 10% | 76.945 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
1-1/2" Thick, Fiberglass Pipe Insulation (Material assumed)
2 | 1" Dia Cold Water Pipe | 68.43 | 10% | 75.273 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/4" Dia Cold Water Pipe | 12.82 | 10% | 14.102 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia Cold Water Pipe | 26.04 | 10% | 28.644 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2" Thick, Fiberglass Pipe Insulation (Material assumed)
5 | 2" Dia Cold Water Pipe | 174 | 10% | 191.4 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 2-1/2" Dia Cold Water Pipe | 151.3 | 10% | 166.43 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 3" Dia Cold Water Pipe | 141.42 | 10% | 155.562 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 4" Dia Cold Water Pipe | 41.23 | 10% | 45.353 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE FITTINGS
ELBOW
1 | 3/4" Dia Cold Water Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Cold Water Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" Dia Cold Water Pipe 90 Deg Elbow | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2-1/2" Dia Cold Water Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" Dia Cold Water Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 4" Dia Cold Water Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 2" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Cold Water Pipe Tee | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" / 1" Dia Cold Water Pipe Tee | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" / 1-1/4" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" / 1-1/2" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 2-1/2" / 1" Dia Cold Water Pipe Tee | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 3" / 2-1/2" Dia Cold Water Pipe Tee | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 4" / 3" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2" / 1-1/4" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" / 1-1/2" Dia Cold Water Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2-1/2" / 1" Dia Cold Water Pipe Reducer | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2-1/2" / 2" Dia Cold Water Pipe Reducer | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" / 3/4" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 3" / 2" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 3" / 2-1/2" Dia Cold Water Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 4" / 2" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
9 | 4" / 3" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE (ABOVE GRADE) - INSIDE UNITS
Uponor Aqua PEX Tubing With Propex Fittings
1 | 1/2" Dia Hot Water Pipe | 466 | 10% | 512.6 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Pipe | 1454 | 10% | 1599.4 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Hot Water Pipe | 190 | 10% | 209 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE INSULATION
1" Thick, Fiberglass Pipe Insulation (Material assumed)
1 | 1/2" Dia Hot Water Pipe | 466 | 10% | 512.6 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Pipe | 1454 | 10% | 1599.4 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
1-1/2" Thick, Fiberglass Pipe Insulation (Material assumed)
3 | 1" Dia Hot Water Pipe | 190 | 10% | 209 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Hot Water Pipe 90 Deg Elbow | 44 | 0% | 44 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Pipe 90 Deg Elbow | 122 | 0% | 122 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Hot Water Pipe 90 Deg Elbow | 40 | 0% | 40 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1" Dia Hot Water Pipe Tee | 32 | 0% | 32 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Hot Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3/4" / 1/2" Dia Hot Water Pipe Tee | 30 | 0% | 30 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1" / 1/2" Dia Hot Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1" / 3/4" Dia Hot Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 1" / 1/2" Dia Hot Water Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" / 3/4" Dia Hot Water Pipe Reducer | 52 | 0% | 52 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE (ABOVE GRADE) - COMMON AREA
SDR 11, Flowgaurd Gold CPVC Pipe With Fittings
1 | 1" Dia Hot Water Pipe | 68.03 | 10% | 74.833 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1-1/4" Dia Hot Water Pipe | 12.15 | 10% | 13.365 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" Dia Hot Water Pipe | 186.62 | 10% | 205.282 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
Schedule 80, CPVC Carzon Pipe With Fittings
4 | 2-1/2" Dia Hot Water Pipe | 151.61 | 10% | 166.771 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" Dia Hot Water Pipe | 58 | 10% | 63.8 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE INSULATION
1-1/2" Thick, Fiberglass Pipe Insulation (Material assumed)
1 | 1" Dia Hot Water Pipe | 68.03 | 10% | 74.833 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1-1/4" Dia Hot Water Pipe | 12.15 | 10% | 13.365 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2" Thick, Fiberglass Pipe Insulation (Material assumed)
3 | 2" Dia Hot Water Pipe | 186.62 | 10% | 205.282 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2-1/2" Dia Hot Water Pipe | 151.61 | 10% | 166.771 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" Dia Hot Water Pipe | 58 | 10% | 63.8 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE FITTINGS
ELBOW
1 | 1" Dia Hot Water Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Hot Water Pipe 90 Deg Elbow | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2-1/2" Dia Hot Water Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 3" Dia Hot Water Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 2-1/2" Dia Hot Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Hot Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/2" / 1-1/4" Dia Hot Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2-1/2" / 1" Dia Hot Water Pipe Tee | 8 | 0% | 8 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2-1/2" / 1" Dia Hot Water Pipe Reducer | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2-1/2" / 2" Dia Hot Water Pipe Reducer | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" / 2-1/2" Dia Hot Water Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE (ABOVE GRADE)
SDR 11, Flowgaurd Gold CPVC Pipe With Fittings
1 | 3/4" Dia Hot Water Return Pipe | 137.83 | 10% | 151.613 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Hot Water Return Pipe | 103.69 | 10% | 114.059 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE INSULATION
1" Thick, Fiberglass Pipe Insulation (Material assumed)
1 | 3/4" Dia Hot Water Return Pipe | 137.83 | 10% | 151.613 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
1-1/2" Thick, Fiberglass Pipe Insulation (Material assumed)
2 | 1" Dia Hot Water Return Pipe | 103.69 | 10% | 114.059 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE FITTINGS
ELBOW
1 | 3/4" Dia Hot Water Return Pipe 90 Deg Elbow | 7 | 0% | 7 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Hot Water Return Pipe 90 Deg Elbow | 8 | 0% | 8 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 3/4" Dia Hot Water Return Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 1" / 3/4" Dia Hot Water Return Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER PIPE (BELOW GRADE)
Schedule 40, CPVC Pipe With Fittings (Assumed)
1 | 1/2" Dia Trap Primer Pipe | 20 | 10% | 22 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Trap Primer Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE (BELOW GRADE)
Schedule 40, PVC Pipe With Fittings
1 | 2" Dia Waste Pipe | 72.2 | 10% | 79.42 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Waste Pipe | 12.64 | 10% | 13.904 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Waste Pipe | 105.75 | 10% | 116.325 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 6" Dia Waste Pipe | 89.41 | 10% | 98.351 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE FITTINGS
ELBOW
1 | 2" Dia Waste Pipe 45 Deg Elbow | 10 | 0% | 10 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia Waste Pipe 45 Deg Elbow | 12 | 0% | 12 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 6" Dia Waste Pipe 45 Deg Elbow | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" Dia Waste Pipe 90 Deg Elbow | 7 | 0% | 7 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" Dia Waste Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 4" Dia Waste Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WYE
1 | 2" Dia Waste Pipe Wye | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Waste Pipe Wye | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Waste Pipe Wye | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 6" Dia Waste Pipe Wye | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 4" / 2" Dia Waste Pipe Wye | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 6" / 4" Dia Waste Pipe Wye | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2" / 1-1/2" Dia Waste Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" / 2" Dia Waste Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" / 2" Dia Waste Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 4" / 3" Dia Waste Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 6" / 4" Dia Waste Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE (ABOVE GRADE)
No Hub Cast Iron Pipe With Fittings
1 | 2" Dia Waste Pipe | 1712 | 10% | 1883.2 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Waste Pipe | 739.7 | 10% | 813.67 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Waste Pipe | 262.28 | 10% | 288.508 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
WASTE PIPE FITTINGS
ELBOW
1 | 2" Dia Waste Pipe 45 Deg Elbow | 44 | 0% | 44 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Waste Pipe 45 Deg Elbow | 43 | 0% | 43 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Waste Pipe 45 Deg Elbow | 14 | 0% | 14 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" Dia Waste Pipe 90 Deg Elbow | 134 | 0% | 134 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" Dia Waste Pipe 90 Deg Elbow | 43 | 0% | 43 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 4" Dia Waste Pipe 90 Deg Elbow | 12 | 0% | 12 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WYE
1 | 2" Dia Waste Pipe Wye | 214 | 0% | 214 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Waste Pipe Wye | 64 | 0% | 64 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Waste Pipe Wye | 10 | 0% | 10 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 3" / 2" Dia Waste Pipe Wye | 14 | 0% | 14 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 4" / 2" Dia Waste Pipe Wye | 9 | 0% | 9 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 4" / 3" Dia Waste Pipe Wye | 16 | 0% | 16 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2" / 1-1/2" Dia Waste Pipe Reducer | 120 | 0% | 120 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" / 2" Dia Waste Pipe Reducer | 42 | 0% | 42 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" / 2" Dia Waste Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 4" / 3" Dia Waste Pipe Reducer | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE (BELOW GRADE)
Schedule 40, PVC Pipe With Fittings
1 | 2" Dia Vent Pipe | 10.83 | 10% | 11.913 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE FITTINGS
ELBOW
1 | 2" Dia Vent Pipe 45 Deg Elbow | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Vent Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE (ABOVE GRADE)
No Hub Cast Iron Pipe With Fittings
1 | 1-1/2" Dia Vent Pipe | 1113.47 | 10% | 1224.817 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Vent Pipe | 1670.17 | 10% | 1837.187 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" Dia Vent Pipe | 85.89 | 10% | 94.479 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 4" Dia Vent Pipe | 16.44 | 10% | 18.084 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE FITTINGS
ELBOW
1 | 2" Dia Vent Pipe 45 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1-1/2" Dia Vent Pipe 90 Deg Elbow | 132 | 0% | 132 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" Dia Vent Pipe 90 Deg Elbow | 89 | 0% | 89 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 3" Dia Vent Pipe 90 Deg Elbow | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1-1/2" Dia Vent Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Vent Pipe Tee | 25 | 0% | 25 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" Dia Vent Pipe Tee | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 4" Dia Vent Pipe Tee | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" / 1-1/2" Dia Vent Pipe Tee | 117 | 0% | 117 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 3" / 2" Dia Vent Pipe Tee | 12 | 0% | 12 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 4" / 3" Dia Vent Pipe Tee | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2" / 1-1/2" Dia Vent Pipe Reducer | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" / 2" Dia Vent Pipe Reducer | 11 | 0% | 11 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" / 2" Dia Vent Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 4" / 3" Dia Vent Pipe Reducer | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
FORCE MAIN PIPE (BELOW GRADE)
Schedule 40, PVC Pipe With Fittings
1 | 2" Dia Force Main Pipe | 18.98 | 10% | 20.878 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
FORCE MAIN PIPE FITTINGS
ELBOW
1 | 2" Dia Force Main Pipe 45 Deg Elbow | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Force Main Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAIN PIPE (BELOW GRADE)
Schedule 40, PVC Pipe With Fittings
1 | 3" Dia Storm Drain Pipe | 50.94 | 10% | 56.034 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia Storm Drain Pipe | 43.59 | 10% | 47.949 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAIN PIPE FITTINGS
ELBOW
1 | 3" Dia Storm Drain Pipe 45 Deg Elbow | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia Storm Drain Pipe 45 Deg Elbow | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" Dia Storm Drain Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WYE
1 | 4" / 3" Dia Storm Drain Pipe Wye | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 4" / 3" Dia Storm Drain Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAIN PIPE (ABOVE GRADE)
No Hub Cast Iron Pipe With Fittings
1 | 3" Dia Storm Drain Pipe | 436.94 | 10% | 480.634 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
STORM DRAIN PIPE FITTINGS
ELBOW
1 | 3" Dia Storm Drain Pipe 45 Deg Elbow | 12 | 0% | 12 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Storm Drain Pipe 90 Deg Elbow | 13 | 0% | 13 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WYE
1 | 3" Dia Storm Drain Pipe Wye | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
OVERFLOW STORM DRAIN PIPE (ABOVE GRADE)
No Hub Cast Iron Pipe With Fittings
1 | 3" Dia Overflow Storm Drain Pipe | 460.81 | 10% | 506.891 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
OVERFLOW STORM DRAIN PIPE FITTINGS
ELBOW
1 | 3" Dia Overflow Storm Drain Pipe 45 Deg Elbow | 11 | 0% | 11 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Overflow Storm Drain Pipe 90 Deg Elbow | 12 | 0% | 12 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WYE
1 | 3" Dia Overflow Storm Drain Pipe Wye | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
DOWNSPOUT PIPE (ABOVE GRADE)
No Hub Cast Iron Pipe With Fittings
1 | 3" Dia Overflow Storm Drain Pipe | 28 | 10% | 30.8 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
DOWNSPOUT PIPE FITTINGS
ELBOW
1 | 3" Dia Overflow Storm Drain Pipe 45 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEMPERATURE & PRESSURE RELIEF PIPE (FOR WATER HEATER)
SDR 11, Flowgaurd Gold CPVC Pipe With Fittings
1 | 1" Dia Temperature & Pressure Relief Pipe | 20 | 10% | 22 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEMPERATURE & PRESSURE RELIEF PIPE FITTINGS
ELBOW
1 | 1" Dia Temperature & Pressure Relief Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
DRAIN PAN PIPE (FOR WATER HEATER)
SDR 11, Flowgaurd Gold CPVC Pipe With Fittings
1 | 1" Dia Drain Pan Pipe | 20 | 10% | 22 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
DRAIN PAN PIPE FITTINGS
ELBOW
1 | 1/2" Dia Drain Pan Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING FIXTURES - INSIDE UNITS
1 | L-1, Lavatory, 1.2 GPM Faucet | 36 | 0% | 36 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | S-1, Kitchen Sink, 1.8 GPM. W/ GD-1 | 24 | 0% | 24 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | TUB-1, Bath Tub | 34 | 0% | 34 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | WC-1, Water Closet, 1.28 GPF. | 36 | 0% | 36 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING FIXTURES - COMMON AREA
1 | L-2, Lavatory, 0.5 GPM | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | WC-2, Water Closet Tank Type, 1.28 GPF. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
KITCHEN EQUIPMENTS - INSIDE UNITS
1 | DW-1, Dishwasher | 24 | 0% | 24 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | W/D-1, Washer / Dryer | 24 | 0% | 24 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | IMB-1, Ice Make Box | 24 | 0% | 24 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WATER HEATER
1 | WH-1, Water Heater, AO SMITH CHP-120, 119 Gallons, COP 4.2, 12 KW, | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WATER FILTRATION ACCESSORIES
1 | 3" Dia Ball Valve | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Union | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Union | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1" Dia Ball Valve | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1" Dia Aquastat W/ Timer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 1" Dia Drain Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 1" Dia Check Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 1" Dia Drain Valve (Size assumed) | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
9 | 1" Dia Temperature & Pressure Relief Valve | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
PUMP
1 | CP-1, Recirculation Pump | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
EXPANSION TANK
1 | Expansion Tank | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
SEWAGE EJECTORS
1 | SE-1, Sewage Ejector Pump, ZOELLER MATE SERIES - 292, 1/2 HP, 200 V, 6.4 AMPS, 3 PH, 77 GPM, Circulated Head: 22.5 FT. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | SE-2, Sewage Ejector Pump, ZOELLER MATE SERIES - 292, 1/2 HP, 200 V, 6.4 AMPS, 3 PH, 77 GPM, Circulated Head: 22.5 FT. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
METER
1 | 1" Dia Water Submeter W/ Shutoff Valve | 48 | 0% | 48 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Water Meter | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
SEWAGE EJECTORS ACCESSORIES
1 | 2" Dia Gate Valve | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Check Valve | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOSE BIBB
1 | 3/4" Dia HBB-1, Hose Bibb | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
FLOOR SINK
1 | 2" Dia FS-1, Floor Sink | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
DRAINS
1 | 2" Dia FD-1, Floor Drain | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia RD, Roof Drain | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" Dia ORD, Overflow Roof Drain | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
P-TRAP
1 | 2" Dia P-Trap | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER
1 | 1/2" TP, Trap Primer | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
VALVES
1 | 3/4" Dia Balancing Valve | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Shutoff Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3/4" Dia Thermostating Mixing Valve | 34 | 0% | 34 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
BACKFLOW PREVENTERS
1 | 4" Dia Backflow Preventor | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
CLEANOUTS
1 | 2" Dia WCO, Wall Cleanout | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia WCO, Wall Cleanout | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia WCO, Wall Cleanout | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 4" Dia GCO, Grade Cleanout | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
VENT THROUGH ROOF
1 | 4" Dia VTR, Vent Through Roof | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
PVC PIPE COUPLINGS
1 | 2" Dia | 10 | 0% | 10 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia | 15 | 0% | 15 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 6" Dia | 8 | 0% | 8 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
CPVC PIPE COUPLINGS
1 | 1/2" Dia | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia | 20 | 0% | 20 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia | 27 | 0% | 27 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/4" Dia | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" Dia | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 2" Dia | 36 | 0% | 36 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 2-1/2" Dia | 30 | 0% | 30 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 3" Dia | 19 | 0% | 19 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 4" Dia | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
NO HUB PIPE COUPLINGS
3 | 1-1/2" Dia | 509 | 0% | 509 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" Dia | 1608 | 0% | 1608 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 3" Dia | 640 | 0% | 640 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 4" Dia | 160 | 0% | 160 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
PIPE SUPPORTS
1 | 1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 203 | 0% | 203 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Adjustable Clevis Hanger W/ Threaded Rod | 594 | 0% | 594 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Adjustable Clevis Hanger W/ Threaded Rod | 158 | 0% | 158 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Adjustable Clevis Hanger W/ Threaded Rod | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 189 | 0% | 189 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 374 | 0% | 374 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 2-1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 30 | 0% | 30 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 3" Dia Adjustable Clevis Hanger W/ Threaded Rod | 195 | 0% | 195 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
9 | 4" Dia Adjustable Clevis Hanger W/ Threaded Rod | 31 | 0% | 31 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRENCHING & BACKFILLING
1 | Excavation & Backfilling (3' Deep x 1' Wide Trench) including all labor and material/equipment. | 47.1111 | 0% | 47.1111 | CY | 0.875 | 0 | 36.75 | 41.2222 | 0 | 1731.3333 | 36.75 | 1731.3333
ALLOWANCE [PLEASE ADD YOUR NUMBER]
1 | Mobilization & demobilization costs | 1 | 0% | 1 | LS | 0 | 7500 | 0 | 0 | 7500 | 0 | 7500 | 7500
2 | Payment and performance bond costs | 1 | 0% | 1 | LS | 0 | 50000 | 0 | 0 | 50000 | 0 | 50000 | 50000
3 | Permits and fees | 1 | 0% | 1 | LS | 0 | 5000 | 0 | 0 | 5000 | 0 | 5000 | 5000
4 | Storage container rental costs | 1 | 0% | 1 | LS | 0 | 15000 | 0 | 0 | 15000 | 0 | 15000 | 15000
5 | Utility costs | 1 | 0% | 1 | LS | 0 | 2500 | 0 | 0 | 2500 | 0 | 2500 | 2500
6 | Tool costs | 1 | 0% | 1 | LS | 0 | 1500 | 0 | 0 | 1500 | 0 | 1500 | 1500
7 | Callback costs during warranty period | 1 | 0% | 1 | LS | 0 | 2000 | 0 | 0 | 2000 | 0 | 2000 | 2000
8 | Miscellaneous costs | 1 | 0% | 1 | LS | 0 | 10000 | 0 | 0 | 10000 | 0 | 10000 | 10000
TOTAL MATERIAL COST | [11 empty] | 93500 |  | .
TOTAL LABOR COST | [11 empty] | 1731.3333
[11 empty] | TOTAL LABOR HOURS | 41.2222
TOTAL COST | [11 empty] | 95231.3333
MATERIAL TAX | [10 empty] | 8.25% | 7713.75
OVERHEADS & PROFIT | [10 empty] | 25% | 23807.8333
TOTAL BID | [11 empty] | 126752.9167
SCOPE OF TAKEOFF:
I | SUPPLY & INSTALLATION
1 | Cold Water Pipe W/ Fittings
2 | Hot Water Pipe W/ Fittings
3 | Hot Water Return Pipe W/ Fittings
4 | Trap Primer Pipe W/ Fittings
5 | Waste Pipe W/ Fittings
6 | Vent Pipe W/ Fittings
7 | Force Main Pipe W/ Fittings
8 | Storm Drain Pipe W/ Fittings
9 | Overflow Storm Drain Pipe W/ Fittings
10 | Temperature & Pressure Relief Pipe W/ Fittings
11 | Drain Pan Pipe W/ Fittings
12 | Plumbing Fixtures
13 | Kitchen Equipment's
14 | Water Heater W/ Accessories
15 | Pump
16 | Expansion Tank
17 | Sewage Ejector W/ Accessories
18 | Meters
19 | Hose Bibb
20 | Drains
21 | P-Trap
22 | Trap Primer
23 | Valves
24 | Backflow Preventers
25 | Cleanouts
26 | Vent Through Roof
27 | PVC, CPVC & No Hub Pipe Couplings
28 | Pipe Supports
29 | Trenching & Backfilling
30 | Allowances

## Sheet1
Hello
Hello