## Detailed Plumbing Estimate
[9 empty] | Client |  |  | Joanna Lopez
Date
[9 empty] | Sub Total |  |  | 0
PROJECT: Chipotle - Stafford, TX - Interior Build Out, ADDRESS: 3549 S. MAIN STREET STAFFORD, TX 77477 | [8 empty] | Profit/Overhead @ 25% |  |  | 0
[9 empty] | Total |  |  | 0
[9 empty] | LABOR RATE |  |  | 95
SR. NO. | DESCRIPTION | QUANTITY | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR HOURS | UNIT MATERIAL COST | UNIT LABOR COST | TOTAL LABOR HOURS | TOTAL MATERIAL COST | TOTAL LABOR COST | UNIT ITEM COST | TOTAL COST
NEW WORK
COLD WATER PIPE (ABOVE GRADE)
Hard Copper Tube: ASTM B 88, Types "L", Fittings: Wrought Copper, Solder Joint Pressure Fittings: ASME B 16.22., Joining Material: Solder Filler Metal: ASTM B 32, Lead Free.
1 | 1/2" Dia Cold Water Pipe | 174.18 | 10% | 191.598 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe | 38.86 | 10% | 42.746 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe | 64.21 | 10% | 70.631 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Cold Water Pipe | 16.42 | 10% | 18.062 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Cold Water Pipe | 28.07 | 10% | 30.877 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE INSULATION
1/2" Thick, Preformed Glass Fiber Pipe Insulation.
1 | 1/2" Dia Cold Water Pipe | 174.18 | 10% | 191.598 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe | 38.86 | 10% | 42.746 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe | 64.21 | 10% | 70.631 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Cold Water Pipe | 16.42 | 10% | 18.062 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Cold Water Pipe | 28.07 | 10% | 30.877 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
COLD WATER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Cold Water Pipe 90 Deg Elbow | 36 | 0% | 36 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Cold Water Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Cold Water Pipe 90 Deg Elbow | 7 | 0% | 7 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Cold Water Pipe 90 Deg Elbow | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Cold Water Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" / 1/2" Dia Cold Water Pipe Tee | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" / 1/2" Dia Cold Water Pipe Tee | 9 | 0% | 9 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1" / 3/4" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/4" / 1/2" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 1-1/2" / 1/2" Dia Cold Water Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 1-1/2" / 1" Dia Cold Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 3/4" / 1/2" Dia Cold Water Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" / 3/4" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/4" / 1" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/2" / 1-1/4" Dia Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
FILTERED WATER PIPE (ABOVE GRADE)
Hard Copper Tube: ASTM B 88, Types "L", Fittings: Wrought Copper, Solder Joint Pressure Fittings: ASME B 16.22., Joining Material: Solder Filler Metal: ASTM B 32, Lead Free.
1 | 1/2" Dia Filtered Cold Water Pipe | 128.88 | 10% | 141.768 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Filtered Cold Water Pipe | 62.02 | 10% | 68.222 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
FILTERED WATER PIPE INSULATION
1/2" Thick, Preformed Glass Fiber Pipe Insulation.
1 | 1/2" Dia Filtered Cold Water Pipe | 128.88 | 10% | 141.768 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Filtered Cold Water Pipe | 62.02 | 10% | 68.222 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
FILTERED WATER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Filtered Cold Water Pipe 90 Deg Elbow | 25 | 0% | 25 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Filtered Cold Water Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Filtered Cold Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Filtered Cold Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3/4" / 1/2" Dia Filtered Cold Water Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 3/4" / 1/2" Dia Filtered Cold Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE (ABOVE GRADE)
Hard Copper Tube: ASTM B 88, Types "L", Fittings: Wrought Copper, Solder Joint Pressure Fittings: ASME B 16.22., Joining Material: Solder Filler Metal: ASTM B 32, Lead Free.
1 | 1/2" Dia Hot Water Pipe | 137.99 | 10% | 151.789 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Hot Water Pipe | 2.26 | 10% | 2.486 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE INSULATION
1" Thick, Preformed Glass Fiber Pipe Insulation.
1 | 1/2" Dia Hot Water Pipe | 137.99 | 10% | 151.789 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Hot Water Pipe | 80.56 | 10% | 88.616 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Hot Water Pipe 90 Deg Elbow | 26 | 0% | 26 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1" Dia Hot Water Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1" / 1/2" Dia Hot Water Pipe Tee | 10 | 0% | 10 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 1" / 1/2" Dia Hot Water Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE (ABOVE GRADE)
Hard Copper Tube: ASTM B 88, Types "L", Fittings: Wrought Copper, Solder Joint Pressure Fittings: ASME B 16.22., Joining Material: Solder Filler Metal: ASTM B 32, Lead Free.
1 | 3/4" Dia Hot Water Return Pipe | 86.91 | 10% | 95.601 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE INSULATION
1" Thick, Preformed Glass Fiber Pipe Insulation.
1 | 3/4" Dia Hot Water Return Pipe | 86.91 | 10% | 95.601 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
HOT WATER RETURN PIPE FITTINGS
ELBOW
1 | 3/4" Dia Hot Water Return Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 3/4" Dia Hot Water Return Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER PIPE (BELOW GRADE)
Type "K" Soft Copper Pipe W/ Fittings (Assumed)
1 | 1/2" Dia Trap Primer Pipe | 66.66 | 10% | 73.326 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Trap Primer Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER PIPE (ABOVE GRADE)
Hard Copper Tube: ASTM B 88, Types "L", Fittings: Wrought Copper, Solder Joint Pressure Fittings: ASME B 16.22., Joining Material: Solder Filler Metal: ASTM B 32, Lead Free.
1 | 1/2" Dia Trap Primer Pipe | 59.04 | 10% | 64.944 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER PIPE FITTINGS
ELBOW
1 | 1/2" Dia Trap Primer Pipe 45 Deg Elbow | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1/2" Dia Trap Primer Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 1/2" Dia Trap Primer Pipe Tee | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
GREASE WASTE PIPE (BELOW GRADE)
PVC Plastic, DWV Pipe: ASTM D 2665, Schedule 40, Plain Ends, PVC Plastic, DWV Pipe Fittings: ASTM D 2665, Made to ASTM D 3311; Socket Type.
1 | 2" Dia Grease Waste Pipe | 40.53 | 10% | 44.583 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3" Dia Grease Waste Pipe | 36.27 | 10% | 39.897 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 4" Dia Grease Waste Pipe | 154.22 | 10% | 169.642 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
GREASE WASTE PIPE FITTINGS
ELBOW
1 | 1-1/2" Dia Grease Waste Pipe 45 Deg Elbow | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia Grease Waste Pipe 45 Deg Elbow | 14 | 0% | 14 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" Dia Grease Waste Pipe 90 Deg Elbow | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 3" Dia Grease Waste Pipe 45 Deg Elbow | 7 | 0% | 7 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 4" Dia Grease Waste Pipe 45 Deg Elbow | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 4" Dia Grease Waste Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WYE
1 | 4" Dia Grease Waste Pipe Wye | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia Grease Waste Pipe Double Wye | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" / 1-1/4" Dia Grease Waste Pipe Wye | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" / 1-1/2" Dia Grease Waste Pipe Wye | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" / 1-1/2" Dia Grease Waste Pipe Wye | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 4" / 1-1/2" Dia Grease Waste Pipe Wye | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 4" / 2" Dia Grease Waste Pipe Wye | 14 | 0% | 14 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 4" / 3" Dia Grease Waste Pipe Wye | 7 | 0% | 7 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2" / 1-1/4" Dia Grease Waste Pipe Reducer | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" / 1-1/2" Dia Grease Waste Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" / 1-1/2" Dia Grease Waste Pipe Reducer | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE (ABOVE GRADE)
PVC Plastic, DWV Pipe: ASTM D 2665, Schedule 40, Plain Ends, PVC Plastic, DWV Pipe Fittings: ASTM D 2665, Made to ASTM D 3311; Socket Type.
1 | 1-1/4" Dia Vent Pipe | 16.13 | 10% | 17.743 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1-1/2" Dia Vent Pipe | 55.12 | 10% | 60.632 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" Dia Vent Pipe | 44.91 | 10% | 49.401 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2-1/2" Dia Vent Pipe | 13.04 | 10% | 14.344 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 3" Dia Vent Pipe | 6.26 | 10% | 6.886 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
VENT PIPE FITTINGS
ELBOW
1 | 1-1/4" Dia Vent Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1-1/2" Dia Vent Pipe 90 Deg Elbow | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 2" Dia Vent Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TEE
1 | 2" Dia Vent Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2-1/2" Dia Vent Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/2" / 1-1/4" Dia Vent Pipe Tee | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" / 1-1/2" Dia Vent Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 2-1/2" / 1-1/4" Dia Vent Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 2-1/2" / 1-1/2" Dia Vent Pipe Tee | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 3" / 2" Dia Vent Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | 3" / 2-1/2" Dia Vent Pipe Tee | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
REDUCER
1 | 2" / 1-1/2" Dia Vent Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2-1/2" / 2" Dia Vent Pipe Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3" / 2" Dia Vent Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 3" / 2-1/2" Dia Vent Pipe Reducer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
CONDENSATE DRAIN PIPE (ABOVE GRADE)
PVC Plastic, DWV Pipe: ASTM D 2665, Schedule 40, Plain Ends, PVC Plastic, DWV Pipe Fittings: ASTM D 2665, Made to ASTM D 3311; Socket Type.
1 | 3/4" Dia Condensate Drain Pipe | 22.15 | 10% | 24.365 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
CONDENSATE DRAIN PIPE INSULATION
1/2" Thick, Preformed Glass Fiber Pipe Insulation. (Assumed)
1 | 3/4" Dia Condensate Drain Pipe | 22.15 | 10% | 24.365 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
CONDENSATE DRAIN PIPE FITTINGS
ELBOW
1 | 3/4" Dia Condensate Drain Pipe 90 Deg Elbow | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
DRAIN PIPE (ABOVE GRADE)
PVC Plastic, DWV Pipe: ASTM D 2665, Schedule 40, Plain Ends, PVC Plastic, DWV Pipe Fittings: ASTM D 2665, Made to ASTM D 3311; Socket Type.
1 | 1/2" Dia Drain Pipe (Size assumed) | 7.04 | 10% | 7.744 | LFT |  |  | 0 | 0 | 0 | 0 | 0 | 0
DRAIN PIPE FITTINGS
ELBOW
1 | 1/2" Dia Drain Pipe 90 Deg Elbow | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
PLUMBING FIXTURES
1 | WC-1, Water Closet, KOHLER #K-3519 W/ SEAT K-4666-C, Furnished By: GC, Installed By: GC, White Highline 1.0 GPF, 17-1/8"-High, ADA Accessible, Pressure Assist Water Closet With Open-Front Seat. Install Trip Lever On The Tank To The Open Side Of The Stall (Add -Ra To The Model #For Right Hand Trip Lever). | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | WH-1, Freeze Proof Wall Hydrant, WOODFORD #MODEL 65, Furnished By: EXG, Installed By: EXG, Automatic Draining, Freezeless Wall Hydrant With Anti-Siphon Vacuum Breaker. Provide With Stem Long Enough To Reach Inside The Thermal Envelope Of The Building. | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | WS-1, Water Softener, CUNO #CFSM1254E, Furnished By: KES, Installed By: GC, Point Of Entry High Capacity Water Treatment System. Provide Startup Per Manufacturer's Installation Instructions. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | DM-1, Dish Sanitizing Machine (Pumped Outlet), W/ Drain Hose, Furnished By: KES, Installed By: GC, Chemical Sanitizing Dish Machine With Integral Electric Booster Heater And Pumped Outlet. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | FS-1, Floor Sink, SIOUX CHIEF #861-3PU2, Furnished By: GC, Installed By: GC, Heavy Duty PVC Floor Sink With Aluminum Dome Bottom Strainer And Open Half PVC Grate. | 8 | 0% | 8 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | HS-1A, Restroom Hand Sink, KOHLER #K-2084, Furnished By: GC, Installed By: GC, ADA-Accessible, Wall-Mounted, Porcelain Lavatory. Provide ZURN Z1231 (Z1231-D For Back-To-Back Applications) Concealed ARM Carrier In Wall. | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | HS-1B, Restroom Hand Sink Faucet, Furnished By: KES, Installed By: GC, Plug-In Automatic Faucet With 0.5 GPM Aerator And Thermostatic Mixing Valve. Adjust Faucet Controls For 10 Second Shutoff Delay And 30 Second Time-Out Delay. | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | HS-2, Kitchen Hand Sink, Furnished By: KES, Installed By: GC, Stainless Steel Sink With Wall Mounting Bracket And Backsplash Mounted Faucet With Swivel Gooseneck. | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
9 | MB-1A, Mop Basin, FIAT #MSB2424, Furnished By: GC, Installed By: GC, Provide 24"X24"X10" Molded-Stone Mop Basin. Install Mop Basin In A Bed Of Grout So There Are No Voids Between The Mop Basin And The Slab. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
10 | MB-1B, Mop Sink Faucet, Furnished By: KES, Installed By: GC, Service Sink Faucet With Built In Stops, Lever Handles, Wall Brace, And NPT Female Inlets. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
11 | PF-1, Speed Fill Faucet, Furnished By: KES, Installed By: GC, Wall-Mounted Pot Filler W/ Self-Closing Filler Valve And NPT Female Inlet. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
12 | RH-1, Freeze Proof Roof Hydrant W/ Bottom Of Nozzle, HOEPTNER #2131R, Furnished By: GC, Installed By: GC, Automatic Draining, Freezeless Roof Hydrant With Anti-Siphon Vacuum Breaker Hoeptner Products (408) 847-7615. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
13 | SC-1, Bag-In-Box Soda Rack With Carbonators, Furnished By: SPS, Installed By: SPS, Soda Carbonator(S) Shall Have An Integral Asse 1022-Rated Carbonated Beverage Backflow Prevention Device. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
14 | SK-1, Three Compartment Sink, SEE ARCH, Furnished By: KES, Installed By: GC, Three-Compartment Ware-Washing Sink Furnished With (1) Pre-Rinse Unit With Add-On Faucet. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
15 | SK-2, Prep Sink, Furnished By: KES, Installed By: GC, Stainless Steel Prep Table With Integral Prep Sink. Furnished With "Big Flo" Faucet. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
16 | 1/2" Dia HB-1, Chemical Dispenser Hose Bib, Furnished By: KES, Installed By: GC, Commercial Quality Hot & Cold Mixing Wall Hydrant. Supply Arms Shall Have Integral Shut-Off Stop And Check Valve. Faucet Has Female NPT Inlets. | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
17 | 1/2" Dia HB-2, Vegetable Wash Hose Bib, Furnished By: KES, Installed By: GC, Sill Faucet With NPT Female Inlet. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
EQUIPMENTS (SCHEDULE NOT GIVEN)
1 | Install RGF IMSB Ice Maker Sanitizer Furnished By TUV Per Chipotle's Installation Instructions. | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | Water Filters | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WATER FILTRATION DETAIL
1 | 1/2" Dia Full Port Ball Valve | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1/2" Dia Union | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3/4" x 1/2" Reducer | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 3M HF8-S Scale Inhibitor | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | Pressure Gauge | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | Provide Bypass valve With Red Handle | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
METER
1 | WM, Water Meter | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
ELECTRIC WATER HEATER
1 | DWH-1, Water Heater (Electric Tank), A.O. SMITH #DVE-120-30, V/P/H: 208/1/60, Tank Volume: 119 Gallons Recovery: 176 GAL/HR @ 70°F Rise. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
ELECTRIC WATER HEATER ACCESSORIES
1 | P-1, Bell & GOSSETT PL-30 | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1/2" Dia Ball Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1/2" Dia Check Valve | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1/2" Dia Shut Off Valve | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1" Dia Pressure Relief Valve | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
EXPANSION TANK
1 | ET-1, Expansion Tank, AMTROL #ST-5, Furnished By: GC, Installed By: GC, 2 Gallon Capacity. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
GREASE INTERCEPTOR
1 | GI-1, Grease Interceptor, CUSTOM, Furnished By: EXG, Installed By: EXG, 1,500 Gallon Precast Grease Interceptor. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
DRAINS
1 | 2" Dia FD-1, Floor Drain, SIOUX CHIEF #842-2-PNR, Furnished By: GC, Installed By: GC, Adjustable Floor Drain With PVC Body, Round Polished Metal Ring And Strainer, And Trap Primer Port. | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 2" Dia TD-1, Trench Drain, ZURN #Z886 8601 8602, Furnished By: GC, Installed By: GC, 6" X 160" HDPE Trench Drain (Sloped From 3.50" To 4.70") With (2) Closed End Caps, (1) 4" No-Hub Bottom Outlet, And Class-A Heel-Proof Polyethylene Grates. See Detail On Sheet P700 For Reduction To 2" Drain Connection. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
P-TRAP
1 | 2" Dia P-Trap | 6 | 0% | 6 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
TRAP PRIMER
1 | 1/2" Dia TP-3, Trap Primer (Three-Four Floor Drains), PRECISION PLUMBING PRODUCTS #P1-500 W/ DU-U, Furnished By: GC, Installed By: GC, Trap Primer With Integral Vacuum Breaker And Distribution Unit. Cap Unused Distribution Unit Outlets. | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
VALVES
1 | 1/2" Dia Thermostatic Mixing Valve, WATTS LFUSG-B | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1/2" Dia Shut Off Valve | 34 | 0% | 34 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 3/4" Dia Shut Off Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1/2" Dia Accessible Valve | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1/2" Accessible Isolation Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 1/2" Dia Accessible Shut Off Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
BACKFLOW PREVENTERS
1 | 1/2" Dia BFP-1, RPZ Backflow Preventer, CONBRACO #4ALF-203-T2F, Furnished By: GC, Installed By: GC, Lead Free Reduced Pressure Principle Backflow Preventer With Automatic Differential Relief Valve. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1-1/2" Dia BFP-2, RPZ Backflow Preventer, CONBRACO #4ALF-207, Furnished By: GC, Installed By: GC, Lead Free Reduced Pressure Principle Backflow Preventer With Automatic Differential Relief Valve And Air Gap Fitting. | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
STRAINER
1 | 1/2" Dia Strainer | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
UNION
1 | 1/2" Dia Union | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WATER HAMMER ARRESTOR
1 | 1/2" Dia Water Hammer Arrestor | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
CLEANOUTS
1 | 3" Dia FCO-1, Floor Cleanout, SIOUX CHIEF #852-3PNR, Furnished By: GC, Installed By: GC, On-Grade Adjustable Cleanout With Internal Threaded Cleanout Plug And Round Nickel-Bronze Ring And Cover (Or Approved Equal With Internal Threaded Cleanout Plug). | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 4" Dia FCO-2, Floor Cleanout, SIOUX CHIEF #852-4PNR, Furnished By: GC, Installed By: GC, On-Grade Adjustable Cleanout With Internal Threaded Cleanout Plug And Round Nickel-Bronze Ring And Cover (Or Approved Equal With Internal Threaded Cleanout Plug). | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
FLEXIBLE CONNECTOR
1 | Provide 6' Long Stainless Steel Flexible Braided Washing Machine Water Connector With Minimum 0.43" ID (BRASSCRAFT SL12-72WA F OR EQUAL) For Final Connection To Ice Maker. | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
VENT THROUGH ROOF
1 | 3" Dia VTR, Vent Through Roof | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
WATER SOFTENER DETAIL
1 | 1" Dia Ball Valve | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | Brine Tank | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | Dunnage Rack | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | Resin Tank | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
PVC PIPE COUPLINGS
1 | 3/4" Dia | 2 | 0% | 2 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 1-1/4" Dia | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1-1/2" Dia | 5 | 0% | 5 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 2" Dia | 8 | 0% | 8 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 2-1/2" Dia | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 3" Dia | 3 | 0% | 3 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 4" Dia | 15 | 0% | 15 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
PIPE SUPPORTS
1 | 1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 83 | 0% | 83 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | 3/4" Dia Adjustable Clevis Hanger W/ Threaded Rod | 33 | 0% | 33 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | 1" Dia Adjustable Clevis Hanger W/ Threaded Rod | 23 | 0% | 23 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | 1-1/4" Dia Adjustable Clevis Hanger W/ Threaded Rod | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | 1-1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 13 | 0% | 13 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | 2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 4 | 0% | 4 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | 2-1/2" Dia Adjustable Clevis Hanger W/ Threaded Rod | 1 | 0% | 1 | EA |  |  | 0 | 0 | 0 | 0 | 0 | 0
ALLOWANCE [PLEASE ADD YOUR NUMBER]
1 | Mobilization & demobilization costs | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0 | 0 | 0 | 0
2 | Payment and performance bond costs | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0 | 0 | 0 | 0
3 | Permits and fees | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0 | 0 | 0 | 0
4 | Storage container rental costs | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0 | 0 | 0 | 0
5 | Utility costs | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0 | 0 | 0 | 0
6 | Tool costs | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0 | 0 | 0 | 0
7 | Callback costs during warranty period | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0 | 0 | 0 | 0
8 | Miscellaneous costs | 1 | 0% | 1 | LS |  |  | 0 | 0 | 0 | 0 | 0 | 0
TOTAL MATERIAL COST | [11 empty] | 0 |  | .
TOTAL LABOR COST | [11 empty] | 0
[11 empty] | TOTAL LABOR HOURS | 0
TOTAL COST | [11 empty] | 0
OVERHEADS & PROFIT | [10 empty] | 25% | 0
TOTAL BID | [11 empty] | 0
SCOPE OF TAKEOFF:
I | SUPPLY & INSTALLATION
1 | Cold Water Pipe W/ Fittings
2 | Filtered Water Pipe W/ Fittings
3 | Hot Water Pipe W/ Fittings
4 | Hot Water Return Pipe W/ Fittings
5 | Grease Waste Pipe W/ Fittings
6 | Vent Pipe W/ Fittings
7 | Condensate Drain Pipe W/ Fittings
8 | Drain Pipe W/ Fittings
9 | Trap Primer Pipe W/ Fittings
10 | Plumbing Fixtures (Prices for fixtures provided by Owner and GC are not included)
11 | Equipment's W/ Detail (Prices for fixtures provided by Owner and GC are not included)
12 | Meter
13 | Electric Water Heater W/ Accessories (Prices for fixtures provided by Owner and GC are not included)
14 | Expansion Tank
15 | Grease Interceptor
16 | Drains
17 | P-Trap
18 | Trap Primer
19 | Valves
20 | Backflow Preventers
21 | Strainer
22 | Union
23 | Water Hammer Arrestor
24 | Cleanouts
25 | Flexible Connector
26 | Vent Through Roof
27 | Water Softener Detail
28 | PVC Pipe Coupling
29 | Pipe Supports
30 | Allowances