## Bid Recap & Summary
MIDDLETOWN LIBRARY RENOVATION
BID RECAP
| DIVISION | DESCRIPTION | MATERIAL COST | LABOR COST | MATERIAL TAX | LABOR TAX | TOTAL COST | OVERHEADS | PROFITS | ADDITIONAL COST (If Any) | TOTAL PRICE
| 01 00 00 | GENERAL REQUIREMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 190000 | 190000
| 02 00 00 | EXISTING CONDITIONS/ DEMOLITION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 03 00 00 | CONCRETE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 04 00 00 | MASONRY | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 05 00 00 | METALS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 06 00 00 | WOOD, PLASTICS, AND COMPOSITES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 07 00 00 | THERMAL AND MOISTURE PROTECTION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 08 00 00 | OPENINGS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 09 00 00 | FINISHES | 2890.9061 | 0 | 0 | 0 | 2890.9061 | 289.0906 | 289.0906 | 0 | 3469.0874
| 10 00 00 | SPECIALTIES | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 12 00 00 | FURNISHINGS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 21 00 00 | FIRE SUPPRESSION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 22 00 00 | PLUMBING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 23 00 00 | HEATING, VENTILATING & AIR- CONDITIONING | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 26 00 00 | ELECTRICAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 32 00 00 | EXTERIOR IMPROVEMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | TOTALS | 2890.9061 | 0 | 0 | 0 | 2890.9061 | 289.0906 | 289.0906 | 190000 | 193469.0874
| BID SUMMARY |  |  |  |  | MAN-LOADING AND SUPERVISION ANALYSIS
| 1 | TOTAL MATERIAL COST |  | 2890.9061 |  | 1 | TOTAL MANHOURS WITH SUPERVISION |  |  |  | 225.1405
|  | MATERIAL SALES TAX |  | 0 |  | 2 | NUMBER OF MAN-DAYS |  |  |  | 28.1426
|  | JOB EXPENSE |  | 0 |  | 3 | MAN LOAD |  |  |  | 5
| 2 | TOTAL LABOR COST |  | 0 |  | 4 | JOURNEYMAN RATE |  | 3
|  | LABOR TAX |  | 0 |  | 5 | SUPERVISOR RATE |  | 1
| 3 | TOTAL COST |  | 2890.9061 |  | 6 | UNSKILLED LABOR RATE |  | 1
|  | OVERHEADS @ | 10% | 289.0906 |  | 7 | COMPOSITE LABOR RATE |  |  |  | 0
|  | PROFIT @ | 10% | 289.0906 |  | 8 | PREVAILING WAGE RATE |  |  |  | 0
| 4 | TOTAL COST WITH OVERHEADS + PROFIT |  | 3469.0874
|  | Contingency Allowance |  | 180000 |  |  | INSERT VALUES IN YELLOW HIGHLIGHTED CELLS WHERE APPLICABLE
|  | Third party testing and inspections Allowance |  | 10000
| 5 | BASE BID PRICE |  | 193469.0874

## Estimate
|  |  |  | MIDDLETOWN LIBRARY RENOVATION | [8 empty] | PROJECT COST |  | 2890.9061
|  |  |  | 55 NEW MONMOUTH RD, MIDDLETOWN TOWNSHIP, NJ 07748 | [8 empty] | OVERHEAD COST |  | 289.0906
|  |  |  | Project Scope: EVERYTHING | [8 empty] | PROFIT COST |  | 289.0906
|  |  |  | Addendum: N/A | [8 empty] | ALLOWANCES |  | 190000
|  |  |  | Date: | 2024-10-04 | [7 empty] | TOTAL BID COST |  | 193469.0874
SR. NO. | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QUANTITY |  | UNIT | WASTAGE % | QTY W/ WASTAGE | UNIT MATERIAL COST | MATERIAL COST | MAN HOUR RATE | UNIT MANHOURS | TOTAL MANHOURS | MANHOURS COST | TOTAL COST
0
|  |  | 01 00 00 | DIVISION 01 - GENERAL REQUIREMENTS
1 |  |  |  | MOBILIZATION AND DEMOBILIZATION | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  |  | BOND & INSURANCE | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  |  | PROJECT SUPERVISION & PROJECT MANAGEMENT | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  |  | SAFETY REQUIREMENTS | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  |  | OFFICE OVERHEADS | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  |  | SUBMITTALS, SAMPLES, SHOP DRAWINGS, SITE SAFETY PLAN, ETC. | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  |  | TEMPORARY FACILITIES & CONTROLS INCL. - CONTRACTOR'S FIELD OFFICE - TEMPORARY UTILITIES - FURNISHINGS | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 |  |  |  | PROJECT SCHEDULE (Bar Chart) | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  |  | CLOSEOUT PROCEDURES | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  |  | PERMITS (DOT, DOB & After hour permits ETC.) | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
On-Site Work Hours - 7:00 a.m. to 3:30 p.m. Monday through Friday - Additional Week Day Hours: 3pm – 11pm are available
Project Completion - Substantial Completion August 30, 2024 - Final Completion September 30, 2024
Project to be completed in two phases - Construction phase #1 - Construction phase #2
Note: - Masonry or concrete cutting shall be performed during 2nd shift or coordinated with the Owner for limited temporary closure of the facility
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 02 00 00 | DIVISION 02 - EXISTING CONDITIONS
|  |  | 20700 | SELECTIVE DEMOLITION
11 | D1.0 | Demo Keynote 11 |  | Remove existing sidewalk as required - Assumed Depth = 10" Thk. | 100 |  | SF | 0% | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | D1.0 | Demo Keynote 4, 6, 12 |  | Remove existing single door incl. frame in its entirety | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | D1.0 | Demo Keynote 4 |  | Remove existing double door incl. frame in its entirety | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | D1.0 | Demo Keynote 5, 8, 14 |  | Remove existing windows | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | D3.0 | Demo Keynote 18 |  | Remove existing sign | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | D1.0 | Demo Keynote 2 |  | Remove existing partition wall | 2215 | 2212 | SF | 0% | 2215 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | D1.0 | Demo Keynote 1 |  | Remove existing masonry wall as required for window opening | 255 | 251.63 | SF | 0% | 255 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | D1.0 | Demo Keynote 19 |  | Sawcut existing concrete existing floor slab as required | 30 |  | LF | 0% | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | D1.0 | Demo Keynote 19 |  | Remove existing concrete floor slab | 18 |  | SF | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | D1.0 | Demo Keynote 22 |  | Remove existing (2' W) computer station desk | 48 |  | LF | 0% | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | D1.0 | Demo Keynote 3 |  | Remove existing wall as required for door opening | 125 | 122.5 | SF | 0% | 125 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | D1.0 | Demo Keynote 17 |  | Relocate irrigation system from landscape if required | 2 |  | LOC | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | D1.0 | Demo Keynote 21 |  | Remove existing (2' W) computer reference desk | 32 |  | LF | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | D1.0 | Demo Keynote 12 |  | Remove existing exterior EIFS wall system | 200 | 198.2565 | SF | 0% | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | D1.0 | Demo Keynote 9 |  | Remove existing carpet flooring | 15130 |  | SF | 0% | 15130 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | D1.0 | Demo Keynote 15 |  | Remove existing (8'-8"x8'-8") storefront | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | D3.0 | Demo Keynote 1 |  | Remove ACT Ceiling tiles incl. grid system in its entirety | 6170 |  | SF | 0% | 6170 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | D3.0 | Demo Keynote 2 |  | Remove existing soffit portion as required | 1170 |  | SF | 0% | 1170 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | D3.0 | Demo Keynote 5 |  | Remove existing soffit as required | 45 |  | SF | 0% | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | D3.0 | Demo Keynote 8 |  | Remove existing window shades | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | A2.0 |  |  | Sawcut roofing and framing as required | 26 |  | LF | 0% | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 | A2.0 |  |  | Remove roofing as required | 26 |  | SF | 0% | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | D1.0 |  |  | Remove existing motorizes shades | 5 |  | EA | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 03 00 00 | DIVISION 03 - CONCRETE
|  |  | 03 30 00 | CAST-IN-PLACE CONCRETE
34 | A1.1 | Construction Keynote 1 |  | Patch and repair concrete slab as required for new sanitary pipe. | 18 |  | SF | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  |  | Misc. Grouting | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 40000 | DIVISION 04 - MASONRY
|  |  | 04 20 00 | UNIT MASONRY
36 | A4.1 | 3/A4.1 |  | (8" Thk.) CMU wall | 35 | 33.501 | SF | 0% | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MASONRY VENEER
37 | A4.1 | 1/A4.1 |  | Brick veneer as: - (3-5/8") Brick veneer - (2" Thk.) XPS Rigid insulation (R-10) - Vapor barrier | 145 |  | SF | 0% | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 50000 | DIVISION 05 - METALS
STRUCTURAL STEEL FRAMING
38 | S1.0 |  |  | L 5x5x3/8 = 37 LF | 456 | 455.1 | LBS | 0% | 456 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  |  | L 1x1x1/4 = 9 LF | 14 | 13.41 | LBS | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  |  | L 6x6x3/8 = 29 LF | 433 | 432.1 | LBS | 0% | 433 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  |  | W8x31 = 14 LF | 434 | 434 | LBS | 0% | 434 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  |  | Misc. Connections, welding's etc. | 67 | 66.7305 | LBS | 0% | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 05 50 00 | METAL FABRICATIONS
43 | A13.6 | D/A13.6 |  | (18"x18") Countertop support | 19 |  | EA | 0% | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 60000 | DIVISION 06 - WOOD, PLASTICS, AND COMPOSITES
|  |  | 06 10 00 | ROUGH CARPENTRY
44 |  |  |  | Misc. Blocking | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 64023 | INTERIOR ARCHITECTURAL WOODWORK
45 | A13.6 | D/A13.6 |  | Plastic laminate back panel | 110 | 109.55 | SF | 0% | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A13.4 | 1/A13.4 |  | Reference desk as:
46 |  |  |  | (2'-6" H, 2'-4" D) Base cabinets | 3 |  | LF | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  |  | (1'-0" W) Quartz surface countertop (SS-1) | 43 |  | LF | 0% | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  |  | Quartz surface countertop (SS-1) | 50 |  | SF | 0% | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  |  | Wood veneer finish (WD-2) | 70 |  | SF | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  |  | Plastic laminate wall panel | 70 | 70 | SF | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 |  |  |  | Low wall as: - (2x4) Top and bottom wooden plate - (2x4) Wooden studs - (1 Layer, 3/4" Thk.) Plywood sheathing on both sides | 75 | 73.5 | SF | 0% | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MILLWORK
52 | A13.3 |  |  | Wood crown molding - Dykes # 205 | 55 |  | LF | 0% | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  |  | Wood panel (WD-3) w/ - Wood trim (Dykes #14) = 100 LF | 32 |  | SF | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 70000 | DIVISION 07 - THERMAL AND MOISTURE PROTECTION
|  |  | 70150.65 | ROOF PATCHING
54 | A2.0 | A2.1 |  | Roof patching | 55 | 52 | SF | 0% | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | A2.0 | A2.1 |  | Base flashing | 26 |  | LF | 0% | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 76200 | SHEET METAL FLASHING AND TRIM
56 | A1.1 | 19, 24/A10.0 |  | Metal flashing | 25 |  | LF | 0% | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | A4.0-4.1 | 19, 24/A10.0 |  | S.S. Drip edge flashing w/ end dams | 36 |  | LF | 0% | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | A4.1 | 19, 24/A10.0 |  | S.S. Drip edge flashing | 12 |  | LF | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | A2.0 | 4/A2.1 |  | Pitch pocket flashing | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROOF AND WALL SPECIALTIES AND ACCESSORIES
60 | A2.0 |  |  | (2'-6"x2'-6") Walk-pads on roof | 22 |  | EA | 0% | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 07 92 00 | JOINT SEALANTS
61 |  |  |  | Misc. Sealant | 1 |  | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 08 00 00 | DIVISION 08 - OPENINGS
|  |  | 81416 | FLUSH WOOD DOORS
62 | A1.1 | Door Sche. @ A11 |  | (3'-0"x7'-0") Type A, WD door w/ Type F3, HM frame | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  |  | (3'-0"x7'-0") Type B, WD door w/ Type F3, HM frame incl. - Vision panel | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  |  | (3'-0"x7'-0") Type A, WD door w/ Type F3, HM frame | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 82550 | FIBERGLASS REINFORCED POLYESTER (FRP) DOORS
65 | A1.1 | Door Sche. @ A11 |  | (3'-0"x7'-0") Type A, FRP door w/ Type F4, Alum. Frame | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 84113 | ALUMINUM-FRAMED ENTRANCES AND STOREFRONTS
66 | A1.1 | 1/A10.0 |  | (19'-0"x7'-2") Type S7, Alum./ Glass storefront incl. - (6'-0"x7'-0") Type D, Double AL/GL door | 791 | 136.173 | SF | 0% | 791 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | (19'-2"x7'-2") Type S6, Alum./ Glass storefront incl. - (3'-0"x7'-0") Type C, AL/GL door |  | 137.3699
|  |  |  | (19'-8"x7'-2") Type S5, Alum./ Glass storefront incl. - (3'-0"x7'-0") Type C, AL/GL door |  | 140.9749
|  |  |  | (6'-6"x7'-2") Type S4, Alum./ Glass storefront incl. = 2 EA - (3'-0"x7'-0") Type C, AL/GL door |  | 93.171
|  |  |  | (6'-6"x7'-2") Type S3, Alum./ Glass storefront incl. = 2 EA - (3'-0"x7'-0") Type C, AL/GL door |  | 93.171
|  |  |  | (7'-2"x7'-2") Type S2, Alum./ Glass storefront incl. - (3'-0"x7'-0") Type C, AL/GL door |  | 51.3659
|  |  |  | (19'-4"x7'-2") Type S1, Alum./ Glass storefront incl. - (6'-4"x7'-0") Type D, Double AL/GL door |  | 138.6098
|  |  | 84413 | GLAZED ALUMINUM STOREFRONT
67 | A1.1 | 3/A10.0 |  | (8'-6"x8'-8") Type W4, Alum./ Glass storefront incl. - (3'-0"x6'-10 1/2") Type C, AL/GL door | 74 | 73.695 | SF | 0% | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 87100 | DOOR HARDWARE
68 | A1.1 | Door Sche. @ A11 |  | Door hardware | 18 |  | EA | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ALUMINUM WINDOWS
69 | A1.1 | 3/A10.0 |  | (12'-0"x6'-3") Aluminum framed exterior fixed window = 1 EA | 219 | 75 | SF | 0% | 219 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | (9'-9"x7'-3 1/2") Aluminum framed exterior fixed window = 2 EA |  | 143.13
Windows accessories
70 | A4.0 | 24/A10.0 |  | (3/4") Wood window sill | 20 | 19.5 | LF | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  |  | (3/4" Thk.) P.T. Plywood | 18 | 17.8757 | SF | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 09 00 00 | DIVISION 09 - FINISHES
72 | A1.1 |  |  | Temporary construction partition | 1260 | 1258.24 | SF | 0% | 1260 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 92900 | GYPSUM BOARD ASSEMBLIES
| A1.1 | See partition types @ A5.0 |  | Partition wall type-1:
73 |  |  |  | 3-5/8" Top and bottom metal track | 430 | 430 | LF | 0% | 430 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 |  |  |  | 3-5/8" Metal studs @ 16" O.C. | 2264 | 2263.1579 | LF | 0% | 2264 | 0 | 0 | 0 | 0 | 0 | 0 | 0
75 |  |  |  | (1 Layer, 5/8" Thk.) Gypsum wall board on both sides | 6020 | 6020 | SF | 0% | 6020 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 |  |  |  | Batt insulation | 3010 | 3010 | SF | 0% | 3010 | 0 | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  |  | Sealant @ top and bottom on both sides | 860 | 860 | LF | 0% | 860 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Partition wall type-1.1:
78 |  |  |  | 6" Top and bottom metal track | 252 | 252 | LF | 0% | 252 | 0 | 0 | 0 | 0 | 0 | 0 | 0
79 |  |  |  | 6" Metal studs @ 16" O.C. | 1327 | 1326.3158 | LF | 0% | 1327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  |  | (1 Layer, 5/8" Thk.) Gypsum wall board on both sides | 3528 | 3528 | SF | 0% | 3528 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 |  |  |  | Batt insulation | 1764 | 1764 | SF | 0% | 1764 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  |  | Sealant @ top and bottom on both sides | 504 | 504 | LF | 0% | 504 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Furring wall type-2:
83 |  |  |  | 3-5/8" Top and bottom metal track | 74 | 74 | LF | 0% | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  |  | 3-5/8" Metal studs @ 16" O.C. | 353 | 352.6316 | LF | 0% | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  |  | (1 Layer, 5/8" Thk.) Gypsum wall board | 470 | 469 | SF | 0% | 470 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  |  | Batt insulation | 470 | 469 | SF | 0% | 470 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  |  | Sealant @ top and bottom on one sides | 74 |  | LF | 0% | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Furring wall type-3:
88 |  |  |  | 3-5/8" Top and bottom metal track | 34 | 34 | LF | 0% | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  |  | 3-5/8" Metal studs @ 16" O.C. | 180 | 178.9474 | LF | 0% | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  |  | (1 Layer, 5/8" Thk.) Plywood sheathing | 153 | 153 | SF | 0% | 153 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  |  | Batt insulation | 238 | 238 | SF | 0% | 238 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A1.1 | 2/A1.1 |  | Reference desk wall:
92 |  |  |  | 3-5/8" Top and bottom metal track | 34 | 34 | LF | 0% | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  |  | 3-5/8" Metal studs @ 16" O.C. | 179 | 178.9474 | LF | 0% | 179 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  |  | (1 Layer, 5/8" Thk.) Gypsum wall board on both sides | 176 | 175.78 | SF | 0% | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  |  | (1 Layer, 5/8" Thk.) Plywood sheathing | 153 | 153 | SF | 0% | 153 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  |  | Sealant @ top and bottom on one side | 34 | 34 | LF | 0% | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A1.1 | 1/A1.1 |  | Portal wall:
97 |  |  |  | 3-5/8" Top and bottom metal track | 8 | 8 | LF | 0% | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  |  | 3-5/8" Metal studs @ 16" O.C. | 70 | 69.36 | LF | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  |  | (1 Layer, 5/8" Thk.) Plywood sheathing | 80 | 78.03 | SF | 0% | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A3.0 | A5.1 |  | GWB Ceiling as:
100 |  |  |  | (1 Layer, 5/8" Thk.) Gypsum board ceiling and soffit (GYP-1) w/ suspension system | 1300 | 1295.7834 | SF | 0% | 1300 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  |  | 3-5/8" Metal studs @ 48" O.C. | 722 | 721.25 | LF | 0% | 722 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| A3.0, 3.2 | 1/A5.1 |  | Veneered plywood ceiling (WC-2) as:
102 |  |  |  | (1 Layer, 3/4" Thk.) Plywood sheathing | 551 |  | SF | 0% | 551 | 0 | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  |  | 6" Metal studs @ 24" O.C. | 276 | 275.5 | LF | 0% | 276 | 0 | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  |  | 3-5/8" Metal studs @ 24" O.C. | 276 | 275.5 | LF | 0% | 276 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  |  | Taping (180' L) | 19.9566 |  | ROLLS | 0% | 19.9566 | 12 | 239.4792 | 0 | 1.85 | 36.9197 | 0 | 239.4792
106 |  |  |  | Mudding Compound (12 LBS) | 50.7696 |  | BUCKETS | 0% | 50.7696 | 35 | 1776.9354 | 0 | 1.75 | 88.8468 | 0 | 1776.9354
107 |  |  |  | Screws (244 EA) | 66.2494 |  | BOXES | 0% | 66.2494 | 13.2 | 874.4915 | 0 | 1.5 | 99.374 | 0 | 874.4915
|  |  | 09 50 00 | ACOUSTICAL CEILINGS
108 | D3.0 | Demo Keynote 12 |  | Remove, store and reinstall existing ceiling tiles as required for new wall Note: 1: Contractor is responsible to replace any damaged ceiling tiles to match existing. | 45 |  | SF | 0% | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
109 | A3.0 | Construction Keynote 1 |  | Remove existing ceiling tiles and grid system as required for duct installation and reinstall or provide new to match existing | 155 |  | SF | 0% | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0
110 | A3.0 | Construction Keynote 2 |  | Remove, store and reinstall existing ceiling tiles and grid system as required for pipe installation Note: 1: Contractor is responsible to replace any damaged ceiling tiles to match existing. | 170 |  | SF | 0% | 170 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 | A3.0 | Finish Sche. @ A12.1 |  | ACT Ceiling tile (ACT-1) w/ grid system | 4375 |  | SF | 0% | 4375 | 0 | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  |  | Rigid vinyl panel coffered ceiling (PCT-1) w/ grid system | 450 |  | SF | 0% | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WOOD VENEER CEILING PLANKS LINEAR
113 | A3.0, 3.2 | Finish Sche. @ A12.1 |  | Wood veneer ceiling (WD-2) | 635 | 635.0459 | SF | 0% | 635 | 0 | 0 | 0 | 0 | 0 | 0 | 0
114 | A12 |  |  | Wood veneer wall finish (WD-2) | 385 | 384.03 | SF | 0% | 385 | 0 | 0 | 0 | 0 | 0 | 0 | 0
115 | A13.3 |  |  | Wood panel wall finish (WD-3) | 30 |  | SF | 0% | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
116 | A3.2 |  |  | Linear ceiling diffuser | 15 |  | LF | 0% | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
METAL PAN CEILINGS
117 | A3.0 | Finish Sche. @ A12.1 |  | Wood tone formed metal panel ceiling (WC-1) w/ Wood tone formed metal panel finish (WD-1) and grid system | 1140 |  | SF | 0% | 1140 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 96500 | RESILIENT TILE FLOORING, BASE AND ACCESSORIES
118 | A12 | Finish Sche. @ A12.1 |  | Luxury vinyl tile flooring (LVT-1) | 675 |  | SF | 0% | 675 | 0 | 0 | 0 | 0 | 0 | 0 | 0
119 |  |  |  | (4" H) Rubber base (WB-1) | 1440 |  | LF | 0% | 1440 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  |  | (4" H) Solid wood base (WB-3) | 115 |  | LF | 0% | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0
121 |  |  |  | (4" H) Wood base (WB-2) | 45 |  | LF | 0% | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
122 | A12 | 26/A11 |  | Aluminum saddle (S-1, 3) | 7 |  | LF | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 96813 | TILE CARPETING
123 | A12 | Finish Sche. @ A12.1 |  | Carpet tile flooring (CPT-1, 2, 3, 4) | 14390 |  | SF | 0% | 14390 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 97000 | ALUMINUM MILLWORK TRIMS
124 | A1.1 | 1, 2/A1.1 |  | 3/4" Corner channel fry reglet w/ 3/16" return key | 180 | 177.056 | LF | 0% | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 99000 | INTERIOR PAINTING
125 | A12 | Finish Sche. @ A12.1 |  | Prime and paint walls | 17550 | 17549 | SF | 0% | 17550 | 0 | 0 | 0 | 0 | 0 | 0 | 0
126 | A3.0 |  |  | Prime and paint ceiling and soffit | 1300 |  | SF | 0% | 1300 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 2890.9061 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 225.1405 | 2890.9061
|  |  | 10 00 00 | DIVISION 10 - SPECIALTIES
SIGNAGE
127 | D3.0 | Demo Keynote 9 |  | Remove and relocate existing sign | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
128 | A13 | See Legend |  | (9"x4") Type R, Room number signage w/ braille | 17 |  | EA | 0% | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
129 | A13 | See Legend |  | (5" H) Type L, Letter signage Note: 1: Match font and size of new signage w/ existing letter signage | 7 |  | EA | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIREPLACES AND STOVES
130 | A13 | 5/A13.1 |  | (36") Electric fireplace w/ Wescot mantel kit - Manf: Simplifire - Model: SF-INC36 | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 12 00 00 | DIVISION 12 - FURNISHINGS
|  |  | 122413 | ELECTRONIC INTELLIGENT ROLLER SHADE SYSTEM
131 | A13 |  |  | (9'-9"x7'-4") Motorized shades = 7 EA | 501 | 500.955 | SF | 0% | 501 | 0 | 0 | 0 | 0 | 0 | 0 | 0
132 | A13 |  |  | (2'-8"x7'-4") Manual roller shades = 2 EA | 40 | 39.1956 | SF | 0% | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 12 30 00 | CASEWORK
133 | A13.6 | C/A13.6 |  | (2'-10" H, 2' D) Base cabinets | 6 |  | LF | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
134 | A13.3 | D/A13.3 |  | (2'-10" H, 1'-10" W) Base cabinet | 12 |  | LF | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
135 | A13.3 | E/A13.3 |  | (9'-10" H, 1'-4" W) Cabinet | 11 |  | LF | 0% | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
136 | A13.1 | 3/A13.2 |  | (8'-0" H, 1'-10" D) Cabinet w/ (2) Glass door and base cabinet | 18 |  | LF | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
137 | A13.1 | 18/A13.2 |  | (8'-0" H, 1'-4" D) Shelves w/ base cabinet | 6 |  | LF | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
138 | A13.1 | 1/A13.2 |  | (4'-1" L x 2'-10 1/2" W x 2'-10") Low cabinet | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
139 | A13.4 | 5A/A13.4 |  | (3'-6" H, 1'-4" D) Low cabinet | 10 |  | LF | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
140 | A13.5 | B/A13.5 |  | (2'-10" H, 2'-0" D) Base cabinets | 18 |  | LF | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
141 | A13.5 | A, B, C/A13.5 |  | (2'-6" H, 1'-1" D) Upper cabinets | 26 |  | LF | 0% | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
142 | A13.7 | C/A13.7 |  | (3'-6" H, 2' D) Base cabinets | 3 |  | LF | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
COUNTERTOPS
143 | A13.5 | A, B, C/A13.5 |  | (2'-1" W) Plastic laminate countertop w/ (4" H) Integrated backsplash | 27 |  | LF | 0% | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 123661 | QUARTZ AGGLOMERATE COUNTERTOPS
144 | A13.6 | C, D/A13.6 |  | (2'-1" W) Quartz surface countertop (SS-1) w/ - (4" H) Backsplash = 14 LF | 14 |  | LF | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
145 | A13.3 | D/A13.3 |  | (2'-7" W) Quartz surface countertop (SS-2) | 12 |  | LF | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
146 | A13.4 | 5A/A13.4 |  | (1'-6" W) Quartz surface countertop (SS-1) | 10 |  | LF | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
147 | A13.7 | E/A13.7 |  | (2'-5" W) Quartz surface countertop (SS-1) | 27 |  | LF | 0% | 27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
148 | A13.7 | C, D/A13.7 |  | (2'-0" W) Quartz surface countertop (SS-1) | 23 |  | LF | 0% | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 210000 | DIVISION 21 - FIRE PROTECTION
PIPES W/ FITTINGS (STANDARD WEIGHT BLACK STEEL PIPE), ASSUMED
149 | FP2.0 |  |  | 1" SPRINKLER PIPE | 291 |  | LF | 10% | 320.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
150 | FP2.0 |  |  | 2" SPRINKLER PIPE | 50 |  | LF | 10% | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0
151 | FP2.0 |  |  | 1" SPRINKLER THREADED BRANCH PIPING | 194 |  | LF | 10% | 213.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
152 | FP2.0 |  |  | 1" SPRINKLER PIPE TEE | 97 |  | EA | 0% | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0
153 | FP2.0 |  |  | 1" NPT MALE COUPLING REDUCER | 97 |  | EA | 0% | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0
154 | FP2.0 |  |  | 1" SPRINKLER PIPE TEE | 97 |  | EA | 0% | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0
155 | FP2.0 |  |  | 2" - 1" SPRINKLER PIPE TEE (PROPOSED) | 100 |  | EA | 0% | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0
156 | FP2.0 |  |  | 1" SYSTEM ELBOW | 194 |  | EA | 0% | 194 | 0 | 0 | 0 | 0 | 0 | 0 | 0
157 | FP2.0 |  |  | COVER PLATE ASSEMBLY | 97 |  | EA | 0% | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0
158 | FP2.0 |  |  | SPRINKLER CUP ASSEMBLY | 97 |  | EA | 0% | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLENOUS
159 | FP2.0 |  |  | C CLAMP W/ RETAINING CLIPS AND 3/8" ROD AND CLEVIS HANGER | 77 |  | EA | 0% | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0
160 | FP2.0 |  |  | 1-1/2" SLEEVE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIXTURES
161 | FP2.0 |  |  | CONCEALED SPRINKLER HEAD, TYCO SERIES #RFII QUICK RESPONSE | 79 |  | EA | 0% | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0
162 | FP2.0 |  |  | CONCEALED SPRINKLER HEAD, TYCO SERIES #RFII QUICK RESPONSE | 18 |  | EA | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
163 | FP2.0 |  |  | UPRIGHT SPRINKLER HEAD - TYCO SERIES TY-FRB QUICK RESPONSE | 49 |  | EA | 0% | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEMOLITION
164 | FP2.1 |  |  | EXISTING SPRINKLER HEADS TO BE REMOVED AND ALSO REMOVE AND DISCARD PORTION OF EXISTING SPRINKLER PIPING AND CONCEALED HEADS, MAKE REMAINING PIPING READY FOR CONNECTION TO NEW PIPING AND NEW CONCEALED SPRINKLER HEADS | 70 |  | EA | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 220000 | DIVISION 22 - PLUMBING
PIPES
| P2.0 |  |  | Sanitary Vent Pipe With Fittings And Accessories (PVC SCH 40)
165 | P2.0 |  |  | 1-1/2" VENT PIPE | 33.73 |  | LF | 10% | 37.103 | 0 | 0 | 0 | 0 | 0 | 0 | 0
166 | P2.0 |  |  | 3" SANITARY PIPE | 16.41 |  | LF | 10% | 18.051 | 0 | 0 | 0 | 0 | 0 | 0 | 0
167 | P2.0 |  |  | 3" STORM PIPE | 49.31 |  | LF | 10% | 54.241 | 0 | 0 | 0 | 0 | 0 | 0 | 0
168 | P2.0 |  |  | 4" STORM LEADER PIPE | 56.79 |  | LF | 10% | 62.469 | 0 | 0 | 0 | 0 | 0 | 0 | 0
169 | P2.0 |  |  | 1-1/2" 45 DEG ELBOW | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
170 | P2.0 |  |  | 3" STORM 45 DEG ELBOW | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
171 | P2.0 |  |  | 3" 45 DEG ELBOW | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
172 | P2.0 |  |  | 3" STORM 90 DEG ELBOW | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
173 | P2.0 |  |  | 1-1/2" VENT 90 DEG ELBOW | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
174 | P2.0 |  |  | 1-1/2" WYE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
175 | P2.0 |  |  | 3" - 1-1/2" WYE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
176 | P2.0 |  |  | 4" - 3" WYE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
177 | P2.0 |  |  | 3" - 1-1/2" REDUCER | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
178 | P2.0 |  |  | 3" VENT THROUGH ROOF | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
179 | P2.0 |  |  | 3" STORM CLEANOUT CHROME WALL COVER AND SCREW WITH PLUGGED TEE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
180 | P2.0 |  |  | 1-1/2" COWP, CLEANOUT WALL PLATE, JR SMITH FIGURE 4422C, TAPER THREAD, BRONZE PLUG | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Water Pipe With Fittings And Accessories (TYPE "L", HARD COPPER TUBING)
181 | P2.0 |  |  | 1/2" COLD WATER PIPE | 6.11 |  | LF | 10% | 6.721 | 0 | 0 | 0 | 0 | 0 | 0 | 0
182 | P2.0 |  |  | 3/4" COLD WATER PIPE | 119.71 |  | LF | 10% | 131.681 | 0 | 0 | 0 | 0 | 0 | 0 | 0
183 | P2.0 |  |  | 3/4" FORCED COLD WATER PIPE | 194.96 |  | LF | 10% | 214.456 | 0 | 0 | 0 | 0 | 0 | 0 | 0
184 | P2.0 |  |  | 3/8" HOT WATER PIPE | 11.97 |  | LF | 10% | 13.167 | 0 | 0 | 0 | 0 | 0 | 0 | 0
185 | P2.0 |  |  | 1/2" HOT WATER PIPE | 6.03 |  | LF | 10% | 6.633 | 0 | 0 | 0 | 0 | 0 | 0 | 0
186 | P2.0 |  |  | 3/4" HOT WATER PIPE | 117.74 |  | LF | 0% | 117.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0
187 | P2.0 |  |  | 1" HOT WATER PIPE (FROM MECHANICAL SHEET) | 30.16 |  | LF | 0% | 30.16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
188 | P2.0 |  |  | 1/2" HOT WATER RETURN PIPE | 104.11 |  | LF | 0% | 104.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
189 | P2.0 |  |  | 3/8" HW 90 DEG ELBOW | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
190 | P2.0 |  |  | 1/2" HWR 90 DEG ELBOW | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
191 | P2.0 |  |  | 3/4" CW 90 DEG ELBOW | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
192 | P2.0 |  |  | 3/4" FCW 90 DEG ELBOW | 14 |  | EA | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
193 | P2.0 |  |  | 1-1/4" - 3/4" CW TEE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
194 | P2.0 |  |  | 2" - 3/4" CW TEE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
195 | P2.0 |  |  | 2" - 3/4" FCW TEE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
196 | P2.0 |  |  | 3/4" - 1/2" CW TEE | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
197 | P2.0 |  |  | 3/8" HW TEE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
198 | P2.0 |  |  | 3/4" - 1/2" CW REDUCER | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
199 | P2.0 |  |  | 1/2" WHA, WATER HAMMER ARRESTER, SIOUX CHIEF HYDRA-RESTER | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
200 | P2.0 |  |  | 1/2" SHUTOFF VALVE | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
201 | P2.0 |  |  | 1/2" HWR CIRCUIT SETTER ASSEMBLY | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
202 | P2.0 |  |  | 1/2" HWR GATE OR BALL VALVE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
203 | P2.0 |  |  | 3/4" HWR GATE OR BALL VALVE | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
204 | P2.0 |  |  | 3/4" FCW SHUTOFF VALVE | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
205 | P2.0 |  |  | 3/4" FCW ESCUTCHEON | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
206 | P2.0 |  |  | 3/4" FCW RPZ-1, BACKFLOW PREVENTION ASSEMBLY, WATTS SERIES LF009 QT, LEAD FREE REDUCED ZONE ASSEMBLY, 3/4" WITH STRAINER, QUARTER TURN BALL VALVES AND AIR GAP FITTING PIPE AIR GAP DRAIN TO NEAREST FLOOR DRAIN AND SPILL ABOVE GRATE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
207 | P2.0 |  |  | 3/4" FCW WF-1, INLINE WATER FILTER, LAKOS T2C-075-140 WITH 150 MICRON MESH | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
208 | P2.0 |  |  | 3/8" ANGLE STOP | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
209 | P2.0 |  |  | 3/8" MIXING VALVE WITH BUILT IN CHECK STOPS | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| P3.0 |  |  | Gas Pipe With Fittings And Accessories (BLACK STEEL, ASSUMED)
210 | P3.0 |  |  | 1-1/4" GAS PIPE | 213.03 |  | LF | 10% | 234.333 | 0 | 0 | 0 | 0 | 0 | 0 | 0
211 | P3.0 |  |  | 1-1/4" GP 90 DEG ELBOW | 7 |  | EA | 10% | 7.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
212 | P3.0 |  |  | 1-1/4" GP TEE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
213 | P3.0 |  |  | 4" - 1-1/4" GP TEE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
214 | P3.0 |  |  | 1-1/4" GP DRIP LEG | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
215 | P3.0 |  |  | 1-1/4" GP UNION | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
216 | P3.0 |  |  | 1-1/4" GP REGULATOR WITH VENT PROTECTOR | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
217 | P3.0 |  |  | 1-1/4" GP SHUTOFF VALVE | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
218 | P3.0 |  |  | 4" GP SHUTOFF VALVE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLENEOUS
219 | P2.0 |  |  | 1" PIPE SLEEVE | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
220 | P2.0 |  |  | HANGER ROD WITH GALVANIZED IRON SHEET SHIELD BY SNAP N SHIELD BY EATON AND CLEVIS HANGER WITH A UNISTRUT CHANNEL - 2-1/2" | 36 |  | EA | 0% | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0
221 | P2.0 |  |  | SADDLE BLOCK ROLLER TYPE WITH CLAMPS OR METAL BAND | 37 |  | EA | 0% | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 0
222 | P2.0 |  |  | METAL GUTTER | 36.44 |  | EA | 0% | 36.44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEMOLITION
223 | P2.0 |  |  | REMOVE EXISTING STORM 3" LEADER PIPE | 31.75 |  | EA | 0% | 31.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0
224 | P2.0 |  |  | REMOVE EXISTING STORM LEADER PIPE | 81.59 |  | EA | 0% | 81.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIXTURES
225 | P2.0 | P1.0 |  | P-1, ACCESSIBLE MAKERSPACE SINK INCL. - Manf: ELKAY - Model# : ECTSRAD25226TBG"CROSSTOWN", SINGLE BASIN SINGLE PACKAGE WITH CHICAGO FAUCETS #201-RSHA8AE35VXKAB FAUCET, GUARDIAN G1100 "EYESAFE" FAUCET MOUNTED EYEWASH, #CTXBG2115 STAINLESS STEEL GRID, #LK35 DRAIN, MCGUIRE CHROME PLATED BRASS SUPPLY STOP VALVES WITH RIGID CHROME PLATED COPPER SUPPLIES, MCGUIRE #8912 CHROME PLATED BRASS AND LEONARD#270 THERMOSTATIC MIXING VALVE MOUNTED BELOW SINK AND SET AT 110 DEG F, PROVIDE WITH PROFLO #PF202WH TRAP AND SUPPLIES COVER KIT INSULATE ALL EXPOSED PIPING BELOW HANDICAP LAVATORIES WITH TRUBRO, LAV GUARD INSULATION KIT - FOR 3/8" PIPE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 230000 | DIVISION 23 - HEATING, VENTILATING, AND AIR CONDITIONING (HVAC)
DUCTS
FLEXIBLE DUCTS W/ INSULATION
226 | M3.0 |  |  | 6" FLEXIBLE AIR DUCT | 3.02 |  | LF | 10% | 3.322 | 0 | 0 | 0 | 0 | 0 | 0 | 0
227 | M3.0 |  |  | 12" FLEXIBLE AIR DUCT | 67 |  | LF | 10% | 73.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
228 | M3.0 |  |  | 14" FLEXIBLE AIR DUCT | 38.24 |  | LF | 10% | 42.064 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROUND DUCTS W/ FITTINGS
229 | M3.0 |  |  | 6" EXPOSED SPIRAL SEAM DUCT | 69.49 |  | LF | 10% | 76.439 | 0 | 0 | 0 | 0 | 0 | 0 | 0
230 | M3.0 |  |  | 6" ROUND AIR DUCT | 19.93 |  | LF | 10% | 21.923 | 0 | 0 | 0 | 0 | 0 | 0 | 0
231 | M3.0 |  |  | 12" ROUND AIR DUCT | 54.44 |  | LF | 10% | 59.884 | 0 | 0 | 0 | 0 | 0 | 0 | 0
232 | M3.0 |  |  | 14" ROUND AIR DUCT | 12.85 |  | LF | 10% | 14.135 | 0 | 0 | 0 | 0 | 0 | 0 | 0
233 | M3.0 |  |  | 6" EXPOSED SPIRAL SEAM DUCT 90 DEG ELBOW | 5 |  | EA | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
234 | M3.0 |  |  | 6" RAD 45 DEG ELBOW | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
235 | M3.0 |  |  | 6" RAD 90 DEG ELBOW | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
236 | M3.0 |  |  | 6" TAKEOFF WITH VD | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
237 | M3.0 |  |  | 12" TAKEOFF WITH VD | 21 |  | EA | 0% | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
238 | M3.0 |  |  | 14" TAKEOFF WITH WITH WING NUT AND ARM | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
239 | M3.0 |  |  | 6" RAD CAP | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
240 | M3.0 |  |  | 10" DUCT CAP | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RECTANGULAR DUCT FITTINGS
241 | M3.0 |  |  | 12"X10" 90 DEG ELBOW DEG ELBOW WITH TURNING VANES | 2 |  | EA | 10% | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
242 | M3.0 |  |  | 16"X6" 90 DEG ELBOW DEG ELBOW WITH TURNING VANES | 2 |  | EA | 10% | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
243 | M3.0 |  |  | 16"X8" 90 DEG ELBOW DEG ELBOW WITH TURNING VANES | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
244 | M3.0 |  |  | 18"X10" 90 DEG ELBOW DEG ELBOW WITH TURNING VANES | 2 |  | EA | 10% | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
245 | M3.0 |  |  | 22"X12" 90 DEG ELBOW DEG ELBOW WITH TURNING VANES | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
246 | M3.0 |  |  | 24"X14" 90 DEG ELBOW DEG ELBOW WITH TURNING VANES | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
247 | M3.0 |  |  | 24"X18" 90 DEG ELBOW DEG ELBOW WITH TURNING VANES | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
248 | M3.0 |  |  | 18"X10" - 16"X6" REDUCER | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
249 | M3.0 |  |  | 18"X10" - 16"X8" REDUCER | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
250 | M3.0 |  |  | 18"X12" - 16"X8" REDUCER | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
251 | M3.0 |  |  | 22"X12" - 18"X10" REDUCER | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
252 | M3.0 |  |  | 24"X14" - 18"X12" REDUCER | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
253 | M3.0 |  |  | 24"X18" - 24"X12" REDUCER | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
254 | M3.0 |  |  | 12"X10" 45 DEG ELBOW DEG TAP WITH QUADRANT DAMPER WITH ARM & WING NUT AND VOLUME DAMPER FOR LOW PRESSURE SINGLE BLADE FOR TAPS ABOVE 18" USE SINGLE BALDE DAMPERS 22 GAUGE BALDE AND 3/8" PIN AND QUADRANT | 3 |  | EA | 10% | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
255 | M3.0 |  |  | 14"X10" 45 DEG ELBOW DEG TAP WITH QUADRANT DAMPER WITH ARM & WING NUT AND VOLUME DAMPER FOR LOW PRESSURE SINGLE BLADE FOR TAPS ABOVE 18" USE SINGLE BALDE DAMPERS 22 GAUGE BALDE AND 3/8" PIN AND QUADRANT | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
256 | M3.0 |  |  | 16"X6" 45 DEG ELBOW DEG TAP WITH QUADRANT DAMPER WITH ARM & WING NUT AND VOLUME DAMPER FOR LOW PRESSURE SINGLE BLADE FOR TAPS ABOVE 18" USE SINGLE BALDE DAMPERS 22 GAUGE BALDE AND 3/8" PIN AND QUADRANT | 9 |  | EA | 10% | 9.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
257 | M3.0 |  |  | 16"X8" 45 DEG ELBOW DEG TAP WITH QUADRANT DAMPER WITH ARM & WING NUT AND VOLUME DAMPER FOR LOW PRESSURE SINGLE BLADE FOR TAPS ABOVE 18" USE SINGLE BALDE DAMPERS 22 GAUGE BALDE AND 3/8" PIN AND QUADRANT | 9 |  | EA | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
258 | M3.0 |  |  | 16"X10" 45 DEG ELBOW DEG TAP WITH QUADRANT DAMPER WITH ARM & WING NUT AND VOLUME DAMPER FOR LOW PRESSURE SINGLE BLADE FOR TAPS ABOVE 18" USE SINGLE BALDE DAMPERS 22 GAUGE BALDE AND 3/8" PIN AND QUADRANT | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
259 | M3.0 |  |  | 18"X10" 45 DEG ELBOW DEG TAP WITH QUADRANT DAMPER WITH ARM & WING NUT AND VOLUME DAMPER FOR LOW PRESSURE SINGLE BLADE FOR TAPS ABOVE 18" USE SINGLE BALDE DAMPERS 22 GAUGE BALDE AND 3/8" PIN AND QUADRANT | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
260 | M3.0 |  |  | 12"X6" DUCT END CAP | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
261 | M3.0 |  |  | 14"X10" DUCT END CAP | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
262 | M3.0 |  |  | 16"X6" DUCT END CAP | 10 |  | EA | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
263 | M3.0 |  |  | 16"X8" DUCT END CAP | 11 |  | EA | 0% | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
264 | M3.0 |  |  | 16"X10" DUCT END CAP | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
265 | M3.0 |  |  | 24"X12" DUCT END CAP | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
266 | M3.0 |  |  | 12"X6" WMS, WIRE MESH SCREEN | 4 |  | EA | 10% | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
267 | M3.0 |  |  | 24"X14" FLEXIBLE DUCT CONNECTOR | 4 |  | EA | 10% | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INSULATION
268 | M3.0 |  |  | SINGLE WALLED SPIRAL SEAM EXTERNALLY INSULATED WITH FLEXIBLE DUCTWRAP AND VAPOR BARRIER WITH A 1" DUCT LINER | 2012 |  | SF | 15% | 2313.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WEIGHT
269 | M3.0 |  |  | 26 GA. GALVANIZED SHEET METAL DUCT | 1823 |  | LBS | 15% | 2096.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PIPES W/ WYE TYPE FITTINGS
270 | M3.0 |  |  | 1" CONDENSATE DRAIN PIPE | 51.81 |  | LF | 10% | 56.991 | 0 | 0 | 0 | 0 | 0 | 0 | 0
271 | M3.0 |  |  | 1" LPS, LOW PRESSURE SEWER PIPE | 20.66 |  | LF | 10% | 22.726 | 0 | 0 | 0 | 0 | 0 | 0 | 0
272 | M3.0 |  |  | 1" CD 90 DEG ELBOW | 6 |  | LF | 10% | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
273 | M3.0 |  |  | 1" LPS 90 DEG ELBOW | 3 |  | LF | 10% | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EQUIPMENT
274 | M3.0 |  |  | DH-1,DUCT HUMIDIFIER SCHEDULE,HYGROMATIK#FLE05-FLE10,208/1 50 LBS 1.INSTALL THE WALL MOUNTED FLEXLINE HUMIDIFIER AS PER MANUFACTURER RECOMMENDATION. 2.PROVIDE COLD WATER CONNECTION AND WASTE WATER CONNECTION AS PER MANUFACTURER RECOMMENDATION. 3.INSTALL THE STEAM MANIFOLD (DH-1A) AS PER MANUFACTURER'S RECOMMENDATION. 4.PROVIDED SERIES HUMIDITY AND TEMPERATURE SENSOR FOR HUMIDIFIER AND INSTALL AS PER MANUFACTURER'S RECOMMENDATION. 5.PROVIDE CONTROL FROM ATC CONTRACTOR. 6.PROVIDE 5' UNLINED STAINLESS STEEL STRAIGHT RUN FOR DUCT HUMIDIFIER. DUCTWORK TO BE PROVIDED. 3/4" CD TO DRYWELL AT EXTERIOR. 7.PROVIDE WITH DDC BACNET CONTROLS FOR INTERFACE WITH BMS SYSTEM. 8.FOR SELECTIONS,CONTACT PHIL NICHOLSON,PNICHOLSON@EAS-NJ.COM,908-255-3981 | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
275 | M3.0 |  |  | DH-1A,DUCT HUMIDIFIER SCHEDULE,HYGROMATIK#FLE05-FLE10,208/1 50 LBS 1.INSTALL THE WALL MOUNTED FLEXLINE HUMIDIFIER AS PER MANUFACTURER RECOMMENDATION. 2.PROVIDE COLD WATER CONNECTION AND WASTE WATER CONNECTION AS PER MANUFACTURER RECOMMENDATION. 3.INSTALL THE STEAM MANIFOLD (DH-1A) AS PER MANUFACTURER'S RECOMMENDATION. 4.PROVIDED SERIES HUMIDITY AND TEMPERATURE SENSOR FOR HUMIDIFIER AND INSTALL AS PER MANUFACTURER'S RECOMMENDATION. 5.PROVIDE CONTROL FROM ATC CONTRACTOR. 6.PROVIDE 5' UNLINED STAINLESS STEEL STRAIGHT RUN FOR DUCT HUMIDIFIER. DUCTWORK TO BE PROVIDED. 3/4" CD TO DRYWELL AT EXTERIOR. 7.PROVIDE WITH DDC BACNET CONTROLS FOR INTERFACE WITH BMS SYSTEM. 8.FOR SELECTIONS,CONTACT PHIL NICHOLSON,PNICHOLSON@EAS-NJ.COM,908-255-3981 | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
276 | M3.0 |  |  | RTU-6, PACKAGED GAS- FIRED ROOF TOP UNIT SCHEDULE, - Manf: CARRIER - Model #: 48FCEN07A3A6-6W0C0, 460/3 810LBS INCL. 1. UNIT TO BE MOUNTED ON WIND/SEISMIC ISOLATION CURB - BASIS-OF-DESIGN: THE VMC GROUP - A. LESS THAN 10 TON-MODEL # P6200 WITH SOUND PACKAGE #1 - RPFMA 2. PROVIDE DRAIN PAN WITH UL #508 APPROVED WATER DETECTION SENSOR FOR UNIT SHUTDOWN. 3.PROVIDE UNIT WITH SINGLE ZONE OPERATION. 4.PROVIDE WITH COMPARATIVE ENTHALPY ECONOMIZER WITH FAULT DETECTION MONITORING AND BIRDSCREEN. 5.PROVIDE WITH POWER EXHAUST. 6.PROVIDE THRU BASE ELECTRIC. 7.PROVIDE UNIT MOUNTED NON-FUSED DISCONNECT SWITCH. 8.PROVIDE FACTORY POWERED 120V CONVENIENCE RECEPTACLE (ALWAYS HOT) WITH CIRCUIT PROTECTION BY EC. 9.PROVIDE HINGED ACCESS DOORS. 10.PROVIDE HAIL GUARDS. 11.PROVIDE BACNET INTERFACE AND CONNECT TO EXISTING BMS SYSTEM.PROVIDE CONTROLLABILITY OF ALL MECHANICAL EQUIPMENT WITH ASSOCIATED GRAPHICS AND PROVIDE SECURE REMOTE WEB ACCESS FOR SETPOINT AND SCHEDULING ADJUSTMENT FOR OCCUPIED MODES OF HEATING AND COOLING. 12.UNIT FURNISHED WITH 2" PLEATED THROUGHAWAY FILTERS, MINIMUM MERV-13 FOR BOTH AIR STREAM. 13.PROVIDE RETURN AIR SMOKE DETECTOR WIRE TO SHUT DOWN UNIT WITH ACCESSORY REMOTE KEY OPERATED TEST STATION. LOCATE TEST STATION NEAR THERMOSTAT. 14.AFTER COMPLETIG SYSTEM INSTALLATION AND TESTING,ADJUSTING AND BALANCING RTU AND AIR-DISTRIBUTION SYSTEMS, CLEAN FILTER HOUSING AND PROVIDE NEW FILTER. 15.PROVIDE MINIMUM 2" THICK R-8 RIGID INSULATION 16.PROVIDE MODULATING OUTDOOR AND RETURN AIR DAMPERS FOR ECONOMIZER WITH FAULT DETECTION AS PER ASHRAE 90.1 LATEST EDITION. 17.PROVIDE UNIT WITH 3 STAGE COMPRESSOR AND HOT GAS REHEAT COIL. 18.PROVIDE EQIPMENT START UP BY MANUFACTURER"S CERTIFIED TECHNICIAN.MECHANICAL CONTRACTOR, ELECTRICAL CONTRACTOR,ATC CONTRACTOR AND TESTING AND BALANCING AGENT SHALL BE PRESENT DURING START UP; PROVIDE ASSOCIATED STARTUP REPORT ACCORDINGLY. | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AIR DEVICES & FANS
277 | M3.0 |  |  | CD, 100 CFM, SUPPLY DIFFUSER, OMNI, 6" DIA NECK SIZE, 12"X12" FACE SIZE | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
278 | M3.0 |  |  | CD, 385 CFM, SUPPLY DIFFUSER, OMNI, 12" DIA NECK SIZE, 24"X24" FACE SIZE | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
279 | M3.0 |  |  | CD, 400 CFM, SUPPLY DIFFUSER, OMNI, 12" DIA NECK SIZE, 24"X24" FACE SIZE | 10 |  | EA | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
280 | M3.0 |  |  | CD, 490 CFM, SUPPLY DIFFUSER, OMNI, 12" DIA NECK SIZE, 24"X24" FACE SIZE | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
281 | M3.0 |  |  | CD, 625 CFM, SUPPLY DIFFUSER, OMNI, 14" DIA NECK SIZE, 24"X24" FACE SIZE | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
282 | M3.0 |  |  | LS, 300 CFM, 1.5" LINEAR SLOT, WITH PLENUM BOX, FL-15, 75 CFM PER LIN. FIT | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
283 | M3.0 |  |  | RR, 400 CFM, 355RL, 24"X12" FACE SIZE | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
284 | M3.0 |  |  | RR, 600 CFM, 355RL, 24"X12" FACE SIZE | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
285 | M3.0 |  |  | TAG, TRANSFER AIR GRILLER, 18"X10" NECK SIZE, WITH A WMS, WIRE MESH SCREEN | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
286 | M3.0 |  |  | TAG, TRANSFER AIR GRILLER, 24"X18" NECK SIZE, WITH A WMS, WIRE MESH SCREEN | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
287 | M3.0 |  |  | EF-1, FAN SCHEDULE, GREENHECK#G-090-VG,115/1 29LBS INCL. 1.MOUNT FAN ON MINIMUM 16" HIGH ROOF CURB. 2.PROVIDE SOLID STATE SPEED CONTROL, NEMA-1 TOGGLE SWITCH,BIRDSCREEN AND MOTORIZED DAMPER. 3.PROVIDE ELECTRICAL DISCONNECT, VIBRATION ISOLATION SUPPORT RODS WITH MOUNTING BRACKETS, SPEED CONTROLLER AND ROUND DUCT CONNECTION. 4.PROVIDE CONTROLS FROM ATC CONTRACTOR. Note: MOTORIZED DAMPER PREFABRICATED CURB AND COUNTER FLASHING BY MC | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ACCESSORIES & VALVES
288 | M3.0 |  |  | 4" GOOSENECK WITH 1/2" WIRE MESH BIRD SCREEN THROUGH ROOF (22 GA. GAL. STEEL) RIVET & SOLDER COUNTER-FLASHING BY H&V CONTRACTOR CURB & FLASHING BY GC | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
289 | M3.0 |  |  | 8" GOOSENECK WITH 1/2" WIRE MESH BIRD SCREEN THROUGH ROOF (22 GA. GAL. STEEL) RIVET & SOLDER COUNTER-FLASHING BY H&V CONTRACTOR CURB & FLASHING BY GC | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
290 | M3.0 |  |  | 12"X6" VOLUME DAMPER | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
291 | M3.0 |  |  | 3/4" AUTO VENT W/ SHUT-OFF VALVE WITH ACCESS DOOR-NORMALLY CLOSED WITH A VALVE WITH ACCESS DOOR CAP AND A ACCESS DOOR IN SHEETROCK | 32 |  | EA | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
292 | M3.0 |  |  | VALVE WITH ACCESS DOORD 3/4" HOSE END DRAIN W/ CAP AND CHAIN | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
293 | M3.0 |  |  | 3/4" PIPE END CAP | 16 |  | EA | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
294 | M3.0 |  |  | 3/4" BOILER ISOLATION VALVE WITH ACCESS DOOR (BALANCING) | 18 |  | EA | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
295 | M3.0 |  |  | 3/4" DRAIN VALVE WITH ACCESS DOOR | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
296 | M3.0 |  |  | 3/4" FILL VALVE WITH ACCESS DOOR | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
297 | M3.0 |  |  | 3/4" RELIEF VALVE WITH ACCESS DOOR | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
298 | M3.0 |  |  | 3/4" ZONE VALVE WITH ACCESS DOOR CONTROL, TACO | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
299 | M3.0 |  |  | 3/4" ZONE VALVE WITH ACCESS DOOR, "TACO" SENTRY | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLENOUS
300 | M3.0 |  |  | #18/4C CONTROL WIRING WITH CONDUIT | 144.85 |  | LF | 10% | 159.335 | 0 | 0 | 0 | 0 | 0 | 0 | 0
301 | M3.0 |  |  | (2) PLENUM RATED BAND OR SCREW CLAMPS AT 3FT | 36 |  | EA | 0% | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0
302 | M3.0 |  |  | SHEET METAL SADDLE AND HANGER TO PREVENT SAGGING, PLENUM RATED RUBBER/PLASTIC SUPPORT BANDS OR THERMAFLEX FLEXFLOW ELBOW SUPPORT (1) AT 3FT | 36 |  | EA | 0% | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0
303 | M3.0 |  |  | 1" PIPE SLEEVE | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
304 | M3.0 |  |  | 1"X1/8 GALVANIZED STEEL STRAPS WITH (6) SHEET METAL SCREWS AT 6 FT | 74 |  | EA | 0% | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0
305 | M3.0 |  |  | HANGER ROD AND CLEVIS HANGER, GALVANIZED SHEET SUPPORT SHIELD, 18 GAUGE FOR ALL PIPES | 9 |  | EA | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
306 | M3.0 |  |  | HUMIDIFIER WITH TAMPER PROOF COVERS, TG500 SERIES VENTED GUARD OR AMERICAN TIME INTEGRATED SOLUTIONS | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
307 | M3.0 |  |  | STEAM HUMIDIFIER, ACCESS DOOR, INTEGRAL STAINLESS STEEL DRAIN PAN | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
308 | M3.0 |  |  | THERMOSTAT WITH TAMPER PROOF COVERS, TG500 SERIES VENTED GUARD OR AMERICAN TIME INTEGRATED SOLUTIONS | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
309 | M3.0 |  |  | TRANSITION STAINLESS STEEL 4FT | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
310 | M3.0 |  |  | TRANSITION STAINLESS STEEL 8FT | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEMOLITION & RELOCATION
311 | M2.0 |  |  | VAV TO BE RELOCATED TO NEW CONSTRUCTION | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
312 | M2.0 |  |  | DIFFUSER TO BE REMOVED AND DISCARDED | 28 |  | EA | 0% | 28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
313 | M2.0 |  |  | EXISTING DUCTWORK BRANCH TO BE REMOVED AND CAPPED AT MAIN AIR TIGHT | 216.29 |  | LF | 0% | 216.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
314 | M2.0 |  |  | THERMOSTAT AND ASSOCIATED CABLING TO BE REMOVED AND DISCARDED | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOTES
MC SHALL MOUNT DUCT SMOKE DETETCOR
MC SHALL PROVIDE ROOF CURBS, EQUIPMENT RAILS, SUPPORTS, ROOF PORTALS, AND ASSOCIATED EQUIPMENT AND COUNTER FLASHING
CONTRACTOR SHALL BE RESPONSIBLE FOR ALL CONTROLLERS, ACTUATORS, TRANSFFORMERS, SENSORS, RELAYS, CONTACTS, PANELS, ETC
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 260000 | DIVISION 26 - ELECTRICAL
DISTRIBUTION
DISCONNECTS
315 | E3.0 |  |  | 30A/2P/20AF NON FUSED DISCONNECT SWITCH | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
316 | E3.0 |  |  | 30A/3P/20AF NON FUSED DISCONNECT SWITCH | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BREAKERS
317 | E3.0 |  |  | 20A/1P CIRCUIT BREAKER | 19 |  | EA | 0% | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
318 | E3.0 |  |  | 20A/2P CIRCUIT BREAKER | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
319 | E3.0 |  |  | 20A/3P CIRCUIT BREAKER | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MISCELLENOUS
320 | E3.0 |  |  | SAWCUTTING AND PATCHING | 70 |  | LF | 0% | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BRANCH WIRING
Conduit- Lighting
321 | E4.0 |  |  | 3/4"C EMT | 239 |  | LF | 5% | 250.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0
322 | E4.0 |  |  | 3/4"C FLEX S | 116 |  | LF | 5% | 121.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conductor- Lighting
323 | E4.0 |  |  | #12/3C MC CABLE | 1079 |  | LF | 10% | 1186.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
324 | E4.0 |  |  | #12 SOLID | 716 |  | LF | 10% | 787.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conduit- Power
325 | E4.0 |  |  | 3/4"C EMT | 2717 |  | LF | 5% | 2852.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0
326 | E4.0 |  |  | 3/4"C FLEX S | 18 |  | LF | 5% | 18.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
327 | E4.0 |  |  | 3/4"C LFMC | 12 |  | LF | 5% | 12.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
328 | E4.0 |  |  | 3/4"C RGS | 20 |  | LF | 5% | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
329 | E4.0 |  |  | 3/4"C PVC | 55 |  | LF | 5% | 57.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0
330 | E4.0 |  |  | PULL STRING | 55 |  | LF | 10% | 60.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conductor- Power
331 | E4.0 |  |  | #12/3C MC CABLE | 25 |  | FT | 10% | 27.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
332 | E4.0 |  |  | #12 SOLID THHN | 8779 |  | FT | 10% | 9656.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
333 | E4.0 |  |  | #12 SOLID THWN | 272 |  | FT | 10% | 299.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WIRING DEVICES
Devices
334 | E3.0 |  |  | CEILING MOUNTED 25' RETRACTABLE ENCLOSED REEL CORD AND NEMA 5-20R RECEPTACLE, KH INDUSTRIES #CRA-B515-T16G-3 | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
335 | E3.0 |  |  | CEILING MOUNTED PROJECTOR, PROVIDED BY OWNER AND INSTALLED BY GC | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
336 | E3.0 |  |  | DOUBLE DUPLEX RECEPTACLE NEMA 5-20R | 11 |  | EA | 0% | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
337 | E3.0 |  |  | DUPLEX RECEPTACLE NEMA 5-20R | 10 |  | EA | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
338 | E3.0 |  |  | DUPLEX RECEPTACLE NEMA 5-20R, WITH TWO INTEGRAL USB CHARGING PORTS | 16 |  | EA | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
339 | E3.0 |  |  | F1, 1-GANG FLOOR BOX FITTING WITH ONE (1) DUPLEX RECEPTACLE, WIREMOLD #880CM SHALLOW SERIES, PROVIDE CARPET OR TILE FLANGE AND MATCHING COVER PLATE | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
340 | E3.0 |  |  | GFCI DUPLEX RECEPTACLE NEMA 5-20R | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
341 | E3.0 |  |  | REPLACE EXISTING DEVICE WITH NEW COMBINATION USB/DUPLEX RECEPTACLE | 21 |  | EA | 0% | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
342 | E3.0 |  |  | SIMPLEX RECEPTACLE NEMA 5-20R | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
343 | E3.0 |  |  | SM, MOTOR RATED DISCONNECT SWITCH, WP | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CONTROLS
344 | E4.0 |  |  | DS, DUAL TECHNOLOGY WITH DIMMING PHOTO SENSOR, SENSORWORK #SWX-232-1, CEILING MOUNTED, LOW VOLTAGE WITH PHOTO SENSOR | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
345 | E4.0 |  |  | RC, 0-10V DIMMING ROOM CONTROLLER, SENSORWORX #SWX-900, ABOVE CEILING | 10 |  | EA | 0% | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0
346 | E4.0 |  |  | SD, DIGITAL LOW VOLTAGE WALLBOX ON/OFF DIMMING SWITCH, SENSORWORX #SWX-803-X, WALL MOUNTED | 11 |  | EA | 0% | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
347 | E4.0 |  |  | SD4, 4 BUTTON DIGITAL LOW VOLTAGE WALLBOX ON/OFF DIMMING SWITCH, SENSORWORX #SWX-804-X, WALL MOUNTED | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
348 | E4.0 |  |  | SVS, DUAL TECHNOLOGY WALL SWITCH VACANCY SENSOR, SENSORWORX, SWX-123-X, WALL MOUNTED, LINE VOLTAGE | 4 |  | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
349 | E4.0 |  |  | VS, VACANCY SENSOR-360 DEGREE, SENSORWORX, SWX-222-1, CEILING MOUNTED, LINE VOLTAGE | 12 |  | EA | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
350 | E4.0 |  |  | JUNCTION BOX FOR CABINET MOUNTED TYPE "G" LED ACCENT LIGHT | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
351 | E4.0 |  |  | BACKBOXES | 29 |  | EA | 0% | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING FIXTURES
352 | E4.0 |  |  | A, 2'X2' RECESSED LAYIN LIGHTING WITH ALUMINUM HOUSING, 0-10V DIMMING, UTOPIA #ULP-2G-22-L30-35K-UNV-DM-A12, LAMPS INCLUDED, RECESSED GRID MOUNTED, 30 WATTS | 15 |  | EA | 0% | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
353 | E4.0 |  |  | AE, 2'X2' RECESSED LAYIN LIGHTING WITH ALUMINUM HOUSING INTEGRAL EMERGENCY BATTERY PACK, 0-10V DIMMING, UTOPIA #ULP-2G-22-L30-35K-UNV-DM-A12-EM25, LAMPS INCLUDED, RECESSED GRID MOUNTED, 30 WATTS | 14 |  | EA | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
354 | E4.0 |  |  | B, 4" RECESSED RECESSED LED DOWNLIGHT WITH SPECULAR CLEAR SELF FLANGED REFLECTOR AND 0-10 DIMMING, LITON LIGHTING #CH4C15-UE-D10/CR4LC30CW-ERIFY-T35, RECESSED GRID MOUNTED, 15 WATTS | 34 |  | EA | 0% | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0
355 | E4.0 |  |  | BE, 4" RECESSED RECESSED LED DOWNLIGHT WITH SPECULAR CLEAR SELF FLANGED REFLECTOR AND 0-10 DIMMING, LITON LIGHTING #CH4C15-UE-D10EM/CR4LC30CW-ERIFY-T35, RECESSED GRID MOUNTED, 15 WATTS | 17 |  | EA | 0% | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
356 | E4.0 |  |  | C, 4" RECESSED RECESSED LED DOWNLIGHT WITH SPECULAR CLEAR SELF FLANGED REFLECTOR AND 0-10 DIMMING, LITON LIGHTING #CH4C15-UE-D10/CR4LC30CW-B50-T35, RECESSED GRID MOUNTED, 15 WATTS | 12 |  | EA | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
357 | E4.0 |  |  | CE, 4" RECESSED RECESSED LED DOWNLIGHT WITH SPECULAR CLEAR SELF FLANGED REFLECTOR AND 0-10 DIMMING, LITON LIGHTING #CH4C15-UE-D10EM/CR4LC30CW-B50-T35, RECESSED GRID MOUNTED, 15 WATTS | 6 |  | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
358 | E4.0 |  |  | D, 5' DIA. LED CANOPY MOUNTED FIXTURE WITH SINGLE SECTION ALUMINUM ENCLOSURE, REMOTE DRIVER, 0-10V DIMMING, TMS LIGHTING #971LUCL-60D-35K-UNV-RM-RAL-DIML, CEILING MOUNTED, 135.6 WATTS | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
359 | E4.0 |  |  | F, 12" DIA. LED AIRCRAFT CABLE MOUNTED FIXTURE WITH ALUMINUM HOUSING, FROSTED GLOBE DIFFUSER, 0-10V DIMMING, TMS LIGHTING, GAV-12-15LED-CRD-WC-35K-2YY-RAL-G2-DIML-ACC, AIRCRAFT CABLE MOUNTED, 15 WATTS | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
360 | E4.0 |  |  | G WITH TWO HEADS OF TAPE LIGHT, LINEAR LED ANGLED SURFACE MOUNTED CHANNEL FIXTURE WITH ALUMINUM HOUSING, FROSTED UV COATED POLYCARBONATE LENS, PROVIDE ELECTRONIC DIMMABLE REMOTE DRIVER, LEDI LIGHTING #V-SPEC-28-35-CUSTOM/DR-60W-24VDC-U-2-10-C, SURFACE MOUNTED, 2.8W/ LF WITH REQUIRED ENDCAPS AND MOUNTING HARDWARE | 6 |  | LF | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
361 | E4.0 |  |  | SINGLE FACE EXIT SIGN, EDGELIT LED EXIT SIGN WITH RED LETTERSA AND BRUSHED ALUMINUM TRIM, CEILING IR WALL MOUNTED WITH OR WITHOUT DIRECTIONAL ARROWS, SELF DIAGNOSTICS, EVENLITE #SOV-EM-R-1M/2M-BA, 4.5 WATTS | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
362 | E4.0 |  |  | SINGLE FACE SINGLE ARROW EXIT SIGN, EDGELIT LED EXIT SIGN WITH RED LETTERSA AND BRUSHED ALUMINUM TRIM, CEILING IR WALL MOUNTED WITH OR WITHOUT DIRECTIONAL ARROWS, SELF DIAGNOSTICS, EVENLITE #SOV-EM-R-1M/2M-BA, 4.5 WATTS | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
363 | E4.0 |  |  | SINGLE FACE WALL MOUNTED EXIT SIGN, EDGELIT LED EXIT SIGN WITH RED LETTERSA AND BRUSHED ALUMINUM TRIM, CEILING IR WALL MOUNTED WITH OR WITHOUT DIRECTIONAL ARROWS, SELF DIAGNOSTICS, EVENLITE #SOV-EM-R-1M/2M-BA, 4.5 WATTS | 5 |  | EA | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
364 | E4.0 |  |  | DOUBLE FACE DOUBLE ARROW EXIT SIGN, EDGELIT LED EXIT SIGN WITH RED LETTERSA AND BRUSHED ALUMINUM TRIM, CEILING IR WALL MOUNTED WITH OR WITHOUT DIRECTIONAL ARROWS, SELF DIAGNOSTICS, EVENLITE #SOV-EM-R-1M/2M-BA, 4.5 WATTS | 2 |  | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROUGH IN FOR FIRE ALARM SYSTEM
Conduits
365 | E3.0 |  |  | 3/4"C EMT | 276 |  | LF | 5% | 289.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
366 | E3.0 |  |  | 1"C EMT | 50.08 |  | LF | 5% | 52.584 | 0 | 0 | 0 | 0 | 0 | 0 | 0
367 | E3.0 |  |  | 1"C PVC | 5.77 |  | LF | 5% | 6.0585 | 0 | 0 | 0 | 0 | 0 | 0 | 0
368 | E3.0 |  |  | PULL STRING | 332 |  | LF | 10% | 365.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Devices
369 | E3.0 |  |  | DUCT SMOKE DETECTOR | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
370 | E3.0 |  |  | FIRE ALARM EXPANDER PANEL (IF REQUIRED) | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
371 | E3.0 |  |  | FIRE ALARM PULL STATION | 2 | EA | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
372 | E3.0 |  |  | FIRE ALARM VISUAL SIGNAL | 5 |  | EA | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
373 | E3.0 |  |  | REMOTE TEST KEY SWITCH | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROUGH IN FOR LOW VOLTAGE SYSTEM
Conduits
374 | E3.0 |  |  | 3/4"C EMT | 24 |  | LF | 5% | 25.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
375 | E3.0 |  |  | 2"C EMT | 12 |  | LF | 5% | 12.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
376 | E3.0 |  |  | PULL STRING | 36 |  | LF | 10% | 39.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Devices
377 | E3.0 |  |  | CEILING MOUNTED SPEAKER | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
378 | E3.0 |  |  | DATA COMMUNICATION OUTLET: 1-GANG JUNCTION BOX WITH TWO (2) RJ45 CONNECTORS | 12 |  | EA | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
379 | E3.0 |  |  | DATA OUTLET ABOVE SUSPENDED CEILING FOR WIFI ROUTER WHICH IS FURNISHED BY OWNER | 9 | EA | EA | 0% | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
380 | E3.0 |  |  | DATA/TELE DATA OUTLET | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEMOLITION
381 | E2.0 |  |  | CCTV CAMERA: 1-GANG JUNCTION BOX TO BE REMOVED | 6 |  | EA | 10% | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
382 | E2.0 |  |  | EXISTING EXIST SIGN TO BE REMOVED | 5 |  | EA | 10% | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
383 | E2.0 |  |  | EXISTING FIRE ALARM PULL STATION TO BE REMOVED | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
384 | E2.0 |  |  | EXISTING FLOORBOX FITTING TO BE DISCONNECTED AND REMOVED, DISCONNECT AND REMOVE EXISTING POWER AND DATA WIRING BACK TO SOURCE OR LAST WIRING DEVICE TO REMAIN | 13 |  | EA | 10% | 14.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
385 | E2.0 |  |  | EXISTING SHORT THROW PROJECTOR, DISCONNECT AND REMOVE ALL POWER AND DATA WIRING BACK TO SOURCE OR LAST WIRING DEVICE TO REMAIN | 2 |  | EA | 10% | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
386 | E2.0 |  |  | REMOVE EXISTING POWER DEVICE | 28 |  | EA | 10% | 30.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0
387 | E2.0 |  |  | REMOVE LIGHTING CONTROL DEVICE | 12 |  | EA | 10% | 13.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
388 | E2.0 |  |  | REMOVE LOW VOLTAGE DEVICE | 10 |  | EA | 10% | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
389 | E2.0 |  |  | EXISTING LIGHTING FIXTURE TO BE DISCONNECTED AND REMOVED | 217 | 217 | EA | 0% | 217 | 0 | 0 | 0 | 0 | 0 | 0 | 0
RELOCATION
390 | E2.0 |  |  | EXISTING CCTV CAMERA TO BE RELOCATED | 4 |  | EA | 10% | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
391 | E2.0 |  |  | EXISTING CEILING MOUNTED PAGING SYSTEM SPEAKER TO BE RELOCATED TO NEW CEILING | 12 |  | EA | 10% | 13.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
392 | E2.0 |  |  | EXISTING EXIT SIGN TO BE RELOCATED TO NEW CEILING | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
393 | E2.0 |  |  | EXISTING FIRE ALARM HORN/STROBE - WALL MOUNTED | 5 |  | EA | 10% | 5.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
394 | E2.0 |  |  | EXISTING FIRE ALARM PULL STATION TO BE RELOCATED | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
395 | E2.0 |  |  | EXISTING FIRE ALARM SMOKE DETETCOR TO BE RELOCATED | 6 |  | EA | 10% | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
396 | E2.0 |  |  | RELOCATE ACCESS CONTROL KEYPAD: 1-GANG JUNCTION BOX | 2 |  | EA | 10% | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
397 | E2.0 |  |  | RELOCATE CEILING MOUNTED SMOKE DETECTOR | 6 |  | EA | 10% | 6.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
398 | E2.0 |  |  | RELOCATE CEILING MOUNTED SPEAKER | 1 |  | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
399 | E2.0 |  |  | RELOCATE DUCT DETECTOR REMOTE INDICATING LIGHT TO ACCOMODATE NEW CONSTRUCTION ETC. | 2 |  | EA | 10% | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
400 | E2.0 |  |  | RELOCATE EXISTING LIGHTING CONTROL DEVICE | 1 |  | EA | 10% | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
401 | E2.0 |  |  | RELOCATE EXITING WIFI ROUTER TO NEW CEILING | 2 |  | EA | 10% | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
402 | E2.0 |  |  | RELOCATE KEY SET TO ACCOMODATE NEW CONSTRUCTION ETC. | 2 |  | EA | 10% | 2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
403 | E2.0 |  |  | RELOCATED LIGHTING CONTROL DEVICE | 3 |  | EA | 10% | 3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
404 | E2.0 |  |  | RELOCATED LIGHTING FIXTURE | 69 |  | EA | 10% | 75.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
405 | E2.0 |  |  | REMOVE LOW VOLTAGE DEVICE | 10 |  | EA | 10% | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOTES
EC TO CONFIRM ALL EXISTING SPARES AND SPACES PRIOR TO COMMENCING WORK, RECONFIGURE NEW CIRCUIT ARRANGEMENT AS REQUIRED
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 320000 | DIVISION 32 - EXTERIOR IMPROVEMENTS
|  |  | 321313 | CONCRETE PAVING
406 | A1.0 | 23/A4.0 |  | Reinforced concrete sidewalk as: - (4" Thk.) Reinforced concrete sidewalk class "B" w/ W.W.M. type 66-44 - (6" Thk.) Compacted NJ Dot No. 57 Stone - Compacted subgrade | 255 |  | SF | 0% | 255 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PLANTS
407 | A1.1 |  |  | Mulching | 160 |  | SF | 0% | 160 | 0 | 0 | 0 | 0 | 0 | 0 | 0
408 | A1.1 |  |  | California privet | 3 |  | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
409 | A1.1 |  |  | Sargent juniper | 12 |  | EA | 0% | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
[8 empty] | TOTAL MATERIAL |  | 2890.9061 | TOTAL LABOR |  | 0 | TOTAL HOURS |  | 225.1405 | 2890.9061
TOTAL MATERIAL COST | [16 empty] | 2890.9061
TOTAL LABOR COST | [16 empty] | 0
TOTAL LABOR HOURS | [16 empty] | 225.1405
Notes:
1 | Online sources are used for pricing purpose. Please verify, as per your own convenience.
2 | Prices can vary depending upon field conditions.
3 | All other prices are excluded that are not included in the estimate above.
4 | Cells highlighted with green, please price the items as per your own facility.

## Alternate 1
|  |  |  | MIDDLETOWN LIBRARY RENOVATION | [7 empty] | PROJECT COST |  | 0
|  |  |  | 55 NEW MONMOUTH RD, MIDDLETOWN TOWNSHIP, NJ 07748 | [7 empty] | OVERHEAD COST |  | 0
|  |  |  | Project Scope: EVERYTHING | [7 empty] | PROFIT COST |  | 0
Addendum: N/A
|  |  |  | Date: | 2024-10-04 | [6 empty] | ALTERNATE BID |  | 0
SR. NO. | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QUANTITY | UNIT | WASTAGE % | QTY W/ WASTAGE | UNIT MATERIAL COST | MATERIAL COST | MAN HOUR RATE | UNIT MANHOURS | TOTAL MANHOURS | MANHOURS COST | TOTAL COST
0
|  |  | 09 00 00 | DIVISION 09 - FINISHES
|  |  | 09 50 00 | ACOUSTICAL CEILINGS
1 | A3.1 |  |  | Replace of act tiles damaged by existing light fixtures | 3070 | SF | 0% | 3070 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 210000 | DIVISION 21 - FIRE PROTECTION
2 | FP2.1 |  |  | EXISTING CONCEALED SPRINKLER HEAD TO BE REMOVED AND REPLACED WITH NEW CONCEALED SPRINKLER HEAD AND COORDINATED WITH ALTERNATE BID LIHTING PACKGAE IN THIS AREA | 2984.97 | SF | 0% | 2984.97 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | FP2.1 |  |  | CONCEALED SPRINKLER HEAD, TYCO SERIES #RFII QUICK RESPONSE | 24 | EA | 0% | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 260000 | DIVISION 26 - ELECTRICAL
BRANCH WIRING
Conduit- Lighting
4 | E4.0 |  |  | 3/4"C EMT | 15 | FT | 5% | 15.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | E4.0 |  |  | 3/4"C FLEX S | 308 | FT | 5% | 323.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conductor- Lighting
6 | E4.0 |  |  | #12/3C MC CABLE | 227 | FT | 10% | 249.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | E4.0 |  |  | #12 SOLID | 46 | FT | 10% | 50.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING FIXTURES
8 | E4.0 |  |  | A, 2'X2' RECESSED LAYIN LIGHTING WITH ALUMINUM HOUSING, 0-10V DIMMING, UTOPIA #ULP-2G-22-L30-35K-UNV-DM-A12, LAMPS INCLUDED, RECESSED GRID MOUNTED, 30 WATTS | 59 | EA | 0% | 59 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | E4.0 |  |  | AE, 2'X2' RECESSED LAYIN LIGHTING WITH ALUMINUM HOUSING INTEGRAL EMERGENCY BATTERY PACK, 0-10V DIMMING, UTOPIA #ULP-2G-22-L30-35K-UNV-DM-A12-EM25, LAMPS INCLUDED, RECESSED GRID MOUNTED, 30 WATTS | 18 | EA | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | E4.0 |  |  | SINGLE FACE EXIT SIGN, EDGELIT LED EXIT SIGN WITH RED LETTERSA AND BRUSHED ALUMINUM TRIM, CEILING IR WALL MOUNTED WITH OR WITHOUT DIRECTIONAL ARROWS, SELF DIAGNOSTICS, EVENLITE #SOV-EM-R-1M/2M-BA, 4.5 WATTS | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | E4.0 |  |  | SINGLE FACE SINGLE ARROW EXIT SIGN, EDGELIT LED EXIT SIGN WITH RED LETTERSA AND BRUSHED ALUMINUM TRIM, CEILING IR WALL MOUNTED WITH OR WITHOUT DIRECTIONAL ARROWS, SELF DIAGNOSTICS, EVENLITE #SOV-EM-R-1M/2M-BA, 4.5 WATTS | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | E4.0 |  |  | BACKBOXES | 77 | EA | 0% | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DEMOLITION
13 | E2.0 |  |  | EXISTING LIGHTING FIXTURE TO BE DISCONNECTED AND REMOVED | 120 | EA | 10% | 132 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
[7 empty] | TOTAL MATERIAL |  | 0 | TOTAL LABOR |  | 0 | TOTAL HOURS |  | 0 | 0
TOTAL MATERIAL COST | [15 empty] | 0
TOTAL LABOR COST | [15 empty] | 0
TOTAL LABOR HOURS | [15 empty] | 0
Notes:
1 | Online sources are used for pricing purpose. Please verify, as per your own convenience.
2 | Prices can vary depending upon field conditions.
3 | All other prices are excluded that are not included in the estimate above.
4 | Cells highlighted with green, please price the items as per your own facility.