## Bid Recap & Summary
PROJECT NAME: MOULTRIE DEVELOPMENT L.L.C
BID RECAP
| DIVISION | DESCRIPTION | MATERIAL COST | LABOR COST | MATERIAL TAX | LABOR TAX | TOTAL COST | OVERHEADS | PROFITS | ADDITIONAL COST (If Any) | TOTAL PRICE
| 01 00 00 | GENERAL REQUIREMENTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 26 00 00 | ELECTRICAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | TOTALS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| BID SUMMARY |  |  |  |  | MAN-LOADING AND SUPERVISION ANALYSIS
| 1 | TOTAL MATERIAL COST |  | 0 |  | 1 | TOTAL MANHOURS WITH SUPERVISION |  |  |  | 0
|  | MATERIAL SALES TAX |  | 0 |  | 2 | NUMBER OF MAN-DAYS |  |  |  | 0
|  | JOB EXPENSE |  | 0 |  | 3 | MAN LOAD |  |  |  | 5
| 2 | TOTAL LABOR COST |  | 0 |  | 4 | JOURNEYMAN RATE |  | 3
|  | LABOR TAX |  | 0 |  | 5 | SUPERVISOR RATE |  | 1
| 3 | TOTAL COST |  | 0 |  | 6 | UNSKILLED LABOR RATE |  | 1
|  | OVERHEADS @ | 10% | 0 |  | 7 | COMPOSITE LABOR RATE |  |  |  | 0
|  | PROFIT @ | 10% | 0 |  | 8 | PREVAILING WAGE RATE |  |  |  | 0
| 4 | TOTAL COST WITH OVERHEADS + PROFIT |  | 0
INSERT VALUES IN YELLOW HIGHLIGHTED CELLS WHERE APPLICABLE
| 5 | BASE BID PRICE |  | 0

## Estimate
|  |  |  | PROJECT NAME: MOULTRIE DEVELOPMENT L.L.C | [7 empty] | PROJECT COST |  | 0
|  |  |  | PROJECT LOCATION: 356-370 BAYVIEW AVENUE INWOOD, NY | [7 empty] | OVERHEAD COST |  | 0
|  |  |  | Project Scope: ELECTRICAL | [7 empty] | PROFIT COST |  | 0
|  |  |  | Addendum: N/A | [7 empty] | ADDITIONAL COST (If Any) |  | 0
|  |  |  | Date: | 2024-10-04 | [6 empty] | TOTAL BID COST |  | 0
SR. NO. | DWG. NO. | DETAIL NO. | CSI NO. | DESCRIPTION | QUANTITY | UNIT | WASTAGE % | QTY W/ WASTAGE | UNIT MATERIAL COST | MATERIAL COST | MAN HOUR RATE | UNIT MANHOURS | TOTAL MANHOURS | MANHOURS COST | TOTAL COST
0
|  |  | 01 00 00 | DIVISION 01 - GENERAL REQUIREMENTS
1 |  |  |  | MOBILIZATION AND DEMOBILIZATION | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 |  |  |  | BOND & INSURANCE | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 |  |  |  | PROJECT SUPERVISION & PROJECT MANAGEMENT | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 |  |  |  | SAFETY REQUIREMENTS | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 |  |  |  | OFFICE OVERHEADS | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 |  |  |  | SUBMITTALS, SAMPLES, SHOP DRAWINGS, SITE SAFETY PLAN, ETC. | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 |  |  |  | TEMPORARY FACILITIES & CONTROLS INCL. - CONTRACTOR'S FIELD OFFICE - TEMPORARY UTILITIES - AUTHORITY'S FIELD OFFICE ( SF) - FURNISHINGS | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
8 |  |  |  | PROJECT SCHEDULE (Primavera P3 or P6) | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 |  |  |  | CLOSEOUT PROCEDURES | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 |  |  |  | PERMITS (DOT, DOB & After hour permits ETC.) | 1 | LS | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 |  |  |  | Scaffolding/ Means and Method |  | SF
12 |  |  |  | Sidewalk shed |  | LF
[7 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
|  |  | 260000 | DIVISION 26 - ELECTRICAL
DISTRIBUTION
Conduits
13 |  |  |  | 3 1/2"C EMT | 278.85 | FT | 10% | 306.735 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  |  |  | 3 1/2"C PVC | 1250.2 | FT | 10% | 1375.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 |  |  |  | 3"C EMT | 188.91 | FT | 10% | 207.801 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 |  |  |  | 2 1/2"C EMT | 115.75 | FT | 10% | 127.325 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 |  |  |  | 1 1/2"C EMT | 18.11 | FT | 10% | 19.921 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cables / Conductors
18 |  |  |  | #3/0/2C, #6/1C SER CABLE | 5041.36 | FT | 10% | 5545.496 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 |  |  |  | #4/0/2C, #4/1C SER CABLE | 2094.62 | FT | 10% | 2304.082 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 |  |  |  | #1 THHN | 69.46 | FT | 10% | 76.406 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  |  |  | #2 THHN | 87.32 | FT | 10% | 96.052 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  |  |  | #3 THHN | 54.33 | FT | 10% | 59.763 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 |  |  |  | #4 THHN | 147.88 | FT | 10% | 162.668 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 |  |  |  | #8 THHN | 18.11 | FT | 10% | 19.921 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 |  |  |  | #1/0 THWN | 1250.2 | FT | 10% | 1375.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 |  |  |  | #3/0 THHN | 278.85 | FT | 10% | 306.735 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 |  |  |  | #250 KCMIL THHN | 463 | FT | 10% | 509.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 |  |  |  | #350 KCMIL THHN | 636.19 | FT | 10% | 699.809 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 |  |  |  | #600 KCMIL THHN | 1115.4 | FT | 10% | 1226.94 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 |  |  |  | #600 KCMIL THWN | 5000.8 | FT | 10% | 5500.88 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Circuit Breakers
31 |  |  |  | 15A/1P CIRCUIT BREAKER | 45 | EA | 0% | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0
32 |  |  |  | 15A/2P CIRCUIT BREAKER | 50 | EA | 0% | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  |  |  | 20A/1P CIRCUIT BREAKER | 657 | EA | 0% | 657 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 |  |  |  | 20A/2P CIRCUIT BREAKER | 49 | EA | 0% | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0
35 |  |  |  | 20A/3P CIRCUIT BREAKER | 5 | EA | 0% | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 |  |  |  | 25A/2P CIRCUIT BREAKER | 32 | EA | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
37 |  |  |  | 35A/2P CIRCUIT BREAKER | 64 | EA | 0% | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0
38 |  |  |  | 40A/2P CIRCUIT BREAKER | 95 | EA | 0% | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 |  |  |  | 50A/2P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 |  |  |  | 60A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 |  |  |  | 100A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 |  |  |  | 110A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 |  |  |  | 200A/2P CIRCUIT BREAKER | 34 | EA | 0% | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 |  |  |  | 225A/2P CIRCUIT BREAKER | 14 | EA | 0% | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 |  |  |  | 250A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 |  |  |  | 300A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 |  |  |  | 500A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 |  |  |  | 600A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 |  |  |  | 1200A/3P CIRCUIT BREAKER | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 |  |  |  | 4000A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lugs
51 |  |  |  | Compression Lugs CU With 1-Hole. #8 CU Wire | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 |  |  |  | Heat Shrink Tubing For #8 CU Wire | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 |  |  |  | Compression Lug CU With 1-Hole , #6 CU Wire | 68 | EA | 0% | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 |  |  |  | Heat Shrink Tubing for #6 CU Wire | 68 | EA | 0% | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 |  |  |  | Compression Lug CU With 1-Hole , #4 CU Wire | 32 | EA | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 |  |  |  | Heat Shrink Tubing for #4 CU Wire | 32 | EA | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 |  |  |  | Compression Lugs CU With 1-Hole. #2 CU Wire | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 |  |  |  | Heat Shrink Tubing For #2 CU Wire | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 |  |  |  | Compression Lugs CU With 1-Hole. #3 CU Wire | 6 | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 |  |  |  | Heat Shrink Tubing For #3 CU Wire | 6 | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 |  |  |  | Compression Lug CU With 1-Hole , #1 CU Wire | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
62 |  |  |  | Heat Shrink Tubing for #1 CU Wire | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 |  |  |  | Compression Lug CU With 1-Hole , #1/0 CU Wire | 40 | EA | 0% | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
64 |  |  |  | Heat Shrink Tubing for #1/0 CU Wire | 40 | EA | 0% | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65 |  |  |  | Compression Lugs CU With 1-Hole. #3/0 CU Wire | 148 | EA | 0% | 148 | 0 | 0 | 0 | 0 | 0 | 0 | 0
66 |  |  |  | Heat Shrink Tubing For #3/0 CU Wire | 148 | EA | 0% | 148 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 |  |  |  | Compression Lugs CU With 1-Hole. #4/0 CU Wire | 56 | EA | 0% | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0
68 |  |  |  | Heat Shrink Tubing For #4/0 CU Wire | 56 | EA | 0% | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 |  |  |  | Compression Lug CU With 1-Hole , #250 MCM CU Wire | 24 | EA | 0% | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70 |  |  |  | Heat Shrink Tubing for #250 MCM CU Wire | 24 | EA | 0% | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 |  |  |  | Compression Lug CU With 1-Hole , #350 MCM CU Wire | 22 | EA | 0% | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 |  |  |  | Heat Shrink Tubing for #350 MCM CU Wire | 22 | EA | 0% | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 |  |  |  | Compression Lug CU With 1-Hole , #600 MCM CU Wire | 208 | EA | 0% | 208 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 |  |  |  | Heat Shrink Tubing for #600 MCM CU Wire | 208 | EA | 0% | 208 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Panels
75 |  |  |  | 1A 200A MCB, 208/120V, 2P, 3W, 20KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 |  |  |  | 1B 200A MCB, 208/120V, 2P, 3W, 20KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
77 |  |  |  | 1C 200A MCB, 208/120V, 2P, 3W, 14KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
78 |  |  |  | 1D 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
79 |  |  |  | 2A 200A MCB, 208/120V, 2P, 3W, 14KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 |  |  |  | 2B 225A MCB, 208/120V, 2P, 3W, 20KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
81 |  |  |  | 2C 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  |  | 2D 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 |  |  |  | 2E 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  |  | 2F 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  |  | 2G 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 |  |  |  | 2H 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 |  |  |  | 2I 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
88 |  |  |  | 2J 200A MCB, 208/120V, 2P, 3W, 14KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
89 |  |  |  | 2K 200A MCB, 208/120V, 2P, 3W, 14KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90 |  |  |  | 3A 225A MCB, 208/120V, 2P, 3W, 14KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 |  |  |  | 3B 225A MCB, 208/120V, 2P, 3W, 14KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
92 |  |  |  | 3C 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
93 |  |  |  | 3D 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 |  |  |  | 3E 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95 |  |  |  | 3F 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
96 |  |  |  | 3G 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97 |  |  |  | 3H 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
98 |  |  |  | 3I 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
99 |  |  |  | 3J 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100 |  |  |  | 3K 200A MCB, 208/120V, 2P, 3W, 14KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
101 |  |  |  | 4A 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
102 |  |  |  | 4B 225A MCB, 208/120V, 2P, 3W, 14KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
103 |  |  |  | 4C 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
104 |  |  |  | 4D 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105 |  |  |  | 4E 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 |  |  |  | 4F 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
107 |  |  |  | 4G 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
108 |  |  |  | 4H 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
109 |  |  |  | 4I 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
110 |  |  |  | 4JV 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 |  |  |  | 4K 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
112 |  |  |  | 5A 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
113 |  |  |  | 5B 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
114 |  |  |  | 5C 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
115 |  |  |  | 5D 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
116 |  |  |  | 5E 225A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
117 |  |  |  | 5F 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
118 |  |  |  | 5G 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
119 |  |  |  | 5H 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 |  |  |  | 5I 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
121 |  |  |  | 5J 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
122 |  |  |  | 5K 200A MCB, 208/120V, 2P, 3W, 10KAIC, RECESSED MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
123 |  |  |  | ELEV 300A MCB, 208/120V, 3P, 4W, 22KAIC, SURFACE MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
124 |  |  |  | HP 250A MCB, 208/120V, 3P, 4W, 35KAIC, SURFACE MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
125 |  |  |  | HPL 100A MLO, 208/120V, 3P, 4W, SURFACE MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
126 |  |  |  | MBK-1 1200A MCB, 208/120V, 3P, 4W, 50KAIC, SURFACE MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
127 |  |  |  | MBK-2 1200A MCB, 208/120V, 3P, 4W, 50KAIC, SURFACE MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
128 |  |  |  | MBK-3 500A MCB, 208/120V, 3P, 4W, 42KAIC, SURFACE MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
129 |  |  |  | MCC-1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
130 |  |  |  | SBD-1 4000A MCB, 208/120V, 3P, 4W, 65KAIC, SURFACE MOUNTED, NEMA 1 | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
131 |  |  |  | PANEL CT-1 480/277V, 3PH, 4W 65KAIC | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Disconnect Switch
132 |  |  |  | 15A/2P FUSED DISCONNECT SWITCH | 149 | EA | 0% | 149 | 0 | 0 | 0 | 0 | 0 | 0 | 0
133 |  |  |  | 25A/2P FUSED DISCONNECT SWITCH | 44 | EA | 0% | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
134 |  |  |  | 35A/2P FUSED DISCONNECT SWITCH | 52 | EA | 0% | 52 | 0 | 0 | 0 | 0 | 0 | 0 | 0
135 |  |  |  | 60A/3P FUSED DISCONNECT SWITCH, NEMA 3R | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
142 |  |  |  | 110A/3P FUSED DISCONNECT SWITCH, NEMA 3R | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grounding
137 |  |  |  | 3/4" X 10' GROUND ROD | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
138 |  |  |  | NEUTRAL BAR | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
139 |  |  |  | ISOLATED GROUND BAR | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
140 |  |  |  | #250 BARE COPPER | 240 | FT | 0% | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equipment
141 |  |  |  | TRANSFORMER CT-1 1000KVA480/277V TO 208/120V | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
142 |  |  |  | CT METER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SOLAR/PV
Conduits
143 |  |  |  | 3 1/2"C PVC | 1250.7 | FT | 10% | 1375.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0
144 |  |  |  | 2 1/2"C EMT | 1146.34 | FT | 10% | 1260.974 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conductors
145 |  |  |  | #6 THHN | 1146.34 | FT | 10% | 1260.974 | 0 | 0 | 0 | 0 | 0 | 0 | 0
146 |  |  |  | #1/0 THHN | 1250.7 | FT | 10% | 1375.77 | 0 | 0 | 0 | 0 | 0 | 0 | 0
147 |  |  |  | #3/0 THHN | 4585.36 | FT | 10% | 5043.896 | 0 | 0 | 0 | 0 | 0 | 0 | 0
148 |  |  |  | #600 KCMIL THHN | 5002.8 | FT | 10% | 5503.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lugs
149 |  |  |  | Compression Lug CU With 1-Hole , #6 CU Wire | 16 | EA | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
150 |  |  |  | Heat Shrink Tubing for #6 CU Wire | 16 | EA | 0% | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
151 |  |  |  | Compression Lug CU With 1-Hole , #1/0 CU Wire | 20 | EA | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
152 |  |  |  | Heat Shrink Tubing for #1/0 CU Wire | 20 | EA | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
153 |  |  |  | Compression Lugs CU With 1-Hole. #3/0 CU Wire | 64 | EA | 0% | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0
154 |  |  |  | Heat Shrink Tubing For #3/0 CU Wire | 64 | EA | 0% | 64 | 0 | 0 | 0 | 0 | 0 | 0 | 0
155 |  |  |  | Compression Lug CU With 1-Hole , #600 MCM CU Wire | 40 | EA | 0% | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
156 |  |  |  | Heat Shrink Tubing for #600 MCM CU Wire | 40 | EA | 0% | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Circuit Breakers
157 |  |  |  | 20A/2P CIRCUIT BREAKER | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
158 |  |  |  | 200A/3P CIRCUIT BREAKER | 3 | EA | 0% | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0
159 |  |  |  | 4000A/3P CIRCUIT BREAKER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Panels
160 |  |  |  | MAIN PANEL 5000A RATED, 120/208V, 3PH, 4W | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Disconnect Switch
161 |  |  |  | 200A/3P DISCONNECT SWITCH NEMA 3R | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Grounding
162 |  |  |  | 3/4"X 10' GROUND ROD | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
163 |  |  |  | #3/0 BARE COPPER | 55 | FT | 0% | 55 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Equipment
164 |  |  |  | SOLAR METER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
165 |  |  |  | SOLAR LOAD CENTER 200A, 120/208V, 3PH, 4W | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
166 |  |  |  | JUNCTION BOX 600V, NEMA 3 | 4 | EA | 0% | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
167 |  |  |  | SOLAR PANEL SUNPOWER #SPR-X22-360 (360W) MODULES | 18 | EA | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
168 |  |  |  | COMBINER BOX | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
169 |  |  |  | 9 MICRO - INVERTERS | 18 | EA | 0% | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
170 |  |  |  | UTILITY METER | 1 | EA | 0% | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
171 |  |  |  | UNISTRUT HOT DIPPED GALVANIZED | 72 | EA | 0% | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BRANCH WIRING
Cables- Lighting
172 |  |  |  | #10/3C SOLID NM | 5593.74 | FT | 10% | 6153.114 | 0 | 0 | 0 | 0 | 0 | 0 | 0
173 |  |  |  | #12/3C SOLID NM | 15925.36 | FT | 10% | 17517.896 | 0 | 0 | 0 | 0 | 0 | 0 | 0
174 |  |  |  | CAT 5E | 103.99 | FT | 10% | 114.389 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Conduit- Power
175 |  |  |  | 1-1/4"C RGS | 4 | FT | 10% | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
176 |  |  |  | 1"C RGS | 4 | FT | 10% | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cable / Conductor- Power
177 |  |  |  | #3/3C, #8/1C NM CABLE | 125.11 | FT | 10% | 137.621 | 0 | 0 | 0 | 0 | 0 | 0 | 0
178 |  |  |  | #6/3C, #10/1C NM CABLE | 188.52 | FT | 10% | 207.372 | 0 | 0 | 0 | 0 | 0 | 0 | 0
179 |  |  |  | #8/2C, #10/1C NM CABLE | 1977.69 | FT | 10% | 2175.459 | 0 | 0 | 0 | 0 | 0 | 0 | 0
180 |  |  |  | #10/3C SOLID NM | 2452.34 | FT | 10% | 2697.574 | 0 | 0 | 0 | 0 | 0 | 0 | 0
181 |  |  |  | #12/3C SOLID NM | 12252.55 | FT | 10% | 13477.805 | 0 | 0 | 0 | 0 | 0 | 0 | 0
182 |  |  |  | #3 THWN | 12 | FT | 10% | 13.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
183 |  |  |  | #6 THWN | 12 | FT | 10% | 13.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
184 |  |  |  | #8 THWN | 4 | FT | 10% | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
185 |  |  |  | #10 THWN | 4 | FT | 10% | 4.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WIRING DEVICES
Devices
186 |  |  |  | DUPLEX CONVENIENCE RECEPTACLE | 259 | EA | 0% | 259 | 0 | 0 | 0 | 0 | 0 | 0 | 0
187 |  |  |  | GFCI DUPLEX CONVENIENCE RECEPTACLE | 125 | EA | 0% | 125 | 0 | 0 | 0 | 0 | 0 | 0 | 0
188 |  |  |  | DOUBLE DUPLEX RECEPTACLE | 57 | EA | 0% | 57 | 0 | 0 | 0 | 0 | 0 | 0 | 0
189 |  |  |  | SIMPLEX RECEPTACLE | 145 | EA | 0% | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 0
190 |  |  |  | 20A/2P SIMPLEX RECEPTACLE | 47 | EA | 0% | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0
191 |  |  |  | 40A/2P SIMPLEX RECEPTACLE | 94 | EA | 0% | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0
192 |  |  |  | 50A/2P SIMPLEX RECEPTACLE | 2 | EA | 0% | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Devices - Lighting
193 |  |  |  | A: 3-3/4" APERATURE, LOW & LINE VOLTAGE, SHOWER LIGHT / WHITE FROSTED GLASS & WHITE FLANGE, LIGHTOLIER, 376WHX MTG: CEILING WATTS: (1) 50W MR 16 | 200 | EA | 0% | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0
194 |  |  |  | B: 6" APERATURE RECESSED CFL DOWNLIGHT / COMPACT FLUORESCENT TRIPLE TUBE, LIGHTOLIER, S6132BU MTG: CEILING WATTS: (1) 26W CFL | 32 | EA | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
195 |  |  |  | C: 16" WALL MOUNTED FLUORESCENT / TWIN TUBE 4-PIN COMPACT FLUORESCENT, LIGHTOLIER, 10351WH MTG: WALL/CEILING WATTS: (2) 27W TWIN TUBE CFL | 128 | EA | 0% | 128 | 0 | 0 | 0 | 0 | 0 | 0 | 0
196 |  |  |  | D: ONE LAMP T8 LF CHANNEL / T8 LF 82CRI BULB, MERCURY, 36" #MM-132-OCT-C-ELB-120 MTG: CEILING WATTS: (2) 25W LF | 74 | EA | 0% | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0
197 |  |  |  | D2: ONE LAMP T8 LF CHANNEL / T8 LF 82CRI BULB, MERCURY, 48" #MM-132-OCT-C-ELB-120 MTG: CEILING WATTS: (2) 32W LF | 24 | EA | 0% | 24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
198 |  |  |  | EL: 2-HEAD EMERGENCY BUGLIGHT W/90-MIN BATTERY BACKUP / WHITE ENCLOSURE WALL/CEILING MOUNT, SOLARELECTRICWAY, CPT-CCB-2-6-18-NO-LABEL MTG: WALL/CEILING WATTS: (2) EMERGENCY | 46 | EA | 0% | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
199 |  |  |  | ES: RED SINGLE FACE EDGE LIT EXIT W/BLACK MOUNT / CEILING OR WALL MOUNTED W/90 MIN. EMERGENCY BATTERY BACKUP, SOLARELECTRICWAY, SWWSLEX2S MTG: WALL/CEILING WATTS: (2) LED EXIT SIGN | 20 | EA | 0% | 20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
200 |  |  |  | EX-2: EXTERIOR WALL MOUNTED FIXTURE / 16" HIGH DISTRESSED BLACK & WOOD MEDIUM BASE, KICHLER BARRINGTON, 39496 MTG: WALL WATTS: (1) 60W VINTAGE BULB | 83 | EA | 0% | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0
201 |  |  |  | F: CEILING FLUSH MOUNT LIGHT, LITHONIA LIGHTING, OLCFM-15-DDB-M4 MTG: CEILING WATTS: (1) 50W LED | 32 | EA | 0% | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0
202 |  |  |  | J: WALL/CEILING MOUNTED ECONOMY TYPE FLUORESCENT / QUAD 14- PIN COMPACT FLUORESCENT, SEAGULL LIGHTING, 5933-15W MTG: CEILING WATTS: (4) 13W | 347 | EA | 0% | 347 | 0 | 0 | 0 | 0 | 0 | 0 | 0
203 |  |  |  | L: UNDER CABINET COVE LIGHT / 15" NOMINAL LENGTH CFL, LEGION, 312-114L-ACW MTG: CEILING WATTS: (1) 14W STIP | 72 | EA | 0% | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0
204 |  |  |  | M: 2X2 RECESSED LED LIGHT / LED TYPE, LITE CONTROL, G-D-TD22SOFT-C1-30K MTG: CEILING WATTS: (1) 40W LED PANEL | 44 | EA | 0% | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SUPPORTS
205 |  |  |  | JUNCTION BOX | 34 | EA | 0% | 34 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING CONTROLS
206 |  |  |  | SINGLE POLE SWITCH | 564 | EA | 0% | 564 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ROUGH IN FOR LOW VOLTAGE SYSTEM
207 |  |  |  | Conduits | 156 | FT | 10% | 171.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
208 |  |  |  | 3/4"C EMT | 156 | FT | 10% | 171.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 |  |  |  | PULL STRING
Devices
83 |  |  |  | DATA OUTLET | 6 | EA | 0% | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 |  |  |  | TELEPHONE OUTLET | 7 | EA | 0% | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0
85 |  |  |  | BACKBOX | 13 | EA | 0% | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | SUBTOTAL MATERIAL |  | 0 | SUBTOTAL LABOR |  | 0 | SUBTOTAL HOURS |  | 0 | 0
[7 empty] | TOTAL MATERIAL |  | 0 | TOTAL LABOR |  | 0 | TOTAL HOURS |  | 0 | 0
TOTAL MATERIAL COST | [15 empty] | 0
TOTAL LABOR COST | [15 empty] | 0
TOTAL LABOR HOURS | [15 empty] | 0
Notes:
1 | Online sources are used for pricing purpose. Please verify, as per your own convenience.
2 | Prices can vary depending upon field conditions.
3 | All other prices are excluded that are not included in the estimate above.
4 | Cells highlighted with green, please price the items as per your own facility.